# Submission ID #: 61006

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18606878

Title: Translaminar Autonomous System Model for the Modulation of Intraocular and Intracranial Pressure in Human Donor Posterior Segments

Authors and Affiliations: Tasneem P. Sharma1, Stacy M. Curry1, Husain Lohawala2, and Colleen McDowell3

1North Texas Eye Research Institute, Department of Pharmacology and Neuroscience, University of North Texas Health Science Center

2 Mechanical Engineer Consultant

3Department of Ophthalmology and Visual Sciences, School of Medicine and Public Health, University of Wisconsin-Madison

# Corresponding Authors:

Tasneem P. Sharma

tasneem.sharma@unthsc.edu

Colleen M. McDowell

cmmcdowell@wisc.edu

Email addresses for Co-authors:

stacy.curry@unthsc.edu

husain52121@gmail.com

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol demonstrate software usage? Y

3. Which steps from the protocol section below are the most visually important?

2.4., 3.2., 3.3., 4.2., 5.2., 6.7.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

4.2., 5.2.

5. Will the filming need to take place in multiple locations (greater than walking distance)? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Colleen McDowell: This novel ocular Translaminar Autonomous System uses the human posterior segment to independently regulate intraocular and intracranial pressures to generate a translaminar pressure gradient [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Colleen McDowell: The ex vivo human TAS model can be used to discover and classify the cellular and functional modifications that occur due to chronic elevation of the translaminar pressure gradient [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Tasneem Sharma: This technique will allow researchers to effectively reproduce the TAS model to study biomechanical disease paradigms and to discover molecular pathogeneses targeting translaminar pressure in the human eye [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera Videographer: Can cut for time

  - Tasneem Sharma: This model could potentially be used to study diseases such as glaucoma, traumatic brain injury, idiopathic intracranial hypertension, and Space Associated Neuro-ocular Syndrome [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera Videographer: Can cut for time

  - Stacy Curry: A precise execution of the protocol is critical for long-term maintenance of the pressure within both chambers in the TAS model [1].

    - INTERVIEW: Above Talent speaking the statement above in an interview-style shot, looking slightly off-camera Videographer: Can cut for time

  - Stacy Curry: The setup requires attention to detail for a correct dissection, ensuring tissue integrity, a proper tissue placement, effective sealing of both chambers, and independent maintenance of the hydrostatic pressures [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera Videographer: Can cut for time

# Section - Protocol

- Translaminar Autonomous System (TAS) Setup

  - To set up the inflow syringes, load a 30-milliliter syringe with 30 milliliters of the perfusion fluid of interest [1] and attach a 3-way stopcock to the syringe [2].

    - WIDE: Talent loading syringe, with fluid container visible in frame

    - Stopcock being attached to syringe

  - Attach a 0.22-micrometer hydrophilic filter to the stopcock [1] and attach a 15-gauge Luer stub adapter to the 0.22-micrometer hydrophilic filter [2].

    - Filter being attached to stopcock

    - Adapter being attached to filter

  - After removing air bubbles from the syringe setup, attach tubing to the Luer stub adapter [1] and close the side port of the stopcock with an unvented universal lock cap [2].

    - Tubing being attached

    - Side port being closed

  - After setting up a second inflow syringe as just demonstrated, label one syringe “channel 1 ICP (I-C-P)” [1-TXT] and label the other syringe “channel 2 IOP” [2-TXT].

    - Talent labeling syringe Videographer: Important step TEXT: ICP: intracranial pressure

    - Second syringe being placed into frame, with both syringe labels visible in frame Videographer: Important step TEXT: IOP: intraocular pressure

  - Then setup the outflow syringes as just demonstrated but without loading the syringes with the infusion medium [1].

    - Talent attaching 3-way stopcock to syringe

- Human Whole Eye Globe Preparation

  - To prepare a human whole eye globe sample, remove the optic nerve sheath [1] and remove the vitreous humor from the posterior segment [2].

    - WIDE: Talent removing sheath

    - Humor being removed

  - To ensure a good fit on the round dome of the IOP chamber, trim additional sclera from the posterior segment as necessary [1] and use forceps to ensure that the retina is spread evenly over the human posterior of the segment [2].

    - Sclera being trimmed Videographer: Important step

    - Retina being spread Videographer: Important step

  - Then place the segment into the IOP chamber of the TAS (T-A-S) over the round dome with the optic nerve facing up [1] and use an epoxy resin O-ring and four screws to seal the posterior segment [2].

    - Talent placing segment into IOP chamber Videographer: Important step

    - Segment being sealed Videographer: Important step

- IOP (Bottom) Chamber Setup

  - To set up the IOP chamber, insert the tubing into the IN and OUT ports of the chamber [1] and insert the IOP inflow syringe into the IN port [2].

    - WIDE: Talent inserting tubing into at least one port

    - Syringe being inserted

  - Insert the empty IOP outflow syringe setup into the OUT port [1] and use the push-pull method to slowly infuse the perfusion medium into the inflow port to fill the posterior eye cup while simultaneously slowly pulling the perfusion medium out through the outflow syringe to remove any air bubbles from the lines [2].

    - Syringe setup being inserted Videographer: Important/difficult step

    - Medium being perfused/pulled Videographer: Important/difficult step

  - Once both the IN and OUT tubes are void of air bubbles, stop the infusion [1] and lock the stopcocks in the off position [2].

    - Infusion being stopped

    - Stopcock being locked

  - Remove the syringe from the IOP IN port filter assembly [1] and refill the syringe with 30 additional millimeters of medium [2].

    - Syringe being removed

    - Syringe being refilled

  - Then re-insert the syringe setup into the filter assembly [1].

    - Syringe setup being re-inserted

- ICP (Top) Chamber Setup

  - To set up the ICP chamber, place the chamber over the back of the posterior segment [1], taking care that the optic nerve is within the top chamber [2], and seal the top chamber with four screws [3].

    - WIDE: Talent placing chamber over segment

    - Shot of optic nerve in top chamber

    - Chamber being sealed

  - Then insert the tubing into the IN and OUT ports of the ICP chamber [1], the ICP input syringe into the IN port [2], and the empty ICP outflow syringe into the OUT port to flush the system with medium as just demonstrated [3].

    - Tubing being inserted Videographer: Important/difficult step

    - Syringe being inserted Videographer: Important/difficult step

    - Syringe being inserted Videographer: Important/difficult step

- Data Recording System Setup

  - To set up the data recording system, turn on the 8-channel power source and the computer [1] and initiate the data acquisition software [2].

    - WIDE: Talent turning on power source and/or computer

    - Talent opening software, with monitor visible in frame

  - Select File and New and select Setup and Channel Settings [1].

    - SCREEN: screenshot_1: 00:02-00:10

  - Select three channels and rename the channels as indicated [1].

    - SCREEN: screenshot_1: 00:14-00:53 Video Editor: please speed up

  - Select 2 millivolts for the Range on all if the channels [1] and, in the Calculation column, select No Calculation for channels 1 and 2 [1].

    - SCREEN: screenshot_1: 00:57-01:12

    - SCREEN: screenshot_1: 01:13-01:19

  - Select Arithmetic for channel 3. In the Formula window, under Channels, select CH2 [1], under Function, select Math and Minus and under Channels, select CH1 [1].

    - SCREEN: screenshot_1: 01:19-01:26

    - SCREEN: screenshot_1: 01:39-01:51 Video Editor: please speed up

  - To set up and calibrate the hydrostatic pressure transducers, connect the hydrostatic pressure transducers to the transducer lines attached to the multichannel bridge amplifier [1] and attach an empty 30-milliliter syringe to the side port of the channel 1 ICP pressure transducer [2].

    - Talent connecting transducer(s) to transducer line(s)

    - Syringe being attached

  - Attach a sphygmomanometer to the bottom of the channel 1 ICP pressure transducer [1] and click the arrow next to the sampling time to set the sampling speed to 100 [2].

    - Talent attaching sphygomomanometer Videographer: Important step

    - SCREEN: screenshot_2: 00:01-00:03

  - Select Bridge Amp, Mains Filter, and Zero and wait for the system to zero out, taking care to not move the pressure transducer [1].

    - SCREEN: screenshot_2: 00:04-00:27 Video Editor: please speed up

  - Next, pinch the white tabs of the pressure transducer [1] and push air through the transducer until 40 millimeters of mercury are obtained on the sphygmomanometer [2].

    - Tabs being pinched

    - Pressure reaching 40 mmHg

  - Then release the white tabs [1] and remove the syringe and sphygmomanometer [2].

    - Tabs being released

    - Talent removing syringe and/or sphygmomanometer

  - On the Units Conversion page, select minus and highlight the highest plateau to indicate 40 millimeters of mercury [1].

    - SCREEN: screenshot_3: 00:11-00:15

  - Click the Arrow for point 1, enter 100, and highlight the lowest plateau to indicate 0 millimeters of mercury [1].

    - SCREEN: screenshot_3: 00:15-21

  - Click the Arrow for point 2, enter 0, select millimeters of mercury for the units, and click OK [1].

    - SCREEN: screenshot_3: 00:23-28

  - In the Bridge Amp window, click OK [1] and calibrate the hydrostatic pressure transducers for channel 2 IOP as just demonstrated, using 100 millimeters of mercury for the highest plateau [2] and 0 for the lowest plateau [3].

    - SCREEN: screenshot_3: 00:28-00:31

    - SCREEN: screenshot_3: 00:15-21

    - SCREEN: screenshot_3: 00:23-28

  - To connect the TAS-posterior segment unit to the data acquisition system, place the TAS-posterior segment unit into a 37 degree Celsius, 5% carbon dioxide incubator [1] and attach the ICP tubing from the OUT port to the channel 1 ICP pressure transducer [2].

    - Talent placing segment into incubator

    - Talent attaching tubing

  - Attach the IOP tubing from the OUT port to the channel 2 IOP pressure transducer [1] and attach the medium-loaded, IN port syringe setups to the ring stand [2].

    - Talent attaching tubing

    - Talent attaching syringe setups to ring stand

  - On the Chart view page, select Start Sampling and set the sampling speed to Slow and 1 minute [2].

    - SCREEN: screenshot_4: 00:04-08

  - Then adjust the syringes on the ring stand up or down to regulate ICP and IOP pressures according to the protocol requirements [1-TXT].

    - Talent adjust syringe(s) TEXT: Replenish medium every 48-72 h via push/pull method as demonstrated

# Section – Results

- Results: Representative Translaminar Autonomous System Model Analyses

  - In this representative analysis, the maintenance of the average normal pressure differentials in both chambers were tested through various parameters of IOP and ICP conditions [1].

    - LAB MEDIA: Figure 3 Video Editor: please sequentially add/indicate graphs from top to bottom of Figure

  - To ensure the viability of the tissue, the medium in the tissues was exchanged every 48 hours [1].

    - LAB MEDIA: Figure 4

  - Minimal pressure increases occurred at the time of medium exchange [1] and did not affect the viability or morphology of the optic nerve head as observed by immunohistochemical analysis [2] and collagen four expression on days 14 and 30 of the experiment [3].

    - LAB MEDIA: Figure 4 Video Editor: please emphasize data line in Figure 4G

    - LAB MEDIA: Figure 4 Video Editor: please emphasize Figures 4A, 4B, 4D, and 4E

    - LAB MEDIA: Figure 4 Video Editor: please emphasize green signal in Figures 4C and 4F

  - Increasing the IOP [1] or decreasing the ICP [2] over various timepoints allows the maintenance of a range in elevated translaminar pressure gradient for 7 days [3].

    - LAB MEDIA: Table 2 Video Editor: please emphasize Mean IOP of 24 h column

    - LAB MEDIA: Table 2 Video Editor: please emphasize Mean ICP of 24 h column

    - LAB MEDIA: Table 2 Video Editor: please emphasize Mean TLPG of 24 h column

  - At 7 days of elevated translaminar pressure gradient, cupping and thickening were observed in posterior segments [1] and collagen four expression demonstrates thickened beams with an increased signal expression over the experimental period [2].

    - LAB MEDIA: Figure 5A-D Video Editor: please emphasize Figure 5D image

    - LAB MEDIA: Figure 5E-H Video Editor: please sequentially emphasize green signal in Figure 5F-5H images

  - Phase imaging [1] reveals healthy retinal ganglion cells within the ganglion cell layer [2] with no cupping in the control segments [3], while images from elevated translaminar pressure gradient cultures exhibit extensive cupping with no retinal ganglion cells remaining within the retinal nerve fiber layer [4] and increased remodeling of the extracellular matrix [5].

    - LAB MEDIA: Figures 5I-J” Video Editor: please emphasize Figures 5I and 5J

    - LAB MEDIA: Figures 5I-J” Video Editor: please emphasize Figure 51’

    - LAB MEDIA: Figures 5I-J” Video Editor: please emphasize Figure 5I”

    - LAB MEDIA: Figures 5I-J” Video Editor: please emphasize Figure 5J’

    - LAB MEDIA: Figures 5I-J” Video Editor: please emphasize Figure 5J”

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Stacy Curry: It is important to follow the protocol carefully to ensure an accurate tissue placement and pressure maintenance [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Step: 2.4., 3.2., 3.3., 4.2., 5.2., 6.7.)

  - Tasneem Sharma: The TAS model allows the evaluation of human intracranial pressure in an ex vivo, preclinical manner that previously could not be studied [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera Videographer: Can cut for time