# Submission ID #: 61011

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18608403

Title: Investigation of Xenobiotic Metabolism in Salix alba Leaves via Mass Spectrometry Imaging

Authors and Affiliations: Claire Villette1, Loïc Maurer1,2, and Dimitri Heintz1

1Plant Imaging and Mass Spectrometry (PIMS), Institut de biologie moléculaire des plantes, CNRS, Université de Strasbourg

2Département mécanique, ICube Laboratoire des sciences de l’ingénieur, de l’informatique et de l’imagerie, UNISTRA/CNRS/ENGEES/INSA

# Corresponding Author:

# Dimitri Heintz

# dimitri.heintz@ibmp-cnrs.unistra.fr

# Co-authors:

# claire.villette@ibmp-cnrs.unistra.fr

# loic.maurer3@etu.unistra.fr

## Author Questionnaire

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

3. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   N

Protocol Length

Number of Shots: 26

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Claire Villette: This protocol allows the direct identification of predicted metabolites in situ, facilitating the determination of the types of tissues or cells impacted by a specific metabolic process [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED:

  - Claire Villette: This method is quick and straightforward. It does not require a complicated sample preparation or compound extraction and allows the identification and localization of low abundant compounds [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot,

# Protocol

- Sample Preparation

  - Upon acquisition of the biological sample, cool a cryomicrotome, sample holder, and blade to minus 20 degrees Celsius [1].

    - WIDE: Talent setting cryomicrotome temperature

  - If necessary, pour embedding medium into a plastic mold placed within the cryomicrotome chamber [1] and quickly add the sample to the medium [2-TXT].

    - Talent pouring medium into mold

    - Talent placing sample into medium TEXT: Here plant leaves will be shown

  - Cover the sample with additional embedding medium [1] and adjust the position of the sample to the center of the mold as necessary as the matrix solidifies [2-TXT].

    - Medium being added Videographer: Important step

    - Sample position being adjusted/shot of sample in center of cooling medium Videographer: Important step TEXT: Not all samples require embedding medium

  - When the sample is ready, use embedding medium to mount the tissue onto the cryomicrotome holder [1] and use the cooled blade to cut the tissue into appropriately-size sections [2-TXT], modifying the cutting thickness and temperature as necessary to obtain optimal samples [3].

    - Sample being mounted Videographer: Difficult step

    - Sample being sectioned Videographer: Difficult step TEXT: e.g., 5-30 micrometers for plant samples

    - Talent adjusting thickness and/or temperature Videographer: Difficult step

  - As each section is acquired, use an appropriate tool to carefully move the slice to an indium-tin-oxide-coated glass microscope slide [1] and place a finger under the slide to warm and dry the sample [2] before placing the slide into the cryomicrotome chamber [3].

    - Slice being moved into slide Videographer: Difficult step

    - Finger being placed under sample Videographer: Difficult step

    - Slide being placed into chamber Videographer: Difficult step

  - When all of the slices have been acquired, slowly remove the slides from the chamber [1] and use an appropriate marker to indicate the exact location of each sample on the slides [2].

    - Talent removing slides from chamber Videographer: Important step

    - At least one slide being marked Videographer: Important step

  - When all of the slides have been marked, use a high-resolution scanner to scan the samples [1].

    - Talent placing slide(s) into scanner

- Matrix Deposition

  - After scanning, clean the matrix deposition robot with 100% methanol [1] and use methanol and a precision wipe to clean each slide, holding the samples without touching them and without removing the marks [2].

    - WIDE: Talent cleaning robot

    - Slide being cleaned

  - Place a clean coverslip over each slide in an area without sample [1] and place the coverslip end of the first slide over the optical detector [2].

    - Coverslip being placed

    - Slide being placed over optical detector

  - Then place no more than 6 milliliters of freshly prepared matrix solution in the matrix deposition reservoir [1-TXT] and add 2 milliliters of 100% methanol to a total volume of 8 milliliters [2].

    - Robot spraying matrix solution on the slide Videographer: Important step TEXT: See text for all medium and solution preparation details

- Data Acquisition

  - For data acquisition setup, place 1 microliter of matrix onto a MALDI (mall-dee) plate [1] and insert the plate into the source [2].

    - WIDE: Talent adding matrix to plate

    - Talent inserting plate into source

  - Click Load Target in the device software [1] and click on the spot in the image that represents the MALDI plate to select the position of the matrix spot. Indicate the sample name and folder in the Sample Info tab [2].

    - Talent clicking load target, with monitor visible in frame

    - SCREEN: screenshot_1: 00:02-00:13

  - Click Acquisition to start the acquisition and use the mouse pointer to move the plate slightly so that the laser points at different spots [1].

    - SCREEN: screenshot_1: 00:14-00:27 Video Editor: can speed up

  - When the acquisition is finished, open the Calibration tab and select HCCA (H-C-C-A) calibration list in the Quadratic Mode and click Automatic. The global calibration result will be indicated in the Calibration Plot window [1].

    - SCREEN: screenshot_1: 00:28-00:41 Video Editor: can speed up

  - If the calibration is in the appropriate range, click Accept and save the method [1-TXT].

    - SCREEN: screenshot_1: 00:42-00:52 TEXT: e.g., 0.2 ppm for SolariX XR 7T

  - Once the matrix deposition on the samples is finished, place the slides in a slide adapter [1] and use a plastic cover to retrieve the position of the marks [2].

    - Talent placing slide(s) into slide adapter Videographer: Important step

    - Talent retrieving mark position(s) Videographer: Important step

  - In the imaging software, set up a new imaging run in the first window that opens in the software [1] and name the imaging run [2].

    - Talent setting up imaging run, with monitor visible in frame

    - SCREEN: screenshot_2: 00:02-00:07

  - Select the Result Directory and click Next [1].

    - SCREEN: screenshot_2: 00:08-00:13

  - Indicate the raster size, select the method to be used, and click Next [1].

    - SCREEN: screenshot_2: 00:14-00:22

  - Load the optical image from a scanned slide and click Next [1].

    - SCREEN: screenshot_2: 00:23-00:27

  - The image will open in a wider window [1].

    - SCREEN: screenshot_2: 00:28-00:34

  - Under ftmsControl, place the target of the MALDI video window on the exact position of a mark and open Flex Imaging [1].

    - SCREEN: screenshot_2: 00:35-00:46

  - Then click on the exact same point on the optical image [1] and place the plastic cover bearing the marks onto a MALDI plate to recover its position and to facilitate the teaching [2-TXT].

    - SCREEN: screenshot_2: 00:47-00:50 TEXT: Repeat targeting for 3 independent points

    - Cover being placed

  - Use the Add Measurement Regions tools to draw the regions of interest in the samples and save the imaging run [1].

    - SCREEN: screenshot_3: 00:03-00:53 Video Editor: please speed up

  - If several samples are to be analyzed, run the AutoXecute Sequence and use AutoXecute Batch Runner to launch a sequence [1].

    - SCREEN: screenshot_3: 00:54-01:08

- Data Processing

  - When all of the images have been acquired, use the Batch Importer tool to select the raw data [1], indicate the target directory, and click Import [2].

    - WIDE: Talent selecting raw data, with monitor visible in frame

    - SCREEN: screenshot_4: 00:02-00:08

  - Click File and New to select the Dataset tool to elect the type of instrument used for the acquisition and click plus to add the imported datasets [1].

    - SCREEN: screenshot_5: 00:02-00:05

  - Click and drag to arrange the images [1] and check and modify the mass range settings as necessary. Click Next to see the import summary and launch the import [2].

    - SCREEN: screenshot_5: 00:14-00:36 Video Editor: please speed up

    - SCREEN: screenshot_5: 01:04-01:13

  - Visualize the mass-to-charge ratio in different tissues within a sample or between different samples and click spectra to select the mass-to-charge ratios of interest [1].

    - SCREEN: screenshot_6: 00:02-00:23 Video Editor: please speed up

  - Export the mass-to-charge ratios of interest as a .csv file from the Object tab and click Export [1].

    - SCREEN: screenshot_6: 00:25-00:44 Video Editor: please speed up

  - To create a new dataset in an annotation software program and click Projects and Import CSV project [1] to import the .csv file into the software [2].

    - SCREEN: screenshot_7: 00:02-00:20 Video Editor: can speed up

    - SCREEN: screenshot_7: 00:49-00:56 TEXT: Only exact m/z considered, isotopic profile lost

  - Annotate with custom-made analyte lists, which can be derived from publicly available databases [1]. A template is given by the software to create analyte lists [2].

    - SCREEN: screenshot_7: 01:04-01:12 Video Editor: please speed up

    - SCREEN: screenshot_7: 03:29-03:39

  - Use the prediction software to perform in silico prediction of the metabolites of the annotated compounds [1-TXT].

    - SCREEN: screenshot_8: 00:02-00:14 TEXT: Developed compound formula required

  - Recover the list of metabolites [1], create an analyte list [2] and use the list in the annotation software to annotate the raw data with predicted metabolites [3-TXT].

    - SCREEN: screenshot_9: 00:02-00:13

    - SCREEN: screenshot_10: 00:02-00:26 Video Editor: please speed up

    - SCREEN: screenshot_10: 00:27-1:02 Video Editor: can speed up TEXT: Shot metabolite list can be manually searched

  - Then right-click on the predicted metabolite of interest to recover the names of the enzymes involved in the metabolic processes in the prediction software [1].

    - SCREEN: screenshot_11: 00:02-00:10

## Protocol Script Questions

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

2.3., 2.6., 3.3., 4.7.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

2.4., 2.5. Taking time to adjust parameters to the type of sample is the key parameter to assure success.

# Results

- Results: Representative Enzymatic Profile Analyses in Response to Xenobiotics Exposure

  - In this example, the drug telmisartan was determined to be distributed throughout the plant leaf tissue samples [1].

    - LAB MEDIA: Figure 2 Video Editor: please emphasize Telmisartan structure and text

  - The drug metabolites were predicted and searched for in the raw data [1] and the annotations revealed that one first-generation metabolite was detected in the internal tissues of the leaves [2] and further degraded into second-generation metabolites that were localized in internal tissues or more generally distributed in all of the leaf tissues [3].

    - LAB MEDIA: Figure 2

    - LAB MEDIA: Figure 2 Video Editor: please emphasize C33 H32 N4 O3 (I) structure and text

    - LAB MEDIA: Figure 2 Video Editor: please emphasize Video Editor: please emphasize C33 H30 N4 O3 (II), C33 H32 N4 O4 (II), and C32 H30 N4 O3 (II) structures and texts

  - These results suggest an active metabolic reaction in the leaves to degrade telmisartan [1].

    - LAB MEDIA: Figure 2

  - The process was then applied to several compounds of interest annotated in the leaves [1] and the enzymes involved in the reactions were recovered to investigate their role in the plant's response to xenobiotic accumulation [2].

    - LAB MEDIA: Figure 3

    - LAB MEDIA: Figure 3 Video Editor: please sequentially add/emphasize data bars from left to right

# Conclusion

- Conclusion Interview Statements

  - Claire Villette: Although this procedure is quite simple, a good sample preparation is key. Be sure to take the time to find the parameters that fit your sample type during the tissue sectioning [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (2.4., 2.5.)

  - Claire Villette: The sample slides can be further used for microscopy observations and can be stained to acquire a panel of complementary biological information [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera