## Sheet1
Name of Material/Equipment | Company | Catalog Number | Comments/Description
0.22 um syringe filter | Milipore Sigma | SLGP033RS
0.5M EDTA, pH 8.0 | Thermo-Fisher | 15575020 | Used to make TE-TW buffer
0.75 mm biopsy punch | World Precision Instruments | 504529
1 mL syringes | BD | 309628
1H,1H,2H-Perfluoro-1-Octanol (PFO) | Sigma-Aldrich | 370533
1M Tris-HCI, pH 8.0 | Thermo-Fisher | 15568025 | Used to make TE-TW buffer
27 gauge needles | BD | 305109
3 mL syringes | BD | 309657
3" silicon wafers, P type, virgin test grade | University Wafers | 447
3D-printed centrifuge syringe holder | (custom) | (custom) | See Supplemental Files for 3D print file
Agarose, low gelling temperature | Sigma-Aldrich | a9414
Aquapel (hydrophobic glass treatment) | Pittsburgh Glass Works | 47100
Drop-Seq Beads | ChemGenes | MACOSKO-2011-10
Glass microscope slides (75 mm x 50 mm) | Corning | 294775X50
Ionic Krytox Surfactant |  |  | Synthesis instructions in ref 14. Can substitute with PEG-PFPE surfactant.
Isopropanol | Sigma-Aldrich | 109827
NaCl | Sigma-Aldrich | S9888
Novec 7500 | 3M | 98-0212-2928-5 | Commonly knowns as HFE 7500
PBS | Fisher Scientific | BP243820
PE-2 polyethylene tubing | Scientific Commodities | B31695-PE/2
PEG-PFPE surfactant | Ran Biotechnologies | 008-FluoroSurfactant
PGMEA developer | Sigma-Aldrich | 484431
Photomasks | CadArt Servcies | (custom) | See Supplemental Files for mask designs
Spin coater | Specialty Coating Systems | G3P-8
SSC Buffer | Sigma-Aldrich | S6639
SU-8 2100 | MicroChem | Y111075
SU-8 2150 | MicroChem | Y111077
Sylgard 184 silicone elastomer kit | Krayden | 4019862
Tween-20 | Sigma-Aldrich | P1379 | Used to make TE-TW buffer
YR Digestion buffer | Zymo Research | R1001-1 | Spheroplasting buffer
YR Lysis Buffer | Zymo Research | R1001-2
Zymolyase | Zymo Research | E1005 | Spheroplasting enzyme mixture