61015_Screenshot_1

Impedance analyzer

3.3 : Select S11 and choose frequency range of interest(0:00 - 0:21)

3.4:  Frequency sweep (0:23 (Device Attached) - 0:33)

3.5 : Data Export(0:33 - 0:37)

61015_Screenshot_2

LDV

4.1 : Select correct objective and bring device in focus(0:00 - 0:17)

4.2 : Define scan points or choose continuous scan(0:17 - 0:31)

4.3 : Settings-FFT-Averages(0:31 - 0:40)

4.4 : Channel(0:40 - 0:48)

4.5 : Generator(0:48 - 0:58)

4.6 : Adjust bandwidth if required(0:58 - 1:12)

Rest of the video shows sample results from a continuous scan.

61015_Screenshot_3

High speed camera

Start software (0:00-0:08)

6.3: Adjust focus and position (0:08-1:23)

6.4: Choose frame rate (1:23-1:29)

Place sessile drop via pipette (1:29-1:38)

6.5: Adjust light intensity and shutter (1:38-2:20)

6.7: Capture video (2:20-2:39)

Save relevant portion (2:39-3:09)

61015_Screenshot_4

Laser scattering droplet sizer

Start software (0:00-0:10)

7.2: Turn on laser to facilitate alignment (0:10-0:32)

7.4: Create new SOP (0:32-3:28)

Default continuous and sampling period (0:47-1:17)

Data handling (1:34-2:29)

Omit first 10 detectors to avoid spurious peak at large sizes (2:29-2:49)

7.5: Start SOP (3:28-5:44)

7.6: Data collection, stop recording (5:44-6:50)

7.7: Select Data and generate average (6:50-7:28)

7.8: Save average distribution (7:28-8:21)