TITLE:

Measurement of Chladni Mode Shapes with an Optical Lever Method

AUTHORS AND AFFILIATIONS:

Rong Feng1,*, Yan Luo1,*, Yixue Dong1, Mengke Ma2, Yuqi Wang2, Jing Zhang3, Wenjiang Ma3, Donghuan Liu4

1School of Materials Science and Engineering, University of Science and Technology Beijing, Beijing, China

2School of Civil and Resource Engineering, University of Science and Technology Beijing, Beijing, China

3Basic Experimental Center for Natural Science, University of Science and Technology Beijing, Beijing, China

4School of Mathematics and Physics, University of Science and Technology Beijing, Beijing, China

*These authors contributed equally.

Email addresses of co-authors:

Rong Feng		(llxfpa@126.com)

Yan Luo		(41621051@xs.ustb.edu.cn)

Yixue Dong		(13121031123@163.com)

Mengke Ma		(ma1540563984@163.com)

Yuqi Wang		(1632664009@qq.com)

Jing Zhang		(0811zhangjing@ustb.edu.cn)

Wenjiang Ma		(wjma@ustb.edu.cn)

Corresponding author:

Donghuan Liu		(liudh@ustb.edu.cn)

KEYWORDS:

Chladni pattern, vibration test, mode shape, optical lever method, circular plate, two-dimensional standing wave.

SUMMARY:

A simple method of measuring the Chladni mode shape on an elastic plate by the principle of an optical lever is proposed.

ABSTRACT:

Quantitatively determining the Chladni pattern of an elastic plate is of great interest in both physical science and engineering applications. In this paper, a method of measuring mode shapes of a vibrating plate based on an optical lever method is proposed. Three circular acrylic plates were employed in the measurement under different center harmonic excitations. Different from a traditional method, only an ordinary laser pen and a light screen made of ground glass are employed in this novel approach. The approach is as follows: the laser pen projects a beam to the vibrating plate perpendicularly, and then the beam is reflected to the light screen in the distance, on which a line segment made of the reflected spot is formed. Due to the principle of vision persistence, the light spot could be read as a bright straight line. The relationship between the slope of the mode shape, length of the light spot and the distance of the vibrating plate and the light screen can be obtained with algebraic operations. Then the mode shape can be determined by integrating the slope distribution with suitable boundary conditions. The full-field mode shapes of Chladni plate could also be determined further in such a simple way.

INTRODUCTION:

Chladni mode shapes are of great interest in both science and engineering applications. Chladni patterns are reactions of physical waves, and one can illustrate the wave pattern with various methods. It is a well-known method to show the various modes of vibration on an elastic plate by outlining the nodal lines. Small particles are always employed to show the Chladni patterns, since they can stop at the nodes where the relative vibrating amplitude of the plate is zero, and the positions of the nodes vary with resonant mode to form various Chladni patterns.

Many researchers have paid attention to various Chladni patterns, but they only show the nodal lines of the mode shapes, the mode shapes (i.e., vibration amplitude) between the nodal lines are not illustrated. Waller investigated the free vibrations of a circle1, a square2, an isosceles right angled triangles3, a rectangular4, elliptical5 plates, and different Chladni patterns are illustrated therein. Tuan et al. reconstructed different Chladni patterns through both experimental and theoretical approaches, and the inhomogeneous Helmholtz equation is adopted during the theoretical modeling6,7. It is a popular method of using Laser Doppler Vibrometer (LDV) or Electronic Speckle Pattern Interferometry (ESPI) to quantitatively measure the mode shapes of the Chladni patterns8-10. Although LDV enables femtometer amplitude resolution and very high frequency ranges, unfortunately, the price of LDV is also a little expensive for classroom demonstration and/or college physics education. With this consideration, the present paper proposed a simple approach to quantitatively determine the mode shapes of a Chladni pattern with low cost, since only an extra laser pen and a light screen are needed here.

The present measurement method is illustrated in Figure 111. The vibrating plate has three different positions: the rest position, position 1 and position 2. Position 1 and 2 represent the two maximum vibrating places of the plate. A laser pen projects a straight beam on the surface of the plate, and if the plate locates at the rest position, the laser beam will be directly reflected to the light screen. While the plate locates at position 1 and 2, then the laser beam will be reflected to point A and B on the light screen, respectively. Due to the effect of persistence of vision, there will be a bright straight line on the light screen. The length of the bright light L is related to the distance D between the light screen and the location of the laser point. Different points on the plate have different slopes, which could be determined by the relationship between L and D. After obtaining the slope of the mode shape at different points on the plate, the problem turns into a definite integral. With the help of the boundary vibration amplitude of the plate and the discrete slope data, the mode shape of the vibrating plate can be obtained easily. The whole experimental setup is given in Figure 211.

This paper describes the experimental setup and procedure for the optical lever method to measure the Chladni mode shapes. Some typical experimental results are also illustrated.

PROTOCOL:

- Experimental setup and procedures

NOTE: Set up the experimental system as shown in Figure 2.

1.1. Preparation of the vibration system

1.1.1. Prepare three 1.0-mm-thickness mirrored circular acrylic plates with diameter of 150 mm, 200 mm and 250 mm respectively. Drill a hole of 3 mm in diameter at the center of each plate. Mark several black points every 5 mm along an arbitrary radius.

1.1.2. Attach each plate to the actuate bar of the vibrator with a bolt in the middle point. Drive the vibrator with a sine wave using a waveform generator, and default settings will be enough for the resonance experiment.

NOTE: The excitation direction of the vibrator is horizontal for the convenience of moving the screen afterwards.

1.1.3. Acquisition of the resonance frequency

1.1.3.1. Place the laser pen to project the laser beam to the vibrating plate perpendicularly such that the beam is reflected to the light screen in the distance. The distances between the laser pen and the plate and the light screen are 120 mm and 500 mm, respectively.

NOTE: The farther the distance between the light screen and the vibrating plate, the more obvious the phenomenon appears. It is also noted that the present method can be used to measure either axisymmetric or non-axisymmetric mode shapes. Due to the consideration of simplicity and convenience, the present manuscript only demonstrates the application in determining axisymmetric mode shapes of three circular plates. Then we just need to measure the vibration amplitude along any radial direction to reconstruct the two-dimensional mode shape of the plate.

1.1.3.2. Move the laser pen along the direction perpendicular to its length direction to make the incident point scan over a diameter while the signal generator changing its frequency continuously. Do it quickly until the spot length is significantly stretched along the diameter when scanning in a certain frequency range, and some spots with almost no expansion appear. For the plate with a diameter of 150 mm, 200 mm and 250 mm, the frequency ranges swept are 200-400 Hz, 100-300 Hz and 50-250 Hz, respectively.

1.1.3.3. Scan this certain frequency range slowly and pick out the frequency at which the spot expands most obviously. It is found that for the plate with a diameter of 150 mm, 200 mm and 250 mm, the resonance frequencies are 346 Hz, 214 Hz and 150 Hz, respectively.

1.2. Preparation of the light path and measurement system

1.2.1. Place the light screen parallel to the vibrating plate. Mark the distance with a meter ruler, and use 500 mm as the starting distance.

1.2.2. Place the laser pen to project the beam perpendicularly on the plate such that the beam is reflected to the light screen in the distance. Make sure that the mark made before can be scanned while the laser pen is moving.

NOTE: The laser beam light must be projected perpendicularly on the plate.

1.3. Experimental measurement

1.3.1. Turn on the signal generator and set the excitation frequency to be the same as the resonance frequency obtained in step 1.1.3.3. The signal intensity should as small as possible once the light spot on the light screen is large enough to be recorded.

1.3.2. Adjust the laser pen to make the incident point coincide with the first marker, which is the nearest marker to the fixed point of the plate.

1.3.3. Move the screen from a distance D of 500 mm to 1000 mm and measure the spot length L on the screen every 50 mm. Record data in tabular form.

1.3.4. Adjust the laser pen to make the incident point adjacent to the next marker in turn and repeat step 1.3.3 until all the markers have been measured.

NOTE: Since acrylic plates are easily deformed plastically under excitation, the experimental measurement process of one plate cannot be paused for a long time.

1.3.5. Replace the former plate with the next one and repeat steps 1.3.1 to 1.3.4.

- Data processing

  - Determine the angle  between the incident and reflected light with relationship:

where D is the distance between the rest position of the vibrating plate and the light screen, w is vibrating amplitude of the plate, and L is the length of the light spot on the light screen. Several pairs of D and L are obtained in step 1.3.3.

  - Determine the slope  of the mode shape by:

NOTE: The obtained slope is always positive with Eqs.(1) and (2).

  - Use a minus sign between two zero points to obtain the true slope distribution.

NOTE: It does not matter whether the revision begins from the first or the second zero point.

  - Integrate the slope distribution of each plate and determine the integral constant by the nodes to obtain the mode shape with:

NOTE: Nodes correspond to the largest slope of the mode shape.  is a constant determined by the location of the nodal lines of the Chladni pattern shown in Figure 2.

  - Compute the uncertainty of the slope12 with:

NOTE:  is the t distribution factor with 95% confidence and degrees of freedom n-2, and it is about 2 here.  is the standard error of the linear regression with D and L,  denotes the uncertainty of the measured distance , and is 0.5 mm here. The average measured distance is defined by , and n denotes the total number of measured .

REPRESENTATIVE RESULTS:

The excitation frequency that can excite axisymmetric Chladni pattern is determined through the frequency sweeping test. Three circular acrylic plates with diameters of 150 mm, 200 mm and 250 mm are tested, and results show that the first order axisymmetric resonance frequencies are 346 Hz, 214 Hz and 150 Hz for the three plates respectively. It is concluded that with larger diameter, the plate is more flexible, and the corresponding resonance frequency will be smaller. The Chladni patterns of the acrylic plate with different diameters are given in Figure 311.

Under the corresponding resonant frequency, the length of the light spot on the light screen of different plates can be measured and recorded. The regression value of mode shape slope can be obtained with Eq.(1), whose distributions along the radial direction of plate A, B and C are given in Table 111, and they are determined by measuring several different light spot lengths L of the specific laser point with different distance D.

Numerical simulation with ANSYS is performed to verify the present experimental results. The script code of APDL (ANSYS Parametric Design Language) is provided as a Supplemental File 1. Figure 411 shows the comparisons of the present experimental results and numerical results on the mode shape of different plates. It is very clear that all results with different conditions compare very well, which prove the feasibility of the present method in measuring the mode shape of plates.

FIGURE AND TABLE LEGENDS:

Figure 1: Illustration of the present measurement method. The basic measurement principal is illustrated in this figure, with an emphasis on the incident and reflect light beam and the relationship of different geometric parameters.

Figure 2: The experimental setup. The picture of experimental setup is provided for clearly understand and replicate the measurement approach easily.

Figure 3: Chladni pattern of different acrylic plates: (a) 150 mm, (b) 200 mm, (c) 250 mm. The Chladni patterns of three different acrylic circular plates are given respectively. The brown particles are sands and clearly show the nodal line of the Chladni patterns.

Figure 4: Comparisons of experimental results and numerical simulation for the mode shapes of different plates: (a) 150 mm, (b) 200 mm, (c) 250 mm. The numerical results obtained with ANSYS and the present experimental results are compared to verify the reliability of the present experimental method.

Table 1: Slope distribution of the mode shape along radial direction. The calculated slope distribution of the mode shape along the radial direction is provided, and both original and revised slope are given to illustrate the process of revision.

Supplement File 1: ANSYS script for simulating the dynamic response and mode shape of a plate.

DISCUSSION:

The optical lever method is adopted in this paper to determine the mode shape of a plate, since the Chladni pattern can only show the nodal lines of a vibrating plate. To determine the mode shape of the plate, the relationship between the slope and distance of the light screen and spot length should be obtained in advance. Then through definite integration calculation, the mode shape of the Chladni pattern could be quantitatively determined.

Generally, the whole process of the present approach includes the following steps: (1) Perform the forced vibration test to obtain the resonance frequency of the plate. (2) Conduct forced vibration test near the resonance frequency, and record the coordinates of the nodes of Chladni pattern. These data are used for calibrating the absolute mode shape obtained by experimental tests. (3) The laser spot is perpendicularly projected to different radial locations of the plate, and the length of the light spot on the light screen is measured. This test needs to be repeated several times with different distances between the vibrating plate and light screen to obtain the linear regression value of the mode shape slope with Eq. (2). (4) Obtain the experimental mode shape of the Chladni pattern with Eq. (4) through post processing the raw experimental data.

It should be pointed out that, although the present experimental demonstration only shows the measurement of axisymmetric Chladni patterns, it also could be used for the determination of nonaxisymmetric Chladni patterns in a forward manner. Not only circular plates, but also other shapes, such as triangle, rectangular, and even irregular shapes could be employed to show the beauty of Chladni patterns. Furthermore, if the measuring point density, laser source, measuring tool, as well as the integral calculation method are carefully chosen, the accuracy of the proposed method could be adapted to required level.

ACKNOWLEDGMENTS:

This work was supported by National Natural Science Foundation of China (grant no. 11772045) and Education and Teaching Reform Project of University of Science and Technology Beijing (grant no. JG2017M58).

DISCLOSURES:

The authors have nothing to disclose.

REFERENCES:

1.	Waller, M. D. Vibrations of free circular plates. Part 1: Normal modes. Proceedings of the Physical Society. 50 (1), 70-76 (1938).

2.	Waller, M. D. Vibrations of free square plates: part I. Normal vibrating modes. Proceedings of the Physical Society. 51 (5), 831-844 (1939).

3.	Waller, M. D. Vibrations of free plates: isosceles right-angled triangles. Proceedings of the Physical Society. 53 (1), 35-39 (1941).

4.	Waller, M. D. Vibrations of Free Rectangular Plates. Proceedings of the Physical Society Section B. 62 (5), 277-285 (1949).

5.	Waller, M. D. Vibrations of Free Elliptical Plates. Proceedings of the Physical Society Section B. 63 (6), 451-455 (1950).

6.	Tuan P. H., Wen C. P., Chiang P. Y., Yu Y. T., Liang H. C., Huang K. F., et al. Exploring the resonant vibration of thin plates: Reconstruction of Chladni patterns and determination of resonant wave numbers. The Journal of the Acoustical Society of America. 137 (4), 2113-2123 (2015).

7.	Tuan P. H., Lai Y. H., Wen C. P., Huang K. F., Chen Y. F. Point-driven modern Chladni figures with symmetry breaking. Scientific Reports. 8 (1), 10844 (2018).

8.	Castellini P., Martarelli M., Tomasini E. P. Laser Doppler Vibrometry: Development of advanced solutions answering to technology's needs. Mechanical Systems and Signal Processing. 20 (6), 1265-1285 (2006).

9.	Sels S., Vanlanduit S., Bogaerts B., Penne R. Three-dimensional full-field vibration measurements using a handheld single-point laser Doppler vibrometer. Mechanical Systems and Signal Processing. 126, 427-438 (2019).

10.	Georgas, P.J. and Schajer, G.S. Simultaneous Measurement of Plate Natural Frequencies and Vibration Mode Shapes Using ESPI. Experimental Mechanics, 53 (8), 1461-1466 (2013).

11.	Luo Y., Feng R., Li X. D., Liu D. H. A simple approach to determine the mode shapes of Chladni plates based on the optical lever method. European Journal of Physics. 40, 065001 (2019).

12.	Coleman H. W., Steele W. G. Experimentation and uncertainty analysis for engineer. John Wiley & Sons. New York, NY (1999).