# Submission ID #:  61034

# Scriptwriter Name: Susan

# Project Page Link: http://www.jove.com/files_upload.php?src=18615418

# Title: Fluorescent Immunolocalization of Arabinogalactan Proteins and Pectins in the Cell Wall of Plant Tissues

# Authors and Affiliations:

Mário Costa1,2, Ana Marta Pereira3, Sílvia Coimbra1,2

1Departamento de Biologia, Faculdade de Ciências da Universidade do Porto, Porto, Portugal

2Laboratório Associado para a Química Verde, Requimte, Lisbon, Portugal

3Dipartimento di Bioscienze, Universitá degli Studi di Milano, Milan, Italy

☐   All author names are spelled correctly and the affiliations are correct.

# Corresponding Author:

Silvia Coimbra 		scoimbra@fc.up.pt

# Email Addresses for Co-authors:

# Mário Costa 		mariocost@fc.up.pt

# Ana Marta Pereira 	ambacpereira@gmail.com

Author Questionnaire

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique?  Yes

If Yes, can you record movies/images using your own microscope camera?

Yes

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Filming location: Will the filming need to take place in multiple locations?   Yes

If Yes, how far apart are the locations? All in same building

Introduction

- Introductory Interview Statements

Answers to these questions will be incorporated into the script as author interview statements, which will be filmed on the same day as your protocol.

- Enter the full name of the author who will deliver the statement on camera. Each author should deliver no more than two statements.

- Write in style that will be easy for to memorize and say on camera.

- Limit the length of each answer to 30 words or fewer.

REQUIRED: Why is your protocol significant? OR What is the main advantage of this technique?

  - Sílvia Coimbra: The amount of information you can get with only one experiment is tremendous. One can not only detect the presence of these cell wall polymers but know exactly how they are distributed in different cell types and determine their abundance levels.

OPTIONAL: What key questions can this method help answer? OR Can this method be applied to any other systems?

  - Sílvia Coimbra: This method is designed in such a way that it can be applied to almost any kind of plant tissue from any species one may want to analyse.

OPTIONAL: If you would expect an individual who has never performed this technique to struggle, what advice would you offer?

  - Sílvia Coimbra: (laugh) Patience. Microscopy techniques require a lot of patience and attention. If all steps are followed carefully one will for sure obtain great results. And of course, repeat. To learn you must practice.

OPTIONAL: Why is visual demonstration of this method critical?

  - Sílvia Coimbra: Immunolocalization on plant tissues involves a lot of meticulous work, difficult to explain without actually seeing what happens. Visualizing the most critical steps will, for sure, enable anyone, even individuals who never performed it before, to successfully use this technique.

Answers will be edited for length, clarity, and consistency with journal style guidelines.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Silvia Coimbra: Demonstrating the procedure will be Ana Marta Pereira and Mario Costa, a Post doc and PhD candidate from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

Protocol

Please review this section to make sure that it accurately represents your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 30 steps and/or 60 shots. Current script of protocol: 28 steps, 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step before filming begins.

- Sample Fixation and Dehydration

  - Before collecting the plant tissue samples, fill a glass vial with enough cold fixative solution to completely submerge all the samples [1-TXT]. Then, select the plant tissues to be analyzed, and trim the samples to a size of no more than 16 square millimeters [2]. Immediately immerse the samples in the fixative solution [3].

    - Talent prepares cold fixative solution. TEXT: Fixative solution:; 2% formaldehyde (w/v); 2.5% glutaraldehyde (w/v); 25 mM PIPES pH 7; 0.001% Tween-20 (v/v) Video editor, please keep this text onscreen for the next two shots.

    - Talent trims plant tissue samples.

    - Talent places plant tissue samples in glass vial of fixative.

  - Transfer the vial to a vacuum chamber, and slowly apply vacuum [1]. When the pressure reaches negative 60 kilopascals, the floating material in the vial will start to sink to the bottom [2]. Maintain the pressure in the chamber at no more than negative 80 kilopascals [3].

    - Talent transfers vial to vacuum chamber and slowly applies vacuum.

    - ECU: samples in vial sinking to the bottom.

    - Vacuum chamber showing vacuum pressure gauge in correct range.

  - After the samples have been in the vacuum chamber for 2 hours, slowly release the vacuum [1]. Seal the glass vial and refrigerate it overnight at 4 degrees Celsius [2].

    - Talent releases vacuum, and the gauge shows the pressure in the chamber slowly increasing.

    - Talent removes vial from chamber, seals it, and places it in refrigerator.

  - After the overnight fixation, discard any samples that did not sink to the bottom of the vial [1]. Wash the remaining samples with 25 millimolar PBS for 10 minutes, and then wash them in 25 millimolar PIPES buffer for 20 minutes [2].

    - Talent removes floating samples from vial and discards them.

    - Talent begins process of washing the remaining samples.

  - Dehydrate the samples in an ethanol series [1-TXT], immersing the samples for 20 minutes at each ethanol concentration [2].

    - Labeled containers of ethanol prepared for dehydrating the samples. TEXT: Ethanol series: 25%, 35%, 50%, 70%, 80%, 90%, 100% (3 times) Video editor, please keep this text onscreen for the next shot.

    - Talent immerses plant tissue sample in 25% ethanol.

  - After dehydration, immediately transfer the samples to labeled glass vials for embedding [1].

    - Talent transferring plant tissue samples to labeled glass vials.

- LR-White Resin Embedding

  - Perfuse the samples by incubating with the LR-White resin in a series concentration of resin (1:3, 2:3, 1:1, 3:2, 3:1, 1:0) in ethanol, incubating for 24 h at 4 °C in each step [1].

  - Replace the LR-white resin with fresh resin, and incubate the samples for an additional 12 hours at 4 degrees Celsius [1].

    - Talent replaces resin with new resin and places sample in refrigerator.

  - Prepare the embedding gelatin capsules, selecting capsules that are slightly larger than the samples, so that the samples can be completely enclosed in the resin [1]. Label paper tags with pencil, because ink will contaminate the resin [2].

    - Talent ?

    - Talent labels paper tags.

  - Apply one drop of fresh LR-white resin to the bottom of each capsule [1]. Place a sample in each capsule. Then, fill the capsules to maximum capacity with fresh resin [2]. Put the cap on the capsule and press gently to seal it [3].

    - Talent applies a drop of resin to the bottom of each capsule.

    - Talent places a sample in a capsule and fills the capsule with resin.

    - Talent puts the cap on the capsule and presses gently.

  - To polymerize the resin, incubate the capsules at 58 degrees Celsius until fully hardened, around 24 to 48 hours [1].

    - Talent places capsules in an incubator chamber

- Sample Trimming and Sectioning

  - Working under a stereomicroscope with a sharp razor blade, trim the LR-White block to form a pyramid [1]. The apex of the pyramid should be directly above the sample’s area of interest [2].

    - SCOPE: Razor blade trimming LR-white block.

    - SCOPE: LR-white block that has been trimmed to pyramid.

  - Continue to trim the pyramid by removing fine slices perpendicular to the major axis, until the cutting surface reaches the sample [1]. Within the cutting surface, the target sample should ideally be enclosed in a trapezoid shape [2].

    - SCOPE: Razor removing fine slices of resin.

    - SCOPE: Sample visible at cutting surface, in a trapezoid shape.

  - Place the trimmed resin block in the ultra-microtome [1]. Cut sections from the block with a thickness between 200 and 700 nanometers [2].

    - Talent places trimmed resin block in the ultra-microtome.

    - Talent uses ultra-microtome to cut sections from resin block.

  - Place some sample sections in a drop of distilled, deionized water on a glass slide [1]. Evaporate the water by placing the slide on a hotplate at 50 degrees Celsius [2].

    - Talent places sample sections in drop of water on glass slide.

    - Talent sets hotplate temperature and places slide on a hotplate.

  - Then, add a drop of stain to the sections [1-TXT]. After 30 seconds, rinse off the stain and observe the slide under the microscope to check the section area [2].

    - Talent adds a drop of stain to the slide. TEXT: Stain: 1% Toluidine Blue O (w/v) in 1% boric acid solution (w/v)

    - Talent rinses off stain and places slide on microscope stage.

  - Prepare a clean reaction slide by placing a drop of distilled, deionized water in each well of the slide [1]. Upon finding the desired structure, transfer one or two sample sections to each drop of water [2].

    - Talent prepares reaction slide by placing a drop of water in each well.

    - Talent transfers sample sections to the slide.

  - Place the slide in a 10-centimeter-square Petri dish, cover it, and let it dry at 50 degrees Celsius [1].

    - Talent places slide in an archive box.

- Immunolocalization

  - To prepare an incubation chamber for the reaction slides, place some dampened paper towels at the bottom of a pipette-tips box and wrap the box with aluminum foil [1]. Transfer the slides from the box to the incubation chamber [2].

    - Talent places dampened paper towels in box and wraps box in foil.

    - Talent places slides in the incubation chamber (box).

  - Pipette 50-microliters of blocking solution into each well [1-TXT]. After incubating the slide for 10 minutes, remove the blocking solution. Then, wash all the wells twice with PBS, for 10 minutes each time [2].

    - Talent uses pipette to add blocking solution to each well of reaction slide. TEXT: Block solution: 5% nonfat dry milk (w/v) in 1 M PBS

    - Talent removes blocking solution and begins adding PBS to the wells.

  - After preparing the primary antibody solutions as described in the manuscript, perform a final wash of the wells with distilled, deionized water for 5 minutes [1-TXT].

    - Talent washes the wells with water. TEXT: Note: Never let the wells become completely dry.

  - Pipette the primary antibody solution into the reaction wells [1]. Then, pipette the blocking solution into the control wells [2].

    - Talent pipettes antibody solution into the reaction wells.

    - Talent pipettes blocking solution into the control wells.

  - Close the incubation chamber. Let it stand for 2 hours at room temperature [1], and then refrigerate it overnight at 4 degrees Celsius [2].

    - Talent closes the incubation chamber and the chamber is left on the lab bench.

    - Talent moves the incubation chamber to the refrigerator.

  - Prepare a 1 percent solution of the secondary antibody in blocking solution. Approximately 40 microliters per well will be needed [1]. Cover the solution with aluminum foil [2].

    - Talent adds antibody to blocking solution.

    - Talent wraps the container of antibody solution in aluminum foil.

  - Wash the wells of the reaction slide twice with PBS and once with distilled, deionized water, for 10 minutes each time [1]. Ensure that no blocking solution or deposits remain in the wells [2].

    - Talent begins washing slides with PBS.

    - ECU: Reaction slide, showing that no blocking solution or deposits remain in wells.

  - Pipette the secondary antibody solution into all the wells [1-TXT]. Incubate the slides in the dark, at room temperature, for 3 to 4 hours [2].

    - Talent adds secondary antibody into all the wells. TEXT: Protect slides from light.

    - ?

  - Again, wash the wells of the reaction slide twice with PBS and once with distilled, deionized water [1]. Then, add a drop of calcofluor white to each well [2]. Without washing, add a drop of mounting medium to each well [3], and cover each well with a coverslip [4].

    - Talent begins washing the wells with PBS.

    - Talent adds a drop of calcofluor to each well.

    - Talent adds a drop of mounting medium to each well.

    - Talent covers each well with a coverslip.

  - Observe the sample sections in the reaction slide using a fluorescence microscope [1]. Use a UV filter to detect cell walls stained by the calcofluor and a FITC filter to detect immunolocalization [2].

    - Talent places reaction slide on microscope stage.

    - LAB MEDIA: Figure 1. Video editor, show Figure 1I only.

## Protocol Script Questions

# Authors: Please use the numbers from the script above (not numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured.

A. Which parts of the protocol are the most important for viewers to see? Please list 4 to 6 individual shots.

1.1.2. Talent trims plant tissue samples

1.5.2. Sample dehydration

2.4.2. Talent places a sample in a capsule and fills the capsule with resin.

3.6.2. Talent transfers sample sections to the slide.

4.2.2. Talent removes blocking solution and begins adding PBS to the wells

4.10.1.	Talent places reaction slide on microscope stage.

If answered, B, C, and D will become interview-style shots, which will be incorporated into the script at the most relevant location. Authors will memorize the statements and then deliver them on camera.

# B. OPTIONAL: What is the most important thing to remember when attempting this procedure? Please indicate the step (e.g., 2.4., 2.5.) in the protocol section of the script that this advice applies to.

# 1.4.1: It is extremely important to remove all floating samples, because its highly probable the fixative has not penetrate the sample.  (Enter step number from script.) Limit length to 30 or fewer words. [1].

# C. OPTIONAL: If there is no single most difficult or critical step in the filmed portion of the protocol, do not answer this question. What is the best way to perform the required technique for the most difficult or critical step in the protocol?

# Enter author name.: (Enter step number from script.)  Limit length to 30 or fewer words. [1].

# D. OPTIONAL: If there are no hazardous reagents or instruments in the filmed portion of the protocol, do not answer this question. Which of the reagents or instruments are hazardous? What precautions should viewers take?

# Glutaraldehyde, and Formaldehyde, are both excellent fixatives. But, both are hazardous and must be handled in the flow hood.   : (Enter step numbers from script.) Limit length to 30 or fewer words. [1]

Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 175. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Subcellular Localization of Proteins and Pectins

  - By pinpointing the location of specific epitopes, this protocol enables characterization of the cell wall composition [1]. For example, 1,5-arabinan is abundant in the cell wall of the developing Quercus suber anther [2].

    - LAB MEDIA: Figure 2.

    - LAB MEDIA: Figure 2. Video editor, show only Figure 2A.

  - Scarcely esterified homogalacturonans are typically found at the root tip of Quercus suber embryo, specifying mechanical properties of the organ [1]. Xylogalacturonans are found in degenerating cells, such as the endosperm cells during the final stages of the Quercus suber acorn maturation [2].

    - LAB MEDIA: Figure 2. Video editor, show only Figure 2B.

    - LAB MEDIA: Figure 2. Video editor, show only Figure 2C.

  - AGPs epitopes recognized by JIM13 or JIM8 are found on structures related to reproduction, such as cell lines related to microgametogenesis in Arabidopsis thaliana [1], and the stigmatic papillae and micropyle of the Basal Angiosperm Trithuria submersa [2].

    - LAB MEDIA: Figure 2. Video editor, show only Figure 2D.

    - LAB MEDIA: Figure 2. Video editor, show only Figure 2E and Figure 2F.

  - Common mistakes in implementing this protocol are usually easy to detect and identify [1]. When the washes are skipped or the reaction wells are allowed to dry, the secondary antibody will usually appear as a smear [2].

    - LAB MEDIA: Figure 3.

    - LAB MEDIA: Figure 3. Video editor, show only Figure 3A.

  - Aggregates of green fluorochrome will form if the unbound primary antibody is not properly washed away [1]. Folding or detachment of the sections is usually related to poor adhesion, due to the use of unclean slides or aggressive washing [2].

    - LAB MEDIA: Figure 3. Video editor, show only Figure 3B.

    - LAB MEDIA: Figure 3. Video editor, show only Figure 3C.

  - Sample preparation is also critical [1]. The resin blocks should be free of cracks, with a clearly visible, pale yellow to light brown sample [2]. Inefficiently embedded samples will show powdery white spots or areas [3].

    - LAB MEDIA: Figure 3. Video editor, show only Figure 3D.

    - LAB MEDIA: Figure 3. Video editor, show only Figure 3D. Emphasize Figure 3D-1.

    - LAB MEDIA: Figure 3. Video editor, show only Figure 3D. Emphasize Figure 3D-2.

  - Keeping the sample size under 8 millimeters is essential for penetration of the fixative solution. Poorly fixed samples will appear dark brown or almost black [1]. Excessive temperature can cause the resin to crack, making sectioning of the sample impossible [2].

    - LAB MEDIA: Figure 3. Video editor, show only Figure 3D. Emphasize Figure 3D-3.

    - LAB MEDIA: Figure 3. Video editor, show only ?

Conclusion

- Conclusion Interview Statements

To emphasize the significance of your protocol, respond to at least one of the questions below.

- Enter the full name of the author who will deliver the statement on camera. Each author should have no more than two statements.

- Write in a style that will be easy for you to memorize and say on camera.

- Limit the length of each statement to 30 words or fewer.

# What further analysis or methods are made possible by your method?

  - Silvia Coimbra: After performing these type of experiments one can easily decide to follow on with more specific techniques such as biochemical analysis of the cell wall. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Silvia Coimbra: The use of immunolocalization techniques opens several research directions. Easily one can decide to further analyze the cell wall composition in more detail of the studied tissues, or even proceed to a molecular approach.Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera.

# Do the implications of this technique extend toward the therapy or diagnosis of a particular disease, disability, or challenge? How so?

  - Silvia Coimbra: Yes,

The results provided by this technique can help to understand the structure of the cell wall, an otherwise extremely complex structure very difficult to analyze by simple chemical analysis. Limit answer to 30 or fewer words. [1].

    - INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.