# Submission ID #: 61035

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18615723

Title: Using Flow Cytometry to Detect and Quantitate Altered Blood Formation in the Developing Zebrafish

Authors and Affiliations: Kristen F. Rueb1 and David L. Stachura1

1Department of Biological Sciences, California State University

# Corresponding Author:

# David L. Stachura

# dstachura@csuchico.edu

# Co-authors:

# krueb1@mail.csuchico.edu

## Author Questionnaire

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

Videographer: Please film screen captures

3. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   N

# Introduction

- Introductory Interview Statements

REQUIRED:

  - David Stachura: This protocol is significant because it allows the knockdown, overexpression, and knockout of genes in the developing fish and the quantitation of the downstream effects on blood cells [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED:

  - David Stachura: This protocol is quick, easy to perform, economical, and easy to automate with access to the proper instruments [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Introduction of Demonstrator on Camera

  - David Stachura: Demonstrating the procedure will be Kristen Rueb, an undergraduate researcher from my laboratory [1][2].

    - INTERVIEW: Author saying the above

    - Named demonstrator(s) looks up from workbench or desk or microscope and acknowledges camera

Ethics Title Card

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) at California State University, Chico.

# Protocol

- 48 Hours Post Fertilization (HPF) Zebrafish Embryo Dechorionation

  - Begin being transferring between 5-200 48-hours-post-fertilization embryos into a plastic, 10-centimeter Petri dish [1].

    - WIDE: Talent adding embryos to dish

  - Tilt the dish so the embryos sink to the bottom edge [1] and remove as much E3 medium from the dish as possible [2-TXT].

    - Dish being tilted

    - Medium being removed TEXT: See text for all medium and solution preparation details

  - Then add 500 microliters of dechorionation protease to the embryos [1].

    - Talent adding protease to dish, with protease container visible in frame

  - After 5 minutes at room temperature, tip all of the embryos to the bottom edge of the plate again [1] and gently tap the side of the dish, allowing the embryos to gently rub against the bottom of the plate to completely remove their chorions [2].

    - Dish being tilted

    - Dish being tapped

  - Using a squeeze bottle, add approximately 20 milliliters of E3 medium to dilute the protease [1] and allow the embryos to settle [2].

    - Medium being added

    - Embryos being allowed to settle

  - Then decant the medium [1] and rinse the embryos three more times with fresh medium as just demonstrated to remove all traces of the protease [2].

    - Medium being decanted

    - Talent rinsing embryos

- Dithiothreitol (DTT) Treatment

  - To prepare the embryos for dissociation, use a P1000 pipette to transfer 5-10 embryos into one 1.5-milliliter microcentrifuge tube [1] and aspirate the transferred E3 medium [2].

    - WIDE: Talent adding embryo(s) to tube

    - Medium being aspirated

  - Then add 1 milliliter of 10-millimolar DTT (D-T-T) in E3 medium to the embryonic zebrafish [1] and place the microcentrifuge in a horizontal position for 30 minutes at room temperature to remove the mucus coating [2].

    - Talent adding DTT to tube, with DTT container visible in frame

    - Talent placing tube horizontally

- Embryo Dissociation

  - For embryo dissociation, wash the DTT-treated embryos three times with 1 milliliter of DPBS (D-P-B-S) supplemented with calcium and magnesium per wash [1-TXT] before adding 500 microliters of DPBS supplemented with calcium and magnesium and 5 microliters of 5 milligram/milliliter dissociation protease [2].

    - WIDE: Talent washing embryos, with DPBS container visible in frame Videographer: Difficult step TEXT: DPBS: Dulbecco’s phosphate buffered saline

    - Talent adding DPBS + protease, with protease container visible in frame Videographer: Difficult step

  - Then incubate samples at 37 degrees Celsius on a horizontal orbital shaker at 185 revolutions per minute for 60 minutes [1].

    - Talent placing sample onto shaker Videographer: Difficult step

  - Kristen Rueb: Be sure to watch the time carefully, as it is essential to not over digest the embryos [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - When a not completely homogenous sample with some solid tissue present can be observed [1], triturate the embryos with a P1000 pipette until the sample is fully dissociated [2].

    - Shot of not completely homogenous sample Videographer: Difficult step

    - Talent pipetting sample Videographer: Difficult step

- Flow Cytometric Sample Preparation

  - To prepare the dissociated zebrafish embryonic cells for flow cytometry, transfer the entire cell sample onto the top reservoir of a 5-milliliter, polystyrene, round bottom tube with a 35-micrometer cell strainer cap [1].

    - WIDE: Talent adding cells to cap

  - Rinse the cap with 4 milliliters of PBS without calcium or magnesium [1] and pellet the cells by centrifugation [2-TXT].

    - Talent rinsing cap

    - Talent placing tube(s) into centrifuge TEXT: 5 min, 300 x g, 4 °C

  - Then resuspend the cells in 500 microliters of PBS without calcium and magnesium per tube [1].

    - Shot of pellet if visible, then PBS being added to tube, with PBS container visible in frame

- Flow Cytometry

  - For flow cytometric analysis of the zebrafish embryonic cells, gently vortex the cell suspensions [1] before adding a 1:1000 dilution of red dead cell stain to each tube [2].

    - WIDE: Talent vortexing tube(s)

    - Talent adding stain to tube(s), with stain container visible in frame

  - Within 30 minutes of applying the dead cell stain, empty the waste tank [1-TXT], fill the sheath tank with the appropriate solution [2], and start the fluidics system of the flow cytometer [3].

    - Talent emptying waste tank TEXT: >30 min some cells will phagocytose red dead cell stain

    - Talent filling tank

    - Talent starting system

  - In the analysis software, draw five plots [1] and set the first plot to measure forward versus side scatter. Set the forward scatter to linear and the side scatter to logarithmic [2].

    - Talent drawing plot(s), with monitor visible in frame

    - SCREEN: 5.2.2.1. Video Editor: please emphasize plot axes

  - Set the second plot to measure forward scatter-height versus forward scatter-width [1] and the third plot to measure scatter-height versus side scatter-width [2].

    - SCREEN: 5.2.2.2. Video Editor: please emphasize middle plot axes

    - SCREEN: 5.2.2.2. Video Editor: please emphasize right plot axes

  - Set the fourth plot to measure the red dead cell stain on the x axis and side scatter on the y axis to allow the discrimination of live from dead cells [1].

    - SCREEN: 5.2.2.3. Video Editor: please emphasize bottom left plot axes

  - The fifth plot should be set to measure the fluorophore of choice [1].

    - SCREEN: 5.2.2.4. Video Editor: please emphasize bottom right plot

  - When all of the plots have been set, load the sample onto the cytometer [1] and reduce the flow rate so that the cells do not run out too quickly [2].

    - Talent loading sample

    - SCREEN: 5.2.3. Video Editor: please emphasize Drop Delay box

  - Adjust the forward and side scatter settings so that the bulk of the cell population can be clearly observed [1] and draw a gate around the cell population [2].

    - SCREEN: 5.2.3. Video Editor: please emphasize cells in plot(s)

  - Label this gate “cells” [1]. With the second dot plot gated on the cells, gate on forward scatter and the side scatter singlets to exclude doublets [2].

    - SCREEN: 5.2.4. Video Editor: please emphasize “cells” text in top left plot

    - SCREEN: 5.2.5. Video Editor: please emphasize gates in top middle and top right plots

  - In the fourth plot, adjust the red dead cell stain settings so that there is a clearly negative population [1].

    - SCREEN: 5.2.5. Video Editor: please emphasize bottom left plot

  - Draw a gate around these cells and label this gate “live cells” [1].

    - SCREEN: 5.2.5. Video Editor: please emphasize gate and text in bottom right plot

  - In the fifth plot, gate on the live cells and draw a gate around the positive cells [1].

    - SCREEN: 5.2.5. Video Editor: please emphasize quadrant lines in bottom right plot

  - Then run each sample, collecting at least 25,000 live cell events [1].

    - SCREEN: 5.2.6.

  - When all of the samples have been analyzed, follow the shutdown procedure to turn off the fluidics [1], refill the sheath tank [2], and empty the waste tank [3].

    - Talent shutting down system

    - Talent refilling sheath tank

    - Talent emptying waste tank

## Protocol Script Questions

A. Which steps from the protocol are the most important for viewers to see?

n/a

B. What is the single most difficult aspect of this procedure and what do you do to ensure success?

4.1., 4.2., 4.4. To ensure success, make sure that you don’t over-digest the embryos.

# Results

- Results: Representative Effects of Morpholino (MO)-Mediated Transcript Reduction on Red Blood Cell Production Numbers During Embryogenesis

  - After analyzing the percentage of GFP (G-F-P)-positive red blood cells from each embryonic zebrafish sample [1-TXT], the average of all the control group can be calculated [2].

    - LAB MEDIA: Figure 1A Video Editor: please emphasize small histogram in right graph TEXT: GFP: green fluorescent protein

    - LAB MEDIA: Figure 1B

  - Typically, the average is set as 1 and all of the percentages are calculated from this reference point [1].

    - LAB MEDIA: Figure 1B Video Editor: please emphasize Control data cluster

  - In this representative analysis, it was determined that reducing the ism1 (I-S-M-one) transcript with a specific morpholino reduced the number of GFP-positive red blood cells present within 48-hours-post-fertilization embryos [1].

    - LAB MEDIA: Figure 1B Video Editor: please emphasize Ism1 Mo data cluster

  - Rescuing this reduction in ism1 morpholino levels with exogenous mRNA returned the number of red blood cells to normal [1].

    - LAB MEDIA: Figure 1B Video Editor: please emphasize Rescue data cluster

# Conclusion

- Conclusion Interview Statements

  - Kristen Rueb: Proper digestion of the samples is critical. Too little or too much digestion will not yield accurate results [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (4.2.)

  - Kristen Rueb: If a FACS machine is available, researchers can collect the blood cells by sorting for in vitro culture, RNA sequencing, and quantitative RT-PCR [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera