# Submission ID #: 61041

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18617553

Title: Application of Atomic Force Microscopy to Detect Early Osteoarthritis

Authors and Affiliations: Marina Danalache1,*, Aadhya Tiwari1,*, Viktor Sigwart1,2, and m.schwitalle@winghofer-medicum.deUlf Krister Hofmann1,3

*These authors contributed equally to the work

1Laboratory of Cell Biology, Department of Orthopaedic Surgery, University Hospital of Tübingen

2Medical faculty of the University of Tübingen

3Department of Orthopaedic Surgery, University Hospital of Tübingen

# Corresponding Author:

# Ulf Krister Hofmann

# Ulf.Hofmann@med.uni-tuebingen.de

# Co-authors:

Marina.Danalache@med.uni-tuebingen.de

Aadhya.Tiwari@med.uni-tuebingen.de

# Viktor.Sigwart@med.uni-tuebingen.de

## Author Questionnaire

1. Microscopy: Does your protocol require JoVE to film through your microscope? N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

3. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   N

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Ulf Krister Hofmann: The biomechanical properties of cells and tissues regulate their function and vitality. AFM allows the early quantification of osteoarthritis at a cellular level based on elasticity measurements [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED:

  - Viktor Sigwart: AFM allows the acquisition of in situ measurements at the cellular level without damaging the samples and with a high resolution, reliability, and sensitivity [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL:

  - Marina Danalache: Biomechanical property changes occur early in osteoarthritis. Measuring the local elasticity of articular cartilage allows direct conclusions to be drawn about the degree of local tissue degeneration [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Ethics Title Card

  - Procedures involving human subjects have been approved by the Institutional Review Board (IRB) at the University of Tübingen, Germany.

# Protocol

- Cartilage Cryotome Sectioning

  - To evaluate degenerative changes within the human knee joint, first use a scalpel [1-TXT] to cut the articular cartilage as a whole from the subchondral bone 2] and embed the cartilage sample in water-soluble embedding medium on the cryotome knob that freezes under low temperature in the cryotome device [2].

    - WIDE: Talent picking up scalpel, with cartilage sample visible in frame

    - Cartilage being cut from bone TEXT: See text for sample acquisition details

    - Sample being embedded into medium

  - When the sample has frozen, use a standard cryotome to acquire 35-micrometer-thick sections of tissue from the topmost layer of the articular cartilage [1], collecting each section onto individual glass slides [2].

    - Section being cut

    - Section being collected on slide

  - When all of the sections have been obtained, rinse the samples 3 times in fresh PBS for 5 minutes per wash to remove the water-soluble embedding medium [1].

    - Talent placing slide(s) cryotome cuts into PBS, with PBS container visible in frame

- Cartilage Sample Atomic Force Microscopy (AFM) Preparation

  - Remove the first slide from the wash [2]. After this, add 2-3 drops of biocompatible sample glue per section into individual AFM compatible Petri dishes [1-TXT].

3.1.2. Talent removing slide from PBS Videographer: Important step

    - Close-up: Talent adding glue to dish Videographer: Important step TEXT: Apply glue to where edges of sections will attach to dish [Shots 3.1.1 – 3.2.2 combinbed]

    - Talent removing slide from PBS Videographer: Important step (Move above 3.1.1)

  - Remove any excess solution from the sample [1] and gently press the edges of the dried section onto the spots glue [2-TXT].

    - PBS being removed

    - Section being pressed onto glue. Videographer: Difficult step TEXT: Repeat for each section

  - After 2 minutes, carefully cover the bonded tissues with Leibovitz's L-15 medium without L-glutamine [1] and place the dishes in a cell culture incubator until the samples are to be analysed [2].

    - Tissue being submerged

    - Talent placing dish(s) into incubator

- AFM Device Preparation

  - To prepare the AFM device, adjust a glass block for measuring in a liquid environment on the AFM holder so that the upper surface is parallel to the holder [1] and use tweezers to carefully mount the selected cantilever (spoken as “kanti-leever”) onto the surface of the glass block [2-TXT] so that the AFM tip with the microsphere protrudes over the polished optical plane [3].

    - WIDE: Talent adjusting block Videographer: Important step

    - Cantilever being mounted Videographer: Important/difficult step TEXT: Caution: Do not scratch optical surface

    - ECU: Shot of tip protruding over optical plane

  - To stabilize the cantilever on the glass block, slide the metallic spring into the groove of the block [1] and use tweezers to clamp the top of the cantilever with the spring [2].

    - Spring being slide into groove Videographer: Important step

    - Top being clamped Videographer: Important step

  - Carefully place the glass block with the cantilever on the AFM head [1] and secure the block with the integrated locking mechanism [2].

    - Block being placed onto head

    - Block being secured

  - Then mount the AFM head with the cantilever onto the AFM device with the spring facing to the left [1].

    - Head being mounted onto cantilever

- Cantilever Sample and Calibration

  - To mount the sample onto the AFM device, place the sample Petri dish onto the AFM sample holder [1] and set the Petri dish heater to 37 degrees Celsius [2].

    - WIDE: Talent placing dish onto holder

    - Talent turning on/setting heater

  - After about 20 minutes, open the device software [1] and laser alignment and approach parameter setting windows [2].

    - Talent opening software

    - SCREEN: screenshot_4 Videographer: please film all SCREEN shots

  - Next, turn on the stepper motor, the laser light, and the CCD-camera [1] and use the stepper motor function to lower the cantilever in 100-micrometer steps until the cantilever is fully submerged in the medium [2].

    - Talent turning on instrument(s)

    - SCREEN: screenshot_7 Videographer: please film all SCREEN shots

  - Use the adjustment screws to direct the laser on top of the cantilever [1-TXT] and use the AFM device screws to adjust the laser beam so that the reflected beam falls onto the center of the photodetector [2].

    - Talent adjusting laser TEXT: Caution: Overwinding screws damages laser alignment mechanism

    - SCREEN: screenshot_9 Videographer: please film all SCREEN shots

  - Once the laser-cantilever has been adjusted, adjust the photodetector as necessary [1] to set the Sum signal to 1 volt or above and the lateral and vertical deflections to close to 0 [2].

    - Photodetector being adjusted

    - SCREEN: screenshot_10 Videographer: please film all SCREEN shots

  - To obtain the calibration force curve, run a scanner Approach with the approach parameters as indicated in the Table [1].

    - LAB MEDIA: Table 2 Video Editor: please emphasize Value column

  - Once the bottom of the tissue culture dish is reached, retract the cantilever by 100 micrometers [1].

    - Shot of cantilever at bottom of dish, then cantilever being retracted

  - Set up the RUN parameters as indicated in the Table [1] and click RUN to start a measurement and to obtain a calibration force-distance curve [2].

    - LAB MEDIA: Table 3 Video Editor: please emphasize Value column

    - SCREEN: screenshot_11 Videographer: please film all SCREEN shots

  - The force curve is obtained as illustrated in the Figure [1].

    - LAB MEDIA: Figure 1 Video Editor: please emphasize curve

  - On the calibration force-distance curve, select the region for a linear fit of the retracted curve [1]. Once the linear fit is in place, the values will be saved by the software [2-TXT].

    - SCREEN: screenshot_13 Videographer: please film all SCREEN shots TEXT: Vertical deflection force will be saved and displayed in Newtons

    - SCREEN: screenshot_14 Videographer: please film all SCREEN shots

  - Then, as the measurements are performed in medium at 37-degree Celsius temperature, set the temperature variable in the software to 37 degrees to mimic the physiological conditions as closely as possible [1].

    - SCREEN: screenshot_16 Videographer: please film all SCREEN shots

- Biomechanical Extracellular Matrix (ECM) and Pericellular Matrix (PCM) Characterization

  - To identify the chondrocyte patterns in the cartilage sample sections, locate and identify the specific cellular patterns of articular cartilage from the osteoarthritic knee on the phase contrast microscope [1], which may include single strings, indicative of healthy tissue areas [2], double strings, indicative of the beginning of tissue degeneration [3], small clusters, signs of advanced tissue degeneration [4], and big clusters, indicative of end-stage tissue destruction [5].

    - WIDE: Talent microscope, viewing sample

    - LAB MEDIA: Figure 2 Video Editor: please emphasize Figure 2A

    - LAB MEDIA: Figure 2 Video Editor: please emphasize Figure 2B

    - LAB MEDIA: Figure 2 Video Editor: please emphasize Figure 2C

    - LAB MEDIA: Figure 2 Video Editor: please emphasize Figure 2D

  - Once a specific desired pattern has been identified, for pericellular matrix measurements, position the cantilever in close proximity to the cells [1] and measure two sites per chosen pattern per matrix type nine times per measurement site, including a sample size large enough to account for possible inaccuracies [2].

    - Cantilever being adjusted Videographer: Important step [Shots 6.2.1 – 6.5.1 combined]

    - SCREEN: Videographer: please film all SCREEN shots

  - [1]. (Move 6.3 below 6.5)

    - SCREEN: Videographer: please film all SCREEN shots

  - Focus on the cellular matrix of the pattern to be measured and fix the computer mouse at that point [1].

    - SCREEN: Videographer: please film all SCREEN shots

  - Next, focus on the probe and move the tip of the probe to the point previously fixed by the computer arrow [1].

    - SCREEN: Videographer: please film all SCREEN shots

6.3. 	To conduct measurements of the extracellular matrix, select a region without any cells and perform an Approach followed by a retraction so that the cantilever is positioned 100 micrometers above the tissue [1].

6.3.1. SCREEN: Videographer: please film all SCREEN shots

  - Then click RUN to start the measurements, using the set point parameter obtained by calibration of the cantilever [1].

    - SCREEN: Videographer: please film all SCREEN shots

- Data Processing

  - To process the obtained data, open data processing software compatible with the data obtained from the AFM device [1] and select the Hertz model in the software for processing the force-distance curves [2].

    - WIDE: Talent opening software, with monitor visible in frame

    - SCREEN: screenshot_19 Videographer: please film all SCREEN shots

  - Set the Poisson ratio to 0.5, the tip shape as spherical, and the tip radius to 12.5 micrometers [1].

    - SCREEN: screenshot_20 Videographer: please film all SCREEN shots

  - Once all of the parameters have been adjusted, the results will be fitted and the Young’s modulus will be calculated by the software [1].

    - SCREEN: screenshot_21 Videographer: please film all SCREEN shots

# Results

- Results: Representative Relationships Between Young’s Moduli and Cellular Spatial Organization

  - Along the physiopathological model from strings to double strings and from small to big clusters [1], both extracellular [2] and pericellular matrix elastic moduli [3] decrease significantly between each pattern change, except between strings and double strings [4].

    - LAB MEDIA: Figure 3 Video Editor: please emphasize x-axis legend

    - LAB MEDIA: Figure 3 Video Editor: please add diagonal arrow from above SS to BC/emphasize decrease in data values in ECM graph

    - LAB MEDIA: Figure 3 Video Editor: please add diagonal arrow from above SS to BC/emphasize decrease in data values in PCM graph

    - LAB MEDIA: Figure 3 Video Editor: please add bracket and “n.s.” text over SS and DS data boxes in both graphs OR encircle/emphasize SS and DS data boxes in both graphs or similar

  - In addition, the extracellular-pericellular matrix ratio does not change significantly [1], whereas a marked decrease in the absolute differences in elasticity between the extracellular and pericellular matrices is observed [2].

    - LAB MEDIA: Figure 4B Video Editor: please add bracket and NS texts over data boxes or similar “not significant” emphasis

    - LAB MEDIA: Figure 4A Video Editor: please emphasize difference in space between data lines from SS to BC

# Conclusion

- Conclusion Interview Statements

  - Ulf Krister Hofmann: Elasticity values depend on various factors, such as the indentation depth or the cantilever tip properties. AFM is thus best suited to comparing different conditions within the same experimental setup [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Step: 7.1.)

  - Viktor Sigwart: As AFM measures the local elasticity of the sample, the sections need to be fixed in place to allow precise measurements and to avoid cantilever damage [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Step: 1.3.)

  - Marina Danalache: To further analyze the processes responsible for changes in tissue elasticity, biochemical quantification of the structural proteins of interest can be performed via ELISA or western blot [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera