MS NO: JoVE61054

MS TITLE: “Development and validation of an electrochemiluminescence based assay for MeCP2 protein variants“

Detailed response to the editor and reviewer’s comments

We thank all reviewers for carefully reading our manuscript as well as for their helpful comments. We have revised the manuscript according to their suggestions and highlighted the changes in green:

Answers to editorial comments:

- Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues. The JoVE editor will not copy-edit your manuscript and any errors in the submitted revision may be present in the published version.

Response: We thank the editor for this suggestion. The manuscript has been proofread to avoid any spelling errors.

- Please revise lines 36-40, 63-64, 310-312, 328-332, 335-338, 339-345, 346-350 to avoid textual overlap with previously published work.

Response: The appropriate portions of the text have been revised to avoid overlap with previous work.

Ms page 2, line 41-46, ms page 2, line 65-68,  ms page 8, line 323-325, ms pages 8, line  326-331, ms pages 8 and 9, line  347-355, ms page 9, line  357-364, ms page 9, line  365-370.

- Keywords: Please provide at least 6 keywords or phrases.

Response: Two more keywords / phrases have been added to the manuscript.

Ms page 1, lines 29-30

- JoVE cannot publish manuscripts containing commercial language. This includes trademark symbols (™), registered symbols (®), and company names before an instrument or reagent. Please remove all commercial language from your manuscript and use generic terms instead. All commercial products should be sufficiently referenced in the Table of Materials. You may use the generic term followed by “(Table of Materials)” to draw the readers’ attention to specific commercial names. Examples of commercial sounding language in your manuscript are: Sulfo-TAG, Sector Imager, Meso Scale Discovery, etc.

Response: We thank the editor for drawing our attention to this issue. This problem was corrected. Commercial terms have been removed and generic names with reference to  Table of Materials are now used.

Ms page 3, line 96 
Ms page 6, lines 232, 239, 243, 249 and 253
Ms page 8, line 334

- Please revise the Protocol text to avoid the use of personal pronouns (e.g., I, you, your, we, our) or colloquial phrases.

Response: The protocol was revised not to include personal pronouns or colloquial phrases.

Ms page 3, line 96

- Please revise the Protocol to contain only action items that direct the reader to do something (e.g., “Do this,” “Ensure that,” etc.). The actions should be described in the imperative tense in complete sentences wherever possible. Avoid usage of phrases such as “could be,” “should be,” and “would be” throughout the Protocol. Any text that cannot be written in the imperative tense may be added as a “NOTE.” Please include all safety procedures and use of hoods, etc. However, notes should be used sparingly and actions should be described in the imperative tense wherever possible. Please move the discussion about the protocol to the Discussion.

Response: We thank the editor for drawing our attention to this issue. The issues were corrected accordingly. All actions have been changed to the imperative tense and phrase such as “could be”, “should be” and “would be” are not used.  Any text that could not be written in the imperative tense has been added as “NOTE.”

- Protocol: Please revise it to be a numbered list following the JoVE Instructions for Authors: step 1 followed by 1.1, followed by 1.1.1, etc. Each step should include 1−2 actions and contain 2−3 sentences. Use subheadings and substeps for clarity if there are discrete stages in the protocol. Please refrain from using bullets, dashes, or indentations.

Response: The numbering of the protocol steps was changed following the JoVE Instructions for authors.

Ms pages 3-6

- Please add more details to your protocol steps. There should be enough detail in each step to supplement the actions seen in the video so that viewers can easily replicate the protocol. Please ensure you answer the “how” question, i.e., how is the step performed? Alternatively, add references to published material specifying how to perform the protocol action. See examples below.

Response: More details have been added to the protocol steps so that viewers can easily reproduce it.

- Line 107: Please specify the growth conditions.

Response: The growth conditions are now specified in the manuscript.

Ms page 3, line 108

- Line 110: What is the dilution factor used here?

Response: The dilution factor was indicated in the manuscript.

Ms page 3, line 110

- Line 112: Please specify the incubation conditions (temperature & time) and the concentrations of TAT-MePC2 used.

Response: The incubation conditions and the concentration of TAT-MeCP2 were specified in the manuscript.

Ms page 3, line 113

- Line 115: At what temperature?

Response: The temperature was indicated in the manuscript.

Ms page 3, line 116

- Line 127: Please list an approximate volume of solutions to prepare.

Response: The approximate volume was listed in the manuscript.

Ms page 4, line 132

- Line 136: Please specify the source of the mouse brain (age, gender and strain of mouse).

Response: The source of the mouse brain was specified in the manuscript.

Ms page 4, line 142

- Line 139: Please provide the composition of homogenizer A and B. If they are purchased, include product information in the Table of Materials.

Response: The composition of homogenizer A and B was provided in the manuscript.

Ms page 4, lines 146-148

- Please combine some of the shorter Protocol steps so that individual steps contain 2-3 actions and maximum of 4 sentences per step.

Response: Some shorter protocol steps were combined throughout the manuscript.

- Figure 4: Please include a space between numbers and their corresponding units (15 min, 1 h, 4 h, 8 h, 24 h, 500 nM).

Response: We thank the reviewer for drawing our attention to this issue. Figure 4 was adapted accordingly.

- Table 1: Please delete the “Brand” column which contains commercial information. All commercial products should be sufficiently referenced in the Table of Materials.

Response: The “Brand” column in table 1 has been removed. The antibodies have been added to the Table of Materials.

- Table 2 and Table 3: Please include a space between numbers and their corresponding units (1800 ng/mL, 50 µL, etc.). Please abbreviate liters to L (mL, µL) to avoid confusion.

Response: Spaces between numbers and their corresponding units were introduced in table 2 and table 3. The appropriate abbreviations were also included.

- Table of Materials: Please ensure that it has information on all relevant supplies, reagents, equipment and software used, especially those mentioned in the Protocol. Please remove any ™/®/© symbols and sort the materials alphabetically by material name.

Response: The Table of Materials has been revised to meet the described parameters.

- References: Please do not abbreviate journal titles; use full journal name.

Response: The references were revised and now all include the full journal name.

Ms page 9-10

- Please obtain explicit copyright permission to reuse Figure 1.

Response: The Company has informed us that no explicit copyright permission is required for this adapted figure.

Answers to the comments of Reviewer 1:

Major concerns:

- "The present Protocol is not intended to describe the development nor the validation of the technique to quantify MECP2 protein. This was done in the original paper by Steinkellner, H. et al., 2019. Therefore, the title should more precisely reflect the content of the manuscript. For example: electrochemiluminescence based assay for MeCP2 protein variants.

Response: We are grateful for this insightful suggestion and have changed the title of the manuscript to: “Employing an electrochemiluminescence based assay for MeCP2 protein variants”

Ms page 1, line 2

- Still in the title, the present Protocol, using conventional anti-MeCP2 antibodies will detect both endogenous MeCP2 and recombinant MeCP2 proteins added to the cells. It is not clear to me how the specific detection of MeCP2 variants is made. The title and introduction need to reflect this point.

Response: The MeCP2-ECLIA cannot distinguish between endogenous and exogenously applied MeCP2. For the detection of exogenously applied MeCP2 fusion protein, we are using MeCP2 knock out cell lines or a MeCP2 knock out mouse model.

- This reviewer understands the importance of determining correct MECP2 protein levels, especially in patients undergoing MECP2 protein replacement therapy. However, contrary to what is mentioned in line 68 in the introduction, the vast majority of patients of RTT have SNP mutations that, although affecting protein function, do not alter protein levels in general. Antibodies aimed at detecting the therapeutic recombinant proteins should them be used, what is not the object of detection in this Protocol. Authors should discuss this point in the intro and discussion sections. In the same note, the authors should also discuss how scalable the technique is for expanding into different protein targets. For example, have the group tried to implement the quantification technique for other protein targets? What is the success rate?

Response: We thank the reviewer for this insight. We acknowledge the fact that point mutations in the MECP2 gene lead to the translation of misfolded and/or dysfunctional MeCP2 and we address this issue in the introduction section. However, there are no antibodies which are known to detect dysfunctional MeCP2 variants that lead to RETT syndrome onset, such experiment would not be possible at the time.

- Another critical aspect relevant for the applicability of the technique, the way it is currently presented, is how the authors envision using it in a treatment setup. Precisely, how MeCP2 protein would be measured upon protein replacement therapy using the described technique since the collection of brain samples for protein lysates pre and post-treatment is not an option? Please expand the discussion to include this point.

Response: We thank the reviewer for this comment. While measuring MeCP2 levels during actual protein replacement therapy in humans poses a challenge which has to be addressed in future work, it is beyond the scope of this manuscript.

Minor concerns:

- The table 1 described on page 8 "Determination of inter-assay precision" probably refers to table 3 in the manuscript, please clarify.

Response: We thank the reviewer for raising this issue and have clarified it.

Ms page 8, line 306

- How can lysate preparation methods affect the performance of the technique? Please discuss?

Response: Avoiding and/or minimizing reducing agents (DTT, ß-mercaptoethanol) in the lysis buffer is critical in order to maintain technique performance. We discussed this in the manuscript.

Ms page8, line 329-331

- The commercial antibodies and recombinant protein items in the table of materials should ideally come with RRID #

Response: We are grateful for this suggestion, and RRID numbers were added in the List of Materials where applicable and available.

- Section 2 - points e and g should specify the amount or range of recombinant protein used, or refer to a figure. Still in point g, should specify the incubation time.

Response: Many thanks for this suggestion. It was incorporated into the manuscript.

Ms page 3, lines 110-113

- Section 3. Sample preparation -
a. i. which subcellular fractionation was actually used?
b. iii. Which glass tissue homogenizer was used? Presumably a Dounce, but which configuration: loose or tight? Was glass homogenizer pre-chilled?

Response: We thank the reviewer for these queries. They are now addressed in the manuscript.

Ms page 4, lines 146-148

- Section 4 - MeCP2-ECLIA protocol
a. i. Please spell out the desired final Tween-20 final concentration.

b. ii. Which volume of monoclonal mouse anti-MeCP2 antibody diluted in PBS is desired?

b vi. Which adhesive foil is used? Not described in the list of material table.

e. iii. How does one not "breach the dielectric" while pipetting the samples? Be more descriptive here, please.

h. iv. Machine and software setup should be mentioned.

Response: Thanks for pointing this out. We have incorporated all above mentioned points in the manuscript. Additionally, the used adhesive foil was added to the list of materials.

Ms page 4, line 164

Ms page 5, lines 177-178

Ms page 6, line 218

Ms page 6, lines 249-257

- Line 306. The abbreviation BBB is not defined in the text. The term blood-brain-barrier is used in the introduction, but the abbreviation is not presented. Since it is used only twice in the whole manuscript, the authors should avoid abbreviation to keep simple for the general readership.

Response: We thank the reviewer for drawing our attention to this issue. It was adapted accordingly. The abbreviation BBB has been changed to the term blood-brain barrier.

- The paragraph on line 318, the authors mean "to expand to other protein targets and optimize performance…"

Response: The sentence the reviewer refers to serves as an opening part of a paragraph outlining crucial steps in the ECLIA protocol.

Ms page 8, line 337

Answers to the comments of Reviewer 2:

Major concerns:

- Manuscript Summary:
Overall, the article gives a bench-level protocol for quantifying MeCP2 protein levels in cell and tissue lysates. They discuss how this method is more accurate and high-throughput than other quantification methods currently used in the field. While the focus is on the ECLIA technique, some more background on protein replacement therapy and its advantages over other strategies (e.g. gene replacement therapy) to cure Rett syndrome may be of interest to the reader. It would also be helpful to remind the reader how ELISA works, to better discuss the differences between the two methods.

Response: We thank the reviewer for this comment. A brief description on the principle behind ELISA has been added to the discussion section.

Ms pages 8-9, lines 348-349

- *Are the title and abstract appropriate for this methods article?
Yes, the except lines 40-41: "To demonstrate its broad applicability, this assay was used to analyze mouse brain tissue and human dermal fibroblast to study the uptake of TAT-MeCP2". Brain tissue was not treated with TAT-MeCP2 in this study, as this sentence suggests.

Response: We acknowledge this inconsistency and modified this part of the abstract accordingly.

Ms page 2, lines 41-44

- *Are there any other potential applications for the method/protocol the authors could discuss?
This method could be used to analyse MeCP2 protein levels in different cell fractions, e.g. chromatin-bound vs nuclear.

Response: As MeCP2 is a transcription factor and is largely localized to the nucleus, evaluating its levels there is integral to its functionality and activity.

- *Are all the materials and equipment needed listed in the table? (Please note that any basic lab materials or equipment do not need to be listed, e.g. pipettes.)
Yes, could the last 2 tables which both list all the reagents be combined?
The authors list several antibodies that they have shown work in this assay, but not which pairs work together. This information would help others who want to use this assay with other antibodies than their recommended pair.

Response: The two tables list antibodies and reagents and contain different contents. The antibody pair described here are optimal for this assay to analyse MeCP2 and TAT-MeCP2, respectively. Other antibodies display significantly reduced efficiency in this assay. However, all antibodies mentioned in this manuscript have been added to the list of materials.

- *Do you think the steps listed in the procedure would lead to the described outcome?
Yes, I just have a couple of queries.
Do the authors have a reference for trypsin treatment removing membrane-bound TAT-MeCP2? I am also concerned that the extraction method described would not get all the MeCP2 off the DNA: the extraction buffer contains 420 mM NaCl, but Goffin et al., 2012 (and others) show that more MeCP2 is extracted at 700 mM than 350 mM NaCl. An alternative to high salt is sonication/degradation of the DNA (e.g. with benzonase).
How does the machine read the plate - i.e. what is the delay between the activation of the Sulfo-tag and the light recording? Does this vary across the plate (does the stability of the light emission matter)?

Response: We thank the reviewer for this insight! We included the corresponding reference in the text. We acknowledge that increasing sodium chloride concentration in the lysis buffer may lead to increased MeCP2 recovery. For future versions of the protocol sonication will be used to address this issue.

Ms page 3, line 117

- *Are the steps listed in the procedure clearly explained?
Yes. An earlier reference to figure 1 would help the reader follow the description of ECLIA.

Response: We acknowledge the reviewer’s remark regarding the importance of referencing Figure 1 earlier and added the appropriate reference.

Ms page 3, line 85

- *Are any important steps missing from the procedure? Are all the critical steps highlighted?
There are two instances where the steps are not given and a previous paper is cited. While this is acceptable in a lot of journals, it is troublesome for the reader and stops this protocol being 'ready to go'.
One reagents table has 4x Read buffer and one has 1x Read buffer, which is confusing.
Are the authors sharing their plasmids to make TAT-MeCP2 with the community, e.g. via Addgene?

Response: We use 1x Read buffer both in the text and in the tables. The plasmids and their sequences are available upon request.

- *Are appropriate controls suggested?
Yes.

- *Is there any additional information that would be useful to include?
While the ECLIA can be performed in a 96-well format, how high-throughput can you make the cell fractionation step? What is the maximum number of samples that can be handled?
Can lysates be frozen (at -80C) before the ECLIA analysis?

Response: We recommend limiting cell fractionation to six samples per experiment. Lysates can be flash frozen and stored at -80°C prior to analysis on a later date. We included this information in the manuscript.

Ms page 4, line 129

- *Are the anticipated results reasonable, and if so, are they useful to readers?
Yes, as long as membrane-bound MeCP2 is removed in the trypsin step.

Response: We acknowledge that removing membrane bound MeCP2 is of importance as described by Koutsokeras A. et al. and included the appropriate reference in the text.

Ms page 3, line 117

- *Are any important references missing and are the included references useful?
The readers should reference Van Esch et al. 2005/2012 when introducing MECP2 duplication syndrome (line 66).
None of the references in line 305 (references 11-14) are about MeCP2, add a RTT reference here.

Response: We appreciate the reviewer’s remark and the references were adapted to more accurately reflect the discussed topics.

Ms page 2, line 67

Minor concerns:

- Line 67: not explained why RTT affects females and MECP2 duplication syndrome affect males. Mention MECP2 is X-linked.

Response: We thank the reviewer for this remark. The X-linkage of MECP2 was added to facilitate better understating of the text.

Ms page 2, line 65

- Line 68: 'as well as' is incorrect - reads as if both diseases are associated with both insufficiency AND excess MeCP2.

Response: The wording was corrected.

Ms page 2, line 72

- Line 75: isoform B is also known as e1.

Response: Both names are now mentioned in the text.

Ms page 2, line 79

- Line 94: detection not secondary antibody.

Response: We thank the reviewer for this remark and made the appropriate correction in the text.

Ms page 3, line 95

- Line 100: Replace "However" with "Alternatively"?

Response: “However” was replaced with “Alternatively”.

Ms page 3, line 101

- Line 104: coli has a lower case c.

Response: This has been corrected.

Ms page 3, line 105

- Line 106: this step is written in the passive voice but all subsequent steps are written as instructions.

Response: The sentence has been changed to "Place 1x106 HDF cells in 100 mm dishes.”.

Ms page 3, line 107

- Line 112: 'various concentrations' - range? Only 500 nM shown. This should be in step e.

Response: We made the appropriate correction in the text.

Ms page 3, line 112

- Line 112 and 192: "MePC2" typo.

Response: This typo has been corrected.

Ms page 3, line 113

- Line 118: "with 500 g" should be "at 500 g".

Response: The word has been changed to “at 500 g”.

Ms page 3, line 120

- Line 136: Dissolve is not the right word.

Response: The word has been changed to “Suspend”

Ms page 4, line 142

- Line 139: A and B = loose and tight?

Response: We thank the reviewer for this comment and specified A and B in the manuscript.

Ms page 4, line 146-148

- Line 171: which is the 'solution' being referred to?

Response: The solution in question refers to the antibody solution in 4.2.2. The text was adapted to state this more clearly.

Ms page 5, line 178

- Line 207,217,228,236: how long are the washing steps? Or incubation not required?

Response: No incubation is required. The information was added to the protocol.

Ms page 5, line 216; page 6, line 227, 238, 250

- Line 218: detection not secondary antibody.

Response: Detection and secondary antibody are two separate antibodies.

- Line 251: I don't understand where 1.002 and 1800 came from. These numbers are different from those on the graph. Why 1.002 not 1?

Response: We thank the reviewer for pointing out this inconsistency. Figure 2 and the corresponding legend have been modified to address this issue.

- Line 257, 293: Table 3?

Response: The text was changed to reference the right table.

Ms page 7, lines 270; page 8, line 306

- Line 304: delete 'the' before 'so-called'

Response: The “the” before “so-called” was removed.

Ms page 8, line 317

- Line 315: It is crucial that the coating and detection antibodies are different species. Monoclonal vs polyclonal doesn't matter.

Response: The species of the antibodies were added.

Ms page 8, lines 332-333

- Line 319: What does one million counts mean? What is the equivalent ng/ml?

Response: The term “Counts” is used in this technique for “relative light units” (=RLU) and is directly proportional to the intensity of light. However, neither one of these terms are directly related to any concentration. We added the appropriate statement in the manuscript.

Ms page 6, lines 254-255

- Line 330: not "similar findings" if the western blots couldn't differentiate between WT and Het. You should be able to detect a 2-fold change by western - could the westerns have been overload?

Response: Many thanks for this comment. We made the appropriate corrections in the manuscript.

Ms page 9, line 352-353

- Line 345: Other assays (ELISA and western) also enable processing of both mouse and human samples. I therefore do not understand this point.

Response: Many thanks for this comment. We removed this sentence from the manuscript.

- Figure 1: SUFLO should be Sulfo.

Response: “SUFLO” was changed to “Sulfo” in Figure 1.

- Figure 4: add spaces between numbers and units. Delete spaces before % signs in method.
Nomenclature: human gene = MECP2, mouse gene = Mecp2, protein = MeCP2. This includes MECP2 duplication syndrome.

Response: Spaces between numbers and units were added and the nomenclature of MeCP2 verified.

In summary we attempted to fulfil all requests from the reviewers and hope that the manuscript is acceptable in its revised form.