# Submission ID #:  61056

# Scriptwriter Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=18622128

# Title:   Automated Delivery of Microfabricated Targets for Intense Laser Irradiation Experiments

# Authors and Affiliations:

# Yonatan Gershuni, Michal Elkind, Itamar Cohen, Aviad Tsabary, Deep Sarkar, Ishay Pomerantz

# The School of Physics and Astronomy, Tel Aviv University, Tel Aviv, Israel

# Tel Aviv University Center for Light-Matter Interaction, Tel Aviv, Israel

# Corresponding Authors:

# Ishay Pomerantz 	(ipom@tauex.tau.ac.il)

# Email Addresses for Co-authors:

jgershuni@gmail.com

michal.elkind@gmail.com

itamar.oarb@gmail.com

tsabaryaviad@gmail.com

# angleofdeep@gmail.com

# ipom@tauex.tau.ac.il

## Author Questionnaire

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique?  YES

If Yes, can you record movies/images using your own microscope camera?

YES

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  YES

3. Filming location: Will the filming need to take place in multiple locations?   YES

If Yes, how far apart are the locations? 150 meters

Length:

Steps (protocol and results): 18

Shots (just protocol): 30

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Dr. Ishay Pomerantz: Intense laser irradiation experiments of sub-micrometer scale targets are currently performed at slow shot rates. Our protocol solves this challenge by placing these targets quickly at the focus of the laser in an automated manner.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Dr. Ishay Pomerantz: Our target system enables the collection of data incorporating a large number of laser shots with target parameters changed in small increments, as well as applications that benefit from a high overall radiation dose.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

# NOTE: Introduction of Interview added during shoot, please place at the end of section 1, as usual

Dr. Ishay Pomerantz: Demonstrating target fabrication process are process engineer Nirit Porecki Shamay and Nofar Livni.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. NOTE: these shots were listed as 1.4.1

Talents (Nirit and Nofar) Walking past camera at Nano Center.

OPTIONAL:

  - Yonatan Gershuni: Visual demonstration of this protocol will show the subtleties of the wafer fabrication process and target alignment.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

# Protocol

- Target Fabrication

  - To fabricate the back side, use a 250-micrometer thick, 100-millimeter diameter, high-stress silicon wafer in a <100> (pronounce ‘one-zero-zero’) crystal formation, coated on both sides with silicon nitride [1].

    - WIDE: Establishing shot of talent walking to the lab bench with the wafer in hand.

  - Clean the wafer with acetone [1] and with isopropanol [2]. Then, spin coat the wafer with HMDS resist to form an adhesive layer [3].

    - Talent cleaning the wafer with acetone, with the acetone container in the shot.  NOTE: 2.2.1 and 2.2.2 shot together

    - Talent cleaning the wafer with isopropanol, with the isopropanol container in the shot.

    - Talent spin coating the wafer with HMDS resist. Video Editor: Show table 1 as an inset here.

  - Spin-coat the wafer with an AZ1518 positive photoresist [1]. Bake the wafer at 100 degrees Celsius for 5 minutes [2].

    - Talent spin coating the wafer with an AZ4562 positive photoresist. Video Editor: Show table 2 as an inset here.

    - Talent placing the wafer on a hot plate.

  - Photolithograph 1,000 by 1,000-micrometer square openings under vacuum [1], exposing the wafer in one, 4 to7-second cycle to a 400-nanometer UV lamp [2] so that the wafer is exposed to an overall fluence of 40 Joules per centimeter squared [3]. Videographer: This step is important!

    - Mask being placed in the tool and loading the wafer under the mask.

    - Wafer being exposed to UV lamp.

    - Wafer shown after exposure.

  - Then, use an AZ726 developer to expose the silicon nitride [1] and a bath of dehydrated water to stop the process [2]. Use a Reactive Ion Etcher [3] to remove the silicon nitride in the location of the squares [4 – 5 added].

    - Talent using the developer. NOTE: 2.5.1 and 2.5.2 shot together

    - Talent bathing the wafer in dehydrated water.

    - Talent places the wafer in the RIE machine and activates process.

    - Added: RIE machine at work.

    - Added: Close up of RIE machine at work

  - Place the wafer in an NMP bath for 20 minutes to remove the residual resist and photoresist, producing a replica of the mask on the silicon nitride layer [1-TXT]. Then, wash it under fresh water and let it dry [2].

    - Talent placing the wafer in an NMP bath. TEXT: NMP: N-methyl-2-pyrrolidone

    - Talent rinsing the wafer with water.

  - Sink the wafer in a 30%, 90-degree Celsius potassium hydroxide solution [1] to etch the silicon through the square openings [2-TXT]. Videographer: This step is important!

    - Added: Talent sinking the wafer in the solution.

    - Talent demonstrating the wafer after the sinking process. TEXT: 40 minutes / 50 μm of silicon.

  - To fabricate the front side, repeat the previously described procedure with a mask shaped as three concentric rings. Use the Reactive Ion Etcher to remove the silicon nitride where the rings are located, followed by an NMP bath to remove resist and photoresist leftovers [1].

    - Talent demonstrating the appropriate mask for the front side.

  - Roughen the silicon rings by sinking the wafer in nitric acid and in a solution of 0.02 molar silver nitrate and 4 molar hydrogen fluoride [1].

    - Talent sinking the wafer.

  - On the etched side of the wafer, use a physical vapor deposition machine [1] to sputter a layer of a few hundred nanometers of gold on top of a 10-nanometer film of adhesive titanium, nickel, or chrome [2].

    - Talent inserting wafer to sputtering machine.

    - Adhesive titanium, nickel, or chrome with gold sputtered on top.

- Alignment

NOTE: Authors will upload SCREEN shots soon.

Videographer: Please film the screen for all the SCREEN shots.

  - Bring an arbitrarily chosen target [1-added] into view under a 100 X magnification microscope [2]. Point a triangulation ranging sensor to the roughened ring closest to the target and record its displacement reading [3].

    - Added: Talents opening testing chamber.

    - SCREEN: 61056 - ScreenShot 1 - Target coming to focus (focal).mp4. Target coming into focus.

    - Talent lightly adjusting the triangulation ranging sensor to point to the roughened ring closest to the target. NOTE: This is slated as 3.1.2 take 3

  - Leaving the microscope in place, move the wafer away to clear the beam path. Use the two folding mirrors and the off-axis parabolic mirror to align the beam in low power into the field of view of the microscope [1]. Videographer: This step is important!

    - Talent moving the wafer to clear the beam path.

  - Adjust these three mirrors to correct astigmatisms in the beam. The result should be a nearly diffraction-limited focal spot [1]. Block the laser beam [2] and bring the target back to the focus of the microscope [3], then validate its position using the microscope and the ranging sensor's reading [3]. Videographer: This step is important!

    - Talent adjusting the mirrors.

    - SCREEN: 61056 - ScreenShot 2 - Astigmatism repair.avi. Beam getting smaller and more intense at focus. Video Editor: Speed this up or cut it as needed.

    - SCREEN: 61056 - ScreenShot 3 - Target coming to focus (radial).mp4. Target coming into focus.

    - SCREEN: 61056 - ScreenShot 4 - Ranging Sensor Software.mp4. Ranging sensor’s reading. Video Editor: Emphasize the displacement readout on the bottom right of the screen.

- Irradiation Sequence and Automated Target Positioning

  - Use software to implement a closed-loop feedback between the focal axis manipulator of the target and the displacement sensor reading, using the previously recorded displacement value as the setpoint [1].

    - SCREEN: 61056 - ScreenShot 5 - Closed feedback loop being implemented.mp4. 1:03 – 1:06.  Start pressed.

  - Once the closed-loop positioning has reached a desired tolerance distance from the setpoint, irradiate the target with a single high-power laser pulse [1]. Translate the imaging plate to a new position using the mechanical feedthrough [1] and repeat the irradiation sequence with the next target brought into focus by the software [4.3.1].  Videographer: This step is important!

    - SCREEN: 61056 - ScreenShot 5 - Closed feedback loop being implemented.mp4. 1:06 – 1:18. Video Editor: Emphasize the position graph at the bottom. Whenever the position doesn’t change for a few seconds is when irradiation occurs (1:10, 1:13, 1:16). Please emphasize this.

Added shot 4.3.1. Irradiance sequence: A few targets changing (rotating) and correcting focus (moving on z axis)

# Results

- Results: TPIS Traces

  - This target delivery system was employed to accelerate ions from the back side of 600-nanometer thick gold foils [1].

    - LAB MEDIA: Figure 6.

  - A time series of the target displacement along the focal axis is shown here. The values are relative to the focal position setpoint [1]. The green dots indicate when the target displacement was within a tolerance value of 1 micrometer from the setpoint, which is when a laser shot was taken [2].

    - LAB MEDIA: Figure 6.

    - LAB MEDIA: Figure 6. Video Editor: Emphasize the green dots.

  - Thomson Parabola ion spectrometer traces were obtained from 14 consecutive irradiations of 600-nanometer thick gold foil targets [1]. Energy spectrums were derived from these traces. ﻿The peak-to-peak stability of the maximum proton energy was within 10% [2].

    - LAB MEDIA: Figure 7.

    - LAB MEDIA: Figure 8.

# Conclusion

- Conclusion Interview Statements

  - Itamar Cohen: Following this procedure, investigations of ion and electron acceleration from solid foils and of laser-neutron generation can be performed in a systematic manner.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.