[image: image1.png]


FINAL SCRIPT: APPROVED FOR FILMING

Submission ID #: 61057 

Scriptwriter Name: Bridget Colvin 
Project Page Link: https://www.jove.com/account/file-uploader?src=18622433 
Title: Development of a Novel Task-oriented Rehabilitation Program using a Bimanual Exoskeleton Robotic Hand

Authors and Affiliations: Yi-Mei Chen1, Szu-Shen Lai1, Yu-Cheng Pei2–5, Chia-Ju Hsieh1, and Wei-Han Chang1
1Department of Physical Medicine and Rehabilitation, Chang Gung Memorial Hospital at Taoyuan
2Department of Physical Medicine and Rehabilitation, Chang Gung Memorial Hospital at Linkou
3School of Medicine, Chang Gung University
4Center for Vascularized Composite Allotransplantation, Chang Gung Memorial Hospital
5Healthy Aging Research Center, Chang Gung University
Corresponding Author: 

Chia-Ju Hsieh

cjcheryl@cgmh.org.tw 
Wei-Han Chang

weihan7252@gmail.com 
Co-authors:
judy810818@gmail.com 
maerdya@hotmail.com 
yspeii@gmail.com 
Author Questionnaire 

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique?  N
2. Software: Does the part of your protocol being filmed demonstrate software usage?  N
3. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   N
Introduction

1. Introductory Interview Statements
REQUIRED: 

1.1. Wei-Han Chang: This robot-assisted task-oriented training protocol was developed for patients with hand dysfunction caused by neurological deficits [1].
1.1.1. INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera
REQUIRED: 

1.2. Wei-Han Chang: Our protocol is the first to integrate the task-oriented training program with a robotic hand for hand-function rehabilitation and the first to investigate the feasibility and acceptability of the protocol [1].
1.2.1. INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera
OPTIONAL:
1.3. Chia-Ju Hsieh: We have designed specialized objects that can be manipulated using the training protocol and our robotic hand system can be applied to bimanual movement training [1].
1.3.1. INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera
Introduction of Demonstrator on Camera

1.4. Chia-Ju Hsieh: Demonstrating the procedure will be Yi-Mei Chen and Szu-Shen Lai, occupational therapists from my laboratory [1][2].
1.4.1. INTERVIEW: Author saying the above
1.4.2. Named demonstrator(s) looks up from workbench or desk or microscope and acknowledges camera 
Ethics Title Card
1.5. Procedures involving human subjects have been approved by the Institutional Review Board (IRB) at Chang Gung Medical Foundation.
Protocol
2. Robotic Hand System Setup 
2.1. Before beginning the analysis, place the sensor on the Subject’s unaffected hand [1] and use the hook and loop tape to secure the wrist [2].
2.1.1. WIDE: Talent placing sensor onto hand
2.1.2. Talent securing sensor to wrist
2.2. Use a clean pad to wrap the affected hand [1] and securely fasten the hook and loop tape [2].
2.2.1. Talent wrapping hand
2.2.2. Talent securing pad 
2.3. Loosen the thumb mechanism of the exoskeleton hand to allow adjustment of the thumb-opening angle [1] and place the affected hand in the exoskeleton hand [2].
2.3.1. Talent loosening mechanism

2.3.2. Talent placing affected hand into exoskeleton hand

2.4. Fasten the hook and loop to the palm through the fastening ring [2]. After that, fasten the fingers one by one, beginning with the forefinger and finishing with the thumb [1]. 
2.4.1. Finger(s) being fastened Videographer: Difficult step
2.4.2. Hook and loop being fastened to palm Videographer: Difficult step NOTE: Show this before 2.4.1. 
2.5. Fasten the hook and loop tape parallel to the wrist through the fastening ring [1] and adjust the thumb to a comfortable angle [2].
2.5.1. Hook and loop being fastened parallel to wrist Videographer: Difficult step
2.5.2. Thumb being adjusted Videographer: Difficult step
2.6. Then tighten the thumb mechanism [1].
2.6.1. Mechanism being tightened 
2.7. To set up the control box, insert the cable for the exoskeleton hand [1] and insert the cable for the sensor glove [2].
2.7.1. Talent inserting cable(s) for hand

2.7.2. Talent inserting cable(s) for glove

2.8. Insert both sets of cables into the socket in the control box [1] and insert the power cable into the control box [2].
2.8.1. Talent inserting cable(s)

2.8.2. Talent inserting power cable

2.9. Then connect the power cable to an outlet with the correct voltage [1].
2.9.1. Talent plugging in cable
3. Warm-Up and Robot-Assisted Bimanual Movement Sessions
3.1. When the system and Subject are ready, switch on the control box [1] and set the mode to Five Fingers to allow the exoskeleton hand to move the Subject’s fingers passively [2].
3.1.1. WIDE: Talent switching on control box

3.1.2. Talent setting mode

3.2. Ask the Subject to perform a grasp-and-release task guided by the exoskeleton hand for 2.5 minutes [1] [2].
3.2.1. Talent instructing, Subject performing task

3.2.2. Talent setting Single Finger mode NOTE: This shot was moved to the next step, before 3.3.1
3.3. Switch the mode to Single Finger [2]. Then, let the exoskeleton hand move the Subject’s fingers individually and passively while the Subject extends and retracts individual fingers for 2.5 minutes [1].
3.2.2
Talent setting Single Finger mode NOTE: Moved here from above
3.3.1. Hand moving fingers/Subject extending/retracting fingers
3.4. For a robot-assisted bimanual movement session, switch the mode to Mirror [1] to allow the movement of the unaffected hand wearing the sensor glove to control the exoskeleton hand movements [2].

3.4.1. Talent switching mode

3.4.2. Talent moving unaffected hand and exoskeleton hand moving
4. Robotic Hand System Object Manipulation
4.1. To conduct a trial of the Subject’s ability to manipulate objects using the robotic hand system, fit the exoskeleton hand to the Subject’s affected hand [1] and the sensor glove to the unaffected hand as just demonstrated [2] and place a sling under the Subject’s elbow and exoskeleton hand to support the affected arm [3].
4.1.1. WIDE: Talent fitting exoskeleton hand to Subject’s hand Videographer: Important step
4.1.2. Talent fitting glove to unaffected hand Videographer: Important step
4.1.3. Talent placing sling Videographer: Important step
4.2. Next, conduct a warm-up [1] session as just demonstrated [2].

4.2.1. Talent setting mode/Subject performing grasp-and-release task

Added shot: 4.2.2 Subject performing single finger movements.
4.3. After the warm-up, use the robotic hand system for 5 minutes to demonstrate how to manipulate the designed objects [1], including using palmar prehension to pick up the peg [1A], a lateral prehension to pick up the rectangular cube [3], a three-point chuck to pick up the cube [4], a spherical grasp to pick up the ball [5], and a cylindrical grasp to pick up the cylindrical bar [6].
4.3.1.  Talent using palmar prehension to pick up pegVideographer: Important step
4.3.1A Added shot: Close-up lens of talent using palmar prehension to pick up peg
4.3.2. Talent using palmar prehension to pick up peg Videographer: Important step NOTE: Authors moved this step to 4.3.1 so the slating might be off for the rest of the shots.
4.3.3. Talent using lateral prehension to pick up rectangular cube Videographer: Important step
4.3.4. Talent using three-point chuck to pick up cube Videographer: Important step
4.3.5. Talent using spherical grasp to pick up ball Videographer: Important step
4.3.6. Talent using cylindrical grasp to pick up bar Videographer: Important step
4.4. After the demonstration, place two bases bilaterally in front of the Subject’s hands [1] and place the objects onto the top of one base to assist in their manipulation [2].
4.4.1. Talent placing base in front of Subject

4.4.2. Talent placing object into base(s)

4.5. Have the Subject use the robotic hand system to grasp each object 20 times a day for 3 consecutive days, starting at the area of the base and lifting, moving, and releasing each object onto the midline [1,1A,1B,1C,1D], while monitoring and recording the success rate for each attempt [3].

4.5.1. Subject grasping peg at base then lifting/moving/releasing it.Videographer: Important step
Added shot: 4.5.1A Subject grasping rectangular cube at base then lifting/moving/releasing it.


Added shot: 4.5.1B Subject grasping cube at base then lifting/moving/releasing it.

Added shot: 4.5.1C Subject grasping ball at base then lifting/moving/releasing it.

Added shot: 4.5.1D Subject grasping cylindrical bar at base then lifting/moving/releasing it. NOTE: Seems like the same action is performed with different objects, any of the shots will match the VO.
4.5.2. Subjecting lifting/moving/releasing object Videographer: Important step NOTE: combined this step to 4.5.1) 
Talent watching/recording Videographer: Important step 

Protocol Script Questions
A. Which steps from the protocol are the most important for viewers to see? 
4.1., 4.3., 4.5.
B. What is the single most difficult aspect of this procedure and what do you do to ensure success? 

2.4., 2.5. We need to check the precise position of the robotic hand.
Results
5. Results: Representative Object Manipulation Success with and without Robotic Hand System Use
5.1. In this representative analysis [1], three healthy subjects [2] and three post-stroke subjects were assessed [3].
5.1.1. LAB MEDIA: Supplemental Table 1

5.1.2. LAB MEDIA: Supplemental Table 1 Video Editor: please emphasize H1, H2, and H3 columns
5.1.3. LAB MEDIA: Supplemental Table 1 Video Editor: please emphasize P1, P2, and P3 columns
5.2. The average age of the healthy group was 28 [1], whereas the average age of the patient group was 49 [2].
5.2.1. LAB MEDIA: Supplemental Table 1 Video Editor: please emphasize H1, H2, and H3:Age data cells
5.2.2. LAB MEDIA: Supplemental Table 1 Video Editor: please emphasize P1, P2, and P3:Age data cells
5.3. Mini-Mental State Examination, Fugl-Meyer Assessment, Modified Ashworth Scale-finger, and Brunnstrom stage scores were also obtained for each patient [1].
5.3.1. LAB MEDIA: Supplemental Table 1 Video Editor: please emphasize MMSE, Fugl-Meyer, MAS-finger, and Brunnstrom Stage rows
5.4. The subjects in the healthy group perfectly manipulated all of the objects with [1] and without the robotic hand system [2], with an average success rate of 100% for every task [3].

5.4.1. LAB MEDIA: Supplemental Table 2-6 Video Editor: please emphasize H1, H2, and H3: Non-Robot data cells
5.4.2. LAB MEDIA: Supplemental Table 2-6 Video Editor: please emphasize H1, H2, and H3: Robot data cells
5.4.3. LAB MEDIA: Figure 4 Video Editor: please emphasize blue data line in each graph
5.5. All of the patients, however, exhibited difficulties in manipulating the objects without the robotic hand system [1], demonstrating a 0% success rates for all of the objects [2].

5.5.1. LAB MEDIA: Supplemental Table 2-6 Video Editor: please emphasize P1, P2, and P3: Non-Robot data cells
5.5.2. LAB MEDIA: Figure 4 Video Editor: please emphasize red NR data point
5.6. In contrast, all of the patient success rates increased significantly when the robotic hand system was used [1], approaching rates similar to those observed in healthy subjects [2], supporting the feasibility of using the robotic hand system in stroke patients [3].
5.6.1. LAB MEDIA: Supplemental Table 2-6 Video Editor: please emphasize P1, P2, and P3: Robot data cells
5.6.2. LAB MEDIA: Figure 4 Video Editor: please emphasize red R data point and/or add/emphasize success rate percentages next to each line
5.6.3. LAB MEDIA: Figure 4
Conclusion

6. Conclusion Interview Statements
6.1. Yi-Mei Chen: Remind the subjects to concentrate on the movement control of their bilateral hands during bimanual movement training, making sure the grasp patterns on the objects are correct [1].
6.1.1. INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (4.5.) 
6.2. Yi-Mei Chen: Following this procedure, a randomized, controlled trial is required to determine the therapeutic effects of the training protocol. [1].
6.2.1. INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera
6.3. Yi-Mei Chen: Using this technique, researchers can program rehabilitation protocols with delicate finger movement for severe hand dysfunction and can explore the effects on brain neuroplasticity and functional outcomes [1].
6.3.1. INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera
 PAGE 
( 2020, Journal of Visualized Experiments

Page 1 of 12

