# Submission ID #: 61060

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18623348

Title: Optimization for Sequencing and Analysis of Degraded FFPE-RNA Samples

Authors and Affiliations: Yelena Levin1‡, Keyur Talsania1,2‡, Bao Tran1, Jyoti Shetty1*, Yongmei Zhao1,2*, and Monika Mehta1*

‡These authors contributed equally to the work

*These authors provided equal supervision to the work

1NCI CCR Sequencing Facility, Frederick National Laboratory for Cancer Research

2Advanced Biomedical and Computational Sciences, Frederick National Laboratory for Cancer Research

# Corresponding Author:

Jyoti Shetty

jyoti.shetty@nih.gov

Yongmei Zhao

yongmei.zhao@nih.gov

# Monika Mehta

# monika.mehta@nih.gov

# Co-authors:

yelena.levin@nih.gov

keyur.talsania@nih.gov

# tranb2@mail.nih.gov

## Author Questionnaire

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

3. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   N

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Monika Mehta: Our protocol can be used to improve the quality and quantity of gene expression data generated from FFPE-derived RNA samples, especially in suboptimal-quality samples [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED:

  - Jyoti Shetty: This technique assesses the RNA quality within FFPE tissue samples and enables optimization of their downstream processing to improve the quantity and quality of the sample sequencing data [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL:

  - Yongmei Zhao: This method allows the comprehensive characterization of transcripts in biological and clinical samples and may provide insight into functional elements of the genome in development and disease [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL:

  - Monika Mehta: The rapid FFPE-RNA degradation and selection of the methods for QC, library preparation, and data analysis can be very tricky. Be meticulous when selecting the methods and controls [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL:

  - Jyoti Shetty: Visual demonstration allows viewers to observe the small, subtle modifications and precautions needed during the planning, assessment, and sequencing process, especially for poorly preserved FFPE samples [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Introduction of Demonstrator on Camera

  - Jyoti Shetty: Demonstrating the procedure will be Sheryl Paul, a Research Associate from my laboratory [1][2].

    - INTERVIEW: Author saying the above

    - Named demonstrator(s) looks up from workbench or desk or microscope and acknowledges camera

# Protocol

# Note to Video Editor: Videographer left some handwritten notes that didn’t make much sense to me, but I added them here. Authors believe everything was filmed as planned.

- RNA Quantity and Quality Assessment

  - To check the quality of the RNA sample, run the sample on an RNA QC (Q-C) system according to the manufacturer’s instructions [1-TXT] and use the appropriate bioanalysis software to analyze the distribution of the RNA fragments within the sample and to calculate the proportion of fragments longer than 100 and 200 nucleotides [2].

    - WIDE: Talent adding sample to system Videographer: Important step TEXT: QC: quality control

    - Talent at computer, calculating DV100, with monitor visible in frame Videographer: Important step

  - Based on the QC metrics, identify the samples with fewer than 40% of the fragments longer than 100 nucleotides to allow exclusion of these samples from processing [1-TXT].

    - SCREEN: screenshot_1: 00:02-00:32 Video Editor: please speed up TEXT: Process only samples with DV100 > 40%

- Sequencing

  - For sequencing, thaw the appropriate sequencing reagent kits according to the run parameters in a room temperature water bath [1] and place the reagent tray at 4 degrees Celsius after thawing [2-TXT].

    - WIDE: Talent placing reagents to thaw

    - Talent placing tray at 4 °C TEXT: Start run after thawing

  - Place the flow cell package at room temperature for 30 minutes [1]

    - Talent setting timer, with package visible in frame

  - While the package is warming, open the Illumina Experiment Manager application [1] and select Create Sample Sheet [2].

    - Talent opening application, with monitor visible in frame

    - SCREEN: screenshot_2: 00:02-00:05

  - Select the sequencer to be used and click Next [1].

    - SCREEN: screenshot_2: 00:05-00:12

  - Enter the reagent kit barcode and the other appropriate Workflow Parameters [1].

    - SCREEN: screenshot_2: 00:13-00:56 Video Editor: please speed up

  - Then upload a sample sheet created according to the Illumina sequence criteria [1].

    - SCREEN: screenshot_2: 03:10-03:42 Video Editor: please speed up

  - To prepare the sample library and the control library PHiX (fie-X), denature and dilute the libraries to the appropriate concentrations [1] and mix the sample and PHiX control libraries to obtain a 5% PHiX control volume ratio [2].

    - Talent diluting sample library and PHiX, with PHiX container and library container visible in frame Vid NOTE: Plus a bunch of other stuff that is not explained (?? Not sure with the handwriting)

    - Talent adding diluted PHix to diluted library, with library container visible in frame

  - When the flow cells is ready, remove the wrapping [1], clean the glass surface with a lint-free alcohol wipe [2], and dry the glass with a low-lint laboratory tissue [3].

    - Talent unwrapping package Videographer: Important step

    - Talent cleaning surface Videographer: Important step

    - Glass being dried

  - Remove the reagent cartridge from 4-degree Celsius storage [1] and invert the cartridge 5 times to mix the reagents [2].

    - Talent taking cartridge out of storage

    - Talent inverting cartridge

  - Gently tap the cartridge on the bench to reduce air bubbles [1] and load the denatured and diluted sample into the reagent cartridge in the designated reservoir [2].

    - Talent tapping cartridge

    - Talent loading sample into cartridge

  - Load the flowcell, buffer cartridge, and reagent cartridge onto the system [1].

    - Talent loading flowcell and/or cartridge and/or reagent cartridge onto system, with all components visible in frame Vid NOTE: Long shot provided(?? Not sure with the handwriting)

  - Then perform an automated check [1] and review the output to ensure that the run parameters pass the system check [2].

    - Talent initiating automated check

    - SCREEN: To be filmed by Videographer

  - When the automated check is complete, select Start to begin the sequencing run [1].

    - SCREEN: To be filmed by Videographer Vid NOTE: Jumped the gun, can’t go back. Will need to have redone via phone (?? Not sure with the handwriting)

- Data Analysis and Quality Assessment

  - To visualize the preprocessing QC and post alignment QC results, run multi-QC [1] to generate an aggregated report in HTML format [2].

    - WIDE: Talent running multi-QC, with monitor visible in frame

    - SCREEN: screenshot_3: 00:25-00:49 Video Editor: please speed up

  - To determine batch effects and to assess a quality map of the given data set, use an R script to run a principal component analysis [1].

    - SCREEN: screenshot_4: 00:00-00:13

  - Sample correlation analysis can then be carried out using the Pearson correlation between different samples [1].

    - SCREEN: screenshot_5: 00:00-00:10

## Protocol Script Questions

A. Which steps from the protocol are the most important for viewers to see?

2.1., 3.8.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success?

n/a

# Results

- Results: Representative Degraded Formalin-Fixed Paraffin Embedded (FFPE)-RNA Sample Sequencing and Analysis

  - The estimation of the proportion of fragments longer than one hundred nucleotides is more useful than an estimation of the fragments longer than 200 nucleotides, because it is more sensitive for accurately measuring the proportion of smaller fragment sizes for highly degraded RNA samples [1].

    - LAB MEDIA: Figure 2 Video Editor: please emphasize DV100 data lines in Sample graphs

  - Given the high degree of degradation in the sample set, a ‘total RNA’ library preparation method is recommended [1]. For example, here sequencing libraries prepared from four different samples are shown [2].

    - LAB MEDIA: Figure 3

    - LAB MEDIA: Figure 3 Video Editor: please sequentially emphasize data line in each graph

  - Here overviews of raw fastQ file sequencing quality [1] and sample adapter content are shown [2].

    - LAB MEDIA: Figures 4A and 4B Video Editor: please emphasize Figure 4A

    - LAB MEDIA: Figures 4A and 4B Video Editor: please emphasize Figure 4B

  - Fast QC screening [1] can help detect contamination, such as bacterial [2] or mouse contamination, within the samples [3].

    - LAB MEDIA: Figure 4C

    - LAB MEDIA: Figure 4C Video Editor: please emphasize apricot data bars

    - LAB MEDIA: Figure 4C Video Editor: please emphasize grey data bars

  - STAR (star) alignment can be used [1] to determine the proportion of reads mapped to the reference genome [2], the percentage of reads uniquely mapped to the reference genome [3], and the proportion of reads that were not mapped [4] or that were mapped to multiple loci [5].

    - LAB MEDIA: Figure 4D

    - LAB MEDIA: Figure 4D Video Editor: please emphasize the dark blue and light blue data bars

    - LAB MEDIA: Figure 4D Video Editor: please emphasize dark blue data bars

    - LAB MEDIA: Figure 4D Video Editor: please emphasize pink, red, and dark red data bars

    - LAB MEDIA: Figure 4D Video Editor: please emphasize light blue and orange data bars

  - Picard and RSeQC (R-S-E-Q-C) Statistics [1] can be used to determine the percent of messenger RNAs [2], intronic, and intergenic bases present in the mapped reads [3].

    - LAB MEDIA: Figure 4E

    - LAB MEDIA: Figure 4E Video Editor: please emphasize light blue, black, and green data bars

    - LAB MEDIA: Figure 4E Video Editor: please emphasize orange data bars

    - LAB MEDIA: Figure 4E Video Editor: please emphasize TSS and TES data bars

  - For these representative analyses, some degraded libraries had a 3-prime bias [1], in which more reads were mapped closer to the 3-prime than to the 5-prime end [2].

    - LAB MEDIA: Figure 4F

    - LAB MEDIA: Figure 4F Video Editor: please emphasize data line

  - In addition, Principal Component Analysis can be performed to determine the percent of the total variation captured by the principal components for the biological replicates of each sample [1].

    - LAB MEDIA: Figure 5 Video Editor: please sequentially emphasize paired data points from each Sample

# Conclusion

- Conclusion Interview Statements

  - Monika Mehta: Take care to avoid sample degradation, prepare replicates and multiple aliquots for each sample, use the appropriate metrics to assess the sample quality, and use the appropriate library preparation method [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (2.1., 4.1.-4.3.)

  - Jyoti Shetty: Using this methodology, larger NGS studies can be performed with previously unusable FFPE samples with varying storage times and conditions to gain insights into a variety of different disease states [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Yongmei Zhao: This technique paves the way for researchers to study existing, large archives of FFPE samples with rich clinical information and can greatly enhance population-based cancer studies [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera