Dear Editor and Reviewers,

We are very thankful for your comments about the protocol. We followed your suggestions and we believe that it helped us to increase the quality of our work.

Let me point by point discuss the changes:

Editorial comments:

1. Some reviewer comments have not been fully addressed (see below); note that other readers may have similar concerns. Please provide the information/explanations requested, or at least explanations in the manuscript for why these concerns are not relevant.
2. Reviewer 1 points:
a. Please provide information on the lateral resolution and *measured* size of the beam.

Lateral resolution for such experiments is predetermined by the size of a beam (sentence added to 3.1.1.). For spot size measurements user manual was cited (reference #15)

b. Please provide the pixel size.

Raster and analysis are provided along with spatial resolution (3.1.3)

c. 3.3.3: What depth do you reach here?

(It’s now point 3.3.4) It is not of crucial importance as the test can be done on any other blank wafer and the depth will vary a lot depending on a material. Please note that in this point no depth profile is obtained but an image.

d. 4.5: More information on how the superposition is done may be helpful.

Suitable information about image editor softawe with layers support was added

3. Reviewer 2 points:
a. Please provide more information why ‘it can be assumed that each point of the sample has the same probability to adsorb these atoms.’

A more clear explanation is included in the introduction

b. 3.3.1: More information on this procedure may be helpful.

This point is now expanded and even though reading the source material is beneficial it is possible to perform it without any knowledge about it

4. Summary, Abstract, Introduction: The protocol is generally introduced in a roundabout way in these sections (‘the method allows’, etc.) and it is not clear what exactly is done in the protocol from reading these sections. A sentence or two saying what the protocol is (e.g., ‘here, we present a method to…’) would be helpful.

Sections have been modified accordingly

5. The GaN surface is not in the Table of Materials, nor is other information available for how to obtain it.

The experiment can be performed on any GaN sample so it wouldn’t be good to point a specific type of samples. Furthermore similar measurements can be done for other materials and/or dopant/contamination atoms and thus we decided to not include any information about the sample in the Table of Materials. In point 1.2.1 we mentioned which samples we used with a proper citation (publication and electronic supplementary information contain many details about growth process)

6. 3.3.2: Do you mean 50 µm × 50 µm and 35 µm × 35 µm here?

Raster and analysis area are now presented in point 3.1.3.

7. Results: It may be best to show an example of ‘random distribution of oxygen counts’ as a figure.

Figure 8 presents such a result. Additionally Figure 9 presents a typical result obtained with an unstable beam.

8. Please provide a legend for Figure 7.

Done

9. Figure 2: How well does the line fit (e.g., R-squared)? Also, ‘numer’ is a typo.

Corrected. R2 provided in point 3.3.3

Sincerely,

Paweł Piotr Michałowski