# Submission ID #:  61065

# Scriptwriter Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=18624873

# Title:   3D Depth Profile Reconstruction of Segregated Impurities using Secondary Ion Mass Spectrometry

# Authors and Affiliations:

# Paweł P. Michałowski, Sebastian Zlotnik, Iwona Jóźwik, Adrianna Chamryga, Mariusz Rudziński

# Łukasiewicz Research Network-Institute of Electronic Materials Technology, Warsaw, Poland

# Corresponding Authors:

# Paweł P. Michałowski		(pawel.michalowski@itme.edu.pl)

# Email Addresses for Co-authors:

sebastian.zlotnik@wat.edu.pl

iwona.jozwik@itme.edu.pl

adrianna.chamryga@itme.edu.pl

# mariusz.rudzinski@itme.edu.pl

# pawel.michalowski@itme.edu.pl

## Author Questionnaire

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes, all done

3. Filming location: Will the filming need to take place in multiple locations?   Yes

If Yes, how far apart are the locations? 2 buildings roughly ~200m away

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Sebastian Zlotnik: This protocol is crucial in the technology of semiconductors for defining the density and chemistry of dislocations and consequently establishing a nature of structural defects in the as-grown structures.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Paweł P. Michałowski: The method allows three-dimensional localization of low-concentration impurities in solid state materials, making it is possible to relate their position to certain structural defects.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

OPTIONAL:

  - Paweł P. Michałowski: Before attempting this technique, familiarize yourself with the instrument. Perform multiple beam stability tests and determine what circumstances prolong the stability period. Try working with lower than usual current.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

# Introduction of Demonstrator on Camera

  - Paweł P. Michałowski: Demonstrating the procedure will be Iwona Jóźwik, a leading SEM specialist from my laboratory.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol

- Defect Selective Etching

  - Begin by preparing a eutectic mixture of potassium hydroxide, sodium hydroxide, and magnesium oxide [1]. Dissolve and mix the composing alkali hydroxides and metal oxide in distilled water [2-TXT] and heat the mixture in a flask on a hot plate to 200 degrees Celsius for 1 hour with a magnetic stirrer [3].

    - WIDE: Establishing shot of talent at the lab bench with NaOH, KOH, and MgO.

    - Talent adding the NaOH, KOH, and MgO to a flask with water. TEXT: 53.6% NaOH / 37.3% KOH / 9.1% MgO

    - Flask on a hot plate with a stirrer.

  - Cool the mixture to about 100 degrees Celsius by reducing the temperature of the hot plate until the remaining liquid completely evaporates [1], then transfer the solid etchant into a dried bottle while avoiding exposure to moisture [2].

    - Talent decreasing the temperature on the hotplate.

    - Talent transferring the solid etchant to a dried bottle.

  - For defect selective etching, place a gallium nitride sample on a 450-degree Celsius hot plate along with a thermocouple to precisely read the real temperature [1]. Then, place a piece of solid etchant on top of the gallium nitride and keep it there for 3 minutes [2].

    - Talent pacing the GaN sample on the hotplate with a thermocouple.

    - Talent placing a piece of solid etchant on top of the GaN.

  - Remove the sample from the hot plate and place it in a beaker with hot hydrogen chloride for 3 to 5 minutes to eliminate any remaining solid etchant [1-TXT]. Transfer the sample to a beaker with deionized water and expose it to an ultrasonic bath for 5 to 10 minutes [2], then dry it with nitrogen blowing [3].

    - Talent transferring the sample to a beaker with hydrogen chloride. TEXT: CAUTION: HCl may cause skin irritation and eye damage!

    - Talent transferring the sample to a beaker with DI water.

    - Talent drying the sample with N2 blowing.

- Scanning Electron Microscopy

  - Use a diamond pen cutter to mark the sample with an L-shaped scratch [1] and mount it on a metal stub with a conductive adhesive, making sure to use gloves to avoid grease contamination from hands [2].

    - Talent marking the sample.

    - Talent mounting the sample on a metal stub.

  - Add a piece of the conductive tape to connect the sample surface with the metal stub to prevent charge buildup on the specimen surface [1].

    - Talent connecting the sample surface to a metal stub.

  - Acquire at least three high-resolution SEM micrographs [1] of a top view of the sample with each image displaying an area of at least 25 by 25 micrometers. Avoid taking images from the surface regions with macroscopic surface defects [2].

    - Talent using the SEM.

    - LAB MEDIA: Figure 1.

- Secondary Ion Mass Spectrometry

  - Calibrate the SIMS (pronounce ‘simz’) equipment using negative polarity, caesium primary ions with 7 to 13-kilo electron Volt impact energy and align the secondary and primary beams. Keep the beam as small as possible [1].

    - Talent calibrating the SIMS equipment.

  - Prepare five to seven settings for beams with various ion current density. For simplicity, keep the size of the beam intact, and change the beam current. Measure the beam current and size of the beam [1].

    - SCREEN: 61065_screenshot_1. 0:00 – 0:56. Video Editor: Speed this up as needed.

  - Use a 50 by 50-micrometer raster size and a 35 by 35-micrometer analysis area. Choose 256 by 256 pixels for spatial resolution. If not specified otherwise, use a standard integration time for each signal, typically 1 to 2 seconds [1].

    - SCREEN: 61065_screenshot_2. 0:00 – 0:17.

  - Choose a setting with a moderate beam current and obtain a series of images using a 30Si2- (pronounce ‘thirty silicon two anion’) secondary ion for a blank silicon wafer. For each image, integrate the signal for 5 to 10 minutes [1].

    - SCREEN: 61065_screenshot_2. 0:17 – 0:38.

  - If the system does not allow longer integration times, select 60 seconds. After obtaining 200 images, group 5 images into 1 for further analysis and run the measurements [1].

    - SCREEN: 61065_screenshot_2. 0:38 – 1:01.

  - Perform pixel-to-pixel comparisons of all images with the first image. If greater than 5% of pixels show a greater than 5% difference from the first image, this indicates that the beam became unstable. Note the timespan of beam stability [1].

    - SCREEN: 61065_screenshot_3. 0:00 – 0:26. Video Editor: You can speed this up, but make sure to include the transition at 00:12.

  - Perform measurements within a stable timespan of the beam. Using the same beam settings, perform at least five measurements for each beam setting [1].

    - SCREEN: 61065_screenshot_4. 0:00 – 00:18.

  - Obtain a depth profile using a 16O- (pronounce ‘sixteen oxygen anion’) secondary ion, reach a 200-nanometer depth, and measure the intensity of 69Ga- (pronounce ‘sixty nine gallium anion’) secondary ion by integrating the signal for 10 to 15 seconds. Do not perform this in regions where SEM images have been obtained [1].

    - SCREEN: 61065_screenshot_4. 0:18 – 00:40.

  - Plot the intensity ratio of 16O- and 69Ga- signals as a function of the inversed primary current density and estimate the vacuum background contribution [1].

    - LAB MEDIA: Figure 2.

  - Then, choose an intense beam and obtain an image that will be used for flat-field correction. Use a 30Si2- secondary ion for a blank silicon wafer. Integrate the signal for 5 to 10 minutes [1].

    - LAB MEDIA: Figure 3.

  - Perform depth profile measurements in the same regions where SEM images have been obtained [1]. Using a 16O- secondary ion, integrate the signal for 3 to 5 seconds for each data point [2].

    - SCREEN: 61065_screenshot_5. 0:24 – 00:40.

    - SCREEN: 61065_screenshot_6. 0:35 – 00:40.

# Results

- Results: Oxygen Counts in a Cuboid

  - This protocol can be used to obtain realistic 3D distributions of impurities or dopants in solid state materials. As the reduction procedure is performed, 90% of counts are randomly eliminated from each layer. Very clear pillar-shaped structures are observed in the final 3D image [1]. A typical result for a single plane is shown here [2].

    - LAB MEDIA: Figure 7.mp4.

    - LAB MEDIA: Figure 4 C.

  - If the core is smaller than the size of a primary beam, the secondary image will inherit the size and shape of the primary beam. In suboptimal experiments, a random distribution of oxygen counts can be seen [1].

    - LAB MEDIA: Figure 8.

  - In certain situations, the beam becomes unstable during the experiment. Specifically, the quality is high for a region close to the surface, but gradually deteriorates during the experiment [1].

    - LAB MEDIA: Figure 9.

# Conclusion

- Conclusion Interview Statements

  - Paweł P. Michałowski: A stable beam is required to perform this experiment. The beam is typically most stable after it has been switched on, so running the experiment for roughly 2 to 3 hours after starting the beam is the best option. Sometimes it is better to work faster even if the depth resolution gets worse.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 4.7.1.

  - Paweł P. Michałowski: This technique makes it possible to detect and precisely localize low-concentration impurities. It opens up possibilities to study the chemistry of various structural defects.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.