# Submission ID #: 61068

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18625788

Title: In Vitro Microfluidic Disease Model to Study Whole Blood-Endothelial Interactions and Blood Clot Dynamics in Real-Time

Authors and Affiliations: Xue D. Manz1, Hugo J. Albers2,3, Petr Symersky4, Jurjan Aman1, Andries D. van der Meer3, Harm Jan Bogaard1, and Robert Szulcek1, 5, 6

1Department of Pulmonary Medicine, Amsterdam UMC, VU University Medical Center, Amsterdam Cardiovascular Sciences (ACS)

2BIOS Lab-on-a-Chip group, University of Twente

3Applied Stem Cell Technologies Group, University of Twente

4Department of Cardio-thoracic Surgery, Amsterdam UMC, VU University Medical Center

5Institute of Physiology, Charité-Universitätsmedizin

6German Heart Center

# Corresponding Author:

# Robert Szulcek

# r.szulcek@amsterdamumc.nl

# Co-authors:

x.manz@amsterdamumc.nl

h.j.albers@utwente.nl

p.symersky@amsterdamumc.nl

j.aman@amsterdamumc.nl

andries.vandermeer@utwente.nl

hj.bogaard@amsterdamumc.nl

## Author Questionnaire

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique?  Y

If Yes, can you record movies/images using your own microscope camera?

Y

2. Software: Does the part of your protocol being filmed demonstrate software usage?  N

3. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   N

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Robert Szulcek: This in vitro vascular disease model can be used to investigate whole blood interactions with patient-derived endothelium and to evaluate in situ thrombogenicity and anticoagulation effectiveness during different thrombosis phases [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED:

  - Xue Manz: This system allows researchers to investigate the thrombogenic properties of primary endothelial cells under various circumstances and can be modified by introducing custom-made microfluidics and adjusting the blood flow characteristics [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL:

  - Harm Jan Bogaard: This model can also be applied to study thrombus dynamics for the assessment of inflammatory responses in disease, antiplatelet or anticoagulation therapy, or, ultimately, personalized medicine [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL:

  - Xue Manz: Note that in vitro blood recalcification induces a rapid response in coagulation. Furthermore, it is important to prevent air bubbles, which can damage the endothelial cell layer, impacting the results [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Ethics Title Card

  - Procedures involving human subjects have been approved by the Institutional Review Board (IRB) at VU University Medical Center Amsterdam. Primary cell isolation and blood collection of human subjects was performed after informed consent was obtained in accordance with the Declaration of Helsinki.

# Protocol

- Primary Human Pulmonary Arterial Endothelial Cell (PAEC) Isolation and Culture

  - After obtaining a surgical human pulmonary artery tissue sample [1], coat a high affinity cell-binding 60-milliliter cell culture dish with 2 milliliters of 5 micrograms/milliliter fibronectin [2] and incubate the dish at 37 degrees Celsius for at least 15 minutes [3].

    - WIDE: Talent entering lab with tube of sample in buffer/Talent placing sample onto bench

    - Talent adding fibronectin to dish, with fibronectin container visible in frame

    - Talent placing dish into incubator

  - At the end of the incubation, use sterile forceps in a laminar flow cabinet under sterile conditions to transfer the tissue into a Petri dish of PBS [1-TXT].

    - Talent placing tissue into dish TEXT: Sterilize all instruments before use

  - If the tissue is still in a ring, cut the artery open with scissors, taking care not to touch the innermost layer of the vessel, as the endothelium is easily damaged and removed [1].

    - Artery being opened

  - After removing the fibronectin, add 4 milliliters of complete endothelial cell medium to the dish [1-TXT] and use forceps to transfer the tissue sample into the medium [2].

    - Talent adding medium to dish, with medium container visible in frame TEXT: See text for all medium and solution preparation details

    - Talent placing sample in dish

  - Use a scalpel to carefully scrape the inner layer of the vessel into the medium, taking care to avoid any lipid accumulations that are observed in the vessel wall [1].

    - Inner layer being scraped Videographer: Important/difficult step

  - Xue Manz: For a successful isolation, add the medium before scraping the cells [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - After the cells have been harvested, place the plate into the cell culture incubator [1-TXT].

    - Talent placing plate into incubator TEXT: Replace medium every other day

  - If fibroblasts contaminate the culture, use magnetic affinity cell separation for CD144 according to the manufacturer's instructions to purify the cells [1-TXT].

    - Talent adding cells to column, with CD144 kit visible in frame TEXT: Initial purification: 2 column method; Subsequent purifications: 1 column method

  - Generally, a culture is defined as pure when flow cytometry detects 10% or fewer contaminating cells [1].

    - LAB MEDIA: To be provided by Authors: Figure showing pure culture dot plot

  - When a sufficient number of endothelial cells have been obtained for experimental use [1], the primary endothelial cells can be characterized [2] for the presence of endothelial cell-specific markers [3] and for the absence of smooth muscle [4] and epithelial cell markers [5].

    - LAB MEDIA: Figure 1A PEAC image

    - LAB MEDIA: Figure 1B

    - LAB MEDIA: Figure 1B Video Editor: please emphasize VE-cadherin, CD31, and Tie2 images

    - LAB MEDIA: Figure 1B Video Editor: please emphasize alphaSMA image

    - LAB MEDIA: Figure 1B Video Editor: please emphasize cytokeratin image

- Flow Chambers and PAEC Monolayer Preparation

  - For flow chamber preparation, coat one channel of a 6-well flow slide with 30 microliters of 0.1% gelatin [1] and incubate the slide for at least 15 minutes at 37 degrees Celsius [2].

    - WIDE: Talent adding gelatin to channel TEXT: Caution: Avoid bubble formation when handling flow chambers

    - Talent placing slide at 37 °C

  - In addition to commercial flow chambers, custom-made flow chambers with specific dimensions can be used to study the influence of the vascular geometry on clot dynamics [1-TXT].

    - Talent shows custom-made flow chambers with a stenotic design TEXT: See text for custom flow chamber protocol details

  - While the slide is incubating, collect the cells from a confluent pulmonary artery endothelial cell culture with EDTA and trypsin [1] and sediment the cells by centrifugation [2-TXT].

    - Talent washing the cells with EDTA, with trypsin and EDTA containers visible in frame Videographer: Important step

      - Cells being transferred from culture flask to centrifuge tube

    - Talent adding tube(s) to centrifuge Videographer: Important step TEXT: 7 min, 300 x g, RT

  - Resuspend the pellet in 600 microliters of complete endothelial cell medium [1] and forcefully but gently add 100 microliters of cells into each channel [2]

    - Shot of pellet if visible, then medium being added to tube, with medium container visible in frame

    - Cells being added to channel/spreading across slide

  - Add an additional 50 microliters of complete endothelial cell medium to the channel [1] to provide sufficient medium for overnight incubation at 37 degrees Celsius and 5% carbon dioxide [2]Change the medium the next day to wash away the unbound cells [3-TXT].

    - Talent adding medium to channel, with medium container visible in frame

    - Talent placing slide into incubator

    - Medium being added to channel TEXT: Refresh culture every other day with 150 microliters fresh endothelial cell medium

  - After 6 days in culture, the cells should have formed a stable, confluent monolayer [1].

    - LAB MEDIA: Figure 1D Straight channel image

- Washed Human Whole Blood Preparation

  - On day 7 of pulmonary artery endothelial cell culture, acquire venous blood samples from subjects who do not receive anticoagulation treatment into 0.109-molar sodium citrate anticoagulant tubes [1], and transfer the blood into a 50-milliliter tube [2].

    - WIDE: Talent entering lab with tubes/placing tubes on bench

    - Talent adding blood to tube

  - Xue Manz: Blood can contain viruses and other infectious agents. Be sure to always use gloves and to follow the safety guidelines for working with human materials [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Fluorescently label the blood cells with a 1:10,000 concentration of Calcein AM-red (A-M) [1] and 15 micrograms/milliliter of add Alexa488 (four-eight-eight)-fibrinogen [2].

    - Talent adding Calcein AM to tube, with Calcein AM container visible in frame Videographer: Important step

    - Talent adding fibrinogen to tube, with fibrinogen container visible in frame Videographer: Important step

  - Then incubate the blood at 37 degrees Celsius for 15 minutes to allow complete absorption [1].

    - Talent placing blood at 37 °C

- Flow System Assembly

  - Thirty minutes before the perfusion, treat the pulmonary artery endothelial cells with 100 microliters of 1-micromolar histamine in endothelial cell medium and 1% fetal bovine serum (FBS) without any other additives [1] and use a 20-milliliter syringe filled with wash buffer to rinse the flow system tubes [2-TXT].

    - WIDE: Talent adding histamine + FBS to cells, with histamine + FBS container visible in frame Videographer: Important step TXT: Add plane medium with 1% FBS or medium containing 1% FBS and histamine to the cells.

    - Talent rinsing tube(s), with wash buffer container visible Videographer: Important step TEXT: Rinse blood-contacting tubes but not the cells to prevent system clotting

  - Use a second 20-milliliter syringe to fill the flow tubes with HEPES+ (hee-pees plus) buffer containing 1% Bovine Serum Albumin [1] and use an elbow shaped Luer connector to carefully connect the tubes to the microslide [2].

    - Talent filling tube(s), with HEPES+ container visible in frame TXT: See text for recipe.

    - Tube being attached to slide

  - Load a third 20-milliter syringe with 2 milliliters of wash buffer [1] and load the syringe onto a syringe pump [2]. Please move 5.3 after 5.1.2.

    - Syringe being loaded

    - Syringe being inserted TXT: Keep some wash buffer in the syringe to prevent blood clotting.

  - Connect the outlet of the slide to the syringe [1].

    - Tube being connected to slide and syringe

- Washed Whole Blood Perfusion

# 6.0 Prepare for Microscopy

# 6.0.1 Place cell-containing slide onto microscope and assemble set-up for experiment

# 6.0.2 Adjust microscope and set up parameters for the experiment

  - Immediately before the perfusion, dilute the blood two times with recalcification buffer [1] and place the inlet tube of the microslide into the tube of blood [2].

    - WIDE: Talent adding buffer to tube, with buffer container visible in frame Videographer: Important/difficult step

    - Tube being placed into tube of blood Videographer: Important/difficult step

  - When the microscope is ready for recording, push Start in the microscope software to begin recording a video [1] and [2].

    - Talent pressing video recording Start

    - Talent pressings syringe pump Start TXT: Push Start on the syringe pump to perfuse the blood over the endothelium.

  - As soon as the blood starts flowing over the endothelium, press Start on microscope to acquire images using the preselected active channels and region of interest positions every 15 seconds for 5 minutes [1-TXT].

    - Talent at computer, presses start to acquire images, with monitor visible in frame Videographer: Important step TEXT: See text for imaging parameter setup details

  - At the end of the analysis, stop the recording [1] and the syringe pump [2] and clean up properly and carefully disassemble the flow chamber [3].

    - Talent stopping recording

    - Talent stopping pump

    - Tubes being carefully removed

## Protocol Script Questions

A. Which steps from the protocol are the most important for viewers to see?

2.5., 3.3., 4.3., 5.1., 6.1., 6.3.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success?

2.5., 6.1.

# Results

- Results: Representative Thrombus Formation Characterization

  - Labeling with Calcein AM-red and Alexa488 allows the investigation of thrombus formation by platelet adhesion and fibrin deposition [1].

    - LAB MEDIA: Figures 2A and 2B

  - Under non-stimulated conditions, there is no binding of platelets [1] or fibrin to the endothelium [2]

    - LAB MEDIA: Figures 2A and 2B Video Editor: please emphasize Platelets image row in Figure 2A

    - LAB MEDIA: Figures 2A and 2B Video Editor: please emphasize Fibrin image row in Figure 2A

  - Stimulation with histamine results in an immediate increase in platelet adhesion [1] that reaches a plateau after 2.5 minutes [2].

    - LAB MEDIA: Figures 2A and 2B Video Editor: please emphasize Platelet image row in Figure 2B

    - LAB MEDIA: Figures 2A and 2B Video Editor: please emphasize 3 minutes Platelet image in Figure 2B

  - At this timepoint, the platelets begin to secrete autocrine factors that induce platelet aggregation and fibrinogen cleavage to fibrin [1], resulting in fibrin deposition at 3 minutes and the formation of a stable aggregate with the platelets after 4 minutes [2].

    - LAB MEDIA: Figures 2A and 2B Video Editor: please emphasize Fibrin 3 minutes image in Figure 2B

    - LAB MEDIA: Figure 2E Video Editor: please emphasize Histamine stimulated data lines in both graphs from 3-5 minutes

  - Treatment with a direct anticoagulant inhibits both clot formation [1] and platelet adhesion compared to untreated blood [2].

    - LAB MEDIA: Figures 2D-2F Video Editor: please emphasize 3 and 5 minutes images and data lines from 3-5 minutes in Figure 2F

    - LAB MEDIA: Figures 2D-2F Video Editor: please emphasize Histamine stimulated data lines in both 2E graphs from 3-5 minutes

  - Immunofluorescent analysis of pulmonary artery endothelial cell-platelet interactions after 5 minutes of perfusion reveals maintenance of the endothelial cell-cell contacts [1], as confirmed by vascular endothelial-cadherin staining [2], indicating that the blood clots form on endothelial monolayers rather than on the underlying matrix between endothelial gaps [3].

    - LAB MEDIA: Figure 3

    - LAB MEDIA: Figure 3 Video Editor: please emphasize grey signal in Histamine stimulated Control-PAEC image

    - LAB MEDIA: Figure 3

  - Human umbilical vein endothelial cells demonstrate less platelet adhesion and fibrin deposition compared the pulmonary artery endothelium [1].

    - LAB MEDIA: Figure 3 Video Editor: please emphasize Histamine stimulated HUVEC image

  - Notably, diseased primary pulmonary artery endothelial cells from chronic thromboembolic pulmonary hypertension patients exhibit an increased platelet adhesion and more fibrin deposition compared to healthy cells [1].

    - LAB MEDIA: Figure 3 Video Editor: please emphasize Histamine stimulated CTEPH-PAEC image

# Conclusion

- Conclusion Interview Statements

  - Xue Manz: Be sure to select the correct cell source, as the as the thrombogenicity of the endothelium is dependent on multiple factors, like the origin of the vascular bed and the pathobiological background [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (2.6.)

# Robert Szulcek: Using this protocol, the effects of anticoagulation therapies on patient-derived cells and blood and the effects of genetic endothelial cell modification on molecular functions in coagulation can be studied [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Harm Jan Bogaard: This protocol can be used for understanding endothelial-blood interactions in various thromboembolic diseases, with the potential to predict patient-specific responses to anticoagulation therapies [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera