# Submission ID #:  61076

# Scriptwriter Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=18628228

# Title:   A Lab-On-A-Chip Platform for Stimulating Osteocyte Mechanotransduction and Analyzing Functional Outcomes of Bone Remodeling

# Authors and Affiliations:

Sharon L. Truesdell, Estee L. George, Christopher C. Van Vranken, Marnie M. Saunders

Department of Biomedical Engineering, The University of Akron, OH, USA

# Corresponding Authors:

# Sharon L. Truesdell		(slt79@zips.uakron.edu)

# Email Addresses for Co-authors:

Estee L. George		(eg55@zips.uakron.edu)

Christopher C. Van Vranken	(ccv14@zips.uakron.edu)

# Marnie M. Saunders		(mms129@uakron.edu)

## Author Questionnaire

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  No

3. Filming location: Will the filming need to take place in multiple locations? No

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Sharon Truesdell: Here, we present protocols for culturing bone cells within an adaptable lab-on-a-chip platform. These techniques can be used to further our understanding of mechanisms that regulate mechanically-induced bone remodeling.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Sharon Truesdell: Our system allows for long term culturing of bone cells, which enables direct quantification of bone formation and resorption in response to altered mechanical loading environments.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

# OPTIONAL:

  - Sharon Truesdell: Use of these foundational techniques could lead to discoveries that extend to a number of bone-related issues such as osteoporosis, fracture healing and periprosthetic osteolysis.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

# Protocol

- PDMS Fabrication

  - To create the well and microchannel layer, combine the PDMS prepolymer and curing agent at a ratio of 10 to 1 in a plastic cup and mix vigorously [1-TXT], then degas the polymer for 30 minutes [2].

    - WIDE: Establishing shot of talent adding prepolymer and curing agent to a cup and mixing it. TEXT: Layer 2 Videographer: Obtain multiple reusable takes of this shot because it will be reused in 2.6.1.

    - Talent degassing the PDMS.

  - Slowly pour the mixture over the appropriate pre-leveled mask, let it sit for 30 minutes [1], and bake it at 45 degrees Celsius for 18 hours [2].

    - Talent pouring the mixture over the mask that is pre-leveled inside the oven and then letting it sit.

    - Talent turning on the oven.

  - Loosen the edges of the PDMS with a tapered laboratory spatula and carefully peel it away from the mask [1], then cut out individual chips with a scalpel and a 3D printed template [2] and surface clean them with packaging tape [3]. Videographer: This step is important!

    - Talent loosening the PDMS and peeling it away from the mask.

    - Talent cutting out the individual chips.

    - Talent surface cleaning the PDMS.

  - To make the PDMS membrane layer, repeat the previous steps for mixing, pouring and baking the PDMS. Remove the PDMS sheet from the leveling box [1-TXT] and cut individual membranes that match the dimensions of the well and microchannel layer [2]. Videographer: This step is difficult and important!

    - Talent removing the PDMS sheet from the leveling box. TEXT: Layer 3

    - Talent cutting individual membranes.

  - Use calipers to measure the membrane thickness at the center and discard any membranes that are outside of the desired thickness [1-TXT]. Then, carefully clean the membranes with packaging tape and place them on a piece of paraffin film [3]. Videographer: This step is important!

    - Talent measuring the thickness of the membrane. TEXT: 0.5 mm ± 0.1 mm

    - Talent cleaning a membrane with tape and setting it down on paraffin film.

  - To make the PDMS lid layer, repeat the previous steps for mixing, pouring and baking the PDMS [1]. After cutting individual lids to size, punch access holes through the PDMS with a 1-millimeter biopsy punch [2] and then surface clean them with packaging tape [3].

    - Use 2.1.1.

    - Talent punching access holes in the PDMS lid. TEXT: Layer 1

    - Talent surface cleaning the PDMS.

- Chip Assembly and Sterilization

  - Activate the surfaces of layers 1 and 2 with a plasma cleaner for 30 seconds on a medium radio frequency power setting [1], then align the access holes in layer 1 with the microchannels in layer 2 and firmly press the two layers together [2].

    - Talent using a plasma cleaner.

    - Talent aligning the two layers and pressing them together.

  - For the deep well design, repeat this process with layers 2 and 3, using double-sided tape to attach the paraffin film of layer 3 to a flat surface during plasma treatment [1]. Trim off excess material from the PDMS membrane [2] and carefully peel away the sheet of paraffin film from the bottom of the chip [3].

    - Talent attaching the paraffin to a flat surface with tape and starting plasma treatment.

    - Talent trimming off the excess material.

    - Talent peeling away the paraffin film from the bottom of the chip.

  - Bake the chip at 65 degrees Celsius for 10 minutes to increase bond strength between the PDMS layers [1]. Then, insert angled dispensing tips into the access holes in the lid [2] and secure them with a 2-part epoxy, using a micropipette tip to apply the epoxy around each tip [3].

    - Talent putting the chip in the oven.

    - Talent inserting the dispensing tips in the access holes.

    - Talent applying epoxy around each tip.

  - After the epoxy has fully cured, surface clean the chip with 70% ethanol [1] and transfer it to a biosafety cabinet [2]. Connect a 5-milliliter syringe to the dispensing tips with sterile silicone tubing [3-TXT] and fill the entire chip with 70% ethanol for at least 30 seconds [4].

    - Talent cleaning the chip with ethanol.

    - Talent putting the chip in the biosafety cabinet.

    - Talent connecting the syringe to the dispensing tips with tubing. TEXT: 1/32’’ ID, ~ 10 cm in length

    - Talent filling the chip with ethanol.

  - Remove the ethanol from the chip and sterilize it with UV light overnight [1]. On the next day, wash the chip 3 times with distilled water, fill it with water [2], and remove the tubing from the dispensing tips [3]. Incubate the chip for at least 48 hours at 37 degrees Celsius [4].

    - Talent turning on the UV light over the chip.

    - Talent filling the chip with water.

    - Talent removing the tubing.

    - Talent putting the chip in the incubator and closing the door.

- Mechanical Loading Device Assembly

  - Place a compression spring around the shaft of the platen [1] and insert it into the central hole on the bottom of the base [2], then attach the dial block to the bottom of the base with four self-tapping screws [3].

    - Talent placing a compression spring around the shaft of the platen.

    - Talent inserting the platen into the base.

    - Talent attaching the dial block to the base.

  - Place a second compression spring around the central screw [1], insert the screw into the hexagonal-shaped hole in the bottom of the dial [2], and screw the assembly into the threaded hole in the center of the dial block [3].

    - Talent placing the spring around the screw.

    - Talent inserting the screw into the dial.

    - Talent screwing the assembly into the dial block.

  - Screw four male-female standoffs into the bottom of the base [1]. Remove slack from the device by turning the dial counterclockwise until the top of the platen is below the top of the base, then slowly turn the dial clockwise until the top of the platen is level with the top of the base [2]. Videographer: This step is important!

    - Talen screwing standoffs into the bottom of the base.

    - Talent turning the dial counterclockwise and then clockwise.

- Loading Experiment

  - Use a 5-milliliter syringe to remove the water from the deep-well chip [1] and coat the bottom of the well with 200 microliters of type 1 collagen in acetic acid for an hour [2-TXT].

    - Talent removing the water from the chip.

    - Talent coating the bottom of the well with the collagen solution. TEXT: 0.15 mg/mL type I collagen in 0.02 M acetic acid

  - Rinse the chip 3 times using DPBS with calcium and magnesium [1] and place it into the chip holder [2]. Seed the chip with MLO-Y4 osteocytes in MEM-alpha medium supplemented with calf serum, FBS, and penicillin-streptomycin [3-TXT]. Videographer: This step is difficult and important!

    - Talent rinsing the chip with DPBS.

    - Talent placing the chip into the chip holder.

    - Talent seeding the cells. TEXT: 2 x 104 cells/mL

  - Remove the tubing from the dispensing tips [1], place the chip into a deep-well culture dish [2], and incubate the cells at 37 degrees Celsius and 5% carbon dioxide for 72 hours [3].

    - Talent removing the tubing.

    - Talent placing the chip into the dish.

    - Talent putting the dish into the incubator and closing the door. Videographer: Obtain multiple reusable takes of this shot because it will be reused in 5.6.4.

  - After the incubation, attach sterile tubing to dispensing tips and use a 5-milliliter syringe to remove the spent culture medium from the chip, then slowly refill the chip with fresh medium [1].

    - Talent removing the spent medium and replacing it with fresh medium.

  - Place the chip holder into the rectangular inset on the top of the loading device base [1], feed the tubing through the slots located on the lid [2], and secure the lid to the base [3].

    - Talent placing the chip holder into the inset.

    - Talent feeding the tubing through the slots.

    - Talent screwing the base.

  - Apply load to the cells by turning the dial clockwise until the desired platen displacement is reached [1], then place the loading device into an empty P1000 micropipette tip box [2] and incubate the cells with the load for 15 minutes [3].

    - Talent turning the dial.

    - Talent placing the device into the pipette tip box.

    - Talent placing the pipette tip box in the incubator.

  - After the incubation, remove the load from the cells by turning the dial counterclockwise to the original starting position [1], then remove the lid from the device [2], place the chip holder into the deep-well culture plate [3], and incubate the cells for a 90-minute post load recovery period [4].

    - Talent turning the dial counterclockwise.

    - Talent removing the lid from the device.

    - Talent putting the chip holder in the plate.

    - Use 5.3.3.

  - Use a 5-milliliter syringe to remove the conditioned medium from the chip [1-TXT] and remove the chip from the chip holder [2], then use a tapered spatula to break the bond between the PDMS lid and well layer. The cells are now ready to be analyzed [3]. Videographer: This step is important!

    - Talent removing the conditioned medium. TEXT: medium can be stored at -80 °C

    - Talent removing the chip from the chip holder.

    - Talent breaking the bond between the PDMS lid and well layer.

# Results

- Results: Functional Activity and Effects of Mechanically Induced Strain

  - The shallow-well configuration can be used for analyzing functional activity of osteoblasts and osteoclasts [1]. Bone formation from osteoblasts was quantified using alizarin red and von Kossa stains [2-TXT].

    - LAB MEDIA: Figure 1B just the Shallow-well Design.

    - LAB MEDIA: Figure 4 A. Video Editor: Label the left image “Alizarin Red” and right image “von Kossa”.

  - Bone resorption from osteoclasts was quantified using toluidine blue staining [1] and scanning electron microscopy was used to verify the presence of resorption pits [2].

    - LAB MEDIA: Figure 4 B.

    - LAB MEDIA: Figure 4 C.

  - The deep-well chip configuration was used to induce osteocyte mechano-transduction by stretching the cells via a static out-of-plane distention [1]. Images of osteocytes seeded in chips demonstrate that the 48-hour incubation of the chip with distilled water is critical for maintaining cell viability and typical morphology [2-TXT].

    - LAB MEDIA: Figure 1B, just the Deep-well Design.

    - LAB MEDIA: Figure 5 A. Video Editor: Label the left image “48-hour Incubation” and the right image “No Incubation”.

  - During bouts of loading, osteocytes were exposed to a strain gradient induced on the PDMS membrane [1]. The relationship between average equivalent strain and platen displacement for values between 1 and 2 millimeters was determined [2] and a representative heat map of the induced strain was generated [3].

    - LAB MEDIA: Supplementary Video 1. 0:39 – 0:49.

    - LAB MEDIA: Figure 5 B.

    - LAB MEDIA: Figure 5 C.

  - Following loading, cell viability was analyzed with lactate dehydrogenase staining and the annexin five and dead cell assay [1]. Lactate dehydrogenase stain of stretched osteocytes showed a lighter staining near the outer edge of the well [2], which corresponds to the location of higher strain values [3].

    - LAB MEDIA: Figure 5 D and E.

    - LAB MEDIA: Figure 5 D. Video Editor: Emphasize the image with the lighter cells.

    - LAB MEDIA: Figure 5 D.

# Conclusion

- Conclusion Interview Statements

  - Sharon Truesdell: Our platform provides a high degree of versatility and can be used to investigate a variety of factors that regulate bone remodeling, such as load-induced mechanotransduction, inflammation, and drug effects.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Sharon Truesdell: The techniques presented here provide a foundation for developing a true bone organ-on-a-chip that could greatly enhance our understanding of the multicellular intricacies that regulate bone health.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Videographer: If you are short on time, skip this statement.