# Submission ID #:  61081

# Scriptwriter Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=18629753

# Title:   A Sectioning, Coring, and Image Processing Guide for High-Throughput Cortical Bone Sample Procurement and Analysis for Synchrotron Micro-CT

# Authors and Affiliations:

# Janna M. Andronowski1, Reed A. Davis1, and Caleb W. Holyoke, III2

# 1Department of Biology, The University of Akron, Akron, OH, USA

# 2Department of Geosciences, The University of Akron, Akron, OH, USA

# Corresponding Authors:

# Janna M. Andronowski	(jandronowski@uakron.edu)

# Email Addresses for All Authors:

jandronowski@uakron.edu

rad115@zips.uakron.edu

# cholyoke@uakron.edu

## Author Questionnaire

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  No

3. Filming location: Will the filming need to take place in multiple locations?   No

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Janna M. Andronowski: Available data related to bone specimen procurement for SRµCT remains sparse. Our comprehensive tutorial standardizes cortical bone procurement by employing a methodology that is affordable, minimally destructive, and straightforward.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Janna M. Andronowski: Procuring bone specimens with consistent dimensions and a cylindrical shape is critical to ensure that the acquired datasets are of the highest quality and the subsequent results are replicable.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

OPTIONAL:

  - Caleb W. Holyoke, III: The techniques described in this manuscript are applicable to coring of rocks, fossils or any hard material.  They have been used to collect uniformly sized cores of rocks and oriented single crystals for high pressure experiments to explore the rheology of Earth’s crust and mantle.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Reed Davis: Novice corers may find that bone specimens form conical shapes. This can be addressed by allowing sufficient time to flush bone-dust from the coring bit and slowing down coring speed.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Janna M. Andronowski: There is a lack of instructional texts and videos that describe or demonstrate bone sample procurement and subsequent histological analyses. Our step-by-step bone preparation protocol aims to fill this gap.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Ethics Title Card

  - All specimens were sourced from embalmed cadaveric donors at the University of Toledo, College of Medicine and Life Sciences and Northeast Ohio Medical University (NEOMED), with the informed consent of the donor themselves or the donor’s next-of-kin. The University of Akron Institutional Review Board for the Protection of Human Subjects (IRB) deemed these specimens exempt from full IRB review as they were not procured from living individuals.

# Protocol

- Tissue Sectioning

  - Place a 75 by 25-millimeter glass microscope slide on a hot plate set to 140 degrees Celsius [1] and melt a generous amount of thermal epoxy resin on the center of the slide [2].

    - Talent placing the slide on top of the hot plate.

    - Talent melting the epoxy resin on top of the slide.

  - Press the inferior aspect of the bone block into the thermal epoxy resin on the microscope slide, with the length of the bone perpendicular to the slide [1]. Shift the sample back-and-forth in order to coat the underside of the bone and ensure secure adhesion [2].

    - Talent pressing the bone into the epoxy.

    - Talent shifting the sample back and forth.

  - Let the mounted specimen rest on the hot plate for approximately 5 minutes to allow the thermal epoxy to wick into the pores and cracks, making sure that the epoxy on the slide is free of bubbles [1]. If bubbles are present, shift the sample back and forth to remove them [2].

    - Specimen resting on the hot plate, with no bubbles in the epoxy.

    - Talent shifting the sample back and forth to demonstrate how to remove bubbles.

  - Use blunt forceps to remove the slide with the mounted specimen from the hot plate and allow it to cool at room temperature for about 10 minutes [1]. Then, remove any epoxy from the edge of the slide with a razor blade to ensure that the chuck adequately grips the slide [2].

    - Talent removing the slide from the hot plate.

    - Talent removing epoxy from the edge of the slide.

  - Attach the slide with the adhered sample to a glass slide chuck [1] and mount the chuck on the swivel arm of a slow-speed sectioning saw, positioning it so that a cross-section of the bone can be cut perpendicular to its length [2]. Adjust the swivel arm to ensure that the blade contacts and transects the sample [3].

    - Talent attaching the slide to a chuck.

    - Talent mounting the chuck and positioning the sample.

    - Talent adjusting the swivel arm.

  - Add weights to the far side of the cutting arm to counter the weight of the arm [1] and add distilled water and cutting fluid to the fluid receptacle [2]. Tightly secure the diamond wafer blade and ensure that the fluid level submerges the cutting portion of the blade [3]. Set the speed to 200 RPM [4] and slowly lower the sample onto the blade [5]. Videographer: This step is important!

    - Talent adding weights to the far side of the cutting arm.

    - Talent adding distilled water followed by cutting fluid to the fluid receptacle.

    - Talent securing the blade and ensuring that the blade is partially submerged in water.

    - Talent setting the speed.

    - Talent lowering the sample onto the blade. NOTE: 2.6.5 – 2.7.2 are all combined and slated as 2.6.5.

  - Once the saw begins sectioning, ensure that the blade and chuck are not wobbling or bouncing [1]. If they are, immediately stop the saw and tighten the blade or chuck arm assembly. If the chuck is aggressively moving up and down, add more counterweights [2]. Videographer: This step is important!

    - Blade cutting without wobbling or bouncing.

    - Talent stopping the saw and tightening the blade or chuck arm.

  - The first thick section is a ‘waste cut’ that will provide a well-defined surface parallel to each additional cut [1]. After the initial waste cut, raise the swivel arm and move the chuck 5 millimeters towards the blade using the positioning dial [2].

    - Talent making the first waste cut.

    - Talent raising the swivel arm and moving the chuck.

  - After sectioning is complete, place the glass slide with the mounted specimen on a hot plate to melt the thermal epoxy [1].

    - Talent placing the glass slide back on the hot plate.

- Sample Coring

  - Mount 5-millimeter bone sections to the bottom of a shallow aluminum tin using the thermal epoxy bonding technique previously described [1]. Place the tin on an XY machine table of the mill-drill press and hand tighten the fixturing clamps [2].

    - Bone section in the aluminum tin on the hot plate.

    - Talent placing the tin on the machine table and tightening the fixture clamps.

  - Insert a 2-millimeter inner-diameter hollow-shaft jeweler’s diamond-tipped coring drill bit into the mill-drill chuck [1] and adjust the depth limiter to prevent coring through the tin [2].

    - Talent inserting the coring drill bit into the mill-drill chuck.

    - Talent adjusting the depth limiter.

  - Align the central anterior aspect of the bone sample beneath the drill bit while avoiding close contact with the periosteum, endosteum, or highly trabecularized areas [1]. Fill the tin with distilled water to completely cover the sample, which prevents heat build-up, burning of the sample, and damage to the drill bit during coring [2]. Videographer: This step is difficult and important!

    - ECU: Talent aligning the central anterior aspect of the bone sample beneath the drill bit.

    - Talent filling the tin with water.

  - Reed Davis: The mill-drill press can be dangerous if proper safety measures are not taken. Operators must wear safety glasses and ensure loose clothing is secured and long hair is pulled back so they do not get caught in the spindle.

    - INTERVIEW: Named talent says the statement above in an interview-style shot. Videographer: Have talent look more directly at the camera compared to other interview shots because this is a warning statement.

  - For the first few instances of contact between the core bit and bone, apply gentle pressure in order to wear a ring on the superior surface of the bone. This prevents deflection of the drill bit at the beginning of the coring process and ensures correct placement of the bit [1]. Videographer: This step is important!

    - ECU: Talent applying gentle pressure to wear a ring on the bone surface.  Videographer: Obtain a few shots of this, ECU and just CU, or whatever looks good to you. NOTE: CU was obtained. Perhaps use a combination of the shots?

  - During coring, lift the drill bit in and out of the sample while keeping the bit’s tip beneath the water’s surface. Do this every few seconds to flush out trapped bone dust and ensure debris is not occluding the drill bit [1]. Videographer: This step is difficult!

    - Talent lifting the drill bit in and out of the sample.

  - After coring is complete, the resulting bone core may become lodged in the hollow-stemmed drill bit [1]. Use a pair of fine-tipped forceps or a small Allen wrench to dislodge the core from the bit [2]. Store the cored sample in a labelled microcentrifuge tube in a cool and dry location until imaging [3]. Videographer: This step is important!

    - Bone lodged in the drill bit.

    - Talent dislodging the bone.

    - Talent placing the specimen in a microcentrifuge tube and storing it in a cool and dry location.

# Results

- Results: Single SRµCT Reconstructed Slices of the Anterior Aspect of the Left Femur from Two Individuals

  - The described method of core sampling proved to be highly effective and efficient. Representative figures comparing the image processing workflow of a cored sample and one procured using a rotary tool are shown here [1].

    - LAB MEDIA: Figure 7.

  - The sample cut using the common rotary tool [1] exhibited an increased number of canals and lacunae, and a decreased average canal diameter, canal volume, and cortical porosity [2] when compared to the cored sample [3].

    - LAB MEDIA: Figure 7. Video Editor: Emphasize A, C, and E.

    - LAB MEDIA: Figure 7.

    - LAB MEDIA: Figure 7. Video Editor: Emphasize B, D, and F.

  - This table shows porosity data for each sample. Although the coring protocol decreases artifacts observed in synchrotron micro-computed tomography scans, the lower-quality, artifact-laden figures from the rectilinear bone block experiments represent a multi-faceted issue [1].

    - LAB MEDIA: Table 1.

  - Subsequent image processing confirmed the potential of the technique to improve visualization of cortical bone microarchitecture [1]. For example, mineralization differences, improved delineation of osteonal boundaries, and consistent visualization of soft tissues within vascular canals were observed [2].

    - LAB MEDIA: Figure 8.

    - LAB MEDIA: Figure 8 A, C, D, and F.

# Conclusion

- Conclusion Interview Statements

  - Reed Davis:  Proceeding slowly is the key to procuring consistently-shaped cylindrical core samples. If you try to core too fast, the specimens become cone-shaped instead of cylindrical.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 3.5.1.

  - Reed Davis: While procuring the bone thick-section for coring, additional sections can further be collected for brightfield or confocal microscopy, which allows for examination of the canalicular network.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.