TITLE:

A Sectioning, Coring, and Image Processing Guide for High-Throughput Cortical Bone Sample Procurement and Analysis for Synchrotron Micro-CT

AUTHORS AND AFFILIATIONS:

Janna M. Andronowski1, Reed A. Davis1, and Caleb W. Holyoke, III2

1Department of Biology, The University of Akron, Akron, OH, USA

2Department of Geosciences, The University of Akron, Akron, OH, USA

Email addresses of co-authors:

Janna M. Andronowski	(jandronowski@uakron.edu)

Reed A. Davis			(rad115@zips.uakron.edu)

Caleb W. Holyoke, III		(cholyoke@uakron.edu)

Corresponding author:

Janna M. Andronowski	(jandronowski@uakron.edu)

KEYWORDS:

Cortical Bone, 3D Imaging, Composite Tissues, micro-CT, Synchrotron, Image Processing

SUMMARY:

We employed a geological (coring) sampling protocol to procure cortical bone specimens of uniform size for SRµCT experiments from the anterior aspect of human femora. This method is minimally destructive, efficient, results in cylindrical specimens that minimize imaging artifacts from irregular sample shapes and improves microarchitectural visualization and analysis.

ABSTRACT:

Bone is a dynamic and mechanically active tissue that changes in structure over the human lifespan. The products of the bone remodeling process have been studied substantially using traditional two-dimensional techniques. Recent advancements in X-ray imaging technology via desktop micro-computed tomography (µCT) and synchrotron radiation micro-computed tomography (SRµCT) have allowed for the acquisition of high-resolution three-dimensional (3D) scans of a larger field of view (FOV) than other 3D imaging techniques (e.g., SEM) providing a more complete picture of microscopic structures within human cortical bone. The specimen should be accurately centered within the FOV, however, to limit the appearance of streak artifacts known to impact data analysis. Previous studies have reported procurement of irregularly shaped rectilinear bone blocks that result in imaging artifacts due to uneven edges or image truncation. We have applied a geological sampling protocol (coring) to procure consistently sized cortical bone core specimens for SRµCT experiments from the anterior aspect of human femora. This coring method is efficient and minimally destructive to tissue. It creates uniform cylindrical samples that decrease imaging artifacts by nature of being isometric during rotation and providing a uniform path length for X-ray beams throughout scanning. Image processing of X-ray tomographic data of cored and irregularly shaped samples confirms the potential of the technique to improve visualization and analysis of cortical bone microarchitecture. A goal of this protocol is to deliver a reliable and repeatable method for the extraction of cortical bone cores that is adaptable for various types of high-resolution bone imaging experiments. An overarching goal of the work is to standardize cortical bone procurement for SRµCT that is affordable, consistent, and straightforward. This procedure may further be adapted by researchers in related fields who commonly evaluate hard composite materials such as in biological anthropology, geosciences, or material sciences.

INTRODUCTION:

With recent advancements in imaging technology, it is now feasible to acquire X-ray imaging data with very high resolution. Desktop micro-CT (µCT) systems are the current standard for imaging cancellous bone due to their non-destructive nature1. When imaging microstructural features of cortical bone, however, CT use has been more limited. Due to resolution constraints, desktop systems cannot attain the resolution required to image microstructural features smaller than cortical pores, such as osteocyte lacunae. For this application, SRµCT is ideal owing to the greater resolution of these systems1. For example, experiments at the Canadian Light Source (CLS) on the BioMedical Imaging and Therapy (BMIT) beamlines2 have produced images with voxels as small as 0.9 µm(2). Previous studies1, 3–5 have used this resolution to acquire projections and subsequent three-dimensional (3D) renders from cortical bone specimens from human long bones (Figure 1) to quantify osteocyte lacunar density4, 6–9 and variation in the lacunar shape and size3 across the human lifespan and between the sexes. Further studies have demonstrated the presence of osteon banding in humans10, a phenomenon previously recognized to be associated with only nonhuman mammals in the forensic anthropological literature.

In order to achieve exceptional resolution, the X-ray beam must be finely focused within the field of view (FOV), which often limits the maximum specimen size to a few millimeters in diameter. Currently, there have been no comprehensive, standardized procedures described in the literature outlining bone sample procurement that meet these restrictions. Centering specimens within the FOV is critical to ensure that 1) the sample remains centered as it rotates 180° during imaging, and 2) scan artifacts are limited since there is no image truncation. In other words, no portions of the sample outside of the FOV interfere with the beam entering its focal point inside the FOV. If this occurs, the reconstruction algorithm is deprived of some of the attenuation data needed for a fully correct reconstruction. It is further worth noting that 360° (full rotation) scans minimize the effects of beam hardening but increase artifacts caused by misalignment and sample movement during imaging. Thus, while a 360° scan will typically generate cleaner data, imaging time is doubled and so a compromise between experimental cost and data quality must be addressed.

An important and often overlooked aspect of bone imaging experiments is the accurate and replicable specimen preparation technique performed prior to scanning. Studies that incorporate SRµCT methods into their experiments briefly mention their sampling protocol, but the authors provide little to no detail regarding the particular methodology used to gather their specimens. Many such studies also mention cutting rectilinear bone blocks of arbitrary dimensions, but generally provide no further information about the tools or embedding materials used3, 4, 10–14. Some researchers commonly use handheld rotary tools (e.g., Dremel) to remove rectilinear blocks of bone from a region of interest (ROI)3, 4, 10–14. This method results in nonuniformly sized samples that may be larger than the FOV, increasing the likelihood of scan artifacts and image truncation. Such specimens often require further refining using a precision diamond-wafer saw (e.g., Buehler Isomet). Procuring samples with consistent dimensions (to the two-hundredths/mm) is critical to ensure that the acquired datasets are of the highest quality and the subsequent results are replicable.

The limited reporting of sample procurement methodology adds an extra layer of difficulty when attempting to employ and/or validate methods performed in a previous study. Currently, researchers must contact authors directly for further details on their sampling procedures. The protocol detailed here provides biomedical researchers with a thoroughly documented, replicable, and cost-efficient sampling technique. The primary objective of this article is to provide a comprehensive tutorial regarding how to procure consistently sized cortical bone core samples using a mill-drill press and diamond coring bit for the accurate visualization and extraction of microarchitectural data. This method is modified from procedures used to routinely collect uniform, small-diameter (1-5 mm) cylinders from blocks of hard materials in high pressure rock mechanics15–19.

PROTOCOL:

All specimens were sourced from embalmed cadaveric donors at the University of Toledo, College of Medicine and Life Sciences and Northeast Ohio Medical University (NEOMED), with the informed consent of the donor themselves or the donor’s next-of-kin. The University of Akron Institutional Review Board for the Protection of Human Subjects (IRB) deemed these specimens exempt from full IRB review as they were not procured from living individuals. Demographic information including age, sex, and cause of death were available for all donors. The selected individuals did not have documented bone-affecting conditions nor exposure to treatment regimens that may have affected bone remodeling at the time of death. Cortical bone samples were obtained from femora of cadaveric modern males and females with ages ranging from 19 to 101 years of age (mean = 73.9 years). The femoral midshaft has been studied extensively including examinations of variation in cortical porosity20–24 and material density of bone tissue25–27, and has thus become a commonly used site for microstructural analyses.

- Tissue Procurement and Maceration

  - Use an oscillating saw equipped with a plunge cutting carbide blade (for composite materials) to procure ~7.5 cm bone blocks from the mid-diaphyses of the left femora.

  - Soak femoral blocks in an oven-safe glass dish filled with a powdered protease enzyme and tap water solution for 1 h in an incubator set at 45 °C.

  - After incubation, carefully remove any remaining soft tissues and periosteum using blunt dissection or dental tools.

NOTE: Avoid the use of sharp tools (e.g., scalpel) to remove soft tissues. Such instruments may cause damage to the bone that is detectable in µCT scans, affecting specimen preservation and scan data quality.

  - Remove debris or occlusions in the medullary cavity by placing bone blocks in an ultrasonic cleaner for 5-10 minutes with 20:1 parts tap water to cleaning solution (see Table of Materials) or using a handheld water flosser (e.g., Waterpik).

  - Immerse the bone block in a specimen cup and fill with 70% ethanol. Allow the bone to soak for at least 24 hours to remove lipids.

NOTE: Xylenes may also be used to remove lipids. Extended soaking in xylenes, however, may make the bone brittle or chalky as it is an emulsifier.

  - After 24 hours, remove bone blocks from ethanol and allow to air dry at ambient temperature for 24-48 hours.

NOTE: The protocol may be paused here.

- Tissue sectioning

  - Place a 75 x 25 mm glass microscope slide on a hot plate set to 140 °C. Melt a generous amount of thermal epoxy resin (see Table of Materials) on the center of the slide.

    - If preparing additional thin sections for microscopy (<50 µm), embed the bone block in a two-part epoxy prior to sectioning. Further, when implementing this protocol for fragile specimens (e.g., diagenetic bone or highly trabecularized specimens) embedding specimens in an epoxy is necessary.

NOTE: Bone samples used in this protocol were retrieved from embalmed cadaveric specimens. If fresh specimens are collected at autopsy or from a surgical case to examine soft tissue structures (e.g., vasculature) via SRµCT, impregnation via epoxy may induce damage to such tissues. In these cases, an alternative adhesive or mounting medium is recommended (e.g., double-sided tape, modeling clay).

  - Press the inferior aspect of the bone block into the thermal epoxy resin on the microscope slide, with the length of the bone perpendicular to the slide. Shift the sample back-and-forth in order to coat the underside of the bone and ensure secure adhesion to the slide.

  - Let the mounted specimen rest on the hot plate for ~5 min to allow the thermal epoxy to wick into pores and/or cracks.

NOTE: The epoxy on the slide should be free of bubbles for best adhesion. To remove bubbles, shift the sample back and forth on the slide. Bubbles often form due to water and/or ethanol trapped within the bone escaping and evaporating.

  - Remove the slide with the mounted specimen from the hot plate using blunt forceps and allow to cool at room temperature for ~10 minutes. Remove any epoxy from the edge of the slide using a razor blade to ensure the chuck adequately grips the slide.

  - Attach the slide with the adhered sample to a glass slide chuck and mount the chuck to the swivel arm of a slow-speed sectioning saw (see Table of Materials, Figure 2).

NOTE: While a Buehler IsoMet saw was employed in this protocol, other precision sectioning saws are available that could be used in place of the IsoMet (e.g., Leco, Exakt, Smartcut, CT3, Buehler Petrothin, Well Diamond Wire).

  - Adjust the swivel arm using the positioning dial to ensure the blade contacts and transects the sample. Position the specimen such that a cross-section of the bone will be cut perpendicular to its length.

  - Add weights to the far side of the cutting arm to counter the weight of the arm.

NOTE: If insufficient counterweight is used, the sample may bear down on the blade and cause the blade to fracture.

  - Add cutting fluid (20:1 parts water to cutting fluid) to the fluid receptacle of the saw.

  - Tightly secure the diamond wafer blade and ensure the fluid level submerges the cutting portion of the blade. Set the speed to 200 RPM and slowly lower the sample onto the blade (Figure 3).

  - Ensure the blade and chuck are not wobbling and/or bouncing. If excessive movement is noted, immediately stop the saw and tighten the blade and/or chuck arm assembly before resuming cutting. Add additional counterweights if the chuck is aggressively moving up and down. Excessive movement including visible side-to-side motion may cause the blade to fracture.

  - The first thick section is a ‘waste cut’ to provide a well-defined surface parallel to each additional cut. After the initial waste cut, raise the swivel arm and move the chuck towards the blade 5 mm using the positioning dial. Further thick sections (~1 mm) for microscopy can further be collected with this method.

NOTE: In order to save valuable tissue, the waste cut can be omitted. When sectioning a sample with an uneven edge, however, it is critical that the peak of the specimen be lined up tangentially to the edge of the coring drill bit.

    - Be sure to account for the kerf of the blade when sectioning. For example, to get a 5 mm section from a blade that has a kerf of 0.5 mm, move the sample and chuck 5.5 mm towards the blade.

  - After sectioning is complete, place the glass slide with the mounted specimen on a hot plate to melt the thermal epoxy. This allows for swift removal of bone blocks from the slide.

NOTE: The protocol can be paused here.

- Sample coring

  - Mount 5 mm bone sections to the bottom of a shallow aluminum tin (~8 cm in diameter) using the thermal epoxy bonding technique as described in steps 2.2-2.4.

  - Place tin on an XY machine table of the mill-drill press (see Table of Materials) and hand tighten fixturing clamps (Figure 4).

  - Insert 2 mm inner-diameter hollow-shaft jeweler’s diamond-tipped coring drill bit (see Table of Materials) to the mill-drill chuck. Adjust the depth limiter to prevent coring through the tin (Figure 5).

  - Align the central anterior aspect of the bone sample beneath the drill bit while avoiding close contact with either the periosteum, endosteum, or highly trabecularized areas.

NOTE: Automated selection of mid-anterior femoral cortices is not feasible as cortical thickness varies among individuals, especially with increasing age.

  - Fill the tin with distilled water to completely cover the sample. This prevents heat build-up, burning of the sample, and/or damage to the drill bit during coring.

NOTE: To assess the possibility of heat damage caused by coring, an infrared thermometer was used to achieve temperature readings from the distilled water as the coring bit first penetrated the bones’ surface. The temperature varied by 1 C, from 22.9 – 23.9 C among the ten samples cored for this test. Thus, we argue that heat-induced damage is negligible.

  - For the first few instances of contact between the core bit and bone, apply gentle pressure in order to wear a ring on the superior surface of the bone. This prevents deflection of the drill bit at the beginning of the coring process and ensures correct placement of the bit.

  - During coring, lift the drill bit in and out of the sample while keeping the bit’s tip beneath the water’s surface. Continue this technique every few seconds to flush out trapped bone dust and ensure debris is not occluding the drill bit.

NOTE: If the core is forming a conical shape, it is likely due to 1) allowing insufficient time to flush bone dust from the coring bit, and 2) coring is occurring too quickly. Increased speed may break off large pieces from the sample and pulverize the superior aspect.

  - After coring is complete, the resulting bone core may become lodged in the hollow-stemmed drill bit (Figure 6). Use a pair of fine-tipped forceps or a small Allen wrench to dislodge the core from the bit (Figure 2).

  - Store the cored sample in a labelled microcentrifuge tube in a cool and dry location until imaging.

- Image processing routines for evaluating bone microarchitectural parameters from cortical bone cores

  - Reconstruction of µCT images

    - Download and install the latest NRecon version at https://www.bruker.com/products/microtomography.html for reconstruction of the SRµCT projection images.

    - Select the NRecon shortcut on the Desktop and the associated GPUReconServer will appear.

    - Open desired dataset in pop-up window. If window does not appear, select the folder icon on the upper left-hand corner of the dataviewer window.

    - Select the first projection from the SRµCT acquisition. Under Output, remove the selections for Use ROI and Scales ON.

    - Choose the reconstruction file destination. Select Browse and create a new folder named Recon. The selected file format should be BMP(8).

    - Check Misalignment Compensation.

NOTE: This estimation is often close to correct. The rough 3D render can be manually adjusted by moving the arrows up and down to shift the overlapping images so that the right and left edges align as closely as possible.

    - Under Settings, choose desired selections to apply Smoothing, Beam Hardening, CS Rotation, Object Larger than FOV, and Ring Artifacts algorithms.

    - Adjust the histogram under Output by selecting Auto.

NOTE: The resulting image may be dim.

    - Select Start to begin processing the reconstruction.

    - Use standard nomenclature for canal/osteocyte lacunar indices28. These may include: total VOI tissue volume (TV), canal volume (Ca.V), total number of canals (Ca.N), average canal diameter (Ca.Dm), cortical porosity (Ca.V/TV), given as a percentage, total number of lacunae (N.Lc), and average lacunar volume (Lc.V), among others. To determine lacunar density per mm3 (N.Lc/BV), bone volume (BV) is calculated as total volume minus canal volume (TV-Ca.V).

NOTE: The protocol can be paused here.

  - Collection of Microarchitectural Data from Reconstructed Images

    - Download and install the latest version of CTAnalyser at https://www.bruker.com/products/microtomography/micro-ct-software/3dsuite.html for analysis of microarchitectural parameters.

NOTE: The free version of CTAnalyser is limited in functionality. Therefore, it is recommended to purchase a full license to perform more detailed analyses.

    - Under Image | Properties | Change Pixel size, ensure the pixel size matches that of the applied µCT imaging protocol.

NOTE: If editing images in ImageJ or a similar program, note that upon saving, the header embedded in the TIFF file will be modified and the analysis software will alter the pixel size when importing the dataset.

    - Select Custom Processing in order to create a task list (see Supplementary Materials) to analyze the bone microarchitecture from the scan dataset. A general protocol for osteocyte lacunar network parameters using plugins proprietary to CTAnalyser follows here:

NOTE: The plugin task list works well for datasets where the sample is the only subject visible in the FOV. If empty space surrounds the specimen, the application of an ROI is required. Otherwise, the values gathered in 3D Analysis and Individual Object Analysis will be artificially decreased.

      - Reload the images to reset and/or adjust any modifications (e.g., from editing in ImageJ or similar) prior to opening the Custom Processing menu in the analysis software.

      - To reduce noise in the images, apply a Gaussian low-pass filter in 3D space with a round kernel and a radius of 2-3.

NOTE: These settings were applied to datasets from the reported SRµCT experiments through trial and error testing. The goal was to obtain the best quality reconstructions for the data. Adjust reconstruction settings to suit each unique experimental setup.

      - Apply a global grayscale threshold to the images by selecting low and high values to highlight vascular canals. The reconstructed slices seen in Figures 8B and 8D depict an example threshold of 0-155.

NOTE: Similar to step 4.2.3.2, the threshold settings applied here were chosen through extensive trial and error. Thresholding should be adjusted for each experimental set-up and µCT imaging system used.

      - Despeckle (denoise) to remove white speckles in 3D space that are within the volumetric pixel (voxel) size range of osteocyte lacunae in order to isolate canals only.

NOTE: For a SRµCT scan of human cortical bone taken at 0.9 µm pixel size, the lower limit for osteocyte lacunae is 13 voxels.

      - Despeckle to remove any black speckles in 2D space to remove artifacts in the canals. These can be quite large in 2D, thus remove features that are <15,000 pixels.

      - Dilate the pores in 3D space using the Morphological operation function with a round kernel of 2 or 3 radius, depending on quality of images, in order to isolate any soft tissues trapped in canals.

      - Perform an additional Despeckle function using the same settings as step 4.2.3.5. in order to remove isolated soft tissues within canals.

      - Erode the dilation from step 4.2.3.6. using a Morphological operation function using a round kernel with either 2 or 3 radius. The radius for this step must match the radius used in Procedure 4.2.3.6.

      - Run 3D Analysis and select which parameters to calculate for the volume of vascular canals. Generally, the basic values will provide sufficient information.

      - Save the processed images with Save Bitmaps into a custom subfolder in the directory.

NOTE: If creating a 3D reconstruction image from the processed images using a program such as Amira/Avizo, Dragonfly, Drishti, etc., saving the images as monochrome (1 bit) is recommended.

      - Calculate the number of vascular canals and describe their size, shape, and orientation using the Individual Object Analysis function.

      - Repeat steps 4.2.3.1 – 4.2.3.3. to reset the image for osteocyte lacunar analysis.

      - Remove white speckles in 3D space using the Despeckle function, ensuring that such artifacts are smaller than the lower limit of lacunar size. This step removes noise from the scan that may appear to be cortical pores, while preserving true osteocyte lacunae. For human SRµCT scans of 0.9 µm pixel size, this lower limit is 13 voxels.

      - Despeckle once more to remove white speckles that are larger than the upper limit of lacunar size. For human SRµCT datasets with the settings listed in step 4.2.3.13, this limit is 2743 voxels.

      - Perform 3D Analysis to extract microstructural information pertaining to the osteocyte lacunae specifically.

      - Select Save Bitmaps to save the processed images in order to isolate the osteocyte lacunae.

      - Perform Individual Object Analysis to calculate the number of osteocytes in 3D within the selected Volume of Interest (VOI).

NOTE: Once the task list has been established and tested, CTAnalyser has a batch manager (BatMan) function which can be employed to accelerate data extraction and ensure uniform image processing. A task list with example settings for Procedure 4.2.3. can be found in the Supplementary Materials.

REPRESENTATIVE RESULTS:

The described method of core sampling proved to be highly effective and efficient. Coring specimens using this protocol allowed for the procurement of >300 consistently sized samples for experiments on the CLS BMIT-BM beamline2, with an FOV of ~2 mm at 1.49 m voxel size. To validate the consistency of core diameter, three measurements were taken along the length (top, middle, bottom) of a subset of human anterior femoral cores (n=69). The average diameter of the cores was 1.96 ± 0.11 mm, and the average thinning along the length of the core was 0.06 ± 0.06 mm/mm In order to emphasize the applicability to other hard composite materials, we attempted this method on samples of dolomite (n=32) resulting in an average diameter of 1.06 ± 0.02 mm. Thinning along the length of the core sample was recorded as 0.01 ± 0.005 mm/mm. Representative figures comparing the image processing workflow of a cored sample and one procured using a rotary tool (e.g., Dremel), as described in step 4.2.3, can be viewed in Figure 7. The sample cut using the common rotary tool exhibited an increased number of canals (Ca.N) and lacunae (Lc.N), and a decreased average canal diameter (Ca.Dm), canal volume (Ca.V), and cortical porosity (Ca.V/TV) when compared to the cored sample. While some of these differences may be due to bone microstructural variation between individuals, the higher number of canals and lacunae extracted from the rotary tool dataset were likely artificially increased due to scan artifacts and noise (Figure 7). The porosity data collected from step 4.2.3.9 for each sample is located in Table 1. It is worth noting that though the coring protocol decreases artifacts observed in SRµCT scans, the lower-quality, artifact-laden figures from the rectilinear bone block experiments (Figure 7A) represent a multi-faceted issue. Certain artifacts (e.g., phase contrast signals) may have been caused by synchrotron facility or beamline-specific issues. Scan parameters for both representative sets of experiments and the associated figures (Figures 7A, 7B) can be found in the Supplementary Materials (Tables S1, S2).

Synchrotron micro-CT images gathered from cored samples successfully suppressed scan artifacts, as demonstrated above, including streak artifacts. Subsequent image processing confirmed the potential of the technique to improve visualization of cortical bone microarchitecture. For example, mineralization differences, improved delineation of osteonal boundaries, and consistent visualization of soft tissues within vascular canals were observed (Figures 8C, 8D). The latter is critical for image processing as partial visualization of soft tissues within canals may result in inaccurate calculations of percent porosity and pore thickness, since the pores are not fully filled. The boundaries of osteocyte lacunae were also improved due to decreased birefringence, allowing for the quantification of shape parameters. The potential advantages of the described coring technique include ease of centering the specimen in the FOV, reduced analytical requirements, and consistent visualization of soft tissues within vascular canals.

Similar procedures have been used successfully to core single crystals of orthopyroxene18, polycrystalline magnesite19 and other geologic materials15–17 for high pressure rock deformation experiments. These experiments require cores in specific orientations relative to crystallographic axes in single crystals18 or aligned crystals in polycrystalline rocks19 in order to determine orientation-specific strengths. The approaches described above have been used to first create oriented slabs and, subsequently, collect multiple uniform, cylindrical cores for series of deformation experiments. These methods can be used to collect cores of any hard material, such as bone, ceramics or glasses. For example, the above methodology could be applied by biological anthropologists to evaluate cores from specific regions within cortical bone and their associated biomechanical (e.g., tension/compression) axes.

FIGURE AND TABLE LEGENDS:

Figure 1. A single SRµCT reconstructed slice of a cylindrical VOI from a left anterior human mid-shaft femur (21-year-old female) (A), and 3D renders of the entire core from superior (B) and anterior views (C) are visualized. Projections were taken at 0.9 µm, with vascular canals highlighted in red and osteocyte lacunae in grey. Scale bars denote 0.25 mm (A) and 0.02 mm (B,C). NOTE: The thin ring surrounding the specimen (A) is mounting material (super glue), which is radiolucent and easily removed during the thresholding process.

Figure 2. A mid-shaft femoral sample (5 mm thickness) mounted to a glass microscope slide with thermal epoxy (see Table of Materials) and secured to a glass slide chuck.

Figure 3. Glass slide chuck with mounted specimen secured to the swivel arm of a saw (see Table of Materials) prior to sectioning. The lateral position of the swivel arm relative to the saw blade and the sectioning speed (RPM) are displayed on the top and bottom rows of the LCD display, respectively.

Figure 4. A 5 mm femoral section mounted to an aluminum tin and secured to an XY mill-drill press machine table using fixturing clamps in preparation for coring.

Figure 5. The mill-drill press employed in the devised protocol (A). The arrow identifies the depth limiter, which prevents the drill bit from penetrating deeply into the sample or through the bottom of the tin (B).

Figure 6. A 5 mm femoral bone cross-section following core procurement from the anterior aspect.

Figure 7. Single SRµCT reconstructed slices of the anterior aspect of the left femur from two individuals. Specimen (A) was sectioned using a common rotary tool and (B) was procured using the coring method described here. Each slice is compared with their thresholded counterpart (C and D). Note the ease of isolating cortical porosity in the cored sample (D) as opposed to the specimen gathered with the rotary tool (C). This is evidenced further in the 3D renders of the vascular canals of each sample (E and F). Noise around the periphery of B is evident and the specimen leaves the FOV, which both result in increased challenges during image processing. The arrow in B denotes a canal with soft tissue remnants visible. The scale bar in panel (D) denotes 250 µm for panels (A-D). The scale bars in panels (E,F) denote 700 and 600 µm, respectively.

Figure 8. A representative ROI from a sample procured with a rotary tool (A-C) and one cored using the method presented here (D-F). Panels (A) and (D) represent the designated ROI from the SRµCT scans. Panels (B) and (E) represent the processing stage used to isolate and extract vascular canal parameters. In the upper right of panel (B) there are extraneous objects (arrows) that have been classified as vascular canals by image processing software. Panels (C) and (F) represent the processing stage used to isolate and extract lacunae. Scale bars denote 0.1 mm for all panels.

Table 1. Representative results for step 4.2.3.9 of rotary tool and cored specimens visualized in Figure 8. Note the decreased Ca.V, Ca.V/TV, Ca.Dm, number of pores and pore density for the rotary cut sample as well as the increased number of vascular canals and lacunae. Scan artifacts partially induced by the unevenly cut sample likely contributed to an artificial increase in lacunae and cortical pores.

DISCUSSION:

There has been no comprehensive, standardized protocol for procuring uniform and cylindrical cortical bone core samples for high-resolution SRµCT imaging with limited FOV setups. The protocol detailed here attempts to fill that void by providing a comprehensive tutorial regarding how to procure consistently sized cortical bone core samples for SRµCT imaging and the subsequent accurate visualization and extraction of microarchitectural data. We have shown that our protocol provides a more standardized and reliable method for procuring cortical bone cores than previous descriptions of sectioning rectilinear bone blocks of arbitrary dimensions. Thus, researchers who have relied on handheld rotary tools (e.g., Dremel) to remove irregularly sized blocks of bone likely experienced much longer sample setup times during imaging and greater errors in thresholding and cortical pore extraction during analysis. This discrepancy highlights the need for and significance of this standardized protocol with respect to bone sample preparation, subsequent visualization and analysis, and interpreting results.

The procedure outlined here may further be adapted by researchers in related fields who commonly evaluate bone tissue such as biological anthropologists and archaeologists. No diagenetic nor archaeological/historic bone specimens, however, were cored for the described research protocol. Diagenesis, in geology, refers to alterations of a material (e.g., bone) after deposition and can encompass changes caused by physical, chemical, or biological means29,30. Ground water, fungi, and other microbial infiltration can all act as diagenetic agents and alter bone tissue micromorphology31. Such specimens may require additional procedural steps prior to coring, such as embedding in methyl methacrylate (MMA) or a two-part epoxy resin. Embedding the femoral blocks was not necessary for the described experiments due to the dense nature of femoral cortical bone, and the fact that cadaveric specimens were embalmed shortly after death. If evaluating fragile skeletal elements and their trabeculae (e.g., ribs), however, we recommend embedding the entire bone block prior to coring.

All bone tissues evaluated in this study were embalmed while fresh. The authors did not have access to the specific combination of chemicals used during the embalming process, though preservation chemicals commonly include formaldehyde, ethanol, phenol, ethylene glycol, and glutaraldehyde. Forensic anthropological data documenting changes in the microstructure of formaldehyde saturated bones is limited, though Freidlander32 demonstrated that formaldehyde fixation does not alter the morphology of certain features including Haversian canals and secondary osteons. Formaldehyde saturation, however, has documented effects on certain mechanical properties and fracture characteristics of nonhuman bone such as impact strength and fracture toughness33, 34.

We have reported a method for coring cortical bone samples prior to imaging with high-resolution X-ray systems (SRµCT). This method is cost-effective, owing to the fact that materials and equipment may be sourced from local hardware stores, efficient, and ensures a uniform sample size across specimens. It is our hope that our suggestions will reduce inquiries relating to how samples should be procured, cored, and analyzed for SRµCT, as the existing literature remains sparse and lacks critical details regarding preparation and subsequent analysis. Our primary goal is to motivate researchers to apply this coring protocol as standardized procedure for high-resolution bone imaging research. We further hope that the aforementioned difficulties we experienced in developing this technique will alleviate common questions and provide guidance for troubleshooting.

ACKNOWLEDGMENTS:

Research described in this paper was performed at the BMIT facility at the Canadian Light Source, which is supported by the Canada Foundation for Innovation, Natural Sciences and Engineering Research Council of Canada, the University of Saskatchewan, the Government of Saskatchewan, Western Economic Diversification Canada, the National Research Council Canada, and the Canadian Institutes of Health Research. The authors would like to thank the beamline scientists at the Canadian Light Source, particularly Adam Webb, Denise Miller, Sergey Gasilov, and Ning Zu for the assistance in set-up and troubleshooting of the SkyScan SRµCT and white beam microscope systems. We also wish to thank Beth Dalzell from The University of Toledo College of Medicine and Life Sciences and Dr. Jeffrey Wenstrup of the Northeast Ohio Medical University for access to cadaveric samples for this study. JM Andronowski is supported through start-up research funds provided by The University of Akron. RA Davis is supported by a graduate assistantship provided by The University of Akron. Equipment and supplies used for coring and sawing were purchased by start-up funds provided by The University of Akron and NSF grant EAR-1624242 to CW Holyoke.

DISCLOSURES:

The authors have nothing to disclose.

REFERENCES:

1.	Andronowski, J.M., Crowder, C., Soto Martinez, M. Recent advancements in the analysis of bone microstructure: New dimensions in forensic anthropology. Forensic Sciences Research. 3 (4), 278–293 (2018).

2.	Wysokinski, T.W. et al. Beamlines of the biomedical imaging and therapy facility at the Canadian light source – part 3. Nuclear Instruments and Methods in Physics Research Section A: Accelerators, Spectrometers, Detectors and Associated Equipment. 775, 1–4 (2015).

3.	Carter, Y., Suchorab, J.L., Thomas, C.D.L., Clement, J.G., Cooper, D.M.L. Normal variation in cortical osteocyte lacunar parameters in healthy young males. Journal of Anatomy. 225 (3), 328–336 (2014).

4.	Carter, Y., Thomas, C.D.L., Clement, J.G., Cooper, D.M.L. Femoral osteocyte lacunar density, volume and morphology in women across the lifespan. Journal of Structural Biology. 183 (3), 519–526 (2013).

5.	Langer, M. et al. X-Ray Phase Nanotomography Resolves the 3D Human Bone Ultrastructure. PLoS ONE. 7 (8), e35691 (2012).

6.	Peyrin, F., Dong, P., Pacureanu, A., Langer, M. Micro- and Nano-CT for the Study of Bone Ultrastructure. Current Osteoporosis Reports. 12 (4), 465–474 (2014).

7.	Dong, P. et al. 3D osteocyte lacunar morphometric properties and distributions in human femoral cortical bone using synchrotron radiation micro-CT images. Bone. 60, 172–185 (2014).

8.	Gauthier, R. et al. 3D micro structural analysis of human cortical bone in paired femoral diaphysis, femoral neck and radial diaphysis. Journal of Structural Biology. 204 (2), 182–190 (2018).

9.	Giuliani, A. et al. Bisphosphonate-related osteonecrosis of the human jaw: A combined 3D assessment of bone descriptors by histology and synchrotron radiation-based microtomography. Oral Oncology. 82, 200–202 (2018).

10.	Andronowski, J.M., Pratt, I.V., Cooper, D.M.L. Occurrence of osteon banding in adult human cortical bone. American Journal of Physical Anthropology. 164 (3), 635–642 (2017).

11.	Andronowski, J.M., Mundorff, A.Z., Pratt, I.V., Davoren, J.M., Cooper, D.M.L. Evaluating differential nuclear DNA yield rates and osteocyte numbers among human bone tissue types: A synchrotron radiation micro-CT approach. Forensic Science International: Genetics. 28, 211–218 (2017).

12.	Britz, H.M. et al. Prolonged unloading in growing rats reduces cortical osteocyte lacunar density and volume in the distal tibia. Bone. 51 (5), 913–919 (2012).

13.	Maggiano, I.S. et al. Three-dimensional reconstruction of Haversian systems in human cortical bone using synchrotron radiation-based micro-CT: morphology and quantification of branching and transverse connections across age. Journal of Anatomy. 228 (5), 719–732 (2016).

14.	Cooper, D.M.L., Thomas, C.D.L., Clement, J.G., Hallgrímsson, B. Three-dimensional microcomputed tomography imaging of basic multicellular unit-related resorption spaces in human cortical bone. The Anatomical Record Part A: Discoveries in Molecular, Cellular, and Evolutionary Biology. 288A (7), 806–816 (2006).

15.	Holyoke, C.W., Kronenberg, A.K., Newman, J., Ulrich, C. Rheology of magnesite: Rheology of Magnesite. Journal of Geophysical Research: Solid Earth. 119 (8), 6534–6557 (2014).

16.	Holyoke, C.W., Kronenberg, A.K. Reversible water weakening of quartz. Earth and Planetary Science Letters. 374, 185–190 (2013).

17.	Holyoke, C.W., Kronenberg, A.K., Newman, J. Dislocation creep of polycrystalline dolomite. Tectonophysics. 590, 72–82 (2013).

18.	Raterron, P., Fraysse, G., Girard, J., Holyoke, C.W. Strength of orthoenstatite single crystals at mantle pressure and temperature and comparison with olivine. Earth and Planetary Science Letters. 450, 326–336 (2016).

19.	Millard, J.W. et al. Pressure Dependence of Magnesite Creep. Geosciences. 9 (10), 420 (2019).

20.	Thomas, C.D.L., Feik, S.A., Clement, J.G. Regional variation of intracortical porosity in the midshaft of the human femur: age and sex differences. Journal of Anatomy. 206 (2), 115–125 (2005).

21.	Jowsey, J. Age Changes in Human Bone. Clinical Orthopaedics and Related Research. 17, 210 (1960).

22.	Martin, R.B., Pickett, J.C., Zinaich, S. Studies of skeletal remodeling in aging men. Clinical Orthopaedics and Related Research. (149), 268–282 (1980).

23.	Martin, R.B., Burr, D.B. Mechanical implications of porosity distribution in bone of the appendicular skeleton. Orthopedic Transactions. 8, 342–343 (1984).

24.	Bousson, V. et al. Distribution of Intracortical Porosity in Human Midfemoral Cortex by Age and Gender. Journal of Bone and Mineral Research. 16 (7), 1308–1317 (2001).

25.	Goldman, H.M., Thomas, C.D.L., Clement, J.G., Bromage, T.G. Relationships among microstructural properties of bone at the human midshaft femur. Journal of Anatomy. 206 (2), 127–139 (2005).

26.	De Micheli, P.O., Witzel, U. Microstructural mechanical study of a transverse osteon under compressive loading: The role of fiber reinforcement and explanation of some geometrical and mechanical microscopic properties. Journal of Biomechanics. 44 (8), 1588–1592 (2011).

27.	Martin, R.B., Boardman, D.L. The effects of collagen fiber orientation, porosity, density, and mineralization on bovine cortical bone bending properties. Journal of Biomechanics. 26 (9), 1047–1054 (1993).

28.	Cooper, D.M.L., Turinsky, A.L., Sensen, C.W., Hallgrímsson, B. Quantitative 3D analysis of the canal network in cortical bone by micro-computed tomography. The Anatomical Record Part B: The New Anatomist. 274B (1), 169–179 (2003).

29.	Crowder, C., Heinrich, J., Stout, S.D. Rib histomorphometry for adult age estimation. Forensic Microscopy for Skeletal Tissues: Methods and Protocols. 109–127 (2012).

30.	Pfeiffer, S. Paleohistology: Health and disease. Biological Anthropology of the Human Skeleton. 287–302 (2000).

31.	Hedges, R.E.M. Bone diagenesis: an overview of processes. Archaeometry. 44 (3), 319–328 (2002).

32.	Friedlander, H. The use of formaldehyde imbedded human remains in experimental procedures. at <https://capa-acap.net/sites/default/files/basic-page/capa_2017_program_final_no_cover.pdf> (2017).

33.	Currey, J.D., Brear, K., Zioupos, P., Reilly, G.C. Effect of formaldehyde fixation on some mechanical properties of bovine bone. Biomaterials. 16 (16), 1267–1271 (1995).

34.	Asaka, T., Kikugawa, H. Effect of formaldehyde solution on fracture characteristics of bovine femoral compact bone. Journal of the Japan Institute of Metals. 69 (8), 711–714 (2005).