## Sheet1
Name of Material/Equipment | Company | Catalog Number | Comments/Description
0.45 µm syringe filter | Fisher scientfic | 09-720-004
2-Mercaptoethanol | Sigma | M3148
Ammonium carbonate | Sigma-Aldrich | 207861-500
Bio-Lyte 3/10 Ampholyte | Bio-Rad | 163-1113
Bio-Lyte 5/8 Ampholyte | Bio-Rad | 163-1192
Compact low temperature thermostat | Lauda -Brinkmann | RM 6T | Set water cooling to 4 oC and it can be run even at 0 oC as when it passes through the Rotofor cooling core, the circulating water temperature will be around 5 or more depending on the voltage.
Coomassie Brilliant Blue R | Sigma-Aldrich | B7920
Dialysis tubing (3,500 MWCO) | Spectrum Spectra/Por | 132112T
Gymnema plant leaf extract powder (>25% Gymnemic acids) | Suan Farma, NJ USA
Incubator | Lab companion | SI 300R
Microscope | Leica | DM 6B
Mini protean electrophoresis | Bio-Rad
pH meter | Mettler Toledo | S20 | Useful to determine the pH of the Rotofor (liquid-phase IEF) fractions
Rotofor | Bio-Rad | 170-2972 | http://www.bio-rad.com/webroot/web/pdf/lsr/literature/M1702950E.pdf (Rotofor Instruction manual for assembling the unit)
RPMI-1640 Medium | HyClone | DH30255.01
Sealing tape | Bio-Rad | 170-2960 | Scotch tape may also be used.
Sorvall legend micro 17 centrifuge | Thermo scientific | 75002432
TPP tissue culture plate -96 well flat bottom | TPP | TP92696