Editorial comments:
General:
1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues.

The manuscript was read carefully and all spelling or grammar issues were corrected.

2. Please ensure that the manuscript is formatted according to JoVE guidelines–letter (8.5” x 11”) page size, 1-inch margins, 12 pt Calibri font throughout, all text aligned to the left margin, single spacing within paragraphs, and spaces between all paragraphs and protocol steps/substeps.

The manuscript is correctly formatted according to JoVE guidelines.

3. Please define all abbreviations before use, e.g., PFU

Now, all abbreviations are defined before use.

4. JoVE cannot publish manuscripts containing commercial language. This includes trademark symbols (™), registered symbols (®), and company names before an instrument or reagent. Please limit the use of commercial language from your manuscript (and figures) and use generic terms instead. All commercial products should be sufficiently referenced in the Table of Materials and Reagents.
For example: Eppendorf, µ-Dish, ibidi

All trademark, registered symbols and company names have been removed from the manuscript.

Summary:
1. Please include a separate Summary section (before the abstract) that clearly describes the protocol and its applications in complete sentences between 10 and 50 words, e.g., “Here, we present a protocol to …
The summary section has been added before the abstract.

Protocol:
1. There is a 10 page limit for the Protocol, but there is a 2.75 page limit for filmable content. If revisions cause the highlighted portion to be more than 2.75 pages, please highlight 2.75 pages or less of the Protocol (including headers and spacing) that identifies the essential steps of the protocol for the video, i.e., the steps that should be visualized to tell the most cohesive story of the Protocol.

The Protocol is less than 2.75 pages.

2. For each protocol step/substep, please ensure you answer the “how” question, i.e., how is the step performed? Alternatively, add references to published material specifying how to perform the protocol action. If revisions cause a step to have more than 2-3 actions and 4 sentences per step, please split into separate steps or substeps.

We clearly explain how to perform each step of the protocol.

Specific Protocol steps:
1. 1.4: How do you measure PFU?

In the revised manuscript, information about PFU was replaced with OD600 measurement. PFU is no longer mentioned in the manuscript. 

Figures:
1. Please provide a legend for Movie 1.

Legend for Movie 1 has been added.

Table of Materials:
1. Please ensure the Table of Materials has information on all materials and equipment used, especially those mentioned in the Protocol.

All materials and equipment used in the Protocol are indicated in the Table of Materials.

2. Please remove trademark (™) and registered (®) symbols from the Table of Materials.
Symbols have been removed from Table of Materials.

Reviewers' comments:
Reviewer #1:
Manuscript Summary:
Makowski et al. describe a live-cell imaging method to visualize the life cycle of the small Gram-negative bacterial predator, Bdellovibrio bacteriovorus. B. bacteriovorus bacterium has the ability to kill a range of Gram-negative bacterial strains, including several pathogen (Escherichia coli Klebsiella pneumoniae, Pseudomonas aeruginosa and Shigella flexneri…), yet investigating its lifecycle and particularly its proliferation inside the prey remains a technical challenge. This protocol provides a convenient way to monitor interactions between B. bacteriovorus and the prey cells in real-time, and describe the two phases of its proliferation cycle, i.e., free-living non-replicative attack phase and an intracellular reproductive phase. To distinguish between these two phases, the authors use a B. bacteriovorus strain producing a fluorescently tagged PilZ cytoplasmic protein together (attack phase) with a fluorescently tagged β-sliding clamp subunit DnaN, which is the associated with the DNA polymerase III holoenzyme (replicative phase). This technique is mostly based on the preparation of an agarose pad mounted on cell-imaging dishes, which allows observing the cells moving freely in the 2D focal plan of the microscope. This protocol can be adapted to investigate interactions between B. bacteriovorus and a range of prey species. The microscopy sample preparation is simple and well described, as well as the imaging procedure.
Undoubtedly, this protocol with be useful to anyone willing to perform real-time microscopy of B. bacteriovorus life/predatory cycle in interactions with a range of prey species.

Major Concerns:
The method presented in this manuscript claims to allow time-lapse visualization of B. bacteriovorus at the single cell level. However, the microscopy images presented here hardly allow to observe individual B. bacteriovorus cells (movie and figure 3). Indeed, the BF images do not provide enough contrast to see predatory cells within the prey, and the quality of the fluorescence (both red and green) images is rather poor (pixelized)(The fluorescence signal might have been saturated in the movie and in Figure 3.). Consequently, the abstract statement "during its growth inside the host at the single-cell level" appears inappropriate. The authors might want to comment on that point (resolution, cell size, fluorescent signal intensity) and explain more clearly if and when B. bacteriovorus cells can be observed at the single-cell level. This might not be a problem for the scope of this manuscript, but this should be clarified throughout the manuscript.

B. bacteriovorus is a small (0.3-0.5 by 0.5-1.4 µm) bacterium, therefore it is hard to get high-resolution images of this bacterium in the traditional widefield fluorescence microscope using 100x objective lens. The „single-cell” phrase was used to highlight the single prey cell (i.e., to point out that observations of the whole cell cycle arise from the single predator cell attacking the prey at the ‘stoichiometry’ is 1:1). The pixelization is a result of picture magnification and one has to bear in mind that the diameter of the blelloplast is approximately 2 µm. HD100 DnaN-mNeonGreen/PilZ-mCherry strain expresses a fluorescently tagged version of the cytoplasmic protein, PilZ that enables localization of  the predatory cell inside the host cell. We removed the “single-cell level” phrase from the whole manuscript.

Also, this protocol explain sample preparation and image processing (producing the time-lapse file), but no analysis procedure is provided. All reference to image analysis should be removed (l.161).

We agree, we did not provide any procedure for images analysis. References according to image analysis have been removed from the manuscript.

Minor Concerns:
1. Preparing the B. bacteriovorus lysate for microscopic analysis
l.89: It might be useful to indicate the OD600 equivalent to a final concentration of ~9x108 PFU/ml predatory cells.

We removed information about plaque-forming units (PFU) and replaced it with OD600 of predatory cells.

2. Preparing host cells for B. bacteriovorus invasion
l.95: It is not clear why the authors recommend to use E. coli S17-1 pZMR100 as a prey.

Any Gram-negative bacteria can be used as a host in the presented protocol. We recommended E. coli S17-1 pZMR100 due to its various cell sizes resulting in the formation of unequally sized bdelloplasts. We added that information to the manuscript.

l.101: It would be useful to indicate the final concentration of E. coli cells wanted after resuspension, in OD600 equivalent and PFU/ml (as for B. bacteriovorus in 1.4.)

We agree with the referee. Now, we added OD600 value to the manuscript.

4. Assembling the layouts for time-lapse fluorescence microscopy
l.112: Most molecular-grade agarose exhibit some levels of autofluorescence, which might be a problem for subsequent microscopy imaging (fluorescence background). The authors might want to recommend a specific agarose with low levels of autofluorescence.

The specific agarose that we recommend is listed in the Table of Materials.

l.113: The final 1% agarose concentration should be indicated.

The final concentration of agarose was added to the manuscript.

5. Conducting the time-lapse fluorescence microscopy
l.152: The statement "set the correction values (100 nm, 10 interactions)" needs to be explained in more details.

We deleted that statement from the manuscript as it is not crucial for the protocol.

6. Analyzing the time-lapse images and generating movies using the Fiji software
l.161: The title should read "Processing" rather than "Analyzing", as no analysis procedure is explained in this section.
We agree that “processing” is a more appropriate word. Thus, the title has been changed.

l.214: "B. bacteriovorus filament synchronously septates". The word "synchronously" is inappropriate here, as it induces the idea that all division septa form simultaneously. The data presented do not provide enough space- nor time-resolution to support this statement. The authors should rather state that septa are for in a certain time-interval (corresponding to the time-lapse frame rate in Frame/min).

We agree that our data do not provide evidence for the synchronous septation of B. bacteriovorus filament but in the text, we refer to the work done by Fenton et al. (2010, J Bac), who showed that B. bacteriovorus filament undergoes synchronous nonbinary septation inside the host cell.

l.225: "byrepresentative". Space missing.
Space has been added.

Reviewer #2:
Manuscript Summary:
Makowski and colleagues present a protocol for imaging the life cycle of Bdellovibrio bacteriovorus in a high-resolution fluorescence microscope setup. Crucially, by simple co-incubation of Bdellovibrio and its prey under an agarose patch, the protocol allows to cover all important steps of the Bdellovibrio life cycle, both in the free-living and the intracellular stage.
This may be a useful asset for the community, and the manuscript is largely well-written.

Major Concerns:
1. The protocol careens between descriptions that are very specific for the setup used by the authors (e.g. "50% intensity and 80 ms exposure") and very general descriptions (e.g. "fresh lysate of B. bacteriovorus"). This should be changed to a more consistent style, e.g. by first stating the general intention (such as "use an exposure that will allow to stay in the range of the microscopy sensor throughout the timecourse") and then describing the precise settings used by the group, which might serve as a starting point for other researchers (such as "80 ms exposure with 50% intensity using the xxx/xx filter set on a Deltavision microscope").

We agree that microscope setups are very specific, but we believe that detailed information provides a good start for imaging parameters optimization for other than DeltaVision users.

2. On a related note, for the descriptions that are imprecise (such as the "fresh lysate" or "5 ul of suspension" without OD measurement), it should be stated whether there is a precise value for the measured quantity (e.g. cell density), whether this can vary within a certain range, or whether this does not affect the outcome of the experiment at all. This information is essential for anyone trying to use the protocol.

OD600 was added for both E. coli and B. bacteriovorus suspensions used in the protocol.

3. Intermediate checkpoints for the success of the protocol, a rough estimate of the success rate of the protocol and possible problems should be included.

Critical steps (preparation of the layouts and vitality of the B. bacteriovorus cells) are detailed in the discussion section.

4. Possible controls (Bdellovibrio only, prey only, buffer only) should be included.

In our opinion, these controls are not necessary for the manuscript, which focuses on the technical aspects of the protocol. They should be included when the protocol will be used in research studies.

5. The used strain (HD100 DnaN-mNeonGreen/PilZ mCherry) might be a valuable resource for other researchers. Please indicate if and how this strain is available (upon request, Addgene or other repository).

The strain has already been published (Makowski et al., 2019, Appl Environ Microbiol 85:e00730-19). Moreover, we added information “available in our laboratory upon request” in the manuscript.

6. Is the used Ibidi micro-dish essential for the success of the protocol, or are there alternatives? From my understanding of the protocol, any inversible agarose patch should work. Please comment on this point (in addition to lines 242-252, which are excellent).

Ibidi µ-Dish itself is not essential for the presented protocol, but it proved to be the most adequate for the imaging due to its construction: “µ-Dish is not essential for the presented protocol. Any glass-bottom dish could be used. The advantage of µ-Dish is the optimal height and volume of the agarose path, which enables the co-culter of predatory and host to be placed on the bottom side of the agarose pad”.

7. In the discussion, the limits of the protocol should be discussed, e.g. how many cell invasions and reproductions can be monitored in one experiment/field of view?

We added the short sentence regarding the protocol limits: “The limitation of this protocol is that, at the single field of view, we can count approximately 100 cells of predator and 100 cells of the host but MOI can be estimated at 50-60 %”.

Minor Concerns:
1. Lines 55/56, briefly list advantages and disadvantages of the alternative options mentioned.

We added the short sentence presenting the advantages and disadvantages of alternative options: “These methods provide high-resolution images of B. bacteriovorus cells and enabling the observation of a small predator during the attack- or the growth-phase, but they do not allow to track single B. bacteriovorus cell throughout both life cycle phases.”.

2. Lines 82/91, what is the pH of the Ca-HEPES buffer? In case the pH is not set, please mention this.

pH (7.6) of Ca/HEPES buffer has been added.

3. Line 88, it would be helpful to mention the size of Bdellovibrio and/or the Bdelloplast and the outcome of the filtration at this stage.

We added the sentence: “Predatory cells (0.3-0.5 µm x 0.5-1.4 µm) freely penetrate 0.45 µm pores, whereas host cells are retained on the filter surface”.

4. Lines 120/122, how many Bdellovibrio and prey cells (and which resulting MOI) are contained in the used volumes? (If this is not specified, an estimate might already be helpful.)

We did not measure the number of E. coli and B. bacteriovorus cells in the cell suspension, so we did not mention this in the manuscript. The ratio of predatory cells to prey cell was approximately 2:1.

5. Lines 128-159, this part is extremely specific for the used microscope. Focusing on the more general aspects of the protocol and the intended outcome might be more helpful.

Our intention was to provide detailed setting informations of the microscope we used. We think that detailed informations about filter sets and exposure time is an important part of the presented protocol, at least for the DeltaVision users.

6. Line 129, conducting fluorescence microscopy through a plastic petri dish with two different fluorophores might lead to chromatical aberration. Did the authors test this, or can they comment on this aspect?

Microscopy was conducted through the glass-bottom (0.17 mm thickness) dish and we did not notice any chromatic aberrations.

7. Line 130, shouldn't the refractive index change with the used fluorophores?

The refractive index was assigned by the microscope software. To calculate this, several factors are taken into account, such as temperature of observations, coverslip thickness refractive index of the mounting medium, etc. The refractive index of the immersion oil should not be changed when working with different fluorophores.