61105_screenshot_1:

5.3.1. Set the magnification (100x) and polychromic lens (GFP/mCherry). Using an eye piece and brightfield (BF), find the focal plane and open the point list manager. 00:33-00:40

5.3.2. Select at least 10 positions of interest by moving the stage and storing the coordinates for each position in the microscope software by clicking the Mark point button. Avoid positions located close to each other to prevent photobleaching and phototoxicity. Turn the camera valve from the eyepiece to the monitor and calibrate each point by setting the focal plane and clicking the Replace point button in the point list manager. 00:00-00:32

5.3.3. Open the experiment designer and set all experimental parameters in each tab as follows: 00:42-00:44

5.3.3.1. Unmark the Z-stacking box. 00:45-00:48

5.3.3.2. Choose fluorescent channels and set the optimal illumination settings. Here, the following settings were used: for the mCherry channel, mCherry filter sets (EX575/25; EM625/45), 50% intensity, and 200 ms exposure time; for the GFP channel, GFP filter set (EX475/28; EM525/48), 50% intensity, and 80 ms; and for the BF images, POL channel, 5% intensity, and 50 ms. 00:49-01:16

5.3.3.3. Select intervals between acquiring images and the total time of the experiment. Here, 5 min intervals were performed over the 10 h period of the experiment. 01:17-01:27

5.3.3.4. Enable focus maintenance for the chosen positions (for the system used here, by marking the Maintain focus with UltimateFocus check box). 01:28-01:36

5.3.3.5. Select the data folder in which the image files should be automatically saved. 01:45-01:57

61105_screenshot_2:

6.1. Transfer experimental data to a computer loaded with the Fiji software. Launch the Fiji program and open an image using File | Open or by simply dragging and dropping the image file into Fiji. 00:00-00:13

6.2. In Bio-Formats Import Options, choose View stack with Hyperstack in the stack viewing options, Click on Composite color mode in the color options, and mark Autoscale. 00:14-00:28

6.3. By scrolling through the image stacks, assess whether the cells and bdelloplasts remained in focus over the course of the experiment. Check whether green fluorescent spots from DnaN-mNeonGreen are present within B. bacteriovorus cells inside bdelloplasts throughout the growth phase, and ensure that all stages of the predatory life cycle can be visualized. 00:37-00:53

6.4. To analyze a particular B. bacteriovorus cell/bdelloplast, mark it using the selection tools in the Fiji menu (Rectangle, Oval, Polygon, or Freehand). Duplicate the chosen region using Image | Duplicate or by using Ctrl + Shift + D. 00:54-01:24

6.5. Adjust the brightness and contrast for each fluorescence channel as follows: 01:45-03:10

6.5.1. To choose a single channel, open Channel tools by clicking Image | Color | Channels tools or Ctrl + Shift + Z, and select the channel of interest (Channel 1: mCherry, Channel 2: mNeonGreen, Channel 3: brightfield).

6.5.2. Adjust the brightness and contrast of images in the fluorescence channel by opening the B&C menu in Image | Adjust | Brightness/Contrast or by clicking Ctrl + Shift + C.

6.6. Add scale bar using Analyze | Tools | Scale bar. Add the time stamper to the images by clicking Images | Stacks | Time Stamper. 03:13-04:29

6.7. To save modified images, go to File | Save As and choose TIFF to save as an image sequence, AVI to produce a movie, or PNG to save a single image of the current frame. 04:30-05:38