## Sheet1
Name of Material/Equipment | Company | Catalog Number | Comments/Description
0.4% Trypan Blue stain | Gibco, Thermo Scientific, Waltham, Massachusetts, USA | 15250061
15 ml CELLSTAR Polypropylene tube | Greiner Bio-One GmbH, Frickenhausen, Germany | 188261
4’,6-diamidino-2-phenylindole (DAPI) | Sigma-Aldrich, St. Louis, Missouri, USA | 10236276001
5 M HCl | N/A | N/A | Media kitchen, Institute of Biotechnology, University of Helsinki
5 M NaOH | N/A | N/A | Media kitchen, Institute of Biotechnology, University of Helsinki
96-well ViewPlate (Black) | PerkinElmer, Waltham, Massachusetts, USA | 6005182
99.5% Ethanol (EtOH) | Altia Oyj, Rajamäki, Finland | N/A
AquaSil Siliconizing Fluid | Thermo Scientific, Waltham, Massachusetts, USA | TS-42799
Autoclaved 1.5 ml microcentrifuge tube | N/A | N/A | Media kitchen, Institute of Biotechnology, University of Helsinki
Bioruptor sonication device | Diagenode, Liege, Belgium | B01020001
Ca2+, Mg2+ free Hank’s Balanced Salt Solution (HBSS) | Gibco, Thermo Scientific, Waltham, Massachusetts, USA | 14175-053
CellProfiler and CellAnalyst software packages | N/A | N/A | free open-source software
Centrifuge 5702 | Eppendorf AG, Hamburg, Germany | 5702000019
CO2 Incubator | HeraCell, Thermo Scientific, Waltham, Massachusetts, USA | N/A
Counting chamber | BioRad Inc., Hercules, California, USA | 1450015
DeltaVision Ultra High Resolution Microscope with air table and cabinet | GE Healthcare Life Sciences, Boston, Massachusetts, USA | 29254706
Deoxyribonuclease-I (Dnase I) | Roche, Basel, Switzerland | 22098700
D-glucose | Sigma-Aldrich, St. Louis, Missouri, USA | G8769
DMEM/F12 | Gibco, Thermo Scientific, Waltham, Massachusetts, USA | 21331–020
donkey anti-mouse AlexaFluor 488 | Thermo Scientific, Waltham, Massachusetts, USA | A21202
donkey anti-rabbit AlexaFluor 647 | Thermo Scientific, Waltham, Massachusetts, USA | A31573
donkey anti-sheep AlexaFluor 488 | Thermo Scientific, Waltham, Massachusetts, USA | A11015
Dulbecco's buffer | N/A | N/A | Media kitchen, Institute of Biotechnology, University of Helsinki
Fetal Bovine Serum (FBS) | Gibco, Thermo Scientific, Waltham, Massachusetts, USA | 10500056
Fisherbrand Plain Economy PTFE Stir Bar | fisher scientific, Thermo Scientific, Waltham, Massachusetts, USA | 11507582
ImageXpress Nano Automated Imaging System | Molecular Devices, San Jose, California, USA | N/A
L-glutamine | Gibco, Thermo Scientific, Waltham, Massachusetts, USA | 25030–032
mouse monoclonal anti-tyrosine hydroxylase | Millipore, Merck KGaA, Darmstadt, German | MAB318
N2 supplement | Gibco, Thermo Scientific, Waltham, Massachusetts, USA | 17502–048
Normal Horse Serum | Vector Laboratories Inc., Burlingame, California, United States | S-2000
paraformaldehyde (PFA) | Sigma-Aldrich, St. Louis, Missouri, USA | 158127
paraformaldehyde powder, 95% | Sigma-Aldrich, St. Louis, Missouri, USA | 158127
pH-Fix, color-fixed indicator strips | Macherey-Nagel, Düren, Germany | 92110
Phospohate Buffer Saline (PBS) | N/A | N/A | Media kitchen, Institute of Biotechnology, University of Helsinki
poly-L-ornithine | Sigma-Aldrich, St. Louis, Missouri, USA | P4957
Primocin | InvivoGen, San Diego, California, USA | ant-pm-1, ant-pm-2
rabbit monoclonal anti-alpha-synuclein filament | Abcam, Cambridge, United Kingdom | ab209538
rabbit monoclonal anti-phospha-serine129-alpha-synuclein | Abcam, Cambridge, United Kingdom | ab51253
RCT Basic, IKA Magnetic Stirrer | IKA®-Werke GmbH, Staufen, Germany | 3810000
recombinant human glia-derived neurotrophic factor (hGDNF) | PeproTech, Rocky Hill, NJ, USA or Prospec, Ness-Ziona, Israel | 450-10 (PeproTech), CYT-305 (Prospec)
recombinant mouse alpha synuclein Pre-Formed Fibrils (PFFs) | N/A | N/A | Gift from collaborator, Prof. Kelvin C Luk
Research Stereomicroscope System | Olympus Corporation, Tokyo, Japan | SZX10
sheep polyclonal anti-tyrosine hydroxylase | Millipore, Merck KGaA, Darmstadt, German | ab1542
TC 20 Automated Cell Counter | BioRad Inc., Hercules, California, USA | 1450102
Triton X-100 | Sigma-Aldrich, St. Louis, Missouri, USA | 11332481001
trypsin | MP Biomedicals, Valiant Co., Yantai, Shandong, China | 2199700