# Submission ID #: 61133

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18645613

Title: Monitoring Influenza Virus Survival Outside the Host Using Real-Time Cell Analysis

Authors and Affiliations: Thomas Labadie1, Quentin Grassin2, Christophe Batéjat2, Jean-Claude Manuguerra2, and India Leclercq2,3

1Department of Pathogen Molecular Biology, London School of Hygiene and Tropical Medicine

2Institut Pasteur, Unité Environnement et Risques Infectieux, Cellule d’Intervention Biologique d’Urgence (CIBU)

3Cellule Pasteur, Université de Paris

# Corresponding Author:

# India Leclercq

# india.leclercq@pasteur.fr

# Co-authors:

Thomas.Labadie@lshtm.ac.uk

quentin.grassin@pasteur.fr

christophe.batejat@pasteur.fr

jean-claude.manuguerra@pasteur.fr

## Author Questionnaire

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique?  Y

If Yes, can you record movies/images using your own microscope camera?   Y

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

Videographer: All screen capture files provided, do not film

3. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   N

Script Length

Number of Shots: 52

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Thomas Labadie: Methods for virus particle quantification represent a critical aspect of most virology studies. This protocol allows a precise quantification of the viral titer in real-time [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED:

  - Thomas Labadie: This technique replaces the traditional measurement of viral titers by objective real-time data with a lower confidence interval, avoiding labor-intensive endpoints assays [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL:

  - India Leclercq: This method can be used for all viruses that induce a cytopathogenic effect during the infection [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera Videographer: Can cut for time

# Introduction of Demonstrator on Camera

  - Thomas Labadie: Demonstrating the procedure will be Quentin Grassin, a laboratory technician from my laboratory [1][2].

    - INTERVIEW: Author saying the above

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera

# Protocol

- Influenza A Virus Stock Preparation

  - To propagate and amplify H1N1 viruses, seed 7.5 x 106 MDCK (M-D-C-K) cells on two 75-square centimeter tissue culture flasks according to standard protocols [1-TXT] and incubate the cells for 24 hours at 37 degrees Celsius to reach 90-100% confluence [2].

    - WIDE: Talent adding cells to flask(s) with medium container visible in frame TEXT: MDCK: Madin-Darby Canine Kidney

    - Talent placing flask(s) into incubator

  - The next day, wash the cells two times with 5 milliliters of sterile PBS per flask per wash [1] and label one flask as the “control” [2].

    - Talent washing flask, with PBS container visible in frame

    - Talent labeling flask

  - Carefully add 15 milliliters of virus propagation medium to the control flask [1-TXT] and place the flask in a 35-degree Celsius, 5% carbon dioxide incubator for 3 days [2].

    - Talent adding medium to flask TEXT: See text for all medium and solution preparation details

    - Talent placing flask into incubator

  - Next, dilute a thawed vial of influenza a virus stock to the appropriate experimental concentration in a 1.5-milliliter tube containing fresh virus propagation medium [1] and use 1 milliliter of the diluted stock to infect the second flask of MDCK cells at a multiplicity of infection of 1 x 10-3 or 1 x 10-4 plaque forming units per cell [2].

    - Talent adding medium to tube, with stock vial and medium container visible in frame

    - Talent adding virus to flask, with virus dilution tube visible in frame

  - Adsorb the virus to the cells for 45 minutes at room temperature with stirring every 15 minutes [1].

    - Talent stirring flask

  - At the end of the incubation, remove the inoculum [1] and replace it with 15 milliliters of virus propagation medium supplemented with 1 microgram/milliliter of TPCK (T-P-C-K)-trypsin to facilitate cleavage of viral hemagglutinin HA0 (H-A-zero) into HA1 and HA2 subunits [2-TXT].

    - Talent removing the inoculum

    - Talent adding supplemented medium to flask, with medium and TPCK-trypsin containers visible in frame TEXT: TPCK: L-1-tosylamide-2-phenylethyl chloromethyl ketone

  - Then place the flask in the 35-degree Celsius incubator for 3 days [1].

    - Talent placing flask into incubator

  - At the end of the incubation, compare the cells in each culture under a 40x objective on a light microscope [1] to assess the cytopathic effects on the cells [2-TXT].

    - Talent placing flask onto microscope stage/look at cells at microscope

    - LAB MEDIA: To be provided by Authors: Image of cells with enough CPE TEXT: If 80% detachment not observed, incubate flasks additional 24 h

  - When the cytopathic effect is complete, add the cell culture supernatants to a 15-millimeter tube [1] and collect the cellular debris from each culture by centrifugation [2-TXT].

    - Talent add supernatant to 15-millimeter tube.

    - Talent placing tube(s) into centrifuge TEXT: 10 min, 300 x g, RT

  - Then transfer the clarified virus culture supernatant to a 15-milliliter tube [1] and aliquot the progeny viruses to single-use sterile cryogenic vials for minus 80-degree Celsius storage [2].

    - Talent adding supernatant to tube(s)

    - Talent adding virus to cryogenic vial(s)

- Cell Infection Quantity Determination

  - To determine the appropriate cell quantity for cell infection, prepare 24-hour, approximately 80%-confluent MDCK cell cultures as demonstrated [1] before washing the cells with PBS [2] and harvesting them with a 45-minute incubation in 3 milliliters of 0.25% trypsin-EDTA (E-D-T-A) per flask at 37 degrees Celsius [3].

    - WIDE: Talent removing flask(s) from incubator

    - Talent washing flask, with PBS container visible in frame

    - Talent adding trypsin-EDTA to flask, with trypsin-EDTA container visible in frame

  - When the cells have detached, stop the reaction with 7 milliliters of fresh culture medium per flask [1] and count the cells from each culture [2].

    - Talent adding medium to flask, with medium container visible in frame

    - Talent adding counting slide to automatic cell counter

  - Resuspend the cells to 4 x 105 cells/milliliter of cell culture medium [1] and perform two-fold serial dilutions of the cells as indicated [2-TXT].

    - Talent adding medium to cells, with medium container visible in frame

    - Talent adding dilution to tube(s), with dilution tubes visible in frame TEXT: e.g., 2 x 105, 1 x 105, 5 x 104, 2.5 x 104, 12.5 x 104, 6.25 x 103

  - Place an E-plate at room temperature for several minutes [1] before adding 100 microliters of cell culture medium to each well without touching the electrodes of the E-Plate [2].

    - Talent placing plate onto bench

    - Talent adding medium to well(s), with medium container visible in frame

  - Unlock the cradles [1] and insert the plate front end into the cradle pocket of the impedance measuring instrument [2].

    - Talent unlocking cradles

    - Talent inserting plate

  - Close the door of the incubator [1] and open the software [2].

    - Talent closing door

    - Talent opening software, with monitor visible in frame

  - In the Default experiment pattern setup, highlight the selected cradle(s) and double-click on the top page to enter the name of the experiment [1].

    - SCREEN: 3.7.1: 00:11-00:30 Video Editor: please speed up

  - Click Layout and enter the necessary sample information for each selected well of the plate [1].

    - SCREEN: 3.8.1: 00:01-00:24 Video Editor: please speed up

  - Click Schedule, Steps, and Add a step. The software will automatically add a 1-second step to measure the background impedance. Click Excute and Start-Continue [1].

    - SCREEN: 3.9.1 Video Editor: please speed up

  - Click Plot and Add to select the appropriate wells, confirming that the background impedance is between -0.1 and 0.1 before proceeding to the next step [2].

    - SCREEN: 3.10.1

  - Next, remove the plate from the cradle [1] and add 100 microliters of each cell suspension to the appropriate wells in duplicate [2-TXT].

    - Talent removing plate

    - Talent adding cells to well(s) TETX: Add 100 microliters medium alone to control wells

  - Leave the E-plate in the laminar flow hood for 30 minutes at room temperature to allow a uniform distribution of the cells onto the bottoms of the wells [1] before loading the E-plate into the cradle pocket [2].

    - Talent placing plate into hood

    - Talent loading plate into pocket/closing the door of the incubator

  - Click Schedule and Add step and enter values to monitor the cells every 30 minutes for 200 repetitions before selecting Start-Continue [1].

    - SCREEN: 3.13.1 Video Editor: please speed up

  - To check and plot the cell impedance data, click Plot and select the concentration of cells that is just before the stationary phase 24 hours after seeding to obtain cells that are still in a growing phase during the viral infection [1-TXT].

    - SCREEN: 3.14.1 Video Editor: please speed up TEXT: Stationary phased reached at CI maximum

- CIT50 value and Multiplicity of Infection (MOI) Correlation

  - To determine the correlation between the CIT-50 (C-eye-T-fifty) values and the multiplicity of infection, after culturing 3 x 104 freshly split MDCK cells into each well of the electronic microtiter plate for 24 hours [1-TXT], wash the cells two times with 100 microliters of fresh virus propagation medium per well per wash [2] and use a single channel pipette to add 100 microliters of viral suspension to each well [3-TXT].

    - WIDE: Talent removing plate from incubator TEXT: CIT50: time required for cell index to decline by 50%

    - Talent washing well(s), with medium container visible in frame Videographer: Important step

    - Talent adding virus to well(s), with viral stock vial visible in frame Videographer: Important step TEXT: Add virus from left-to-right and top-to-bottom with remaining wells covered

  - When all of the virus dilutions have been added, gently load the plate into the cradle pocket of the instrument at 35 degrees Celsius [1] and begin monitoring the cell impedance every 15 minutes for at least 100 hours as demonstrated [2].

    - Talent loading plate onto cradle

    - Talent starting monitoring, with monitor visible in frame

  - After two cycles of measurements, click to pause the apparatus [1] and remove the E-plate from the cradle [2].

    - Talent (pretending to) clicking pause, no monitor visible in frame

    - Talent removing plate

  - Add 100 microliters of virus propagation medium supplemented with TPCK-trypsin to each well [1] and return the E-plate into the cradle pocket [2].

    - Talent adding medium to well(s), with medium and TPCK-trypsin containers visible in frame Videographer: Important step

    - Talent placing plate into cradle pocket Videographer: Important step

  - Then start the analysis [1].

    - Talent clicking Start/Continue, with monitor visible in frame

- Influenza A Virus (IAV) Kinetics

  - To assess the influenza A virus survival kinetics, add sodium chloride to a final concentration of 35 grams/liter in distilled water [1] and add 900 microliters of the resulting saline solution to 2-milliliter cryotubes [2].

    - WIDE: Talent adding NaCl to water

    - Talent adding saline water to tube(s)

  - Add 100 microliters viral stock to each cryotube [1] and place the tubes in the 35-degree Celsius incubator for the appropriate experimental time period [2-TXT].

    - Talent adding virus to tube(s) Videographer: Important step

    - Talent placing tube(s) into incubator Videographer: Important step TEXT: e.g., 1, 24, or 48 h

  - The day before the end of the incubation, seed 3 x 104 freshly split MDCK cells in 100 microliters of virus propagation medium per well in a 16-well microtiter plate [1] and grow the cells for 24 hours at 37 degrees and 5% carbon dioxide [2].

    - Talent adding cells to well(s) Videographer: Important step

    - Talent placing plate into incubator Videographer: Important step

  - The next day, infect the cells with 100 microliters of the saline distilled virus diluted 10x in fresh culture medium as demonstrated [1], and monitor the cell impedance every 15 minutes for at least 100 hours [2].

    - Talent adding virus to well(s) Videographer: Important step

    - Talent loading plate into cradle Videographer: Important step

## Protocol Script Questions

A. Which steps from the protocol are the most important for viewers to see?

4.1., 4.4., 5.2.-5.4.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Adding viral or cellular suspensions to each well is the most difficult aspect of this procedure.

# Results

- Results: Representative Influenza Virus External Host Survival Monitoring

  - Here raw data obtained after 120 hours [1] with different concentrations of MDCK cells are shown [2].

    - LAB MEDIA: Figure 1 Video Editor: please emphasize Figure key

  - After 24 hours, cell index measurements revealed [1] that cells in wells seeded with 3 x 104 cells were still in the exponential phase of growth [2]. Therefore, this cell concentration was used for subsequent experiments [3].

    - LAB MEDIA: Figure 1 Video Editor: please add/emphasize dashed vertical line

    - LAB MEDIA: Figure 1 Video Editor: please emphasize 3 x 104 data line at 24 h

    - LAB MEDIA: Figure 1

  - MDCK cell cultures demonstrate a clear linear relationship between the CIT-50 and the initial multiplicity of infection by influenza virus [1].

    - LAB MEDIA: Figure 2 Video Editor: please emphasize solid blue data line

  - The results from a typical survival kinetic experiment [1] show a decrease in the cell index due to virus-induced cytopathic effect [2].

    - LAB MEDIA: Figure 3B

    - LAB MEDIA: Figure 3B Video Editor: please add Infection text and arrow and/or emphasize dips in red, blue, and yellow data lines from the infection point to bottom of second peak

  - The CIT-50 can be used to calculate the viral inactivation slope for each virus in each condition [1], for the determination of which virus had the greatest stability in the studied environment [2].

    - LAB MEDIA: Figure 3C Video Editor: please emphasize solid data line

    - LAB MEDIA: Figure 4

  - The stability of the virus indirectly correlates to the inactivation slope [1], allowing, for example, amino-acid residues in the hemagglutinin glycoprotein that are involved in influenza A virus survival outside the host to be identified [2].

    - LAB MEDIA: Figure 4 Video Editor: please emphasize HAWT data box and/or add “Most stable” text

    - LAB MEDIA: Figure 4 Video Editor: please emphasize sequentially emphasize data boxes from HA/A326T to HA/S53K

# Conclusion

- Conclusion Interview Statements

  - Thomas Labadie: This technique is very sensitive to small variations. Therefore, using an automatic cell counter is encouraged in order to obtain reproducible results between experiments [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (3.2.)

  - Thomas Labadie: This method can be also be used to compare the replication of different viruses, to investigate the virus tropism for several cell lines at a time, or to study specific steps of the virus cycle [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera Videographer: Can cut for time