File info steps 4.2, 4.3.1.-4.5.

| File | Step |
| --- | --- |
| Screenshot 4.2.1.pdf | 4.2.1. Set the time-lapse duration to 30 s at an interval of 2 s, for a total of 16 frames. |
| Screenshot 4.2.2-3.pdf | 4.2.2. Set laser exposure and intensity to ensure sufficient signal while avoiding saturation and photobleaching. |
|  | 4.2.3. For EB1-GFP imaging, the 488 nm laser was set to an exposure time of 100 ms and intensity of 30%. These values may vary for different uses of this protocol and should be modified empirically. |
| EB1_NMJ_1fps.avi, | 4.3. Use the eyepieces of the microscope to find the larva in widefield-green illumination. Find the dendrites or NMJs by adjusting the stage slowly. Do not expose larva to illumination (widefield or confocal) for longer than necessary. 4.3.1. Dendrites appear as thin bright-green webs of nerves easily distinguishable from thick long axon bundles (Figure 1E). 4.3.2. NMJs appear as groups of bright-green individual boutons, approximately 5 µm in diameter, at the ends of thick long axon bundles that diverge from the nerve cord (Figure 1F). |
| elavgal4w1118-dendrites1.avi |  |
| Screenshot 4.4.pdf | 4.4. Using the live camera feed, quickly focus on the region of interest using 488 nm illumination. Immediately stop illumination once the proper focus is found to avoid phototoxicity. |
| Screenshot 4.5.pdf | 4.5. Initiate image acquisition. EB1 comets are recognizable as bright, motile punctae. |
| Screenshot 4.5alt.pdf |  |