## Sheet1
Equipment |  | Company | Catalog Number | Comments/Description
Dumont forceps #5 |  | Roboz Surgical Instrument Co. | RS-5045
Eyepiece reticle |  | Microscope World | RETR10 | For calibrating needles, used in Stereomicroscope
Microinjector setup: | Back pressure unit | Applied Scientific Instrumentation | BPU
| Footswitch | Applied Scientific Instrumentation | FTSW
| Micro pipet holder kit | Applied Scientific Instrumentation | M-Pip
| Pressure injector | Applied Scientific Instrumentation | MPPI-3
Micromanipulator setup: | Micromanipulator | Narashige (Tritech) | M-152
| Magnetic stand and plate | Tritech | MINJ-HBMB
Needle puller |  | Sutter Instrument | P-97
Stereomicroscope |  | Nikon | SMZ-745
Tissuelyser II |  | Qiagen | 85300 | To homogenize larvae
Material |  | Company | Catalog Number | Comments/Description
Agarose |  | Fisher | BP160-500
Ampicillin sodium salt |  | Fisher | AAJ6380706
BSA, fraction V |  | VWR | AAJ65855-22
Kanamycin sulfate |  | Fisher | AAJ1792406
L spreaders |  | Fisher | 14 665 230
Microcapillary needles (no filament) |  | World Precision Instruments (WPI) | TW100-3
Microloader pipet tips |  | VWR | 89009-310 | To load the needle with Aspergillus suspension
Miracloth |  | VWR | EM475855-1R | To filter Aspergillus suspension
N-phenylthiourea |  | Fisher | AAL0669009 | To prevent pigmentation
Phenol red, 1% solution |  | Fisher | 57254
Tricaine (Ethyl 3-aminobenzoate, methanesulfonic acid salt) |  | Fisher | AC118000500 | To anesthetize larvae
Tween-20 |  | Fisher | BP337-500
Media and Solutions |  | Components/Recipe
E3 media: | 60x E3 | 17.2 g NaCl, 0.76 g KCl, 2.9 g CaCl2, 4.9 g MgSO4 · 7H2O, to 1 L with H2O
| 1x E3 | 16.7 ml 60x stock, 430 ul 0.05 M NaOH, to 1 L with H2O (optional: + 3 ml 0.01% methylene blue)
Tricaine stock solution |  | 2 g Tricaine, 5 g Na2HPO4 · 7H2O, 4.2 ml 60X E3, to 500 ml with H2O, pH to 7.0-7.5 with NaOH
Glucose minimal media (GMM) agar: | GMM agar | 10 g Glucose (Dextrose), 50 ml 20x Nitrate salts, 1 ml TE, to 1 L with H2O, pH to 6.5 with NaOH, + 16 g Agar, autoclave
| 20x Nitrate salts | 120 g NaNO3, 10.4 g KCl, 10.4 g, MgSO4 · 7H2O, 30.4 g, KH2PO4, to 1 L with H2O, autoclave
| Trace elements (TE) | 2.20 g ZnSO4 · 7H2O, 1.10 g H3BO3, 0.50 g MnCl2 · 4H2O, 0.16 g FeSO4 · 7H2O, 0.16 g CoCl2 · 6H2O, 0.16 g CuSO4 · 5H2O, 0.11 g (NH4)6Mo7O24 · 4H2O, 5.00 g Na2EDTA, to 100 ml with H2O, dissolve stirring overnight, autoclave