Dear Editor,

Thanks for your letter and the careful reviews provided by the three reviewers. We have made substantial revisions to our manuscript. A marked pdf copy showing all the changes is attached together with the revised manuscript. We hope the manuscript can be accepted for publication now, and can serve its tutorial purpose for interested parties.

Sincerely yours,

Zehuang Lu

The followings are our responses to the editor’s and reviewers’ comments. Our responses are marked with red color.

Editorial comments:
Changes to be made by the Author(s):
1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues. The JoVE editor will not copy-edit your manuscript and any errors in the submitted revision may be present in the published version.

We have made necessary revisions to the manuscript.

2. Please define all abbreviations during the first-time use.

We have defined all abbreviations during the first-time use.

3. Please define all abbreviations during the first-time use.

See above.

4. Please ensure that the long Abstract is within 150-300-word limit and clearly states the goal of the protocol.

We have made necessary revisions to the long Abstract.

5. Please revise the Introduction to include all of the following with citations:
a) A clear statement of the overall goal of this method
b) The rationale behind the development and/or use of this technique
c) The advantages over alternative techniques with applicable references to previous studies
d) A description of the context of the technique in the wider body of literature
e) Information to help readers to determine whether the method is appropriate for their application

We have made necessary revisions to the Introduction.

6. JoVE cannot publish manuscripts containing commercial language. Please remove all commercial language from your manuscript and use generic terms instead. All commercial products should be sufficiently referenced in the Table of Materials and Reagents.
For example: Glan-Taylor polarizer, etc.

We have made the necessary changes in the manuscript, and changed Glan laser to Glan-Taylor polarizer in Materials Table.

7. Please reword lines 29-31, 49-51, 149-152, as it matches with previously published literature.

We have made the necessary revisions.

8. Please ensure that all text in the protocol section is written in the imperative tense as if telling someone how to do the technique (e.g., “Do this,” “Ensure that,” etc.). The actions should be described in the imperative tense in complete sentences wherever possible. Avoid usage of phrases such as “could be,” “should be,” and “would be” throughout the Protocol. Any text that cannot be written in the imperative tense may be added as a “Note.”

We have made revisions to the protocol section.

9. Please ensure that individual steps of the protocol should only contain 2-3 actions per step.

Done.

10. Please add more details to your protocol steps. Please ensure you answer the “how” question, i.e., how is the step performed? Please include all the button clicks, knob turns, command lines, etc.

We have added enough details to the protocol steps.

11. How was the laser beam path generated? Where specifically A and B polarizer are present with respect to each other and the laser beam path. For section 1 please provide a schematic to show the position of the polarizers, beam path and HWP etc. Need more clarity on how to find the azimuthal angles in your experimental setup.

The laser beam is generated by a 280 nm commercial fourth harmonic laser (Toptica DL-FHG pro). We have added the required schematic (Fig. 1(a)). The placement of polarizer A and B in the laser path is not important. The spacing between them should be large enough for future convenient adjustment.

12. Please include the source of ablation and ionization laser in the experiment being performed. How do you view with EMCCD?

We have added the description of the ablation laser and ionizaiton laser. The ablation laser irradiates the Mg target surface, and then the Mg atoms are ejected from the target surface. Mg atoms are then ionized by the ionization laser. The homemade imaging system of EMCCD consists of four lenses, and its magnification is 10 times. The ion spacing is about 2-10 μm, and the pixel spacing of EMCCD is 16 μm, so EMCCD can distinguish single ion.

13. Please describe all the actions associated with the step and how it is performed.

We have added those contents to the paper.

14. There is a 10-page limit for the Protocol, but there is a 2.75-page limit for filmable content. Please highlight 2.75 pages or less of the Protocol (including headings and spacing) that identifies the essential steps of the protocol for the video, i.e., the steps that should be visualized to tell the most cohesive story of the Protocol.

Has highlighted those steps.

15. Please ensure that the Representative Results are in the context of the technique you have described, e.g., how do these results show the technique, suggestions about how to analyze the outcome, etc. The paragraph text should refer to all of the figures. Data from both successful and sub-optimal experiments can be included.

The Representative Results are in the context of the technique we have described.

16. Please obtain explicit copyright permission to reuse any figures from a previous publication. Explicit permission can be expressed in the form of a letter from the editor or a link to the editorial policy that allows re-prints. Please upload this information as a .doc or .docx file to your Editorial Manager account. The Figure must be cited appropriately in the Figure Legend, i.e. “This figure has been modified from [citation].”

We have asked for permissions from PRA and RSI.

17. Each Figure Legend should include a title and a short description of the data presented in the Figure and relevant symbols.

Done.

18. As we are a methods journal, please revise the Discussion to explicitly cover the following in detail in 3-6 paragraphs with citations:
a) Critical steps within the protocol
b) Any modifications and troubleshooting of the technique
c) Any limitations of the technique
d) The significance with respect to existing methods
e) Any future applications of the technique

Has been revised.

19. Please sort the materials table in alphabetical order.

We have sorted the materials table.

20. Please ensure that the references appear as the following: [Lastname, F.I., LastName, F.I., LastName, F.I. Article Title. Source. Volume (Issue), FirstPage – LastPage, (YEAR).] For more than 6 authors, list only the first author then et al.
We have revised the references.

Reviewers' comments:
Reviewer #1:
Manuscript Summary:
The method introduced is widely used in laser trapping community and it would be useful to introduce it for a larger appeal (see e.g., Applied Physics Letters 82, 4657 (2003); doi: 10.1063/1.1588366).

Major Concerns:
The protocol step 1.7 speaks about the mirrors which are not shown in setup in fig 1. Mirrors can be metallic or dielectric and phase change of circularly polarised light can take place at the reflection. Consequently, ellipticity of polarisation will change. This is very important step to explain and describe in the protocol how to tackle the issue. The discussion part could have a section where compensation of the polarisation changes is counterbalanced. The birefringence in the window is assumed to be simple uniaxial. depending on the window mounting, more complex birefringence patterns can be introduced. What protocol changes are required then?
The mirrors have been added in Fig. 1. The mirrors are dielectric coated. The reflection difference of s and p light is less than 1%. This negligible effect can be incorporated into the birefringence of the vacuum window since in most experiments we are more concerned about the polarization states of the laser light inside the vacuum chamber. As discussed in the manuscript, the polarization changes are actually compensated by the combination of the half-wave plate and the quarter-wave plate first to obtain the maximum fluorescence counts. The vacuum window birefringence is inferred as an after-fact.

The case dealing with much more complex birefringence patterns is beyond the scope of this manuscript.

Reviewer #2: 
Manuscript Summary:
In their manuscript "In-situ measurement of vacuum window birefringence ...", Wenhao Yuan and coworkers propose a method to determine in situ the birefringence of a vacuum window. Even so the method might not have an industrial application, the authors clearly motivate the application potential for basic science. The method has been introduced by the authors earlier, the papers are properly cited as references [9] and [11]. Also, figures are directly taken from these references.

The steps listed in the procedure are clearly explained and seem to be appropriate to demonstrate the application potential of the method. However, the measurement of two different windows or window materials with vastly different values of birefringence instead of a single window would probably help the reader to appreciate and to understand the method even better.
Thank you for your comments. Different windows and window materials will be tested in the future.

Major Concerns:
none

Minor Concerns:
1. Line 131, Step 4.3: The AOM for adjusting laser power is not included in the table of needed equipment.

We have included the AOM in the table.

2. Line 142, Step 5.2: What values for the birefringence do the authors expect?
The birefringence can be quite different for different installations, and is affected by materials of window, and can even be affected by the ambient temperature.

3. Line 188: The authors state that "at which situation the photon counts fluctuation of light is less than 2% when the photo counts are maximized". How can one see that?
The photons are counted by a PMT and a digital counting unit. The numbers are processed by computer, and the fluctuation (its standard deviation) is less than 2%.

4. Line 197: How large is the saturation intensity?
The saturation intensity of Mg+ is IS=ℏω3Γ12πc2≈2470 Wm2.

5. A number of typos in the Table of materials: Qudra vs quarter, multifier vs multiplier, winodow vs window, ioninzation vs ionization, monintor vs monitor
We have made corrections to the table.

Reviewer #3:
1. Original Submission

1.1 Recommendation
Major Revision

2. Comments to Author:
Manuscript Number: JoVE61175
Title: (Instructions) In-situ measurement of vacuum window birefringence using 25Mg+ fluorescence
Overview and general recommendation:
Precise measurement and control of the polarization of the laser light is important to many research fields. Especially when windows mediate between the laser light and the sample, stress-induced polarization can affect the polarization of the laser light and hence the experiment. Therefore, an in-situ method to measure the birefringence of the window could be of help. Such a method is proposed and described in the paper and is based on polarization sensitive fluorescence measured in single Mg+ in an ion trap.
The method is using a quarter- and a half-wave plate to arbitrarily change the polarization of the light while before having determined the position of the 0 axis of the plates. This way the discrepancy between the initial 0 axis angles and the adjustment of the angles needed for maximum ion fluorescence, gives the birefringence of the incident window.

2.1 Major Comments

1. There are many typos, commas missing as well as grammar or syntax mistakes in the text. I tried to list some of them, but it needs more careful reading.

We have made corrections to the manuscript.

2. References are completely missing from the mathematical formulation of the problem in pages 4 and 5. For example, where is formula (6) taken from?

Formula (6) is taken from:

[12] Loudon, R., The Quantum Theory of Light, 3rd ed. (Oxford University Press, New York, 2000).

3. What is in the end the accuracy of this method? How well can we estimate birefringence? The transmission ratio of G-T should also be taken into account while estimating the sensitivity of the method. In the Discussion line 236 you claim 0.001 rad is accurate enough. How does was this number calculated?

The error budget of the fluorescence counts was analyzed in ref. [9]. The main concern is S3 (degree of circular polarization of the laser light). The variance of S3 we suspect is caused by fluctuation of the ambient temperature and pressure.

As the error of the fluorescence counts is less than 2%, using equation (9) in ref. [9], we can get the error of S3 is about 1.1%. Using equation (3) in this paper we get the error of δ and θ is about 0.05° and 0.39°. This is the accuracy of the birefringence using the method.

The distinction ratio of our Glan-Taylor polarizer is 10-6, its effect can be neglected relative to other polarization components.

As mentioned above, the birefringence error is 0.05° and 0.39°. The precision of the stepper motor rotation stage is about 0.03°, so it is the main accuracy limit for δ. In the future, a rotation stage with higher precision (~0.001°) will be helpful to reduce error.	

2.2 Minor Comments
1. Abstract on the first page is repeating itself, please rephrase to look like the one in line 33.

We have rephrased.

2. Half-wave plate and quarter-wave plate instead of half wave plate and quarter wave plate

We have made the changes in the manuscript.

3. Line 34:…by laser light which resonated or resonating with…

We have corrected the sentence.

4. Line 48: …,the stress-induced birefringence effect of the vacuum window

We have made the necessary revision.

5. Line 52: to analyze the birefringence

We have made the necessary revision.

6. Line 52: …shifts of Cs atoms are sensitive

We have made the necessary revision.

7. Consider making the steps of the protocol either bold or use a bigger font size so they can stand out

We have made the necessary revision.

8. I find having titles and subtitles at the end of the page not optimal to the reader. For example, Step 2 at the end of page 2 or "representative results" at the end of page 3.

We have made the necessary revision.

9. It is not clear to me why we need the Glan-Taylor B polarizer in this method. It would be useful to elaborate more on the use of these optical elements.

The Glan-Taylor polarizer B is used as a polarization analyzer to determine the azimuthal angles of the HWP and the QWP. In step 1.3, when the power detected by the power meter is maximized, the azimuthal angle of Glan-Taylor polarizer B is parallel to that of A, whose azimuthal angle is defined as 0°. Same as step 2.1 and 2.2.

10. Line 148: first passes through a…

We have made the necessary revision.

11. Line 187-189: The numbers mentioned (0.999 and 2%) are not clear to me how they are extracted from the figure. On the same note, what is "ls" in figure 3?

The fluctuation of the fluorescence counts recorded by PMT is 2%, this result is analyzed in ref. [11]. That is to say the maximum photon counts is 260(5) per 1 ms. From the simulation results shown in Fig. 3, we can calculate the uncertainty of S3 is about 0.001. So at the point of maximum photon counts S3>0.999. Is in figure 3 is the saturation intensity.

12. Line 204: How good is the agreement?

As can be seen from Fig. 5, the experimental results with error bars agree very well with theoretical results.

13. Consider putting the legends under the corresponding figures, it could be more pleasant to the eye.

We have made the changes.

14. Line 241: The birefringence is caused by the stress on the vacuum window; hence it will be different…

We have made the necessary revision.

15. Line 248: reference on 10/Γ?

There is no reference here. In a two level system, minimum period of population evolution is 1/Γ. In order to shorten the simulation time but not reduce the accuracy, we believe 1/(10Γ) is proper.

16. Line 248: The sentence "The population…energy structures" is badly phrased

We have changed “The population of each level will be stable after enough times transitions, the times are associated with the energy structures.” to “The population of each level will reach stable state after sufficient time. The proper time is associated with the energy level structures of specific ion or atom.”

17. Line 249: As for…suitable. How are these numbers estimated?

The simulation equations and parameters are introduced in our previous paper (see Rev. Sci. Instrum. 90, 113001 (2019); doi: 10.1063/1.5121568). Based on the equation, we simulated the population evolution over time. With the increase of time steps, the population changes tend to zero very quickly. Hence, we do not need too many steps, which waste too much time. In our case, 106 steps are enough to show the actual situation.