## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Bovine Serum Albumin | SIGMA | A2153 | 5% and 1% solutions are made up in PBS, can be made in bulk and frozen- discard once thawed.
Chicken anti Goat IgG (H+L) cross absorbed antibody Alexa Fluor 594 | ThermoFisher Scientific | A-21468 | Spin in mini centrifuge for 1 minute prior to use to avoid any free conjugate in your antibody cocktail
Chicken anti mouse IgG (H+L) cross absorbed antibody, Alex Fluor 647 | ThermoFisher Scientific | A-121468 | Spin in mini centrifuge for 1 minute prior to use to avoid any free conjugate in your antibody cocktail
Chicken anti rabbit IgG (H+L) Cross absorbed antibody Alexa Fluor 488 | ThermoFisher Scientific | A-21441 | Spin in mini centrifuge for 1 minute prior to use to avoid any free conjugate in your antibody cocktail
Chicken sera | SIGMA | C5405 | Made up in 1%BSA/PBS
Coverslips 24 x60 mm | Azerscientific | ES0107222 | #1.5 This is not standard thickness- designed for use in confocal microscopy
EDTA 10mM | SIGMA | E6758 | Add TRIS and EDTA together in distilled water and pH to 9, for antigen retrieval, can be made up in a 10x Solution
Ethanol 30%, 70% and 100% | Chem Supply | UN1170 | Supplied as 100% undenatured ethanol- dilute to 30% and 70% using distilled water
Formaldehyde, 4% (10% Neutral buffered Formalin) | TRAJAN | NBF-500 | Kidney is put into a 5ml tube containing 3ml of formalin for 16 hours at RT, formalin should be used in a fume hood
Glass histology slides- Ultra Super Frost, Menzel Glaze, 25x75 x1.0mm | TRAJAN | J3800AM4 | Using positive charged coated slides is essential. We do not recommend using poly-L-lysine for coating slides as tissue dislodges from slides during the antigen retrieval step
Goat anti human/mouse MPO antibody | R&D | AF3667 | Aliquot and freeze at minus 80 degrees upon arrival
Histosol | Clini Pure | CPL HISTOSOL 08 | Used neat, in 200ml staining rack containers, use in a fume hood
Hydrophobic pen | VECTOR Labs | H-400 | Use to draw circle around kidney tissue
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Mouse anti human/mouse Peptidyl arginase 4 (PAD4) | ABCAM | ab128086 | Aliquot and freeze at minus 80 degrees upon arrival
Nikon C1 confocal scanning laser head attached to Nikon Ti-E inverted Microscope | Coherent Scientific |  | Aliquot and freeze at minus 80 degrees upon arrival
Phosphate Buffered Saline | SIGMA | P38135 | 0.01M PB/0.09% NaCl Make up 5L at a time
Pressure Cooker 6L Tefal secure 5 Neo stainless | Tefal | GSA-P2530738 | Purchased at local homeware store
Prolong Gold DAPI | Life Technologies | P36962 | Apply drops directly to coverslip
Rabbit anti human/mouse Beta Actin antibody | ABCAM | ab8227 | Aliquot and freeze at minus 80 degrees upon arrival
Rabbit anti human/mouse H3Cit antibody | ABCAM | ab5103 | Aliquot and freeze at minus 80 degrees upon arrival
Staining rack 24 slides | ProScitech | H4465 | Staining rack chosen has to be able to withstand boiling under pressure and incubation in 60 degree oven
Sudan Black B | SIGMA | 199664 | 0.3 % Add 3g to a 1L bottle in 70% Ethanol, filter and protect from the light- stable for 6 months at room temperature
Tris 10mM | SIGMA | T4661 | Add TRIS and EDTA together in distilled water and pH to 9, for antigen retrieval, can be made up in a 10x solution
Xylene | Trajan | XL005/20 | Must be use used in a fume hood

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=