# Submission ID #: 61196

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18664828

Title: In Vivo Quantification of Protein Turnover in Aging C. elegans using Photoconvertible Dendra2

Authors and Affiliations: Maria Lucia Pigazzini1,2 and Janine Kirstein1,3

1Leibniz Research Institute for Molecular Pharmacology im Forschungsverbund

2NeuroCure Cluster of Excellence, Charité – Universitätsmedizin Berlin

3Department of Biology and Chemistry, University of Bremen

# Corresponding Author:

# Janine Kirstein

# kirstein@uni-bremen.de

# Co-authors:

# pigazzini@fmp-berlin.de

## Author Questionnaire

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique?  Y

If Yes, can you record movies/images using your own microscope camera?

N, Leica M165 FC OR a Nikon SMZ FC

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

3. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   N

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Janine Kirstein: This protocol allows the tracking and quantifying of the degradation of a protein of interest over time in live and aging C. elegans [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED:

  - Janine Kirstein: This in vivo and non-invasive technique requires only a simple microscopy setup to reliably convert Dendra2 into a bright and stable fluorophore [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL:

  - Maria Lucia Pigazzini: The method is adaptable to both mammalian and zebrafish systems and can be used to study protein turnover in the proteostasis network, as well as in transport and trafficking [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL:

  - Maria Lucia Pigazzini: Take care not to provoke unwanted Dendra2 conversion when scanning with the blue laser and to test and optimize the acquisition parameters and settings for each system and fusion protein [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Protocol

- Microscope Slide Preparation

  - Begin by growing age-matched nematodes at 20 degrees Celsius [1] to the desired age for the experiment [2].

    - WIDE: Talent shows nematodes on nematode growth medium plate, with medium container visible in frame

    - Added shot: SCOPE SHOT WORM

  - On the day of the imaging experiment [1], melt general grade agarose at a 3% concentration in double distilled water [2].

    - Added Shot: Talent adding water

    - Talent placing beaker into microwave

  - While the agarose is cooling, cut the tip of a 1-milliliter pipette tip [1] to facilitate aspiration of approximately 400 microliters of the melted agarose [2].

    - Tip being cut

    - Agarose being aspirated. NOTE: 2.3.2, 2.4.1, 2.4.2 in ONE SHOT

  - Carefully add a few drops of agarose onto a clean glass slide [1] and immediately place another slide on top of the drops to create a thin pad of agarose between the two glass pieces [2].

    - Agarose being added to slide

    - Slide being placed onto slide

  - When the agarose has dried, carefully remove the top slide [1].

    - Shot of dried agarose, then slide being removed

- Confocal Microscope Setup

  - When enough slides have been prepared, open the confocal microscope software [1] and set the light path for excitation and emission for green Dendra2 at 486-553 nanometers and for red Dendra2 at 580-740 nanometers [2].

    - WIDE: Talent opening software, with monitor visible in frame

    - SCREEN: screenshot_1: 00:10-00:18

  - Adjust the power and gain of both of the channels according to the intensity of the fluorophore and set the pinhole to fully open [1-TXT].

    - SCREEN: screenshot_1: 00:19-00:35 Video Editor: Please speed up TEXT: Do not change digital gain or offset and open pinhole to maximum

  - Select a sequential channel mode and set the track to switch every frame. Set the scan mode as frame and the frame size as 1024 x 1024 with a line step of 1 [1].

    - SCREEN: Screenshot_1: 00:39-00:47

  - Set the averaging to 2 and to average by the mean method and mode of unidirectional line. Set the bit depth to 8 bits [1].

    - SCREEN: Screenshot_1: 00:48-00:54

  - Define the multidimensional acquisitions settings for the conversion of Dendra2. For conversion and bleaching, use the 405-nanometer diode laser set to 60% energy power [1].

    - SCREEN: Screenshot_2. 00:03-00:11

  - Select a time series of two cycles with a 0.0-millisecond interval between the cycles and a normal start and stop [1].

    - SCREEN: Screenshot_2: 00:12-00:00:17

  - Set the bleaching to start after scan 1 of 2, to repeat for 30 iterations, and to stop when the intensity drops to 50% [1].

    - SCREEN: Screenshot_2: 00:18-00:29

  - Then define the speed of the acquisition/pixel dwell to fast for conversion and to medium for capturing a snap image [1].

    - SCREEN: screenshot_1: 00:30-00:39

- C. elegans Mounting

  - To mount the nematodes onto the slides, use a permanent marker to draw and number a window with four squares [1] on the opposite of the agarose pad on each slide [2].

    - WIDE: Talent drawing square

    - Shot of numbered square

  - Add 15 microliters of levamisole to the middle of the agarose pad [1] and use a stereomicroscope and a wire pick to transfer four, age-matched nematodes into the droplet [2].

    - Levamisole being added to agarose, with levamisole container and stereomicroscope visible in frame

    - SCOPE: Nematode being added to droplet

  - Use an eyelash pick to gently move each nematode into one window of the square [1].

    - SCOPE: Nematode(s) being moved Videographer: Important step

  - When all of the nematodes have been repositioned, wait until the worms have stopped moving [1] before placing a coverslip over the liquid to immobilize the nematodes during imaging [2].

    - SCOPE: Shot of worms not moving Videographer: Important step

    - SCOPE: Coverslip being placed Videographer: Important step + CU

  - Then place the slide onto the confocal microscope stage [1].

    - Talent placing slide onto stage

- Green Dendra2 Conversion: Data Acquisition at Time Zero

  - For green Dendra2 conversion, use the eyepiece of the 20x objective under green fluorescence to locate the first nematode [1] and focus on the head or tail [2-TXT].

    - WIDE: Talent at microscope, locating nematode

    - SCREEN: screenshot_3: 00:08-00:16 TEXT: Here head is shown

  - Switch to confocal mode [1] and increase or decrease the gain and laser power to obtain a saturated but not overexposed image [2].

    - SCREEN: screenshot_3: 00:24-00:27

    - SCREEN: screenshot_3: 00:40-00:50

  - Draw a region of interest around the selected neuron [1] and draw a second, larger region of interest around the head that includes the first region of interest [2].

    - SCREEN: screenshot_4: 00:03-00:10

    - SCREEN: screenshot_4: 00:12-00:16

  - Set the first region to be acquired, bleached, and analyzed. Set the second region of interest to be acquired and analyzed but not bleached [1].

    - SCREEN: screenshot_4: 00:17-00:22

  - Set the speed of scanning to maximum [1] and start the scan to convert the selected Dendra2 neurons [2].

    - SCREEN: screenshot_4: 00:23-00:29

    - SCREEN: screenshot_4: 00:31-00:37

  - Immediately after conversion, begin live scanning with the green 561-nanometer laser to visualize Dendra2 in the red channel and find the focus and respective maximum projection of the converted neuron [1].

    - SCREEN: screenshot_5: 00:01-00:35 Video Editor: please speed up

  - Quickly set the scan rate to a lower pixel dwell speed and acquire a snapshot image of both channels at a higher resolution. This image is considered time zero after conversion [1].

    - SCREEN: screenshot_5: 00:39-00:50

  - Then save the scan with an identifiable name and/or number, followed by the time zero label [1].

    - SCREEN: screenshot_5: 01:55-02:11 Video Editor: please speed up

- Red Dendra2 Conversion: Data Acquisition at Second Time Point

  - To track Dendra2 degradation over time, open the time zero image of the respective nematode neuron [1].

    - WIDE: Talent opening image, with monitor visible in frame

  - Using the same image settings, bring the converted, red neuron into focus and begin scanning live in the red channel [1].

    - SCREEN: screenshot_6: 00:10-00:30 Video Editor: please speed up

  - Then, without changing any acquisition parameters, obtain a snapshot at the same speed as the first image [1].

    - SCREEN: screenshot_6: 00:36-01:43 Video Editor: please speed up

  - Maria Lucia Pigazzini: Be sure to define your conversion settings carefully to convert Dendra2 efficiently and sufficiently and to maintain the same imaging acquisition parameters for every timepoint [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

- Converted Dendra2 Image Analysis

  - To analyse the converted Dendra2 images, open the time zero and second time point images in Fiji [1] and open Analyze and Set Measurements [1].

    - WIDE: Talent opening images

    - SCREEN: screenshot_7: 00:12-00:13

  - Select the Area and Integrated Density functions and select the image obtained with the red channel [1].

    - SCREEN: screenshot_7: 00:14-00:18

  - Using the Polygon Selection Tool, draw a region of interest around the time zero converted neuron [1].

    - SCREEN: screenshot_7: 00:18-00:30 Video Editor: please speed up

  - To properly identify the contours of the neuron, select Image, Adjust, and Threshold to highlight the intensity thresholds [1].

    - SCREEN: screenshot_7: 00:30-00:50 Video Editor: please speed up

  - Once the selection has been defined, click Analyze and Measure. A pop-up Results window will appear including the Area, Integrated Density, and Raw Integrated Density values for the selected region of interest [1].

    - SCREEN: screenshot_7: 00:50-00:53 Video Editor: please emphasize Area, IntDen, and RawIntDen values when mentioned

  - Perform the same process of selection and measurement for the image from the second time point [1].

    - SCREEN: screenshot_7: 00:53-01:00

  - Then copy the values into a spreadsheet [1].

    - SCREEN: screenshot_7: 01:00-01:07

## Protocol Script Questions

A. Which steps from the protocol are the most important for viewers to see?

4.3., 4.4.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success?

Efficiently converting Dendra2 from green to red is key: this is achieved by optimizing the conversion parameters beforehand.

# Results

- Results: Representative Huntingtin (HTT)-D2 Conversion and Degradation

  - In this representative analysis, before conversion, no red signal was visible when the sample was excited in the red channel [1].

    - LAB MEDIA: Figure 2A

  - Upon irradiation, the green signal diminished as HTT-D2 (H-T-T D-two) was converted [1] and a red signal subsequently appeared [2].

    - LAB MEDIA: Figures 2A and 2B Video Editor: please emphasize signal in circles in Conversion Green Channel image

    - LAB MEDIA: Figures 2A and 2B Video Editor: please emphasize signal in Conversion Red Channel image

  - HTT-D2 expression degraded over time, resulting in a reduction in the levels of red HTT-D2 signal [1] and a possible increase of the green HTT-D2 signal, as more fusion protein was newly synthesized [2].

    - LAB MEDIA: Figure 2 Video Editor: please emphasize signal in circles in After Red Channel image

    - LAB MEDIA: Figure 2 Video Editor: please emphasize green signal in After Green Channel image

  - Notably, the neurons of the tail region were determined to be significantly more active [1] compared with those of the head [2].

    - LAB MEDIA: Figure 3A Video Editor: please emphasize Tails data bar

    - LAB MEDIA: Figure 3A Video Editor: please emphasize Heads data bar

  - Further, there was significantly more degradation of control HTTQ25 (H-T-T-Q-twenty-five)-D2 24 hours after conversion than after 2 hours in both the head and tail neurons [1].

    - LAB MEDIA: Figure 4 Video Editor: please add/emphasize brackets and asterisks over data bar pairs

  - This difference was not observed in pathogenic HTTQ97-D2, however [1], suggesting that the proteostasis network was unable to remove HTT-D2 containing longer glutamine stretches throughout the nervous system [2].

    - LAB MEDIA: Figures 3B and 4B Video Editor: please add/emphasize ns text and bracket in both graphs

    - LAB MEDIAL Figures 3B and 4B

  - HTTQ97-D2 was not degraded as efficiently as HTTQ25-D2 in very old nematodes, highlighting the inability of the proteostasis network to remove aggregated and possibly toxic species of huntingtin in older animals [1].

    - LAB MEDIA: Figure 5A Video Editor: please add/emphasize bracket and asterisks

  - Importantly, tail neurons were able to cope with toxic HTTQ97-D2 in young nematodes, suggesting that various concomitant proteostasis network mechanisms might be at work to remove HTT-D2 [1].

    - LAB MEDIA: Figure 5B LAB MEDIA: Figure 4 Video Editor: please emphasize tail data bars

# Conclusion

- Conclusion Interview Statements

  - Maria Lucia Pigazzini: For each sample, acquire an unsaturated and not overexposed image immediately after conversion and reuse the same parameters for every other image acquired for each sample in the analysis [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (5.7 and 6.3)

  - Janine Kirstein: With this protocol, it is possible to test changes in the proteostasis network and to also, with the help of super resolution microscopy, track the spreading of disease-associated proteins [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera