2.9.	  After imaging, open the image in the microscope software [1] and use the Ruler to draw a red line with the same length as the ruler [2]. 00:00 - 00:14

2.9.1.	Talent opening image, with monitor visible in frame

2.9.2.	SCREEN: To be provided by Authors: Ruler being selected and line being drawn

2.10.	Click Set and Scale to enter the length of the ruler and draw lines of the same lengths as the diameters of at least 200 individual microbubbles [1]. 00:14 - 00:30

2.10.1.	SCREEN: To be provided by Authors: Set and Scale being clicked, then length being entered

2.11.	Then click Report and View Report [1]. 00:30 - 00:36

2.11.1.	SCREEN: To be provided by Authors: Report and View Report being clicked