## Sheet1
Name of Material/Equipment | Company | Catalog Number | Comments/Description
84 µS/cm and 1413 µS/cm conductivity calibration standard | Atlas Scienific | CHEM-EC-0.1
Arduino Uno | Arduino | 8058333490090
Calcium Chloride | Sigma Aldrich | CAS Number: 10043-52-4 | Anhydrous, free-flowing, ≥96%
Carbon Dioxide gas cylinder | AGA Gas
Experiment container |  |  | 3D printed in PLA or milled in aluminum/other metal
EZO Conductivity circuit | Atlas Scienific | EZO-EC
EZO RTD circuit | Atlas Scienific | EZO-RTD
Ferric Sulphate | Sigma Aldrich | CAS Number: 15244-10-7 | 97%
Gold electrodes |  |  | Custom designed
HEPA filter | Nitto | NTF9317-H02
Liquid Nitrogen tank | AGA Gas
Magnesium Perchlorate | Sigma Aldrich | CAS Number: 10034-81-8 | Free-flowing, ≥99.0%
Pressure gauge | Pirani | CCPG−H2−1 | 1x10-9 to 1000 mbar
PT100 sensor
PT1000 sensor
Scotch-Weld Epoxy Adhesive | 3M | EC-2216 B/A
Sodium Perchlorate | Sigma Aldrich | CAS Number: 7601-89-0 | Free-flowing, ≥98.0%
Sodium salt of alginic acid (SAP) | Sigma Aldrich | CAS Number: 9005-38-3 | Powder
Sterile water | VWR Chemicals BDH | CAS Number: 7732-18-5 VWR: 75881-014 | Water ASTM Type II, Reagent Grade
Swagelok syringe | Fischer scientific | KD Scientific 780812
T/RH probe | Vaisala | HMT 334 | (-70 to + 180C) and (0 to 100 % RH)
Teraterm
Whitebox Labs Tentacle Shield | Atlas Scienific | TEN-SH