Response to reviewers’ comments

Editorial comments:
Changes to be made by the author(s):

1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues. The JoVE editor will not copy-edit your manuscript and any errors in the submitted revision may be present in the published version.

2. Title: Please revise to avoid the use of punctuation (colon, dash, etc.).

Done.

3. Please revise the Protocol text to avoid the use of personal pronouns (e.g., I, you, your, we, our) or colloquial phrases.

Done.

4. References: Please do not abbreviate journal titles; use full journal name.

Done.

5. Figure 5, Figure 6 and Figure 9: Please line up the panels better. Some panels are off-set. Please ensure that the panels are of the same dimensions if possible.

We tried, please check.

Reviewers' comments:

Reviewer #1:

Thank you for your time and helpful comments regarding our manuscript, especially the extensive grammatical correction.

Manuscript Summary:

The paper describes a novel assay format to analyze the fecundity/fertility of single bloodfed mosquito females (Ae. aegypti) in a 24 well plate format. Using 24 well plates in conjunction with a camera for automatic image processing including the counting of objects will 1) substantially reduce the space required when using conventional fecundity assays (using 24 mosquito cartons, or Drosophila breeding tubes) and 2) reduce the time period required for data collection.

We did not use automatic image processing; all egg/larva counting are done manually. This is the reason why we mentioned that it “can be scaled up to semi-high throughput” in the discussion.

The idea behind this study is valid (as long as the scenario described under point 4.1 is not frequently occurring) especially when large groups of females need to be analyzed, and the novel assay design including its protocol seem to be straight-forward and easy to reproduce. The images used in the paper are of high quality and the data look solid and convincing.

As long as there is no condensation on the wall, oviposition on the wall is minimal, but some mosquitoes oviposit on the agarose/wall margin, we always need to move eggs from the margin to the lower flat agarose surface. This is also the reason we did not term EAgaL plate method is “high-throughput” and specifically included step 4.1.

Major Concerns:

none

Minor Concerns:

The text, however, needs improvement, apparently due to language problems.

Abstract:

Line 26: For those studies that require an assessment of…..at the individual level, conventional…….on investigators due to high labor intensity and laboratory space requirements.

Line 30: ………..tissue culture plates……….at the individual level……

Introduction:

Line 36: ..due to the lack……to protect humans from vector-borne pathogens.

Line 37: ….reduce the mosquito's fitness in conjunction with a field-applicable population reduction strategy.

Line 38: Such population modification approach requires a detailed assessment of individual fitness parameters .

Line 41: ..the individual containment….and filter paper discs…….

Line 45:…..of individual egg papers for counting and hatching, which can be labor-intensive.

Line 47: …24-well plates to perform egg counting obtained from individual females.

Line 49: surface for oviposition.

Line 50: the unfolding of each ….

Line 51: …not include the use of imaging technologies or an alternative method for larva counting.

Line 54:…that oviposit on…

Line 56:….with a minimal surface…

Line 57:……and maintaining hatched larvae…, thereby drastically reducing time and effort.

Line 59: …as oviposition surface, …….for handling egg papers and finding the eggs on those papers.

Line 74:…oviposition experiment…

Line 78;…..to each well…

Line 83:….eggs, complicating the imaging and counting process.

Line 85:…any condensation on the walls of the 24-well plates…

Line 88: …differ from other mosquito stains or species…

Line 93:…under uniform…line 94:…. Has an impact on…fitness parameters. Rear larvae under non-crowded conditions…

Line 109:…from ovipositioning

Line 111: oviposition:

Line 114: leave out: "in each well of the plates"

Line 123:…to oviposit….

Line 124: in case it is important to keep track on individual females…..

Line 128: ….incomplete oviposition….

Line 129:…to the plates…

Line 136: ….do not overlap with each other.

Line 147: ..in microscope mode…focus on objects…

Line 158:…to each well to prevent its agarose plug and eggs from drying.

Line 187: when larvae have appeared.

Line 189:…interfere with imaging and counting of hatched larvae.

Line 191:…by covering the plates…

Line 194:….similar way like taking images…

Line 208: Over the 3-5 day period,…

Line 220:…dsRNA targeting a candidate…

Line 223:….in which FeT expression was silenced….. reduction in both egg number and….

Line 238:…. the wall of the well. (B) A plate containing agarose.

Line 240: …when condensation has evaporated.

Line 245: ….Transfer of females to…

Line 246: (B) The carefully place the inverted agarose containing plate onto the inverted lid and (C) remove plate (with lid attached) from ice and keep it in an inverted position until females have recovered from anesthesia. (D-E) Turn the female containing plate around to the upward position. Note that lid and bottom part of the plate are held together by a rubber band.

Line 250: Imaging of each well after females had been removed. (A) Digital camera on top of an egg containing 24-well plate……. (D) Sample image of a well in which a female had been placed at 48hPBM; note the dark excretion marks which can complicate the egg counting (arrows). (E) Entire plate showing an image order label, which was prepared following the imaging of all wells of the plate.

Line 256: (A) Images of individual egg containing wells including image order labels and sample designations.

Line 260: ..using "Fiji" (Image J2) software. (A) Screenshot of Fiji software showing the "Multipoint" tool……

Line 262: …helps when counting larger egg groups.

Line 265: Larva diet preparation and a well containing larvae and exuviae.

Line 267: ..of this mixture as…

Line 277: Time requirements for completion of the fly tube method (FT) in comparison to the EAgal plate method. (1) Prep: time required to …….into Drosophila rearing tubes (FT) versus pouring of agarose into wells of 24-well plate (EAgaL). (2) Time required to place ..into rearing tubes (FT) or wells of the 24-well plates (EAgaL).

Line 280: (3) Time required to……..remove, unfold egg paper

Line 281:…image every well….

Line 282: (4) Time required

Line 283:… or each well of……

In the table: (1) Prep; (2) F_in, (3) ….also: show FT (instead of "Tubes") column before EAgal column to match text in description.

All have been addressed in the main manuscript.

Reviewer #2:

Thank you for taking time to review and comment on our manuscript.

Manuscript Summary:

The manuscript entitled "EAgaL plate": Improved fecundity and fertility assay for Aedes mosquitoes using 24-well tissue culture plates" (JoVE61232) details a protocol that adds to a previous 24-well tissue culture plate method to collect eggs from individual females in a space-saving way. The EAgaL plate has benefits compared to the previously described method (Ioshino et. al. 2018) in that it facilitates the egg counting process, potentially reduces the time required, and allows for the eclosion of the eggs in the plate for fecundity and fertility assays, which can reduce human error. The authors also discuss some limitations of the method.

Overall the manuscript is well written and contains all the necessary details and pictures to easily follow the protocol. The method described is definitively useful for mosquito research and I recommend its publication in JoVE. I only have few comments and questions detailed as "minor concerns".

Minor Concerns:

a) 1.3: do the tips need to be sterile/autoclaved? Have the authors considered using tips with "cut tips" in order to facilitate the process of pouring the agarose?

Yes, we always use autoclaved tips which minimize the chance of potential contamination, especially mold. For the use of “cut tips”, we have not considered it. It may work better, but it also increases the time to prepare and the chance of contamination (if cut happens after autoclaving).

b) 1.3: have the authors tried other concentrations of agarose? Why did they choose 2%?

We have not tried agarose other than 2%, because 2% as we feel with our fingers is solid enough and lower percentage might trap mosquitoes.

c) 1.3.1: it would be useful to have more details about their rearing conditions as a reference point (i.e. duration of light cycle, rearing temperature)

A brief description was added in the manuscript.

d) 3.1/3.2: why are the 2-3 drops of water added to the agar? Does the added water drip on the females while the plate is upside-down?

It is to compensate for lost humidity during the time that the plate is out on the lab bench. The plate without addition of water worked fine. Some (or sometimes all) water has been absorbed in agarose. The added water has never dripped on the females while in the inverted position. Remaining water on the agarose seemed to help females to lay eggs in the center (where water is) of the wells instead on the margins.

e) 3.3: have the authors tried leaving the females in the plates for longer than 48 h? The authors mention incomplete egg laying if the females are transferred earlier than 72h post blood meal. Is this due to drying out of the agarose? Have the authors tried leaving these plates in conditions with higher humidity to prevent drying of the agarose, or tried other concentrations of agarose?

We have not tried that as well, because we were afraid that embryos may lose viability with excess drying at such an early point of development. We mis-worded here, it was not actually “incomplete egg laying”, because these mosquitoes did not lay all the eggs for the first 24 h, and laid eggs for the following 24 h. This suggests that the agarose did not lose the function as egg laying surface. Under our insectary conditions (27 °C, 80% RH), increasing humidity was not necessary. Higher humidity, especially saturated humidity (100%) may cause condensation on the wall and the lid where females lay eggs.

f) 4.4: the authors should state that for taking pictures of the individual wells is also possible to use a camera attached to a stereo microscope (if the magnification allows it).

We have tested the stereo-microscope camera. The problems are: (1) View in camera (not from eyepiece) does not cover the entire well, which in turn requires acquisition of multiple images for each well. This increases the numbers of pictures and labor to patch images (or keep tracking which eggs were counted when using multiple pictures per well). A camera attached on a stereo-microscope (in our case Leica M165 FC with Leica DFC 3000G camera) does not get a view from perpendicular angle (slightly towards the right with our scope perhaps due to the nature of stereo-microscope), which makes the right side wall block some part of agarose. Our eye-piece camera (Amscope) verified that when using right eye piece, it looked slightly from the right angle (right wall blocking), and when using left eye piece, it looked slightly from the left angle (left wall blocking).

We think that it is a useful information and added to the discussion section.

g) 4.6: authors mention that the water levels get lower, if the plates are kept at higher humidity, would this reduce the evaporation? Can more water be added to the wells to reduce the need for checking?

It is possible to reduce evaporation by keeping the plates at higher humidity, but not possible to completely prevent from happening. Adding more water may reduce the need for checking. One caution is that the deeper the water is, the more space for the larvae to be present, meaning, focusing on top of water as well as bottom in the same picture becomes more difficult. Keeping the water depth shallow is better for imaging purpose.

h) 4.9: have the authors considered using the automatic particle counting option in ImageJ?

Yes, we are aware of the automatic particle counting options. However, those counting technologies at present can be applied only for egg counting and do not reach beyond “estimation”, which may be pretty close to the real numbers, but not exact counts. Automatic counting also may increase learning curve, which may reduce acceptance of many readers.

i) 5.1: have the authors considered the possibility of storage of eggs in this setup and synchronous hatching at a later date?

This can be an option. To do this one will need to test viability of the eggs without addition of water for control and treatment. We think that such a possibility may be tested for each researcher’s demands.

j) 5.2.1: the authors state that the plate is not "designed to maintain mosquito cultures beyond early larval stages". Can the larvae be recovered and transferred to a larger container if it is necessary to measure survival to adult stage?

That also is a possibility. As we stated above, it should be tested elsewhere on demand.

k) Fig. 11, dsFeT: both wells have blood in them, indicating that the females were transferred into the plate before the recommended 72hs period. Even though these figures are just to exemplify the use of the method, it would be useful if the authors could explain the reason of the difference between the treatment and control wells.

Sorry for the confusion. In this experiment, we followed the standard procedure for the EAgaL plate method; both dsFeT and dsEGFP females were transferred to the EAgaL plate at 72 hPBM. The results showing not only reduce number of eggs but also delayed excretion, which is not the case for dsEGFP. That is why Fig 11 legend states “delayed excretion”. Added text in the main body to clarify.

l) Table of material/equipment: the authors state that "any 24-well plate should work". Due to personal experience placing Aedes aegypti females in 24-well plates, I don´t believe that any plate will work. It is necessary to use plates with rings in the lid in order ensure that the well is closed well enough to avoid the females from escaping and moving into neighboring wells.

We appreciate your useful information. We revised to “clear, flat-bottomed with ringed lid plates”.

m) Could the authors add a figure of a timeline to make the process clearer? It is unclear if the plates are made before the females are bloodfed or after the females are bloodfed.

Yes. That is a good point and we added a figure of the assay timeline (from bloodfeeding to larval imaging).

n) Could the authors comment about the possibility of fungi growing on the agar during the study?

Added a comment.

o) If it is not necessary to eclose the eggs, how long can the plates be kept before taking the pictures for egg counting?

It all depends on the condition of storage. The EAgaL plates with eggs may be kept at –20 °C, which may change the texture of agarose.

Reviewer #3:

We appreciate your time and expertise to review our manuscript.

The present article describes an improved protocol for the Oviplate method by using agarose as an oviposition substrate and applying Image J to count the number of eggs laid/hatched larvae. It is an interesting improvement in the method of individual analysis, which deserves to be propagated to the scientific community, especially because of the use of agarose in the wells. However, I consider that some major points need to be addressed before this article can be accepted.

General comments:

The major critique regards the specific improvements. Undoubtedly, the authors brought innovation, but the authors are also claiming about "space-saving method" and "the use of 24-well tissue plates", which were not the specific advances they have contributed. The use of 24-well tissue culture plate has already been demonstrated elsewhere. Actually, the authors have referenced this method in lines 47 to 51. In this sense, I think the authors can strengthen the wording of the text, highlighting what is real innovation. To clarify my point, see the two questions below:

1- What is the space-saving modification that "EAgal plate" has improved in comparison to the oviplate method? Is the use of a 24-well tissue culture plate for Aedes aegypti oviposition assay an advance?

This is a detailed version of the method described in Tsujimoto, et al., 2018, Frontiers in Physiology https://doi.org/10.3389/fphys.2018.00380. Many people encouraged us to present this in a more visible way and we were invited to submit a manuscript to JoVE by a guest editor. Therefore, we committed to invest our efforts to prepare this manuscript.

According to the JoVE policy, they accept “novel methods, innovative applications of preexisting techniques and gold standard protocols”, which is in “Objective” section in “PEER REVIEW” page in JoVE website (https://www.jove.com/publish/peer-review/), copy-pasted below:

“JoVE serves the research community as a scientific methods journal for efficient dissemination, reproduction and discussion of experimental approaches in biological, medical, chemical and physical research. Video is an effective publication format as it ensures more efficient transfer of information than traditional text articles. JoVE publishes novel methods, innovative applications of existing techniques and gold standard protocols in a scholarly video and text format. Detailed text and representative results accompany every video.”

We consider JoVE is not a place to present “which comes first” like arguments, rather it is a journal to present a method in more visible and learnable way. We clarified this in the introduction.

An innovation of the EAgaL plate method is not only using agarose as oviposition substrate, but also using the tissue-culture plates as egg viability tests, when it is compared to the oviplate. Because the oviplate method did not describe larval assay, the EAgaL may be able to reduce space for hatching eggs from individual females (in comparison to tube method).

Specific comments by section:

Title:

a. The manuscript title ""EAgaL plate": Improved fecundity and fertility assay for Aedes mosquitoes using 24-well tissue culture plates" can be improved. I would suggest some options:

-""EAgaL plate": Improving the oviplate method for fecundity and fertility assay in Aedes aegypti."

- ""EAgaL plate": Agarose as an oviposition substrate and digital counting improves oviplate method for fecundity and fertility assay in Aedes aegypti.

We changed the title in a way to reflect point b below, but try not to include “oviplate” not to give readers an impression that we disgrace the oviplate method in the title.

These two would be more accurate in my opinion since:

a. The present work shows an improvement of the oviplate method that already uses 12- and 24-well plate as well. "using 24-well tissue culture plates", is not an advance per se for individual oviposition in Aedes aegypti.

At the time we developed the EAgaL plate method, we aimed to improve from conventional fly tube method. Publication chronology (please see acceptance and published dates for Tsujimoto et al., 2018) serves as evidence of this.

b. The method was only tested for Aedes aegypti in the present article. Although it is likely to work with Aedes albopictus and other Aedes species, this needs to be experimentally demonstrated.

We agree, and feel presenting this protocol in detailed form will be the best way to disseminate this technique to others working on related species.

Keywords and Summary:

1- The "space-saving" descriptor and this quality was not an advance that this article brought up. The use of 24-well tissue culture plates, the substantial increase of the assay scale has already been shown in the literature. The authors need to be precise in highlighting the new improvements that they have created with the agarose and downstream counting protocol.

As noted above, the method we describe here is a detailed version of a protocol we used in 2018, and extends other protocols by including space-saving larval assays as well as egg counts.

Introduction section:
1- Line 43-44 - "…Such method requires…. (Figure 1).". The oviplate article that the authors have referenced has shown the same information about the space regarding the Drosophila tubes. Hence, Figure 1 is not necessary if the authors just refer to this comparison.

Above argument also applies here and we are comparing the EAgaL plate method to the fly tubes. To be clear on this point, we would like to keep the Fig 1.

2- Line 47-51 - The authors precisely described the negative aspects of the oviplate method and these are the drawbacks overcame by the present work, more than the space improvements. I understand this is the valid justification for the proposed work.

We appreciate the complement.

3- Line 55 - "…. (e.g., Aedes)", it would be better to mention this broad use of the method after testing it for at least for a couple more species.

Removed this notion to reflect the reviewer’s suggestion.

4- Line 54 - "We introduced an improved method to… in a 24-well tissue culture plate format..., the plates are not an innovation in the literature. The authors should explore the other characteristics of the method that make it unique so far.

Please see our comments in general comment section.

5- Line 56 - The authors state the use of the 24-well plates again. Would EAgal plate method work for 12-well plates?

We did not test 12-well plates.

Protocol section:

Line 72 - The holes' idea is interesting. The authors let the readers aware of the size. This is a good point. An addition here would be the standard size of the reared mosquitoes. Tiny ones (malnourished ones could escape as well). The authors have commented about this issue in lines 93 to 96, but it is good to include this information here as well.

Size of the holes are roughly the size of the drill bit used (1.6 mm diameter). Our mosquito size and comment for the readers added.

Line 74 - The authors described a bleaching procedure. Why is it necessary? An explanation should be included.

Bleach treatment is to minimize a potential contamination that may grow on agarose. Description added.

Line 88 - "….different species…", I am not sure about mentioning other species since the protocol was tested for Aedes aegypti only.

We tried to mention applicability here. Modified to clarify.

Line 101 - The information about the feeder device could be included in the table of materials.

Our feeder devise is custom made. Not available commercially.

Line 113 - A standard volume of water would be better than "2-3 drops of water" since the counting will be compared among wells.

Modified accordingly.

Lines 116 to 121 - Ioshino et al 2018 already discussed the procedure of putting females on the inverted lid and the reason why it needs to be done in this way. I suppose the female's wings can get stuck on the agarose surface before they wake up. The authors have not explained the reason why and have not referenced this procedure. The figures 5A and 5B show similar pictures of the same procedure reported in Ioshino et al. The only modification was the lid on the ice (I suppose the holes prevent the condensation so females are not stuck on the lid). This is the modification in the procedure that needs to be highlighted.

Added a note that this procedure has been applied from Ioshino et al.

Unlike Ioshino et al. described, even mosquitoes were directly placed in the wells mosquitoes are fine. We have never seen mosquitoes stuck on the agarose and cannot get up. Dry lid for such a short time (a few minutes) in our lab (we keep mosquitoes in rearing chambers; prep room is at normal lab temperature) did not cause enough condensation for the mosquitoes to stick.

The rubber band can be a convenient way to do it but it can rupture eventually. Do the authors think that it would be better to have the lid and the plate be held together by applying a piece of tape?

As long as we use fresh rubber bands, they have never been snapped over 10-13 days of entire experiment. However, it is a good point and we added a note for the readers.

Line 125-126 - Can the chilling procedure jeopardize the eggs? What would be an alternative to that?

We have never observed reduction of viability of eggs by chilling on ice (we have never used below freezing temperature for chilling). Alternative may be using CO2, but it would be complicated as it is difficult to knockdown by gassing in each well; using a chamber to fill CO2 with EAgaL plate may work.

Line 163 to 166 - Would this issue be a concern when comparing the hatching rates among wells and among plates. Do the authors think that putting the plates inside a humid chamber (or even a sealed container with cotton balls soaked in water) would overcome this drawback?

As far as viability, we do not think the difference in water levels for each well make difference in viability, unless wells dry.

Line 207 to 211 - The authors have mentioned in the discussion section that it is usual to have more than 100 larvae per well. In this situation, how is the accuracy of the counting when the chilled larvae are twisted in each other (clumped)?

Clumping can be resolved manually with a fine forceps or probe prior to taking pictures.

Discussion section:

287- …"space to conduct". This is not an improvement. I agree that the other points are. The authors could argue that it saves time in comparison to the flytube/oviplate method in terms of preparation. In the last case, the filter paper procedure may require longer preparation. What are the authors' thoughts?

Please see the comments in General Comments section.

However, how faster is to run all the protocol to count automatically in comparison to counting them visually (a lot of steps are necessary - from the pictures to marking each of them and recording the results). Is it still faster than visually counting the eggs? Is this more reliable? I addressed this last question in the specific comments below.

I do appreciate the idea of photographing each of the wells, so the results can always be revisited.

When it comes to compare automatic counting vs manual counting, speed is not the only factor. Accuracy is the major factor to be considered. Since we are not introducing automatic counting, it is not discussed.

Lines 291 to 300 - It was nice that the authors addressed a potential limitation. Please, includes "data not shown" if this is the case.

Modified accordingly.

Specific comments:

1- Regarding the costs of the EAgal plate, how does the use of agarose increase the costs in comparison to Flytubes and Oviplate methods? Did the authors estimate it? This is not included in the article.

1. We do not compare the EAgaL plate method to the Oviplate method.

2. We did not mention “cost-saving”, but added the price estimation of the EAgaL plate and fly tubes in the Discussion along with Table 2.

2- The authors did not include a comparison between the results obtained with the automatic counting protocol and the regular manual (visual) counting method. Is the automatic one reliable? More reliable than the manual one? It would be nice to include this comparison for at least one plate analyzed by both methods.

We did not compare automatic counting and manual counting, and this protocol was not developed using automatic counting. We have tried, but none had been reliable and increase the learning curve.

3- The authors did not compare the proposed method with the gold standard ones (flytube/oviplate). They mentioned that females did not retain a significant amount of eggs when the agarose substrate was offered (lines 296 to 297), however, a rigorous comparison could show that this substrate is better than filter papers.

We have compared between the EAgaL plate and fly tubes and did not compare with the oviplate because of the reason we mentioned above. Our speculation is the space constraint regardless to the substrate. Moreover, the Oviplate article did not address if this issue is the case for the Oviplate.

4- What is the authors' opinion about the proposed method - is it a completely new method, or is it a significant improvement on the oviplate method by using agarose? Is it an advance that deserves a new name representing a new method (EAgal plate) since it is still applying a tissue culture plate to oviposition assays? What are the authors' thoughts about this aspect?

With our colleagues’ encouragement, lab’s support and JoVE’s purpose, we strongly believe that making EAgaL plate method more visible (than Tsujimoto et al., 2018) will benefit the mosquito research community. Whether it deserves the publication in JoVE is determined by the reviewers and the editor.

5- Can larvae eat the agarose substrate? Can they penetrate in the layer? Would these two issues be a concern for downstream use of the hatched larvae?

We did not observe larvae have consumed agarose or chewing down agarose. We speculate that since mosquito larvae are filter feeders and do not have ability to grind or crush agarose to fine particles.

6- The authors have used Fiji (ImageJ) software to count eggs and larvae. In the introduction section, no background information about automatic egg counting was provided for the readers. There are some methods already showing the automatic counting protocols in the literature (e.g., Gaburro J, Duchemin JB, Paradkar PN, Nahavandi S, Bhatti A. Assessment ofICount software, a precise and fast egg counting tool for the mosquito vectorAedes aegypti. Parasit Vectors. 2016), some of them applying ImageJ for the same purpose (e.g., Mains JW, Mercer DR, Dobson SL. Digital image analysis to estimate numbers of Aedes eggs oviposited in containers. J Am Mosq Control Assoc. 2008; Ross PA, Endersby-Harshman NM, Hoffmann AA. A comprehensive assessment of inbreeding and laboratory adaptation in Aedes aegypti mosquitoes. Evol Appl. 2018). How does the proposed ImageJ method compare to the others?

Thank you for the references. Testing these methods (ICount is no longer publicly available) did not give us satisfactory results and we thought that including automatic counting in the protocol may increase the learning curve (and confusion) and reduce acceptance by many readers.