Reply to Reviewers’ comments

Manuscript: JoVE61244_R1

New Title: “Low-intensity blast wave model for preclinical assessment of closed-head mild traumatic brain injury in rodents”

Previous Title: “Compression wave injury model for preclinical assessment of closed-head mild traumatic brain injury in rodents”

We thank the Reviewers for their comments, suggestions and expert advise that were helpful in significantly improving the quality of the manuscript. The new version of the manuscript was thoroughly reworked to address the reviewers’ comments and concerns. A detailed point-by-point discussion for each of the reviewers’ comments is provided below.

Reviewer #1:

Manuscript Summary:

The authors are characterizing a new mild TBI closed head injury model using: Compression wave injury model.

Please accept the article

We thank the reviewer for their review efforts and acceptance of the current version of the manuscript.

Reviewer #3:

Manuscript Summary:

The manuscript by Logsdon et al describes a rodent model of mild blast-induced traumatic brain injury using a novel bench-top blastwave generator. The device described in the protocol is relatively small and straightforward to use compared to the type of large shock-tube typically used to investigate blast TBI. These factors and the scalability allowing use in both rats and mice make the model of interest and potentially utilizable in many laboratories.

We appreciate the reviewer’s comments and positive evaluation of our novel blast wave model. As stated by the reviewer, it is also our hope that the model described herein will be of use for other groups, thereby contributing to the advancement of research into mild to moderate TBI.

Major Concerns:

The authors have addressed many of the concerns raised with reference to the first version. In particular details of the dimension of the device and additional experimental parameters have been provided that should be sufficient to reproduce the device.

We thank the reviewer for their positive evaluation of our revision and are glad to hear that the technical details are deemed sufficient to reproduce the device.

The manuscript is still missing quantitation or estimate of the head movement that is claimed to be a clinically relevant novel feature of this model, although it is stated that such characterization will be carried out. If this has been described in other publications the authors should make this clear.

We thank the reviewer for their keen observation that the specific quantitation of the head movement is not included within the current manuscript. We have now amended the manuscript and deemphasized the importance of the head movement in the ‘Abstract’, ‘Introduction’ and Protocol’ section.

We agree that these measurements are important for the current model, so much so that we are currently working with a group that specializes in aerospace engineering (University of Cincinnati) to characterize both the angular head motion and forces exerted upon the rodent’s head throughout the exposure period to the blast wave. These analyses will utilize strain gauges and sensors typically utilized in the area of jet propulsion (with ignition-type shock tubes) to thoroughly characterize the actual kinetics, forces and angular momentum imparted upon murine subjects. We believe these analyses are very important due to the published and known effect of head movement being necessary for behavioral effects elicited by blast forces in rodents (Goldstein et al. 2012. Science Translational Medicine; see also ‘Discussion’). We have cited this work and included a section on the importance of the head movement in the ‘Discussion’.

At the current time, we do have unpublished observations/data of reproducible head motion from analyses of a ball and spring model using our blast wave setup (that we can provide, if requested). However, these observations/data do not truly recapitulate the forces imparted on a rodent skull. In our ongoing research, we are also utilizing high speed imaging (Schlieren imaging) of blast waves to correlate the kinetics of the blast waves themselves to the actual head rotation/motion in collaboration with our engineering colleagues mentioned above. These data will be available in a future collaborative manuscript but are beyond the scope of the current purely methods oriented manuscript.

Throughout the manuscript there is frequent mention of compression wave injury and the relevance of this to mild TBI in general. In reality 'compression waves' of the Friedlander waveform shown are really low intensity blast waves. The model is therefore a model of mild blast TBI (including the Friedlander waveform) - with some features relevant to other types of TBI (eg. coup/contrecoup) due to free head movement.

The text still needs to be modified to reflect this.

We agree with the reviewer and would like to thank for their clarification and straightforward statement of this crucial point. There had been, and still is, much contention in the blast field over the relevance of many rodent models for blast-induced TBI due to the nature of the blast waveforms that actually impact the rodent. As noted by the reviewer, our model does produce the classic Friedlander waveform, which is a low-intensity blast wave. To reflect this comment, we have modified the text within the entire manuscript accordingly.

Reviewer #4:

Manuscript Summary:

The present research includes a detailed protocol to develop a rodent model of blast exposure using compressed air. Paper is well written, detailed but the introduction is totally irrelevant to the type of TBI. Novel data concerning the effects of blast exposure on body temperature. This reviewer was not aware of this.

We thank the reviewer for their positive evaluation of the blast model, the manuscript and the novel data on body temperature. We agree that the ‘Introduction’ did not appropriately cover the topic and we have revised the entire text accordingly.

Major Concerns:

The introductions should be targeted to military TBI as the described procedure in reality is totally related to blast-exposure. There is a universe difference between mechanical TBI and blast-induced TBI. The work is very nice and deserves to be published, but it should be complemented with an adequate introduction and discussion related to blast exposures.

We agree with the reviewer that this model is relevant for military TBI exposure. We have modified the introduction to reflect the connection of this blast wave model to blast-exposure and military TBI. We have included text stating the relationship between blast exposure and CNS dysfunction, the increased incidence of blast-elicited TBI in US servicemembers and the importance of preclinical TBI models for the development of novel, effective TBI therapeutics. We have added a section to the ‘Discussion’ to cover blast exposure.

Minor Concerns:

Please include pressures in kPa and include the wide literature describing the neurovascular degenerative processes associated with blast exposure.

We have amended the graphs and text within the manuscript to include kPa values for proper comparison to other blast-related publications. We have also included multiple references within the discussion that describe the contributions of blast injury to neurovascular degeneration and how this model, and similar models, can be used to examine this effect.

Reviewer #5:

Manuscript Summary:

This paper describes an attempt to use something closer to a laboratory model for blast injury as a preclinical model for mild TBI caused by blunt force trauma or other accelerations.

Major Concerns:

The abstract and intro misrepresent the utility of the controlled cortical impact and lateral fluid percussion models in the study of mild TBI - the shortcomings of these models are exaggerated and the breadth and scope of their applicability are minimized. This seems intended to make the proposed new method more urgently needed or important than it has been shown to be.

We agree with the reviewer that CCI and LFPI are well-established TBI models that are useful for the investigations of human TBI. We have amended the ‘Abstract’ and ‘Introduction’ accordingly. We did not intend in any way to trivialize the contributions of both CCI and LFPI to the TBI field.

The statement from lines 563-564 in the discussion, "compression waves are the most clinically relevant form of mild TBI to look at acceleration/deceleration" is not supported. Neither the present study nor the citations provide validation for the method as clinically relevant for mild TBI from acceleration and deceleration, much less their superiority to existing and well-validated experimental models.

We agree with the reviewer’s comments and have amended the text in the entire manuscript accordingly. The statement from lines 563-564 has been removed from the ‘Discussion’ as there exists no validation for this claim. Instead, we emphasize that the blast wave model presented here is a preclinical model with utility to investigating neurobiology, pathophysiology and/or behavior that is reminiscent of clinical problems encountered in blast-induced TBI.

The method is new, and it may eventually prove useful in some contexts - but I expect the usefulness will be in its ease of use and repeatability rather than in being the closest representation to acceleration induced mild TBI. Direct penetration of the blast wave through the skull and into the brain may always be a confounding factor.

We thank the reviewer for their positive assessment of the method and its potential value for future research. We agree with the reviewer that the blast wave penetration through the skull may cause direct injury, thereby representing a confounding factor. We have now included a discussion of this confound and how the effects of direct blast wave penetration vs. head rotation/acceleration for the development of neurological deficits can be evaluated by using head fixation in this blast wave model.

As is true for most human conditions, rodent models often replicate only certain aspects of the clinical manifestations. Thus, the study of a combination of TBI models will ultimately be required to critically advance our understanding of the human condition.

Minor Concerns:

Lines 173-174 suggest there are rigid, mutually exclusive definitions of blast waves, compression waves, and shock waves; whereas, this does not appear to be the case. Very similar pressure transients appear to be given different names based more on the context in which they are discussed rather than rigorous and distinct criteria by which they are defined. The "compression waves" of the present study may well be referred to as "blast waves" in a study purporting to be more relevant to blast induced TBI.

We thank the reviewer for their comments regarding waveforms and their notion that the compression waves in this study could be referred to as blast waves. We absolutely agree with this comment and have modified the text throughout the entire manuscript accordingly. We also included new sections that underscore the relevance of this blast wave model to blast-induced TBI.