# Submission ID #:  61244

# Scriptwriter Name: Domnic Colvin

# Project Page Link: https://www.jove.com/account/file-uploader?src=18679468

# Title:   Low-intensity blast wave model for preclinical assessment of closed-head mild traumatic brain injury in rodents

# Authors and Affiliations:

Aric F. Logsdon1,2*, Brandon P. Lucke-Wold3,*, Ryan C. Turner4,*, Sean M. Collins5, Evan L. Reeder5, Jason D. Huber4, Charles L. Rosen6, Matthew J. Robson5,#, Florian Plattner7,#

1 Geriatrics Research Education and Clinical Center, Veterans Affairs, Seattle, WA

2 Division of Gerontology and Geriatric Medicine, University of Washington, Seattle, WA

3 Department of Neurosurgery, University of Florida, Gainesville, FL

4 Department of Neurosurgery, West Virginia University, Morgantown, WV

5 Division of Pharmaceutical Sciences, University of Cincinnati, Cincinnati, OH

6 Central Illinois, Neuro Health Sciences, Bloomington, IL

7 Neuro-research, Dallas, TX

☐   All author names and affiliations are correct.

# Corresponding Authors:

Florian Plattner		(plattner@neuro-research.com)

# Matthew J. Robson		(matthew.robson@uc.edu)

# Email Addresses for All Authors:

# alogsdon@uw.edu

# Brandon.lucke-wold@neurosurgery.ufl.edu

# rcturner@hsc.wvu.edu

# collis6@ucmail.uc.edu

# reederel@mail.uc.edu

# jdhuber@hsc.wvu.edu

# brnsrgn@gmail.com

plattner@neuro-research.com

matthew.robson@uc.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out. Statements removed completely.

4. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  14

Number of Shots:  22

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

Ethics Title Card

  - The protocol follows the animal care guidelines of the University of Cincinnati and West Virginia University. All procedures involving animals were approved by the Institutional Animal Care and Use Committees (IACUC), and were performed according to the principles of the Guide for the Care and Use of Laboratory Animals

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Installation of the blast TBI setup

  - Begin by acquiring all working parts that are needed for the setup [1] and install them individually on machine slide tables that are fixed on a stable, easy to clean stainless steel surface in a laboratory space approved for animal experiments [2].

    - Talent arranging all the parts of the setup. Videographer take a single shot of all the working parts of the setup.

    - Talent installing the parts of the setup. Video editor show Figure 1A and 1B in the inset.

  - Fix the PVC pipe shield perpendicular to the shock tube setup so that the body of the animal will be fully covered, allowing only the head to protrude [1-TXT].

    - Talent fixing the PVC pipe shield. TEXT: PVC- polyvinyl chloride

  - Wall mount a gas cylinder in close proximity to the setup in accordance with all pertinent safety regulations [1].

    - Talent installing the gas cylinder on the wall.

- Preparation of experimental setup and induction of mild TBI in rodents

  - After preparing all materials required for the experiment [1], check the setup for proper installation by adjusting the parameters according to the aim of the study [2].

    - Talent preparing the materials of the experiment.

    - Talent adjusting the parameters.

  - Carefully cut the polyester membrane [1] and insert it between the driven and driver sections [2]. Secure it by tightening the connecting bolts [3].

    - Talent cutting the polyester membrane.

    - Talent inserting the membrane between the driven and driver sections. Video editor show Figure 2 in the inset.

    - Talent tightening the connection bolts. Videographer emphasize on the three star marks in Figure 2.

  - Place three pressure sensors at the exit of the shock tube at an angle of 120-degrees apart to monitor the blast wave properties during the TBI induction [1-TXT]

    - Talent placing pressure sensors. TEXT: TBI-Traumatic brain injury.

  - Using the micrometer, ensure that the distance from the end of the shock tube apparatus is correct for each respective subject [1]. Keep the position of the rodents’ head constant within studies to allow for consistent injury evaluation [2].

    - Talent measuring distance of the shock tube using micrometer.

    - Talent keeping the head of the rodent constant.

  - By using the graphical user interface of the software, initiate the recording from the pressure sensors [1].

    - Talent taking the pressure sensor recordings.

  - Place the fully anesthetized rodent in the PVC pipe shield with cushioning to protect peripheral organs from the blast wave [1]. Place its head within the head placement area and support it from below by a gauze pad [2].

    - Talent placing the anesthetized rodent in the PVC pipe shield.

    - Talent supporting the head of the rodent using gauze pad.

  - Determine the head alignment according to each individual rodent’s anatomy, with the occipital condyle aligned with the edge of the protective shielding [1].

    - Talent determining the head alignment.

- Exposure of rodent to blast wave and its recovery

  - Open the main valve of the compressed gas tank to produce a pressure spike which ruptures the membrane and a loud explosion that confirms the generation of the pressure wave. The membrane will be visually ruptured when removed after the experiment [1]. Turn off the gas flow immediately after hearing the explosion [2].

    - Talent opening the main valve of the compressed gas tank.

    - Talent turning off the gas flow after explosion.

  - Remove the rodent from the apparatus [1] and place it on its side on a flat surface directly adjacent to the shock tube [2].

    - Talent removing the rodent from the apparatus.

    - Talent placing the rodent on flat surface.

  - As soon as it regains its righting reflex, place it in its respective home cage and monitor it for adverse reactions for the next 24 hours [1].

    - Talent placing the rodent in home cage for 24 hours.

  - Clean the setup with detergent to remove odor and prepare for the next experiment [1].

    - Talent cleaning the setup with detergent.

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 201. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Acute in vivo effects of blast-induced TBI

  - Peak pressures increased in concordance with membrane thickness at the head placement area [1] and at the exit of the shock tube apparatus, demonstrating that they are scalable in nature [2].

    - LAB MEDIA: Figure 3A.

    - LAB MEDIA: Figure 3B.

  - Mice that were exposed to a blast wave produced with the 76.2-micrometer membrane exhibited a significant increase in righting reflex time, or RRT, as compared to sham controls, suggesting that this blast wave induces loss of consciousness [1].

    - LAB MEDIA: Figure 4A. Video editor emphasize on the black bar.

  - In contrast, mice exposed to a blast wave from the 50.8-micrometer membrane exhibited no significant increases in RRT, indicative of a mild form of TBI [1].

    - LAB MEDIA: Figure 4A. Video editor emphasize on the grey bar graph.

  - Exposure to a blast wave with the 76.2-micrometer membrane produced a significant decrease in body temperature of the TBI-induced mice during the first hour compared to their sham controls, suggesting a significant physiologic effect [1].

    - LAB MEDIA: Figure 4B. Video editor emphasize the black dots.

  - Mice subjected to TBI with the 76.2-micrometer membrane exhibited an acute, time dependent reduction in total body weight one-day post-TBI compared to sham controls [1] and a significant decrease in locomotor activity [2].

    - LAB MEDIA: Figure 4C.

    - LAB MEDIA: Figure 4D.

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.