## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Reference solution preparation
CuSO4 | Sigma-aldrich | 469130 | Crystalline powder for creating reference solution
D2O | Sigma-aldrich | 151882 | Liquid used to prepare reference sample
Weigh Scale | Sartorius | PRACTUM513-1S | Scale for weighing compounds
Sample preparation
Capillary 1000 μm (Outer diameter) | Hilbenberg GmbH | 1408410 | Sample capillaries
Capillary wax | Hampton Research | HR4-328 | Solid wax used to seal samples
Disposable Scalpel | Swann-Morton | No. 11 | Used to excise samples
Perfluorodecalin | Sigma-aldrich | P9900 | Liquid used for submerging sample
Stereo Microscope | Olympus | SZ40 | Tabletop binocular microscope
Syringe | Generic | - | Used to apply PFD and manipulate the sample
Vacuum Pump | Vacuubrand | MZ2C | Two-stage membrane vacuumpump used for removing air pockets from samples.
Wax pen | Hampton Research | HR4-342 | Handheld wax pen used to melt and apply capillary wax to samples
Imaging Hardware
22.3 T Magnet | Bruker GmbH | 950 US2 | Narrowbore superconducting magnet
Air cooler | Bruker GmbH | - | Used to regulate probe temperature
Console | Bruker GmbH | Avance III HD | Controls operation of the spectrometer
Micro5 gradient coils | Bruker GmbH | Mic5 | Removable gradient coils mount on the Micro5 probe body
Micro5 Probe body | Bruker GmbH | Mic5 | Holds microcoils and gradient coils
RF microcoil | Home-built | - | contains Fomblin
Vector Network Analyzer | Copper Mountain Technologies | TR1300/1 | Used to perform S11 reflectance test, frequency range 300kHz to 1.3 GHz
Water cooler | Bruker GmbH | BCU-20 | Open loop watercooling to dissipate heat from gradient coil operation.

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | AAAAAH384Q8=