TITLE:

2D-HELS MS Seq: a General LC-MS Based Method for Direct and de novo Sequencing of RNA Mixtures with Different Nucleotide Modifications

AUTHORS AND AFFILIATIONS:

Ning Zhang1,2, Shundi Shi3, Barney Yoo4, Xiaohong Yuan1, Wenjia Li3, Shenglong Zhang1

- Department of Biological and Chemical Sciences, New York Institute of Technology, New York, NY, USA

- Department of Chemical Engineering, Columbia University, New York, NY, USA

- Department of Computer Science, New York Institute of Technology, New York, NY, USA

- Department of Chemistry, Hunter College, City University of New York, New York, NY, USA

EMAIL ADDRESSES OF CO-AUTHORS:

Ning Zhang (nzhang07@nyit.edu)

Shundi Shi (ss526@columbia.edu)

Barney Yoo (by104@hunter.cuny.edu)

Xiaohong Yuan (xyuan04@nyit.edu)

Wenjia Li (wli20@nyit.edu)

CORRESPONDING AUTHOR:

Shenglong Zhang (szhang21@nyit.edu)

KEYWORDS:

Mass spectrometry-based sequencing, direct RNA sequencing, 2-dimensional mass-retention time ladders, hydrophobic end-labeling strategy, RNA modification sequencing, single-base precision.

SUMMARY:

Here, we describe a detailed protocol for an LC-MS based sequencing method that can be used as a direct method to sequence short RNA (<35 nt per run) without a cDNA intermediate, and as a general method to sequence different nucleotide modifications in a single study at single-base precision.

ABSTRACT:

Mass spectrometry (MS)-based sequencing approaches have been used to directly sequence RNA without the need for a cDNA intermediate. However, they were rarely applied as a de novo RNA sequencing method but used mainly as a tool that can help quality assurance for confirming known sequences of purified single-stranded RNA samples. Recently we reported a direct RNA sequencing method by integrating a 2-dimensional mass-retention time hydrophobic end-labeling strategy into MS-based sequencing (2D-HELS MS Seq). This method is capable of accurately sequencing single-stranded RNA as well as mixtures up to 12 distinct RNA sequences. In addition to the four canonical ribonucleotides (A, C, G, and U), the method has the capacity to sequence RNA oligos containing modified nucleotides. This is possible because the modified nucleobase either has an intrinsically unique mass that can help to identify and locate it in the RNA sequence or can be converted into a product with a unique mass. Here in this study, we have used RNA, incorporating two representative modified nucleotides, pseudouridine (Ψ) and 5-methylcytosine (m5C), to illustrate the application of the method for the de novo sequencing of a single RNA oligo, as well as mixture of RNA oligos, each with a different sequence and/or modified nucleotides. The procedures and protocols described here in sequencing these model RNAs will be applicable to other short RNA samples (<35 nt) when using a standard high-resolution LC-MS system. In the future with the development of more robust algorithms and with better instruments, this method could allow sequencing of more complex biological samples.

INTRODUCTION:

Mass spectrometry (MS)-based sequencing methods, including top-down MS and tandem MS1-4, have been developed for direct sequencing of RNA. However, in situ fragmentation techniques for effectively generating high-quality RNA ladders in mass spectrometers are currently not available for sequencing5,6. Furthermore, it is very complicated to analyze the traditional one dimensional (1D) MS data even for de novo sequencing of a purified singe-stranded RNA, and it would be even more challenging for MS sequencing of mixed RNA samples7,8. Therefore, a two-dimensional (2D) liquid chromatography (LC)-MS-based RNA sequencing method has been developed and 2D mass-retention time (tR) ladders are produced to replace 1D mass ladders, making it much easier to identify ladder components needed for de novo sequencing of RNAs8. However, the 2D LC-MS-based RNA sequencing method is mainly limited to purified synthetic short RNA as it cannot read a complete sequence solely based on one single ladder, but has to rely on two co-existing adjacent ladders (5´ and 3´ ladder)8. More specifically, this approach requires paired-end reads for reading terminal nucleobases. This becomes more complicated in MS sequencing of RNA mixtures because confusion is raised on which ladder fragment belongs to which ladder for the unknown samples.

To overcome the abovementioned barriers in the MS-based sequencing approaches and broaden their applications in direct RNA sequencing, two issues must be addressed, including: 1) how to generate a high-quality mass ladder that can be used to read a complete sequence, from the first nucleotide to the last in the RNA strand; and 2) how to effectively identify each RNA/mass ladder in a complex MS dataset. We have introduced a hydrophobic end labeling strategy (HELS) into the MS-based sequencing, and successfully addressed these two issues by adding a hydrophobic tag at either 5´ and/or 3´ end of the RNAs to be sequenced9. This new strategy enables reading a complete RNA sequence from one ladder of a RNA strand without pair-end reading from the other ladder of the RNA, and allows MS sequencing of RNA mixtures with multiple different strands9. By adding a tag at the 5´ and/or 3´ end of the RNA, the labeled ladder fragments display a significant delay of tR, which can help distinguish the two mass ladders from each other and also from the noisy low mass region. The mass-tR shift caused by adding the hydrophobic tag facilitates mass ladder identification and simplifies data analysis for sequence generation. Also, addition of the hydrophobic tag can help to identify the terminal base due to the mass increase caused by the tag, thus allowing reads for the complete sequence from a single ladder; no paired end reads are required. As a result, we have previously demonstrated the successful sequencing of a complex mixture of up to 12 RNA distinct strands without the use of any advanced sequencing algorithm9, which opens the door for de novo MS sequencing of RNA containing both canonical and modified nucleotides and makes it more feasible for the sequencing of mixed and more complex RNA samples. In fact, using the 2D-HELS MS Seq, we have even successfully sequenced a mixed population of tRNA samples10, and we are actively expanding its application to other complex RNA samples.

To facilitate 2D-HELS MS Seq to directly sequence a broader range of RNA samples, here we will focus on the technical aspects of this sequencing approach and will cover all the essential steps needed when using it to directly sequence RNA samples. Specific examples will be used to illustrate the sequencing technique, including synthetic single strand RNAs, RNA mixture of multiple distinct RNA strands, and modified RNAs containing both canonical and modified nucleotides such as pseudouridine (ψ) and 5-methylcytosine (m5C). Since RNAs are all made of phosphodiester bonds, all different kinds of RNAs can be acid hydrolyzed to generate an ideal sequence ladder for 2D-HELS MS Seq under optimal conditions8,9,11. However, detection of all the ladder fragments of an RNA is instrument dependent. On a standard high-resolution LC-MS (40K), the minimal loading amount for sequencing purified short RNA sample (<35 nt) is 100 pmol per run. However, more material is required (up to 400 pmol per RNA sample) when additional experiments must be conducted (e.g., to distinguish isomeric base modifications that share identical masses). The protocol used in sequencing the model synthetic modified RNAs will also be applicable to sequencing broader RNA samples, including biological RNA samples with unknown base modifications. However, a larger sample amount, such as 1000 pmol for sequencing tRNA (~76 nt) using a standard LC-MS instrument, is required to sequence the complete tRNA with all the modifications, and an advanced algorithm needs to be developed for its de novo sequencing10.

PROTOCOL:

- Design RNA oligonucleotides

  - Design synthetic RNA oligonucleotides with different lengths (19 nt, 20 nt and 21 nt), including one (RNA #6) with both canonical and modified nucleotides. ψ is employed as a model for non-mass-altering modifications, which is challenging for MS sequencing because it has an identical mass to U. m5C is chosen as a model for mass-altering modifications to demonstrate the robustness of the approach.

RNA #1: 5´-HO-CGCAUCUGACUGACCAAAA-OH-3´

RNA #2: 5´-HO-AUAGCCCAGUCAGUCUACGC-OH-3´

RNA #3: 5´-HO-AAACCGUUACCAUUACUGAG-OH-3´

RNA #4: 5´-HO-GCGUACAUCUUCCCCUUUAU-OH-3´

RNA #5: 5´-HO-GCGGAUUUAGCUCAGUUGGGA-OH-3´

RNA #6: 5´-HO-AAACCGUψACCAUUAm5CUGAG-OH-3´

  - Dissolve each synthetic RNA in nuclease-free DEPC-treated water (expressed as DEPC-treated H2O unless otherwise indicated) to obtain 100 M RNA stock solution. Aliquot and store at -20 °C.

  - To avoid possible RNA sample degradation, use RNase-free experimental supplies including DEPC-treated water, microcentrifuge tubes, and pipette tips. Frequently wipe down surfaces of lab supplies by RNase elimination wipes.

- Label the 3´-end of RNAs with biotin

  - Two-step reaction protocol (adenylation and ligation)

    - Add 1 µL of 10x adenylation reaction buffer (50 mM sodium acetate, pH 6.0, 10 mM MgCl2, 5 mM DTT, 0.1 mM EDTA), 1 µL of 1 mM ATP, 1 µL of 100 µM pCp-biotin, 1 µL of 50 µM Mth RNA ligase and 6 µL of DEPC-treated H2O (a total volume of 10 µL) into an RNase-free thin walled 0.2 mL PCR tube.

NOTE: Store the reagents at -20 °C before the two-step reaction. Thaw the reagents at room temperature and mix well by vortexing and centrifuging before adding to the reaction.

    - Incubate the reaction at 65 °C for 1 h and inactivate the reaction at 85 °C for 5 min.

    - Conduct the ligation step containing 10 µL of reaction solution from the previous step, 3 µL of 10x T4 RNA ligase reaction buffer (50 mM Tris-HCl, pH 7.8, 10 mM MgCl2, 1 mM DTT), 1.5 µL of 100 M RNA sample to be sequenced, 3 µL of anhydrous DMSO to reach 10% (v/v), 1 µL of T4 RNA ligase (10 units/µL), and 11.5 µL of DEPC-treated H2O (a total volume of 30 L). Incubate the reaction overnight at 16 °C.

NOTE: Add reaction components at room temperature due to the high freezing point of DMSO (18.45 °C).

    - Incubate the reaction overnight (16 h) at 16 °C.

    - Quench and purify the reaction by column purification to remove enzymes and free pCp-biotin. Add 20 L of DEPC-treated H2O to the reaction solution to reach a 50 L sample volume prior to adding the binding buffer.

    - Add 100 L of binding buffer to each reaction solution. Add 400 µL of ethanol, mix by pipetting, and transfer the mixture to the column. Centrifuge at 10,000 x g for 30 s. Discard the flow-through.

    - Add 750 µL of DNA Wash Buffer to the column. Centrifuge at 10,000 x g and maximum speed for 30 s and 1 minute, respectively.

    - Transfer the column to a 1.5 mL microcentrifuge tube. Add 15 µL of DEPC-treated H2O to the column and centrifuge at 10,000 x g for 30 s to elute the RNA product.

NOTE: Samples can be stored at -20 °C at this stage until the next step is performed.

  - One-step reaction protocol

    - Perform a one-step labeling reaction containing 2 µL of 150 μM AppCp-biotin, 3 µL of 10x ligase reaction buffer, 1.5 µL of 100 M RNA sample to be sequenced, 3 µL of anhydrous DMSO to reach 10% (v/v), 1 µL of T4 RNA ligase (10 units/µL), and 19.5 µL of DEPC-treated H2O (a total volume of 30 L).

    - Incubate the reaction overnight (16 h) at 16 °C.

    - Perform column purification as described above in step 2.1.5.

NOTE: Prepare a separate/exclusive reaction tube for each RNA sample (150 pmol scale of RNA). Label the 5´-end of RNAs with sulfo-Cy3 or Cy3 may be needed (e.g., for bidirectional sequencing). The method is different than that of 3´-biotinylation and is described in a previous publication9.

- Capture biotinylated RNA sample on streptavidin beads

  - Activate 200 µL of Streptavidin C1 magnet beads by adding 200 µL of 1x B&W buffer (5 mM Tris-HCl, pH 7.5, 0.5 mM EDTA, 1 M NaCl). Vortex this solution and place it on a magnet stand for 2 min. Then discard the supernatant.

  - Wash the beads twice with 200 µL of Solution A (DEPC-treated 0.1 M NaOH and DEPC-treated 0.05 M NaCl) and once in 200 µL of Solution B (DEPC-treated 0.1 M NaCl). For each wash step, vortex the solution and place it on a magnet stand for 2 min, discard the supernatant. Then add 100 µL of 2x B&W buffer (10 mM Tris-HCl, pH 7.5, 1 mM EDTA, 2 M NaCl).

  - Add 1x B&W buffer to the biotinylated RNA sample until volume is 100 µL. Then add this solution to the washed beads stored in 100 µL of 2x B&W buffer. Incubate for 30 min at room temperature on a rocking platform shaker at 100 rpm. Place the tube in a magnet for 2-3 min and discard the supernatant.

  - Wash the coated beads 3 times in 1x B&W buffer and measure the final concentration of supernatant in each wash step by Nanodrop for recovery analysis, to confirm that the target RNA molecules remain on the beads.

  - Incubate the beads in 10 mM EDTA, pH 8.2 with 95% formamide at 65 °C for 5 min. Keep the tube on the magnet stand for 2 min and collect the supernatant (containing the biotinylated RNAs released from the streptavidin beads) by pipet.

NOTE: This physical separation step prior to acid degradation is only used for sequencing of RNA#1 in Figure 1c, and is not mandatory for the 2D-HELS MS Seq since the hydrophobic biotin label can cause the 3´ labeled ladder fragments to have a significantly delayed tR during LC-MS measurement, which can clearly distinguish the labeled 3´ ladder fragments from the unlabeled 5´ ladder fragments in the 2D mass-tR plot.

- Acid hydrolysis of RNA to generate MS ladders for sequencing

  - Divide each RNA sample into three equal aliquots. For instance, divide a volume of 15 µL RNA sample into 3 aliquots of 5 µL.

  - Add an equal volume of formic acid to achieve 50% (v/v) formic acid in the reaction mixture8,9.

  - Incubate the reaction at 40 °C, with one reaction running for 2 min, one for 5 min, and one for 15 min, respectively.

  - Quench the acid degradation by immediately freezing the sample on dry ice.

  - Use a centrifugal vacuum concentrator to dry the sample. The sample is typically completely dried within 30 min, and formic acid is removed together with H2O during the drying process because it has a boiling point (100.8 °C) similar to that of H2O (100 °C).

  - Suspend and combine the dried samples in 20 µL of DEPC-treated H2O for LC-MS measurement.

NOTE: Samples can be stored at -20 °C at this stage waiting for LC-MS measurement.

- Convert ψ to CMC-ψ adduct

  - Add 80 µL of DEPC-treated H2O into 1.5 mL RNase-free microcentrifuge tube containing 0.0141 g of N-cyclohexyl-Nʹ-(2-morpholinoethyl)-carbodiimide metho-p-toluenesulfonate (CMC) and 0.07 g of urea. Add 10 µL of 100 µM RNA to be sequenced, 8 µL of 1 M bicine buffer (pH 8.3) and 1.28 µL of 0.5 M EDTA. Add DEPC-treated H2O to reach a total volume of 160 µL. Final concentrations are 0.17 M CMC, 7 M urea and 4 mM EDTA in 50 mM bicine (pH 8.3)12.

NOTE: This protocol is applicable to either a single-stranded synthetic RNA or RNA mixtures.

  - Divide 160 µL reaction solution into 4 equal aliquots and incubate at 37 °C for 20 min.

NOTE: 50 µL per tube is the maximum reaction volume that can be used in a thermal cycler.

  - Quench each reaction with 10 µL of 1.5 M sodium acetate and 0.5 mM EDTA (pH 5.6).

  - Perform column purification with 4 parallel spin columns to remove excessive reactants according to the procedure as described in step 2.1.5. Dissolve the purified product in 15 µL of DEPC-treated H2O in each collection tube.

  - Transfer the purified product to RNase-free, thin walled 0.2 mL PCR tubes  4. Add 20 µL of 0.1 M Na2CO3 buffer (pH 10.4) into each 15 µL of purified product and make a final volume of 40 µL by adding DEPC-treated H2O for each reaction tube (in total 4). Incubate the reaction at 37 °C for 2 h.

  - Quench and purify the reaction by column purification with 4 parallel spin columns as described in step 2.1.5. Elute the CMC-ψ converted product to a collection tube each with 15 µL of DEPC-treated H2O.

  - Combine the purified CMC-ψ converted sample from 4 collection tubes into one tube. Perform formic acid degradation 50% (v/v) according to the procedures as described in step 4.1-4.6 to generate MS ladders for sequencing.

- LC-MS measurement

  - Prepare mobile phases. Mobile phase A is 25 mM hexafluoro-2-propanol with 10 mM diisopropylamine in LC-MS grade water; mobile phase B is methanol.

  - Resuspend acid-degraded RNA in DEPC-treated H2O and transfer the sample to LC-MS sample vial for analysis. Each sample injection volume is 20 µL containing 100-400 pmol of RNA.

  - Use the following LC conditions: column temperature of 35 °C, a flow rate of 0.3 mL/min; a linear gradient from 2-20% mobile phase B in 15 min followed by a 2 min wash step with 90% mobile phase B.

NOTE: For more hydrophobic end-labels such as Cy3 and sulfo-Cy3 as mentioned in Section 2, a higher percentage of organic solvent may be necessary for sample elution (i.e., a similar gradient can be used but with an increased percentage range of mobile phase B). For instance, 2-38% mobile phase B in 30 min with a 2 min wash step with 90% mobile phase B.

  - Separate and analyze sampled on a Q-TOF mass spectrometer coupled to a LC system equipped with an autosampler and a MS HPLC system. The LC column is a 50 mm x 2.1 mm C18 column with a particle size of 1.7 μm. Use the following MS settings: negative ion mode; range, 350 m/z to 3200 m/z; scan rate, 2 spectrum/s; drying gas flow, 17 L/min; drying gas temperature, 250 °C; nebulizer pressure, 30 psig; capillary voltage, 3500 V; and fragmentor voltage, 365 V. Please note that these parameters are specific to the type or model of mass spectrometer being used.

  - Acquire data with the acquisition software. Use Molecular Feature Extraction (MFE) workflow to extract compound information including mass, retention time, volume (the MFE abundance for the respective ion species), and quality score, etc. Use the following MFE settings: “centroid data format, small molecules (chromatographic), peak with height ≥ 100, up to a maximum of 1000, quality score ≥ 50”.

NOTE: Optimize MFE settings to extract as many potential compounds as possible, up to a maximum of 1000, and with quality scores of ≥ 50.

- Automate RNA sequence generation by a computational algorithm

NOTE: This is shown only for RNA #1 in Figure 1c.

  - Sort out MFE extracted compounds in order of high volume (peak intensity) and retention time. Perform data pre-selection via 1) setting retention time from 4 to 10 min to select the RNA fragments labeled by the biotin since the tRs of the biotin labeled mass ladder components are shifted to the tR window (4 min to 10 min), and 2) using an order-of-magnitude higher of input compounds than the number of ladder fragments for algorithm computation to reduce data amount based on volume. For instance, for a 20 nt RNA, 20 labeled mass- tR ladder components will be required for sequencing of the 20 nt RNA, thus, 200 compounds from MFE data file will be selected based on volume. Please note that the tR window may be different when a different type or model of mass spectrometer is used.

  - Perform data process and sequence generation of RNA #1 using a revised version of a published algorithm8. The source codes of the revised algorithm are described previously (https://academic.oup.com/nar/article/47/20/e125/5558343#supplementary-data)9.

  - In addition to automating sequence generation using the algorithm, manually calculate the mass differences between two adjacent ladder components for base calling. All bases in the RNA can be called manually and match with the theoretical ones in the RNA nucleotide and modification database8, thus the complete sequence of the RNA strand is accurately read out manually and is used to confirm the accuracy of the algorithm-reported sequence read. More structures of RNA modifications can be found in RNA modification databases13, and their corresponding theoretical masses are obtained by ChemBioDraw. In Tables S1-S6, the ppm mass difference is shown when comparing the observed mass to its theoretical mass for a specific ladder component, and a value less than 10 is considered a good match for each base calling.

- Sequencing RNA mixtures

  - Label a mixture of 5 RNA strands (RNA #1 to #5) at their 3´-ends using a one-step protocol described in step 2.2. In a 150 µL reaction solution, add 15 µL of 10x T4 RNA ligase reaction buffer, 1.5 µL of each RNA strand (100 µM, RNA #1 to #5, respectively, in total 7.5 µL), 10 µL of 150 µM A(5´)pp(5´)Cp-TEG-biotin-3´, 15 µL of anhydrous DMSO, 5 µL of T4 RNA ligase (10 units/µL), and 97.5 µL of DEPC-treated H2O. Equally distribute the reaction solution into 5 aliquots. Each RNase-free microcentrifuge tube contains 30 µL of reaction solution.

  - Incubate the reaction overnight (16 h) at 16 °C.

  - Perform column purification according to the procedure as described in step 2.1.5 with 5 parallel spin columns. Elute a mixture sample of 3´-biotinylated 5 RNA strands (mixture of RNA #1 to #5) to a collection tube each with 15 µL of DEPC-treated H2O.

  - Combine the purified mixture sample from 5 collection tubes into one tube. Perform formic acid degradation according to the procedure described in Section 4.

  - Measure samples by LC-MS as described in Section 6, and analyze the data using the data analysis software with optimized MFE settings to extract data containing mass, retention time and volume as described in step 6.5. The typical processing and base-calling algorithm is not applied due to the significantly increased data complexity resulting from the mixture. All bases in the RNA of the mixed sample are called manually in a way similar to Section 7.3 and match well with the theoretical ones in the RNA nucleotide and modification database8, thus the complete sequences of all 5 RNA strands in the mixed sample are accurately read out. In Tables S7–S11, all the information is listed including observed mass, tR, volume, quality score and ppm mass difference.

REPRESENTATIVE RESULTS:

Introducing a biotin tag to 3´-end of RNA to produce easily-identifiable mass-tR ladders. The workflow of 2D-HELS MS Seq approach is demonstrated in Figure 1a. The hydrophobic biotin label introduced to the 3´ end of the RNA (see Section 2) increases the masses and tRs of the 3´ labeled ladder components when comparing to those of their unlabeled counterparts. Thus, the 3´-ladder curve is shifted up (due to increase in the tRs) and shifted to the right (due to increase in masses) in the 2D mass-tR plot. Figure 1b shows the protocol for introducing a biotin tag to the 3´-end of RNA. Figure 1c demonstrates separation of the 3´-ladder from the 5´-ladder and other undesired fragments on a 2D mass-tR plot based on systematic changes in tR of 3´-biotin-labeled mass-tR ladders of RNA #1. The 3´-ladder curve alone gives a complete sequence of RNA #1, and the 5´-ladder curve that does not have a tR shift provides the reverse sequence, but it requires end pairing for reading the terminal base8. With this strategy of 2D-HELS, end pairing would not be required as reported before and the entire RNA sequence can be read out completely from only one labeled ladder curve8. As such, it is possible to sequence mixed samples containing multiple RNAs: two RNA strands of different lengths (RNA #1 and RNA #2, 19 nt and 20 nt, respectively) with a 5´-biotin label at each RNA (Figure 1d).

Converting ψ and its CMC-ψ adduct for 2D-HELS MS Seq. ψ is a difficult nucleotide modification for MS-based sequencing because it has an identical mass as uridine (U). To differentiate these two, we treat the RNA with CMC, which converts a ψ to a CMC-ψ adduct (see Section 5). The adduct has a different mass than U and can be differentiated in the 2D-HELS MS Seq. Figure 2a shows the HPLC profile of the crude product of the reaction converting ψ to its CMC-adduct in RNA #6. By integrating their UV peaks, we calculated the percent conversion and 42% ψ is converted to CMC-ψ adduct. After acid degradation and LC-MS measurement, we manually acquired the sequence based on both non-converted ladders and CMC-converted ladders identified from the algorithm-processed data8,9. A red curve branches up off of the grey curve starting from ψ at the position 8 in RNA #12 (Figure 2b), due to partial conversion of ψ to the CMC-ψ adduct. Because of its mass and hydrophobicity of the CMC, this conversion results in a 252.2076 Dalton increase in mass and a significant increase in tR for each CMC-ψ adduct-containing ladder component when comparing to its unconverted counterpart. Thus, a dramatic shift starting at the position of 8 can be observed in the 2D mass-tR plot, indicating that this is a ψ at the position of 8 in the RNA sequence.

Sequencing RNA mixtures. A mixture of five different RNA strands are sequenced by 2D-HELS MS Seq approach with 3´-end labeling (see Section 8). The concern for sequencing mixed RNAs is that multiple ladder curves may overlap with each other when they all share the same starting points (the hydrophobic tag in the 2D mass-tR plot). However, base calling is made one by one, each based on a mass difference between two adjacent ladder fragments in the MFE data, and we can make the correct base-calling as long as each mass difference matches well with one of the theoretical masses of canonical or modified nucleotides in the data pool8,9. In the analysis of the multiplexed RNA samples, the typical processing and base-calling algorithm used in Figure 1 and Figure 2 is not used mainly due to the significantly increased data complexity resulting from the mixture. These sequences are base-called manually via calculating the mass difference between two adjacent mass ladder fragments, and comparing it to the theoretical mass of the nucleotide in the data pool9. The matched one with a mass PPM <10 is chosen to report the identity at this position. With this one by one manual calculation for base-calling, all sequences in the mixture are accurately sequenced. OriginLab software is used to re-construct a 2D mass-tR graph, in which the tRs are normalized arbitrarily for better visualizing five different RNA sequences (Figure 3). Without the normalization, the letter codes (i.e., A, C, G, U, or modifications like ψ) for sequences of 5 RNA would be crowded all together (Figure S1), and could not be visualized as easily as in Figure 3. Similarly, the sequencing results demonstrate that the approach is not just limited to sequence purified single-stranded RNAs, but more importantly, RNA mixtures with multiple RNA strands. Algorithms are current under development to automate the process of base-calling and sequence generation.

FIGURE AND TABLE LEGENDS:

Figure 1. 2D-HELS MS Seq of representative RNA samples. (a) Workflow for 2D-HELS MS Seq. The major steps include 1) hydrophobic tag labeling of RNA to be sequenced, 2) acid hydrolysis, 3) LC-MS measurement, 4) extract and analyze MFE data and 5) sequence generation via algorithms or manual calculation. (b) Protocol for introducing a biotin tag to the 3´-end of RNA. (c) Separation of the 3´-ladder from the 5´-ladder and other undesired fragments in a mass-retention time (tR) plot based on systematic changes in tRs of 3´-biotin-labeled mass-tR ladders of RNA #1 (19 nt). The sequences are de novo and automatically read out directly by a computational base-calling algorithm9. (d) Simultaneous sequencing of 5´-biotin labeled RNA #1 and RNA #2, 19 nt and 20 nt, respectively. Methods for introducing a biotin tag to the 5´ end of RNA are different than that of 3´-biotinylation, and can be found in the previous published protocol9. The 5´ end of two RNAs (RNA#1 and RNA#2) are biotinylated and their 5´ biotinylated ladders can be easily identified in the 2D mass-tR plot after LC-MS. Both 5´ biotinylated ladders are easily separated from their unlabeled 3´ ladders, because the biotinylated ladder components have the larger tR shifts due to the hydrophobicity of the biotin, while unlabeled ladder components are in the lower tR region. Although the 5´ladders and 3´ ladders co-exist, they do not interfere the sequence interpretation of two mixed RNA strands. Each sequences of these two RNAs are manually acquired from 5´ biotinylated ladders based on the computational algorithm-processed data8,9. This figure has been modified from Zhang et al.9.

Figure 2. Converting pseudouridine (ψ) and its adduct for 2D-HELS MS Seq. (a) HPLC profile of the crude product of the reaction converting ψ to its CMC adduct in a 20 nt RNA (RNA #6) that contains only one ψ. (b) Sequencing of a ψ-containing RNA #6. The conversion of the ψ to the CMC-ψ adducts (ψ*) results in a 252.2076 Dalton increase in mass and a significant increase in tR because of its mass and hydrophobicity of the CMC. Thus, a dramatic shift starting at the position of 8 can be observed in the mass-tR curve, indicating that this is a ψ at the position of 8 in the RNA sequence. The sequences are manually acquired based on the computational algorithm-processed data8,9. This figure has been modified from Zhang et al.9.

Figure 3. Sequencing RNA mixtures containing 5 distinct RNAs. A biotin is used to label RNAs at the 3´-end before 2D-HELS MS Seq, and tRs are normalized for better visualization. For each sequence, the starting tR values are normalized to start at 7 min intervals. The absolute differences between the starting tR value and subsequent tR remain unchanged for each of the 5 RNAs, and thus it is easier to visualize each of them in one picture. All the base-callings are performed by manually calculating the mass differences of two adjacent ladder components and matching them with the theoretical ones in the RNA nucleotide and modification database8; Plots for Figure 3 are re-constructed using OriginLab based on the manual base-calling and sequencing data (see Section of Sequencing RNA mixtures in Representative Results). The 2D mass-tR figure of the five mixed RNAs without the tR normalization is shown in Figure S1.

DISCUSSION:

Unlike tandem-based MS fragmentation, highly controlled acidic hydrolysis is used in the sequencing approach to fragment the RNA before analysis with a mass spectrometer14-19. As a result, each acid-degraded fragment product can be detected by the instrument forming the equivalent of a sequencing ladder. Under optimal conditions, this method creates an “ideal” sequence ladder from RNA via, on average, once per molecule site-specific RNA cleavage exclusively at the phosphodiester bonds8-10. After each degraded fragment is measured by the mass spectrometer in a single run, the mass difference between two adjacent ladder fragments corresponds to the exact mass of the nucleotide at that position. Each RNA modification either has an intrinsic unique mass that can help to identify and locate it in the RNA or can be converted to one with a unique mass. Thus, in theory, this method can report the identity and location of both canonical and modified nucleotides for de novo and direct sequencing of any RNA. However, different sequence ladders may overlap with each other, complicating MS data analysis and making it difficult for RNA sequencing by MS in practice.

One of the benefits of the 3´hydrophobic tag is that it overcomes the major challenge in any fragmentation method (i.e., that every RNA molecule is cleaved into two fragments): one containing the original 5´ end, the other containing the original 3´ end of the RNA. Therefore, each cleavage event produces two fragments, producing two ladders—one measured from the 5´ side, and the other from the 3´ side. There is always ambiguity in figuring out which peak belongs to which ladder. This becomes more problematic in a mixture of several different RNAs, due to generation of a large number of overlapping sequence ladders. However, since all ladder fragments from the 3´ ends are labeled with a hydrophobic tag, they exhibit much later tRs (Figure 1a). As a result, we can obtain clear and unambiguous ladders in the 2D mass-tR data exclusively derived from the 3´ end of RNA. Notably, we are optimizing approaches to selectively tag either on the 5´ or 3´ end of any RNA using different chemical conjugation methods9, which can provide the sequence information twice when reading from both 5´ and 3´ directions, and thus further improving the accuracy of sequencing.

For de novo sequencing of unknown RNA samples, especially for complex biological samples, a general and robust algorithm is required to process a massive amount of LC-MS data for sequence generation in an accurate and efficient manner, which has recently become available via other published work10. Although these algorithms have been used for sequencing more complicated samples9,10, in this manuscript, we performed manual base calling for sequence generation unless indicated otherwise. We aim at covering all the key steps in the 2D-HELS MS Seq, and would like to illustrate the process during which even without using additional sequencing algorithms, we can still manually read out sequences of the RNA to be sequenced. For better visualization and for easier to find ladder fragments needed for sequencing in the 2D mass-tR plot, the MFE files of each LC-MS run are processed by a revised version of a published algorithm8 before reading their sequences, unless indicated otherwise. The published algorithm cannot be used directly to read out the sequences from the LC-MS data, but we can still use part of its function to process the data: hierarchically clustering mass adducts to augment compound intensity of ladder components and to reduce the data complexity, especially in the crucial regions where sequence reads are generated8,9.

One of the crucial steps during sample preparation for 2D-HELS MS Seq is to improve the efficiency of labeling the end of RNA with a hydrophobic tag. A high labeling efficiency can help to reduce the amount of RNA sample needed for generating MS signals that sequence data rely on. In order to increase the labeling efficiency, we employ new labeling strategies, including using activated AppCp-biotin to avoid the adenylation step when labeling the 3´-end of the RNA. The yield of one-step reaction for labelling the 3´-end of a 19 nt RNA with biotin (see step 2.2) can be improved from 60% to ~95%9. With the efficient labeling, we are able to sequence a mixed sample containing up to 12 distinct RNAs as previously described9. In this manuscript we use a mixture of 5 RNAs as a representative example to illustrate the sequencing process; we also detect all ladder fragments needed for accurate sequencing and read out the complete sequences of each of the 5 RNA strands in the mixture. Better labeling efficiency not only helps to minimize the sample loading amount, but also helps to significantly reduce the data complexity during the downstream data analysis for sequence generation. Novel reactions are currently under development to achieve quantitative yield in labeling RNAs on both 5´ and 3´ends.

When sequencing RNA #1 as shown in Figure 1c, streptavidin capture and release are used to physically separate biotinylated RNA #1 prior to acid degradation (see Section 3). This helps to remove a small portion of unlabeled RNA, and subsequently make it easier to visually identify the labeled mass ladders in the 2D mass-tR plot. However, the physical separation is not a mandatory step because the biotinylated RNA ladder fragments have delayed/larger tRs due to the hydrophobicity from the biotin tag, when compared to their unlabeled counterparts. In addition, base calling does not rely on physical separation, but relies on the mass differences of adjacent mass ladder components, thus, the right base calling can be achieved as long as the mass differences of two adjacent ladder components match well with the corresponding masses of a particular nucleotide or modification in the RNA nucleotide and modification datebase8. The computational algorithm is currently under development for automating base-calling and sequence generation.

The MFE settings that help to export the original LC-MS data (in the file type of .d) into spreadsheet files are highly crucial to the data processing and subsequent sequence generation (see Section 6.5). For instance, we tested the MFE setting “peak with height” in a range from 100 to 1000 and noticed that setting of 100 can provide us with 2-fold more compounds than those of setting 1000. In order to avoid missing any ladder components, we can adjust the MFE setting during the sequencing workflow. This setting is likely dependent on mass resolution, the amount of mass ladder fragments and data complexity. In addition, it is important to use the centroid dataset and chromatographic type setting for small molecules. The quality score can be varied from 50 % to 100% based on the data quality.

The LC-MS instruments we use in the study has an upper mass resolution of ~40K, limiting the method to only sequencing RNA of less than 35 bases long. However, the exact read length of this method is instrument-dependent; more advanced instruments with higher resolving power may lead to longer read length. Similarly, the throughput, that is how many RNA can be sequenced in a single LC-MS run, remains to be explored, although we manually sequenced a mixture of RNA sample up to 12 distinct RNA strands even without the use of algorithm9. With the current workflow, ~100 pmol short RNA (<35 nt) is required for each LC-MS run. The loading amount increases when additional experiments are needed: for differentiating isomeric nucleotide modifications, and typically up to 400 pmol is required. For sequencing specific tRNA like tRNAPhe, ~1000 pmol sample may be needed for its sequencing and modification analysis. However, we expect required sample loading amounts will be decreased on LC-MS instruments with greater sensitivity. With improvements in sample labeling efficiency, sequencing algorithm, instrument sensitivity and resolution, we expect our method to be applicable to a wider range of RNA samples, especially those with various RNA modifications.

ACKNOWLEDGMENTS:

The authors acknowledge the R21 grant from NIH (1R21HG009576) to S. Z. and W. L. and New York Institute of Technology (NYIT) Institutional Support for Research and Creativity grants to S. Z., which supported this work. The authors would like to thank PhD student Xuanting Wang (Columbia University) for assisting in figure-making, and thank Prof. Michael Hadjiargyrou (NYIT), Prof. Jingyue Ju (Columbia University), Drs. James Russo, Shiv Kumar, Xiaoxu Li, Steffen Jockusch, and other members of the Ju lab (Columbia University), Dr. Yongdong Wang (Cerno Bioscience), Meina Aziz (NYIT), and Wenhao Ni (NYIT) for helpful discussions and suggestions for our manuscript.

DISCLOSURES:

The authors have filed a provisional patent related to the technology discussed in this manuscript.

REFERENCES:

1	Addepalli, B., Venus, S., Thakur, P., Limbach, P. A. Novel ribonuclease activity of cusativin from Cucumis sativus for mapping nucleoside modifications in RNA. Analytical and Bioanalytical Chemistry. 409 (24), 5645-5654 (2017).

2	Gao, H., Liu, Y., Rumley, M., Yuan, H., Mao, B. Sequence confirmation of chemically modified RNAs using exonuclease digestion and matrix-assisted laser desorption/ionization time-of-flight mass spectrometry. Rapid Communications in Mass Spectrometry. 23 (21), 3423-3430 (2009).

3	McLuckey, S. A., Van Berkel, G. J., Glish, G. L. Tandem mass spectrometry of small, multiply charged oligonucleotides. Journal of The American Society for Mass Spectrometry. 3 (1), 60-70 (1992).

4	Fountain, K. J., Gilar, M., Gebler, J. C. Analysis of native and chemically modified oligonucleotides by tandem ion-pair reversed-phase high-performance liquid chromatography/electrospray ionization mass spectrometry. Rapid Communications in Mass Spectrometry. 17 (7), 646-653 (2003).

5	Taucher, M., Breuker, K. Characterization of modified RNA by top-down mass spectrometry. Angewandte Chemie International Edition in English. 51 (45), 11289-11292 (2012).

6	Kellner, S., Burhenne, J., Helm, M. Detection of RNA modifications. RNA Biology. 7 (2), 237-247 (2010).

7	Thomas, B., Akoulitchev, A. V. Mass spectrometry of RNA. Trends in Biochemical Sciences. 31 (3), 173-181 (2006).

8	Bjorkbom, A. et al. Bidirectional direct sequencing of noncanonical RNA by two-dimensional analysis of mass chromatograms. Journal of the American Chemical Society. 137 (45), 14430-14438 (2015).

9	Zhang, N. et al. A general LC-MS-based RNA sequencing method for direct analysis of multiple-base modifications in RNA mixtures. Nucleic Acids Research. 47 (20), e125 (2019).

10	Zhang, N. et al. 2D-HELS-AA MS Seq: Direct sequencing of tRNA reveals its different isoforms and multiple dynamic base modifications. BioRxiv (2019).

11	Bahr, U., Aygun, H., Karas, M. Sequencing of Single and Double Stranded RNA Oligonucleotides by Acid Hydrolysis and MALDI Mass Spectrometry. Analytical Chemistry. 81 (8), 3173-3179 (2009).

12	Bakin, A., Ofengand, J. Four newly located pseudouridylate residues in Escherichia coli 23S ribosomal RNA are all at the peptidyltransferase center: analysis by the application of a new sequencing technique. Biochemistry. 32 (37), 9754-9762 (1993).

13	Cantara, W. A. et al. The RNA Modification Database, RNAMDB: 2011 update. Nucleic Acids Research. 39 (Database issue), D195-201 (2011).

14	Thuring, K., Schmid, K., Keller, P., Helm, M. LC-MS Analysis of Methylated RNA. Methods in Molecular Biology. 1562, 3-18 (2017).

15	Bahr, U., Aygun, H., Karas, M. Sequencing of single and double stranded RNA oligonucleotides by acid hydrolysis and MALDI mass spectrometry. Analytical Chemistry. 81 (8), 3173-3179 (2009).

16	Hahner, S. et al. Matrix-assisted laser desorption/ionization mass spectrometry (MALDI) of endonuclease digests of RNA. Nucleic Acids Research. 25 (10), 1957-1964 (1997).

17	Tolson, D. A., Nicholson, N. H. Sequencing RNA by a combination of exonuclease digestion and uridine specific chemical cleavage using MALDI-TOF. Nucleic Acids Research. 26 (2), 446-451 (1998).

18	Smirnov, I. P. et al. Sequencing oligonucleotides by exonuclease digestion and delayed extraction matrix-assisted laser desorption ionization time-of-flight mass spectrometry. Analytical Biochemistry. 238 (1), 19-25 (1996).

19	Gupta, R. C., Randerath, K. Use of specific endonuclease cleavage in RNA sequencing. Nucleic Acids Research. 4 (6), 1957-1978 (1977).