# Submission ID #: 61293

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18694413

Title: Sample Preparation and Experimental Design for In Situ Multi-Beam Transmission Electron Microscopy Irradiation Experiments

Authors and Affiliations: Trevor Clark1, Caitlin A. Taylor1, Christopher M. Barr1, and Khalid Hattar1

1Sandia National Laboratories

☐   All author names are spelled correctly, and the affiliations are correct (city/state/country information not included in video title page).

# Corresponding Author:

# Khalid Hattar

# khattar@sandia.gov

# Co-authors:

trevor.clark@sandia.gov

ctaylo@sandia.gov

# cbarr@sandia.gov

## Author Questionnaire

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique?  Y

If Yes, can you record movies/images using your own microscope camera?

Y

If No, JoVE will need to record the microscope images using our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which will be incorporated into the script. Authors will memorize the statements and then deliver them on camera.

- Enter the full name of the author who will deliver the statement on camera.

- Each author should deliver no more than two statements.

- Please answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.[1][2].

    - INTERVIEW: Author saying the above

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 30 steps and/or 60 shots. Current script of protocol: 25 steps, 37 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Thin Film Sample Preparation and Transmission Electron Microscopy (TEM) Grid Mounting

  - To isolate the film sample, add 50 milliliters of an appropriate solvent solution in a Petri dish [1] and cleave or cut the substrate into approximately 1.5- × 1.5-millimeter sections [2].

    - WIDE: Talent adding solution to dish

    - Section being cleaved/cut

  - Use tweezers to insert the substrate film side-up into the solution at an incident angle of about 30 degrees [1] and slowly and repeatedly retract and insert the substrate into the solution until the film floats free [2-TXT].

    - Substrate being inserted into solution

    - Substrate being retracted and inserted TEXT: Substrate can be set aside

  - Insert the TEM (T-E-M) grid into the solution [1] and position the grid below the film [2].

    - Grid being inserted

    - Grid being positioned

  - Slowly lift the grid under the film until the film is centered over grid [1] and quickly lift the grid out of the solution [2]. The film will attach to the grid [3].

    - Grid being lifted under film

    - Grid being lifted out of solution

    - Shot of film attached to grid TEXT: Re-insert grid and re-float film if film not centered

- Ion Beam Conditions and Alignment

  - To set up the tandem accelerator, use steering magnets, bending magnets, and lenses to align an ion beam inside the TEM so that irradiation events can be observed in situ [1].

    - WIDE: Talent using magnets/lenses to align beam

  - Use a camera to view the ion beam-induced luminescence on a quartz-tipped TEM sample holder to perform any final ion beam alignments [1] and use an electron beam objective lens power that matches that used in the experiment to align the ion beam coincident with the cathodoluminescence produced by the electron beam [2].

    - Talent using camera view to align beam

    - Talent using lens to align ion beam

  - Insert the Faraday cup upstream of the TEM to capture the ion beam [1] and take a reading to measure the beam current for calculation of the fluence [2].

    - Talent inserting cup

    - Talent obtaining reading

  - For additional accuracy in the beam current measurement, insert a TEM holder equipped with a Faraday stage to measure the ion beam current in the specimen area of the TEM [1].

    - Talent inserting TEM holder

  - If the current needs to be monitored in real time, power on the beam profile monitor [1] and monitor the oscilloscope read out to perform current measurements [2].

    - Talent powering on BPM

    - Talent monitoring oscilloscope OR Shot of oscilloscope readout

  - Use a burn spot to measure the beam area and to confirm the alignments [1].

    - Beam area being measured

  - Mount a piece of clear adhesive tape onto a single-tilt TEM specimen holder flat plate tip [1] and expose the specimen to the electron and ion beams [2].

    - Talent mounting tape onto plate

    - Talent exposing specimen to electron and ion beams

  - Remove the tape [1] and place the specimen onto a white background [2].

    - Tape being removed

    - Talent placing specimen onto white background

  - To determine the area, photograph the burn spot with a ruler [1] and import the image file into an appropriate image processing software program [2].

    - Talent photographing burn spot, with ruler next to burn spot visible in frame

    - Talent at computer, importing image, with monitor visible in frame

  - Then use a calibration sample to visualize the beam damage [1-TXT], which should appear as black spot contrast under kinematic bright field imaging conditions [2].

    - Sample being placed near damage TEXT: e.g., Au or CuAu calibration sample

    - SCREEN: To be provided by Authors: Shot of beam damage next to calibration sample under bright field imaging conditions

- TEM Loading and Imaging Conditions

  - To load the specimen for TEM imaging, place the grid onto the holder with the specimen side of the grid facing up [1] and with the grid oriented to prevent shadowing effects when the specimen is tilted toward the ion beam [2].

    - WIDE: Talent placing grid onto holder

    - Shot of grid oriented to prevent shadowing effects

  - Using an optical microscope to check for shadowing effects [1], tilt the holder 30 degrees in the positive X direction [2].

    - Talent at microscope, checking for shadowing effects

    - Holder being tilted

  - The overhead view will be parallel to that of the electron beam [1].

    - SCREEN: To be provided by authors: Shot of overhead view

  - Then tilt the holder 60 degrees in the negative X direction [1] such that the overhead view is parallel to that of the ion beam [2-TXT].

    - Holder being tilted

    - SCREEN: To be provided by authors: Shot of overhead view TEXT: If area of interest not visible, move specimen to alleviate shadowing

  - When the optimal viewing position has been achieved, with the valve to the beamline closed [1], mount the specimen onto a TEM holder according to the manufacturer’s guidelines [2] and load the holder into the TEM to begin the pump cycle [3-TXT].

    - Talent checking/closing beamline valve

    - Talent mounting specimen

    - Talent loading holder TEXT: Allow vacuum stabilization before holder insertion

  - In the TEM control software, load the most recent alignment file for the accelerating voltage being used [1] and manually refine the alignments for the condenser lens and aperture, gun tilt and shift, and objective lens [2].

    - Talent loading file, with monitor visible in frame

    - SCREEN: To be provided by authors: Alignments being refined

  - Find a region of interest on the specimen and, under brightfield kinematic conditions, adjust the imaging parameters for the type of analysis to be performed [1-TXT].

    - SCREEN: To be provided by authors: ROI being found, then brightfield kinematic being selected, then parameter(s) being set TEXT: See text for full imaging condition details

  - Tilt the holder from the maximum safe distance up to 81 degrees toward the ion beam [1] and, using the manufacturer recommended procedures specific to the selected TEM holder, apply any additional stressors, such as heating, cooling, environmental, or mechanical factors [2].

    - Holder being tilted

    - Stressor being applied

  - Now open the TEM ion beam valve [1] and remove the Faraday cup to expose the experimental specimen to ion irradiation [2].

    - Talent opening valve

    - Cup being removed

  - To pause the exposure, re-insert the cup [1] and close the valves to the beam line [2].

    - Cup being inserted

    - Talent closing valve

  - Then record images or videos to document the evolution of the microstructure [1].

    - Talent recording image/video, with monitor visible in frame

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

If answered, your answers to C and D will become interview-style shots, which may be incorporated into the script after the relevant step in the protocol. Authors will memorize the statements and then deliver them on camera.

# C. OPTIONAL: If there is no single most critical step in the filmed portion of the protocol, do not answer this question. What is the best way to perform the required technique for the most critical step in the protocol?

# Enter author name.: (Enter step numbers from script.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# D. OPTIONAL: If there are no hazardous reagents or instruments in the filmed portion of the protocol, do not answer this question. Which of the reagents or instruments are uniquely hazardous? What precautions should viewers take?

# Enter author name.: (Enter step numbers from script.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 229. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Representative In Situ Multi-Beam TEM Irradiation Experiments

  - The active mechanisms for damage [1] can be highlighted by imaging a specimen before [2] and after an event [3].

    - LAB MEDIA: Figure 5 Video Editor: please emphasize Figure 5C images

    - LAB MEDIA: Figure 5 Video Editor: please emphasize t=0 images

    - LAB MEDIA: Figure 5 Video Editor: please emphasize t=25 images

  - In this study, 2.8-megaelectronvolts gold ions were used to simulate neutron irradiation to induce peak damage within the film thickness [1].

    - LAB MEDIA: Figure 6 Video Editor: please emphasize Figure 6A Au data line

  - Simultaneous 10-kiloelectronvolt helium simulates the production of alpha-particles from neutron-radiation induced nuclear reactions [1] and was selected because the ions would implant within the foil thickness rather than pass through [2].

    - LAB MEDIA: Figure 6 Video Editor: please emphasize Figure 6A He data line

    - LAB MEDIA: Figure 6 Video Editor: please emphasize Figure 6B He data line

  - The material was then irradiated by gold ions and the damage was observed with respect to fluence [1].

    - LAB MEDIA: Figures 7A-7C and 7E-7G

  - The microstructure developed defects induced by the high energy ions [1].

    - LAB MEDIA: Figures 7A-7C and 7E-7G Video Editor: please emphasize 7A-7C images

  - With increasing time of exposure and thus fluence, the damage increased linearly [1]. At high doses, the concentration of damage sites was too high to reliably quantify [2].

    - LAB MEDIA: Figures 7D and 7H Video Editor: please emphasize data lines

    - LAB MEDIA: Figures 7D and 7H

  - To explore the effects of multiple beams interacting with the material at the same time, double and triple ion beam irradiation was then performed on gold [1] and the cavity nucleation, growth, and evolution were measured [2].

    - LAB MEDIA: Figure 8

    - LAB MEDIA: Figure 8 Video Editor: please sequentially emphasize 2nd, 3rd, and 4th image columns

  - To explore irradiation-induced creep in zirconium, a microelectromechanical system device can be fabricated by the sputter deposition of zirconium thin films on silicon insulator wafers [1] followed by photolithographic patterning [2] and deep reactive ion etching [3].

    - LAB MEDIA: Figure 9A

    - LAB MEDIA: Figure 9B

    - LAB MEDIA: Figure 9C

  - Here the effects of high temperature irradiation-induced creep of silver nanopillars can be observed [1], demonstrating that combining irradiation and temperature results in an orders of magnitude faster creep rate [2] than room temperature irradiation and high temperature thermal creep [3].

    - LAB MEDIA: Figure 10 Video Editor: please emphasize images

    - LAB MEDIA: Figure 10 Video Editor: please emphasize purple data squares

    - LAB MEDIA: Figure 10 Video Editor: please emphasize pink data squares

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- At least one statement is required.

- Each statement is limited to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will give each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Enter step numbers referred to.)

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

Thank you for addressing our questions. We will incorporate your answers and suggestions and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.