## Sheet1
Name of Material/Equipment | Company | Catalog Number | Comments/Description
Colutron Accelerator | Colutron Research Corporation | G-1 | 10 kV ion accelerator
Cu Omniprobe Lift-Out Grid with 4 posts | Ted Pella | DM71302 | Cu Omniprobe Lift-Out Grid with 4 posts
Double Tilt Cryo TEM Stage | Gatan | DT636 | Cryogenically cooled double tilt TEM holder
Double Tilt Heating TEM Stage | Gatan | DT652 | Resistive heater equipped double tilt TEM holder
I³TEM | JEOL | JEM-2100 | Modified transmission electron microscope for in-situ ion irradiation
Isopropanol | Fisher Scientific | A459-4 | 70 % v/v isopropanol
Mo Omniprobe Lift-Out Grid with 4 posts | Ted Pella | DM810113 | Mo Omniprobe Lift-Out Grid with 4 posts
Petri Dish | Fisher Scientific | Corning 316060 | 60 mm diamter 15 mm height petri dish
Picoindenter TEM Stage | Bruker Hysitron | PI95 | Picoindenter TEM Stage
Scios 2 | Thermofisher Scientfic | SCIOS2 | Dual beam focused ion beam scaning electron microscope
Tandem Accelerator | High Voltage Engineering Corporation |  | 6 MV Van de Graaff-Pelletron ion accelerator
Tomography TEM holder | Hummingbird |  | TEM holder for tomography measurements
Tweezers | PELCO | 5373-NM | Reverse action self closing fine tip tweezer