# Submission ID #:  61333

# Scriptwriter Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=18706613

# Title:   Optogenetic Activation of Afferent Pathways in Brain Slices and Modulation of Responses by Volatile Anesthetics

# Authors and Affiliations:

# Caitlin A. Murphy1, Aeyal Raz1,2, Sean M. Grady1, Matthew I. Banks1

# 1Department of Anesthesiology, University of Wisconsin, Madison, Wisconsin

# 2Department of Anesthesiology, Rambam Health Care Campus, the Ruth and Bruce Rappaport Faculty of Medicine, Technion - Israel Institute of Technology, Haifa, Israel

# Corresponding Authors:

# Caitlin A. Murphy 	(caitlin.murphy@wisc.edu)

# Email Addresses for All Authors:

# caitlin.murphy@wisc.edu

ae_raz@rmc.gov.il

smgrady@wisc.edu

# mibanks@wisc.edu

## Author Questionnaire

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique?  Yes.

If Yes, can you record movies/images using your own microscope camera?

For some steps, yes, though they are not in color. Other steps are conducted using a system that cannot itself record video.

If No, JoVE will need to record the microscope images using our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

OIympus BX51

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. We are currently unable to access and operate this software due to lab restrictions from COVID-19.

3. Filming location: Will the filming need to take place in multiple locations?   No.

Protocol Length:

40 shots, 20 steps

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Caitlin Murphy: This protocol can be used to investigate whether volatile anesthetics disrupt signaling at some synapses more than others, to determine if specific pathways or cell types are more sensitive, and to explore how these observations manifest at the population level.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Caitlin Murphy: The main advantage of this technique is the specificity with which we can assess the affects of volatile anesthetics. We can target specific pathways and cell types, and simultaneously assay multiunit activity.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

OPTIONAL:

  - Caitlin Murphy: This method could provide insight into the circuit-level mechanisms that underlie breakdown in connectivity that we observe during anesthetic-induced loss of consciousness in vivo.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Ethics Title Card

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) at the University of Wisconsin-Madison School of Medicine

# Protocol

- Preparation of Acute Brain Slices

  - Begin by preparing the tissue block for sectioning [1]. Gently lift the brain from the skull cavity and place it on the filter paper with the flat, sagittal plane down [2]. Guide the filter paper over the blocking template and align the brain with the underlying template outline [3].

    - WIDE: Establishing shot of talent at the lab bench preparing the tissue block.

    - Talent placing the brain onto the filter paper.

    - Talent adjusting the filter paper position.

  - Make two parallel cuts in the coronal plane as indicated by the lines on the template, adding a small drop of slicing ACSF to keep the filter paper wet, if necessary [1]. Place the tissue block in 4-degree Celsius slicing ACSF [2] and apply a small amount of glue to the ice-cold specimen stage [3]. Videographer: This step is difficult and important!

    - Talent making the cuts in the coronal plane.

    - Talent placing the tissue block in the sACSF.

    - Talent applying glue to the specimen stage.

  - Lift the tissue block from the slicing ACSF and wick away excess solution with the corner of an absorbent towel [1]. Glue the posterior coronal plane of the tissue block to the specimen stage, with the dorsal surface of the brain facing the sapphire blade [2].

    - Talent lifting the tissue out of the solution and wicking it with the towel.

    - Talent gluing the tissue to the specimen stage.

  - Collect 500 micrometer thick coronal brain slices [1] and place them on a nylon mesh in 34-degree Celsius slicing ACSF. Allow the container to reach room temperature [2].

    - Talent collecting the slices.

    - Talent placing the slices on the nylon mesh.

  - To prepare eACSF bags with dissolved isoflurane, add 600 milliliters of eACSF and 600 milliliters of 95% oxygen and 5% carbon dioxide gas mixture to an empty polytetrafluoroethylene gas bag [1]. Label this bag ‘Control’ [2]. Videographer: This step is important!

    - Talent filling the bag with eACSF, then with oxygen and carbon dioxide.

    - Talent labeling the bag “Control”.

  - Add 300 milliliters of eACSF to another polytetrafluoroethylene gas bag [1] and label this bag ‘Isoflurane’. Proceed with preparing the isoflurane bag according to manuscript directions [2].

    - Talent adding the eACSF to another gas bag.

    - Talent labeling the bag “Isoflurane”.

- Placing Multi-channel Probe in Ex Vivo Brain Tissue Slice

  - Configure the light stimulation protocols by randomly assigning waveforms to each profile. Each profile with its assigned waveform corresponds to one trigger pulse from a Digital TTL input, or one trial. When finished, save the profile sequence [1].

    - Talent at the computer, configuring the protocols.

  - To place the multi-channel probe in the ex vivo brain tissue slide, perfuse bubbled eACSF at 3 to 6 milliliters per minute [1] and transfer the brain slice containing the area of interest onto the mesh grid in the microscope perfusion chamber [2]. Anchor the brain slice with a platinum harp [3].

    - Talent perfusing the eACSF.

    - Talent transferring the brain slide into the perfusion chamber.

    - Talent anchoring the brain slice.

  - Rotate the mesh grid so that the line of electrode contacts on the distal end of the multi-channel probe is approximately perpendicular to the pial surface [1]. Under broadfield illumination and fine control of the micromanipulator, lower the multi-channel probe toward the surface of the slice [2].

    - Talent rotating the mesh grid.

    - Talent lowering the probe toward the slice.

  - Engage the appropriate filter cube for visualization of the fluorescent reporter protein expressed in axon terminals of cortical afferents [1]. If necessary, rotate the slice to more precisely align the probe with the pial surface [2].

    - Talent selecting the appropriate fluorescent filter.

    - Talent aligning the slice.

  - Position the probe just above the plane of the slice, 200 micrometers short of the final target position along the x-axis, leaving at least one channel outside of the area of tissue being recorded [1].

    - Talent positioning the probe.

  - Slowly insert the probe into the slice along its longitudinal axis. To minimize damage to the tissue, only advance the probe to the extent that the sharp tips are just visible below the tissue surface [1]. Videographer: This step is important!

    - Probe inserting into the tissue.

- Patch Clamping Targeted Neurons and Obtaining Whole-cell Configuration

  - Switch eACSF source to bagged Control solution [1] and identify the fluorescently labeled cell for targeted patch clamp recording [2]. Restrict the aperture to the smallest diameter, engage a low-power objective lens, and bring the tissue into focus [3].

    - Talent switching the eACSF source.

    - SCOPE: Fluorescent cell coming into focus.

    - Talent restricting aperture, engaging the appropriate lens, and bringing tissue into focus.

  - Center the light over an area of tissue adjacent to, but not overlapping, the multi-channel probe, then engage the high-power water immersion objective, taking care to avoid contact between the multi-channel probe and objective lens [1].

    - Light being centered and objective engaged.

  - Engage the appropriate filter set [1] to allow imaging of cells expressing the Cre-dependent fluorescent marker and identify a fluorescently labeled cell as a target for patch clamp recording [2]. Raise the objective lens to create ample space for lowering a patch pipette [3]. Videographer: This step is important!

    - Talent setting the fluorescence filter.

    - SCOPE: Cell identified.

    - Talent raising the objective.

  - Load a patch pipette with internal solution and mount it on the electrode holder. Use a 1-milliliter syringe to apply positive pressure corresponding to approximately 0.1 milliliter air [1]. Lower the patch pipette into the solution, bringing the tip into focus under visual guidance [2], and obtain whole-cell recording from the targeted cell [4]. Videographer: This step is difficult and important!

    - Talent mounting the loaded pipette.

    - SCOPE: Pipette tip coming into focus.

    - SCREEN: Recording initiated. Videographer: Film the screen.

- Layer-specific Optogenetic Activation of Axon Terminals

  - Manipulate the field of view in the x-y plane to align light stimulation profile with the desired location on the slice [1]. Load the light stimulus protocol and prepare the light delivery system to receive a digital TTL pulse [2].

    - SCOPE: Talent adjusting field of view.

    - SCREEN: Light stimulation protocol loaded. Videographer: Film the screen.

  - Optogenetically activate the axon terminals while simultaneously recording extracellular field potentials and intracellular membrane fluctuations [1]. Videographer: This step is important!

    - SCREEN: Optogenetic activation and recording initiated. Videographer: Film the screen.

  - Switch eACSF source to Isoflurane solution and wash the drug in for 15 minutes. If necessary, collect spontaneous recordings during the wash-in [1]. Repeat the optogenetic activation and record the extracellular field potentials and intracellular membrane fluctuations [2]. Videographer: This step is important!

    - Talent switching the eACSF source to Isoflurane.

    - SCREEN: Optogenetic activation and recording initiated. Videographer: Film the screen.

  - Switch the eACSF source to Control solution and wash the drug out for 20 minutes, collecting spontaneous recordings during the wash-out if necessary. Then, repeat the optogenetic activation and recordings as previously described [1]. Videographer: This step is important!

    - Talent switching the eACSF source to Control.

# Results

- Results: Intracellular and Multi-channel Extracellular Recordings in Cortical Slice

  - The animals used in this protocol expressed fluorescent reporter protein tdTomato in either somatostatin- or parvalbumin-positive interneurons. These interneurons were targeted for patch clamping under visual guidance with the appropriate filter cube engaged [1].

    - LAB MEDIA: Figure 3 A.

  - Post-synaptic potentials were observed in interneurons in response to a train of four 2-millisecond pulses of light [1]. Local field potentials were also recorded [2]. Current source density [3] and multi-unit activity were extracted from local field potentials [4].

    - LAB MEDIA: Figure 3 A.

    - LAB MEDIA: Figure 3 B.

    - LAB MEDIA: Figure 3 C and D. Video Editor: Emphasize C.

    - LAB MEDIA: Figure 3 C and D. Video Editor: Emphasize D.

  - The amplitude of current sinks extracted from the current source density increased as a function of light intensity [1]. A three-parameter nonlinear logistic equation was fit to the data for comparisons across pathways. Post synaptic potential amplitude also increased with current sink amplitude [2].

    - LAB MEDIA: Figure 4 A.

    - LAB MEDIA: Figure 4 B.

  - Synaptic responses to thalamocortical and corticocortical inputs were measured during control, isoflurane, and recovery conditions [1]. Post-synaptic responses of somatostatin to corticocortical stimuli and the evoked current sinks were suppressed in isoflurane conditions [2].

    - LAB MEDIA: Figure 5.

    - LAB MEDIA: Figure 5. Video Editor: Emphasize the blue lines in both A and B.

# Conclusion

- Conclusion Interview Statements

  - Caitlin Murphy: When preparing the brain slices, preserving the health of the tissue is paramount. It’s important to keep the tissue cool throughout the slicing procedure, working as quickly as possible without damaging the tissue.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 2.2.1 and 2.2.2.

  - Caitlin Murphy: Multichannel extracellular recordings can be post-processed in a variety of ways. For example, high-pass filtering the LFP signal isolates population spiking activity, while current source density calculations highlight synaptic activity.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Caitlin Murphy: Together, these techniques have allowed us to explore anesthetic effects on specific, isolated components of cortical circuits, providing insight into mechanisms underlying our observations in in vivo systems.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Videographer: This statement is optional. If you don’t have time, don’t film it.