## Materials and Reagents
List of materials and reagents.
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
0.6 mL eppendorf tubes, 500 pk | Fisher Scientific | 04-408-120 | Any brand of 0.6 mL eppendorf tubes are sufficient
0.65 µm Ultrafree MC DV centrifugal filter units | EMD Millipore | UFC30DV00
1.5 mL eppendorf tubes, 500 pk | Fisher Scientific | 05-408-129 | Any brand of 1.5 mL eppendorf tubes are sufficient
2 ml black deep well plate | Analytical Sales and Services, Inc. | 59623-23BKGC | Any brand of black 96-well plate is sufficient
2 ml clear deep well plate | VWR | 75870-796
Acetic Acid | J.T. Baker | 9508-01
Acetonitrile - MS Grade | Fisher Scientific | A955-4 | 4 L quantity is not necessary
Agilent 500µL plate | Agilent | 203942-100 | Reagent plate for adding buffers
Ammonium formate | Acros Organics | 208-753-9
Ammonium hydroxide solution (28 - 30%) | Sigma Aldrich | 320145-500ML
Analytical balance | Mettler Toledo | AL54
BCA protein assay kit | Pierce Thermo Fisher Scientific | 23227
Biomek i7 hybrid | Beckmann |  | Any liquid handling device with ability to use positive pressure, heating/cooling and Vortex the samples.
C18 packing material (2.5 µm, 100 Å) | Bruker |  | This item is no longer available from Bruker. Alternative packing material with listed specifications will be sufficient
Centrifuge with plate rotor | Thermo Scientific | 69720
Micro 21R Centrifuge | Sorval | 5437
Dionex 3000 UHPLC | Thermo Scientific |  | This model is no longer available. Any nano LC with an autosampler is sufficient.
Dithiothreiotol (DTT) | Fisher Scientific | BP172-5
Formaldehyde (13CD2O) solution; 20 wt % in D2O, 98 atom % D, 99 atom % 13C | Sigma Aldrich, Chemistry | 596388-1G
Formaldehyde (CH2O) solution; 36.5 - 38% in H2O | Sigma Aldrich, Life Science | F8775-25ML
Formic Acid | Fluka Analytical | 94318-250ML-F
Fusion Lumos Mass Spectrometer | Thermo Scientific |  | This model is no longer available. Other high resolution instruments (e.g. Orbitrap Elite, Orbitrap Fusion, or Orbitrap Fusion Lumos) can be used.
Hydroxylamine hydrochloride | Sigma Aldrich, Chemistry | 255580-100G
Iodoacetamide (IAM) | Acros Organics | 144-48-9
Isobaric Tagging Kit (TMT 11-plex) | Thermo Fisher Scientific | 90061
L-1-tosylamido-2 phenylethyl cholormethyl ketone (TPCK)-treated Trypsin from bovine pancreas | Sigma Aldrich, Life Science | T1426-100MG
L-Cysteine | Sigma Aldrich, Chemistry | 168149-25G
Mechanical Homogenizer (i.e. FastPrep-24 5G) | MP Biomedicals | 116005500
pH 10 buffer | Fisher Scientific | 06-664-261 | Any brand of pH buffer 10 is sufficient
pH 7 buffer | Fisher Scientific | 06-664-260 | Any brand pH buffer 7 is sufficient
pH meter (Tris compatiable) | Fisher Scientific (Accumet) | 13-620-183 | Any brand of a pH meter is sufficient
Protein software (e.g. Proteome Discoverer) | Thermo Scientific
Reservior plate 200ml | Agilent | 204017-100
Sodium Cyanoborodeuteride; 96 atom % D, 98% CP | Sigma Aldrich, Chemistry | 190020-1G
Sodium Cyanoborohydride; reagent grade, 95% | Sigma Aldrich | 156159-10G
Speed-vac | Thermo Scientific | SPD1010 | any brand of speed vac that can accommodate a deep well plate is sufficient
Stir plate | VWR | 12365-382 | Any brand of stir plates are sufficient
Targa 20 mg SPE plates | Nest Group, Inc. | HNS S18V | These are C18 cartridges
Triethyl ammonium bicarbonate (TEAB) buffer | Sigma Aldrich, Life Science | T7408-100ML
Tris | Biorad | 161-0716
Biomek 24-Place Tube Rack Holder | Beckmann | 373661
Urea | Biorad | 161-0731
Water - MS Grade | Fisher Scientific | W6-4 | 4 L quantity is not necessary