## Sheet1
Strains used
Esherichia coli OP50 | Caenorhabditis Genetics Center (CGC)
N2 (Bristol) | Caenorhabditis Genetics Center (CGC)
Buffer/Solution | Recipe
NGM (Nematode Growth Media) | 3 g/L NaCl, 23 g/L agar; 2.5 g/L peptone; 1 mM CaCl2, 5 mg/L cholesterol, 1 mM MgSO4, 25 mM KH2PO4
S-basal solution | 5.85 g/L NaCl, 1g/L K2HPO4, 6 g/L KH2PO4, H2O to 1 L
Sodium hypochlorite bleach solution | Mix 0.5 mL 5 N NaOH with 1 ml Sodium hypochlorite (5%) and make volume to 5 mL with H20.
Name of Material/ Equipment | Company/Source | Catalogue Number | Comments/Description
Agar | Difco Granulated Agar, BD Biosciences | 90000-782
Bioruptor Plus sonication device | Diagenode, USA | B01020001
Cholesterol | Sigma | c8503
2'-deoxy-5-fluorouridine | VWR | TCD2235
Glycerol | Millipore Sigma | 356350-1000ML
LB broth, Miller | Millipore Sigma | 60801-450
Sodium dodecyl sulfate (SDS） | Sigma | L4509-250G
Sodium chloride | Sigma | 59888
M880 Ultrasonic bath, 117 V, holds 5.5 gallons | VWR, USA | 89375-458
Magnesium sulphate | Sigma | M506
Magnesium chloride | Sigma | 208337
NGM agar plate | VWR Disposable Petri Dishes | 25384-342
NuPAGE LDS Sample Buffer (4X) | Thermo Fisher Scientific | NP0007
NuPAGE protein gels, 4-12% | Invitrogen | NP 0335BOX
Protease inhibiotr cocktail (PIC) | Roche | 11836170001
Pierce BCA Assay | Thermo Fisher Scientific | 23225
Sodium hypochlorite 5% | VWR | JT9416-1
SYPRO Ruby Protein Gel Stain | Thermo Fisher Scientific | S12000
MS Section
Acetonitrile, Burdick and Jackson LC-MS | Honeywell International Inc., Charlotte, NC, USA | 36XL66
Agilent Zorbax 300Extend C18 column | Agilent Technologies Inc., Santa Clara, CA, USA | 770995-902
Ammonium bicarbonate | Sigma Aldrich, St. Louis, MO, USA | 9830 (1 kg)
Dithiothreitol (DTT) | Sigma Aldrich, St. Louis, MO, USA | D9779-5G
Eppendorf Thermomixer Compact | Eppendorf AG, Hamburg, Germany | T1317-1EA
Formic acid | Sigma Aldrich, St. Louis, MO, USA | F0507-500ML
Indexed retention time (iRT) normalization peptide standard | Biognosys AG, Schlieren, Zurich, Switzerland | Ki-3002-2
Iodoacetamide (IAA) | Sigma Aldrich, St. Louis, MO, USA | I1149-25G
Methanol, HPLC Grade | Honeywell International Inc., Charlotte, NC, USA | 34885
Nano cHiPLC Trap ChromXP C18-CL, 200 um x 6 mm, 3 um, 120A. (pre-column chip) (200 um x 6 mm ChromXP C18-CL chip, 3 um, 300 A) | Sciex LLC, Framingham, MA, USA | 804-00006
Nano cHiPLC ChromXP 75 um by 15cm, C18-CL, 3 um, 120 A (analytical column chip) | Sciex LLC, Framingham, MA, USA | 804-00001
Orthoganol quadrupole time-of-flight (QqTOF) TripleTOP 6600 mass spectrometer | Sciex LLC, Framingham, MA, USA | Per quote
ProteinPilot 5.0 | Sciex LLC, Framingham, MA, USA | software download Sciex
Savant SPD131DDA Speedvac Concentrator | Thermo Fisher Scientific, Waltham, MA, USA | SPD131DDA-115
Sequencing-grade lyophilized trypsin | Life Technologies | 23225
Spectronaut | Biognosys AG, Schlieren, Zurich, Switzerland | Sw-3001
SWATH 2.0 plugin into PeakView 2.2 | Sciex LLC, Framingham, MA, USA | software download Sciex
Ultra Plus nano-LC 2D HPLC system | Sciex LLC, Eksigent Division, Framingham, MA, USA | Model # 845
Water, Burdick and Jackson LC-MS | Honeywell International Inc., Charlotte, NC, USA | 600-30-76
Waters 1525 binary HPLC pump system | Waters Corp., Milford, MA, USA | WAT022939
Waters 2487 Dual Wavelength UV detector | Waters Corp., Milford, MA, USA | WAT081110
Waters 717plus Autosampler | Waters Corp., Milford, MA, USA | WAT022939
Waters Fraction Collector III | Waters Corp., Milford, MA, USA | 186001878