Editorial comments:
Changes to be made by the author(s):
1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues. The JoVE editor will not copy-edit your manuscript and any errors in the submitted revision may be present in the published version.

Response: We have thoroughly proofread the manuscript and corrected spelling or grammar issues.

2. Please revise lines 374-376, 378-384, 386-388, 393-398, 400-410, 414-416, 418-427, 429-442, and 457-469 to avoid textual overlap with previously published work.

Response: As suggested we have revised the lines 374-376, 378-384, 386-388, 393-398, 400-410, 414-416, 418-427, 429-442, and 457-469, and we have changed the text accordingly.

3. JoVE cannot publish manuscripts containing commercial language. This includes trademark symbols (™), registered symbols (®), and company names before an instrument or reagent. Please remove all commercial language from your manuscript and use generic terms instead. All commercial products should be sufficiently referenced in the Table of Materials. You may use the generic term followed by “(Table of Materials)” to draw the readers’ attention to specific commercial names. Examples of commercial sounding language in your manuscript are: Thermo, Spectronaut, Roche, Bioruptor, NuPAGE, Sypro, ZipTips, Millipore, Ultra Plus, etc.

Response: We have removed all commercial language from the manuscript and used generic terms instead. All commercial products are referenced in the Table of Materials.

4. Keywords: Please remove “Spectronaut” (trademarked) to remove commercial language.

Response: We have removed all commercial language from the manuscript and used generic terms instead. Spectronaut specifically was removed from the keywords is now referenced in the Table of Materials. The text has been modified in multiple places, one example as follows:

“Relative quantification of aged and young C. elegans insolublome data was carried out using the ‘DIA Quantitative Analysis Software’ to process the novel DIA dataset and the generated spectral library.”

5. 1.2.3: Please specify the actions being repeated (both adding 10 Ml of S-basal solution and spinning?). Do you remove supernatant after spinning?

Response: This step has been revised to specify the actions being repeated and we also indicate that the supernatant was removed after centrifugation. The text was modified as follows:

“1.2.3. Spin the sample at 520 g for 30 sec. Remove supernatant after spinning. To eliminate any OP50 E. coli, add 10 mL of S-basal solution to the pellet and spin again followed by removal of the supernatant. Repeat this step.”

6. 3.17: What happens after centrifugation? Do you discard the supernatant? What is desalted, the supernatant?

Response: The supernatant containing the peptides was moved into a new 0.65 mL siliconized tube, then this supernatant containing the peptides was desalted. We have revised the text for this step to clarify:

“Spin the samples at 1850 g at room temperature for 5 min, aspirate the peptide solution and move into a new clean 0.65 mL siliconized tube, then desalt the peptides solution using C18 desalting tips (see below).”

7. Sections 5 and 6: Please simplify the Protocol so that individual steps contain only 2-3 actions per step and a maximum of 4 sentences per step. Use sub-steps as necessary.

Response: Thank you for this comment.  We have implemented this simplification as suggested.

8. After you have made all the recommended changes to your Protocol section (listed above), please highlight in yellow up to 2.75 pages (no less than 1 page) of protocol text (including headers and spacing) to be featured in the video. Bear in mind the goal of the protocol and highlight the critical steps to be filmed. Our scriptwriters will derive the video script directly from the highlighted text.

Response: Thank you. We now have 2.75 pages and no less than 1 page of the protocol text (including header and spacing) highlighted in yellow which can be featured in the video.

9. Please highlight complete sentences (not parts of sentences). Please ensure that the highlighted steps form a cohesive narrative with a logical flow from one highlighted step to the next. The highlighted text must include at least one action that is written in the imperative voice per step. Notes cannot usually be filmed and should be excluded from the highlighting.

Response: Thank you for this comment we now always highlight complete sentences, and we have removed highlights from the notes. We also have double checked that all highlighted sentences show a cohesive narrative.

10. Please include all relevant details that are required to perform the step in the highlighting. For example: If step 2.5 is highlighted for filming and the details of how to perform the step are given in steps 2.5.1 and 2.5.2, then the sub-steps where the details are provided must be highlighted.

Response: Thank you for the comment. We have now provided all relevant details for the steps mentioned and highlighted all relevant information for filming. All sub-steps with relevant details have been highlighted.

11. Figure 2: Please mark the fragment sizes.

Response: We have generated a new Figure 2 now showing a gel that also contains the molecular weight markers (MW) with their sizes.

12. Table of Materials: Please remove any ™/®/© symbols. Please sort the materials alphabetically by material name.

Response: All ™/®/© symbols have been moved. The materials have been sorted alphabetically by material name.

13. References: Please do not abbreviate journal titles; use full journal name.

Response: Thank you – we have adjusted our Reference section accordingly. Full journal names are now used in the References section. 

Reviewers' comments:
Reviewer #1:
Manuscript Summary:
The method reported is important, timely and novel. This should be published to encourage further detailed analysis of C. elegans proteome. A few minor points need to be addressed for making the method clearer to novices in the field.

Response: We thank the reviewer for the positive feedback and the detailed and helpful suggestions below. 

Major Concerns:
none

Minor Concerns:
Line 172: please indicate that the supernatant was taken after centrifugation.

Response: The text of this step (1.2.3) has been revised to indicate that the supernatant was removed after centrifugation.  The text now is as follows:

“1.2.3. Spin the sample at 520 g for 30 sec. Remove supernatant after spinning. To eliminate any OP50 E. coli, add 10 mL of S-basal solution to the pellet and spin again followed by removal of the supernatant. Repeat this step.”

1.2.4: Room temperature or 4DC? Briefly would be ~5s? Any special tube?

Response: We have modified the text for this step accordingly to provide the requested details:

“Add 10 mL of sodium hypochlorite bleaching solution (containing 0.5 M KOH and 0.48% sodium hypochlorite in water) to the worm pellet in a 15 mL conical tube and vortex vigorously for 2 min at room temperature.”

1.2.7: how was the pellet obtained?

Response: We have added additional details. In fact, the egg pellet in step 1.2.7. was obtained by spinning at 520 g for 30 sec as described in step 1.2.4 and step 1.2.5

1.2.11: plates were kept inverted or upright?

Response: We have added “inverted” in the text to indicate that plates were kept inverted in this step. The text was modified as follows:

“1.2.11. Allow the S-basal solution to dry and then place plates inverted in a 20 oC incubator for 48 h.”

2.2: Any tubes recommended?

Response: We use and recommend 15 mL Falcon tubes in this step. 1.5

This is now also specified in steps 1.2.14 and 2.2.

2.4 what is the approximate protein concentration expected from the recommended worm numbers of N2?

Response: The approximate protein concentration from the recommended worm numbers of N2 in our protocol at this step is around 1.0-1.5 mg/mL. The text was modified as follows:

“To obtain the required input of protein lysate (1.0–1.5 mg) for isolation of the SDS-insoluble fraction, use approximately 3,000 synchronized worms per sample.”

2.7: Should we follow the note below while washing with SDS?

Response: This note was removed as we realized that we currently do not break up the pellet anymore using pipet tips as part of our protocol. The note was removed, but the steps are clearly described in 2.7.

2.9 Do we expect the whole pellet top dissolve?

Response: Yes, the entire pellet should be dissolved in this step. To clarify this, we have added a note after step 2.9 that reads as follows:

“NOTE: The SDS- insoluble pellet is typically hard to dissolve in the buffer. However, in the end the entire pellet should be dissolved in this step.”

2.11,12: what percentage gel is recommended for obtaining a good coverage?

Response: In this protocol, we have used a NUPAGE Bis-Tris gel with a gradient of 4-12% which has shown good coverage. We mention this detail now in the manuscript as follows:

“Load 13 µL onto a 4-12% NUPAGE Bis-Tris gel and run the gel.”

3.12 Please mention the details of sonication.

Response:  We are using a VWR M8800 Ultrasonic bath​ (117 V, holds 5.5 gallons). The sonicator details have now been added to the material table.

3.14 Please mention if the extract from 3.13 was pooled.

Response: The description of step 3.14 has been revised to indicate that the extract from both steps 3.13 and 3.14 were pooled. We added the following sentence:

“Pool all the solutions containing the extracted peptides from this step and the previous step 3.13 together into a single tube.”

4.4: Was 30 ul of the solution pipetted up?

Response: Even though the volume of the solution is 30 µL we are using a pipet set to 10 µL and we pipet a volume of 10 µL up and down 15 times. This action will ensure binding of all peptides to the resin of the desalting tips. The text was changed accordingly and a note was added:

“4.4. Set the pipet to 10 µL and load the peptides from the solution to the resin by pipetting the digested peptides through the resin up and down 15x.

NOTE: The repeated action will ensure binding of all peptides to the resin of the desalting tips.”

4.5 Did you mean washing the zip tip?

Response: We used the word wash – but it would have been better to say “desalt”, in this step the peptides bound to the C18 resin in the Ziptip column were desalted here. We modified the text to the following:

“4.5. Desalt the digested peptides bound to the resin by pipetting up 10 µL of 0.2% FA in water and then discarding it. Repeat this step 4x to complete the desalting step.”

4.8 Please define iRT peptide.

Response: The definition of iRT peptides “indexed Retention Time” has been added in this step. The sentence now reads:

“Resuspend peptides in 15 µL of 0.2% FA + 1 µL iRT (indexed Retention Time) peptides.”

Line 512: "…, even with a 592 fold enrichment…"- the statement is not clear.

Response: This sentence has been revised to be more clear and to read as follows:

“Aged worms were demonstrated to be significantly enriched for the insolublome: The largest change observed showed the relative protein abundance in the insolublome to be 592 times higher in the old versus young worms; and for 32 proteins the relative protein abundance in the insolublome was >250 times higher in the old versus young worms indicating dramatic insolublome changes with age.”

Comparison of data obtained this technique with the one using 40000 worms from previous reports will be helpful in convincing readers and future reviewers.
Response: We have compared the data obtained from this current protocol (this study) with previously published reports by David et al. 2010, Plos Biology and Mark et al. 2016, Cell Reports. This analysis is presented in the new Figure 5, and we also provide a new Supplemental Table 1 B which shows greatly overlapping gene ontologies.  We have also added the following sentences to describe this comparison:

“We then compared the list of proteins identified in this study with previously published work from David et al.2 and Mark et al.11 as demonstrated in Venn diagrams (Figure 5A and B). The comparison showed significant overlap of identified proteins 394/721 and 444/721 with David et al (Figure 5A) and Mark et al. (Figure 5B) study, respectively. The biological pathways revealed by the KEGG analysis of insolublome from this study have also been identified in past thus validating our methodology (Supplementary Table 1B). Identification of these pathways and proteins suggests that they may serve as candidates for further biological investigation in regards to their function in the context of aging.”

Reviewer #2:
Manuscript Summary:
Aging is accompanied by the accumulation of toxic insoluble protein aggregates, which in turn further accelerate the aging process. Identifying the nature of these proteins is therefore of fundamental importance to better understand molecular mechanisms underlying the aging process. C. elegans is a powerful model organisms for aging studies, which the authors already used in the past to investigate the contribution of insoluble proteins to aging and associated disorders. In this paper, the authors followed up on their previous studies and describe in details a protocol that they optimized in C. elegans to improve isolation and further characterization of insoluble proteins. Specifically, they use a Bioruptor sonicator to enhance protein extraction from a substantially reduced number of worms as compared to previous protocols. Subsequent proteomic and bioinformatics analysis confirmed that wild type older animals accumulate increased amount of insoluble proteins as compared to young worms.
The author developed a great extraction method that coupled with the following straightforward pipeline analysis, will certainly help improving our knowledge on the role of insoluble proteins in different pathophysiological context. Moreover, this improved protocol will represent an excellent tool for many other scientists working with C. elegans.

Response: We very much thank the reviewer for the encouraging words. 

Major Concerns:
To further support the power and efficacy of their improved protocol it is recommended that the authors first validate their results against data already available in the literature. Namely, other works in the past, also form the authors, have already quantified and identified a series of insoluble proteins significantly enriched during aging. They should therefore compare results from these studies with those obtained from their newly developed protocol to ensure that the latter does not introduce biases due to the small amount of starting materials. Yielding different types or amount of proteins may indeed dramatically impact on the interpretation of the data of relevance for any biological process under investigation.

Response: We have compared the data obtained from the current protocol with previously published reports by David et al.in Plos Biology 2010 and Mark et al. in Cell Reports 2016. This analysis is presented in the new Figure 5. We also provide a new Supplemental Table 1 B which shows greatly overlapping gene ontologies.  We have also added the following sentences to describe this comparison:

“We then compared the list of proteins identified in this study with previously published work from David et al.2 and Mark et al.11 as demonstrated by Venn diagrams (Figure 5A and B). The comparison showed significant overlap of identified proteins 394/721 and 444/721 with David et al (Figure 5A) and Mark et al. (Figure 5B) study, respectively. The biological pathway revealed by the KEGG analysis of insolublome from this study has also been identified in past thus validating our methodology (Supplementary Table 1B). Identification of these pathways and proteins suggests that they serve as candidates for further biological investigation in regards to their function in the context of aging.”