# Submission ID #: 61372

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18718508

Title: Delivery of Antibodies into the Brain Using Focused Scanning Ultrasound

Authors and Affiliations: Gerhard Leinenga1, Liviu-Gabriel Bodea1, Wee Kiat Koh1, Rebecca M. Nisbet1, and Jürgen Götz1

1Clem Jones Centre for Ageing Dementia Research, Queensland Brain Institute,

The University of Queensland

☐   All author names are spelled correctly, and the affiliations are correct (city/state/country information not included in video title page).

# Corresponding Author:

# Jürgen Götz

# j.goetz@uq.edu.au

# Co-authors:

g.leinenga@uq.edu.au

l.bodea@uq.edu.au

weekiat.koh@uq.edu.au

r.nisbet@uq.edu.au

## Author Questionnaire

1. Microscopy: Does your protocol demonstrate the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as reasonably possible.

3. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

- To ensure that your script can be filmed in one day, the Introduction, Protocol, and Conclusion sections are restricted to 55 shots (i.e., designated as 1.1.1., 1.2.1., etc).

Protocol Length

Number of Shots: 44

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which will be incorporated into the script. Authors will memorize the statements and then deliver them on camera.

- Enter the full name of the author who will deliver the statement on camera.

- Each author should deliver no more than two statements.

- Fill out both required statements. One optional statement may also be selected.

- Please answer in full sentences in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.[1][2].

    - INTERVIEW: Author saying the above

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera

Ethics Title Card

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) or equivalent body at insert Institutional Name.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Microbubble Quality Control

  - To perform quality control of the microbubbles using a cell counter, remove the microbubble solution from the amalgamator [1] and use a 27-gauge needle to pierce the septum of the microbubble solution vial [2].

    - WIDE: Talent removing solution from amalgamator

    - Talent piercing septum

  - Dilute 100 microliters of the microbubble solution in 5 milliliters of filtered flow solution [1-TXT] and use a 1-milliliter syringe equipped with a 19-gauge needle to transfer 100 microliters of the diluted microbubble solution to 10 milliliters of filtered flow solution in a cuvette [2].

    - Talent adding microbubble solution to flow solution, with flow solution container visible in frame TEXT: See text for all solution preparation details

    - Talent adding solution to cuvette

  - Lock the cuvette in place on the cell counter platform [1] and select a 30-micron aperture for the sample acquisition [2].

    - Talent locking cuvette

    - Talent selecting aperture

  - In the software, load the standard operating method [1] and select Edit Standard operating method and Concentration [2].

    - Talent loading SOM, with monitor visible in frame

    - SCREEN: To be provided by Authors: Edit SOM and Concentration being selected

  - Enter 5000x for the dilution and select a suitable file name [1].

    - SCREEN: To be provided by Authors: 5000x times being entered and file name being selected

  - Select Run and Preview and verify that the microbubble sample concentration is less than 10% [1].

    - SCREEN: To be provided by Authors: Run and Preview being selected, then shot of sample concentration Video Editor: please emphasize concentration when mentioned TEXT: If concentration >10%, perform new dilution with higher dilution factor

  - Select Start to begin the sample acquisition [1].

    - SCREEN: To be provided by Authors: Start being clicked/acquisition being started

  - After the measurement, rinse the aperture of the cell counter with filtered flow solution [1].

    - Aperture being rinsed

  - When three measurements have been obtained, sonicate the cuvette of diluted microbubble solution for 30 seconds in a water bath [1]. The solution will change from opaque to clear as the microbubbles are destroyed [2].

    - Talent sonicating solution

    - Shot of clear solution

  - Measure the sonicated microbubble solution as demonstrated [1] and label the data as “blank” [2].

    - Talent securing cuvette to platform

    - SCREEN: To be provided by Authors: Data being labeled as blank

  - When three replicate measurements have been obtained, subtract the final readout from the initial readout to exclude any particles that are not microbubbles and do not contain gas and select Display Results to display the microbubble concentration, size distribution, average size, and volume concentration [1].

    - SCREEN: To be provided by Authors: Final readout being subtracted from initial readout, then Display results being selected Video Editor: please emphasize microbubble concentration, size distribution, average size, and volume concentration when mentioned

- Fluorescent Antibody Labeling

  - To label the sections with fluorescent anti-mouse IgG antibody, label 1 milligram of mouse IgG antibody with AlexaFluor 647 (six-four-seven) in 0.1-molar sodium bicarbonate buffer according to the manufacturer’s instructions for 15 minutes at room temperature [1-TEXT].

    - WIDE: Talent adding buffer to antibody, with antibody and buffer containers and kit visible in frame TEXT: 1 mg Ab labels 5-7 adult mice

  - At the end of the incubation, load the fluorescently labeled antibody solution onto a spin column [1] and purify the antibody by centrifugation [2-TXT].

    - Talent loading solution onto column

    - Talent adding tube to centrifuge TEXT: 5 min, 1000 x g, RT

  - Then use a spectrophotometer to measure the protein concentration [1-TXT].

    - Talent loading sample onto spectrophotometer TEXT: Free dye remains in column bed

- Focused Scanning Ultrasound Setup (FSU)

  - To set up the focused scanning ultrasound system, add a 5-millimter space to the water bolus [1] to position the ultrasound focus 9 millimeters below the bottom of the water bolus [2].

    - WIDE: Talent adding space to bolus

    - Focus being positioned below bottom of water bolus

  - Fill the water bolus with approximately 300 milliliters of degassed deionized water [1-TXT] and place the annular array into the filled water bolus [2].

    - Talent filling bolus with degassed water TEXT: O2 content <3 ppm

    - Talent placing tray into filled water bolus

  - Use a dental mirror to check that there are no air bubbles on the surface [1-TXT] and launch the application software [2].

    - Mirror being used to check bubbles TEXT: If bubbles, remove and replace array

    - Talent launching software, with monitor visible in frame

  - In the waveform menu, select Set waveform duty cycle and set the PRF to 10 hertz, the duty cycle to 10%, the focus to 80 millimeters, the center frequency to 1 megahertz, the amplitude to 0.65 megapascals, and the mechanical index to 0.65 [1].

    - SCREEN: To be provided by Authors: Set waveform duty cycles being selected, then parameters being set

  - Press Set to define the waveform and store the waveform in memory [1].

    - SCREEN: To be provided by Authors: Set being pressed, then waveform being stored

  - After selecting the treatment plan, open the Scan tab in the motion controller window and enter start, stop, and increment values for motion in the x dimension and start, stop, and increment values for motion in the y direction [1].

    - SCREEN: To be provided by Authors: Scan tab being opened, then start, stop, and increment values being entered in x and y dimensions

  - To define the actions for the treatment sites, click Event and open the Script Editing Window [1].

    - SCREEN: To be provided by Authors: Event being clicked, then Script editing window being opened

  - Select a list of actions that will be executed in the order selected at each treatment site and set the Movement Type to raster grid [1].

    - SCREEN: To be provided by Authors: Action list being selected, then Movement type being set to raster grid

  - In the events tab, select Add Actions and move the Move Synchronously, Start Trigger Arb, Wait, and Stop Trigger Arb actions to the script panel [1].

    - SCREEN: To be provided by Authors: Add actions being selected, then actions being moved to script panel

  - Then click wait action and select a wait time of 6000 milliseconds [1].

    - SCREEN: To be provided by Authors: Wait action being clicked, then wait time being set

- Ultrasound Preparation

  - To prepare an animal for the analysis, after confirming a lack of response to toe pinch in an anesthetized mouse [1-TXT], use a permanent marker to label the center of the mouse’s head [2].

    - WIDE: Talent pinching toe Videographer: More Talent than mouse in shot TEXT: Anesthesia: ketamine 90 mg/kg + xylanize 6 mg/kg i.p.

    - Mouse head being marked

  - Then glue plastic wrap to the bottom of small weigh boat with the bottom cut off [1] and fill the weigh boat with ultrasound gel [2].

    - Plastic wrap being adhered to weigh boat, with glue container visible in frame

    - Boat being filled with gel, with ultrasound gel container visible in frame

- FSU Treatment

  - For focused ultrasound treatment, invert the vial of microbubbles [1] and gently draw 1 microliter of the solution/gram of the mouse’s bodyweight into a Authors: What size syringe and what gauge needle? [2].

    - WIDE: Talent inverting vial

    - Solution being drawn into syringe

  - Add Authors: What volume? of fluorescently labeled antibody to the syringe [1] and gently Authors: how are the solutions mixed in the syringe? to mix the antibody and the microbubbles within the syringe [2].

    - Antibody being loaded into syringe, with antibody container visible in frame

    - Solutions being mixed

  - Next, carefully and slowly retroorbitally inject 150 microliters of the microbubble and antibody solution into the mouse [1] and set a timer for two minutes [2].

    - ECU: Eye being injected

    - Talent setting timer

  - Place the mouse in the head holder [1] and fix the nose of the mouse in the holder [2].

    - Talent placing mouse into holder Videographer: More Talent than mouse in shot

    - Nose being fixed into holder

  - Place the small, ultrasound gel-filled weigh boat on top of the head [1] and lower the water bolus until it sits on top of the ultrasound gel within the weigh boat [2].

    - Weigh boat being placed onto head

    - Bolus being lowered

  - Then use the joystick to visually align the transducer focus with the center of the head [1].

    - Focus being moved to center of head

  - When the timer goes off, in the Motion tab of the software, select Reset Origin [1] and select a complete scan [2].

    - Talent selecting Reset Origin, with monitor visible in frame

    - SCREEN: To be provided by Authors: Complete scan being selected

  - When the treatment is complete, place the mouse in a warmed recovery chamber [1] and apply ophthalmic ointment to the animal’s eyes [2].

    - Talent placing mouse into chamber Videographer: More Talent than mouse in shot

    - ECU: Ointment being applied

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 74. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Notes in blue italics are for JoVE’s video editor.

- Results: Representative FSU Antibody Delivery Evaluation

  - Here representative results [1] from Coulter counter measurements of size [2] and concentration that can be obtained when the microbubbles are produced correctly are shown [3].

    - LAB MEDIA: Figure 2C

    - LAB MEDIA: Figure 2C Video Editor: please emphasize Number graph data line

    - LAB MEDIA: Figure 2C Video Editor: please emphasize Volume graph data line

  - Antibody uptake by the brain can be easily visualized [1] in whole brain or sections using an infrared scanner [2] or fluorescent microscopy of the brain sections [3].

    - LAB MEDIA: Figures 3

    - LAB MEDIA: Figures 3 Video Editor: please emphasize Figures 3A and 3B

    - LAB MEDIA: Figures 3 Video Editor: please emphasize Figure 3C images

  - As demonstrated in these images, representative staining for microglia markers [1] can be used to determine whether microglia become more phagocytic following the delivery of the antibody [2].

    - LAB MEDIA: Figure 4 Video Editor: please emphasize z-stack images

    - LAB MEDIA: Figure 4 Video Editor: please emphasize 3D rendering image

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Please answer one or two statements.

- The statements are limited to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Enter step numbers referred to.)

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is the interview statement 30 words or fewer? ☐ Yes

Thank you for addressing our questions. We will incorporate your answers and suggestions and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.