Dear Dr. Alisha DSouza,

Thanks for providing us with the opportunity and the two resubmission-extensions to revise our manuscript entitled: In situ Grazing Incidence Small Angle X-ray Scattering on Roll-To-Roll Coating of Organic Solar Cells with Laboratory X-ray Instrumentation, to Journal of Visualized Experiments, JoVE. We are thankful for the time and efforts from you and the reviewers to give such thorough and valuable feedback on the manuscript. We believe that addressing the concerns raised by the reviewers have improved the quality of manuscript and thereby its relevance to the readers of JoVE. We have done a major revision of the manuscript to respond to all the comments and concerns from the four reviewers. We would like to thank you for pointing out the framework of a JoVE manuscript. We have done our best to streamline the manuscript in order to fulfil the requirements necessary for publishing in JoVE. During the revision of the manuscript, we found it necessary to include an additional author, Marcial Fernández Castro. He has fabricated the solar cells presented in table 2, which had to be included to address one of the reviewers’ comments and he has done a significant contribution during the revision of the manuscript.

Below a line-by-line answer of each comment can be found. Here the original editorial comments and review comments are in black and our responses are in blue. Along with this line-by-line answer, we have attached the revised manuscript and the file with changes from previous manuscript.

We are looking forward to hearing from you regarding our submission and we are happy to respond to any further questions or comments you may have.

Best regards,

Michael Korning Sørensen, Moises Espindola Rodriguez, Marcial Fernández Castro, Ashwin Nambi, Luise Theil Kuhn, and Jens Wenzel Andreasen

Editorial Comments:

• Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammatical errors.

• Abstracts: Remove all references from the abstract.
The abstract is completely rewritten to not include any references and to address the concern of reviewer #4. We now believe that the abstract is concise and describes the scientific content of the paper.

• Protocol Language:
1) Please ensure that ALL text in the protocol section is written in the imperative voice/tense as if you are telling someone how to do the technique (i.e. “Do this”, “Measure that” etc.) Any text that cannot be written in the imperative tense may be added as a “Note”, however, notes should be used sparingly and actions should be described in the imperative tense wherever possible.
Thanks for pointing this out. We have done our best to write this section in imperative voice. 
2) Split up long steps into 2 or more steps.
This has been done. 
3) Section 4 needs complete re-writing as a step wise protocol in the imperative.
Thanks for making us aware of this. This section have now been rewritten, such that 6 out of 9 sections are in the imperative tense and in shorter steps. Subsection 4.6, 4.7, 4.8, are still long and not in the imperative tense. This is necessary as these sections addresses the most critical concerns from the reviewers that is essential to know for applying our method. As section 4 is not part of the JoVE narration in the video, and an important part for the readers who will apply this method, we hope that JoVE will accept this format for this short part of the manuscript.

• Protocol Detail: Please note that your protocol will be used to generate the script for the video, and must contain everything that you would like shown in the video. Please add more specific details (e.g. button clicks for software actions, numerical values for settings, etc) to your protocol steps. There should be enough detail in each step to supplement the actions seen in the video so that viewers can easily replicate the protocol.
Thanks for pointing this out. We have now written the entire protocol section that goes in the video in imperative tense.

• Protocol Numbering: Please adjust the numbering of your protocol section to follow JoVE’s instructions for authors, 1. should be followed by 1.1. and then 1.1.1. if necessary and all steps should be lined up at the left margin with no indentations. There must also be a one-line space between each protocol step.
The numbering has been changed to follow the numbering guideline for the protocol and there is now a one-line space between each protocol step. 

• Protocol Highlight: Please highlight ~2.5 pages or less of text (which includes headings and spaces) in yellow, to identify which steps should be visualized to tell the most cohesive story of your protocol steps. Please see JoVE’s instructions for authors for more clarification. Remember that the non-highlighted protocol steps will remain in the manuscript and therefore will still be available to the reader.
1) The highlighting must include all relevant details that are required to perform the step. For example, if step 2.5 is highlighted for filming and the details of how to perform the step are given in steps 2.5.1 and 2.5.2, then the sub-steps where the details are provided must be included in the highlighting.
2) The highlighted steps should form a cohesive narrative, that is, there must be a logical flow from one highlighted step to the next.
3) Please highlight complete sentences (not parts of sentences). Include sub-headings and spaces when calculating the final highlighted length.
4) Notes cannot be filmed and should be excluded from highlighting.
We have highlighted section 1, 2 and 3 in the protocol for telling the most cohesive story of the method/experiment.  

• Discussion: JoVE articles are focused on the methods and the protocol, thus the discussion should be similarly focused. Please ensure that the discussion covers the following in detail and in paragraph form (3-6 paragraphs): 1) modifications and troubleshooting, 2) limitations of the technique, 3) significance with respect to existing methods, 4) future applications and 5) critical steps within the protocol.
Thanks for pointing this out. We agree that the discussion should be focused on the method in the form of the five sub categories. We have added a few parts to the discussion and rewritten this section to follow the above-mentioned 5 steps explicitly.   

• Figures: Please remove the embedded figures from the manuscript. Figure legends, however, should remain within the manuscript text, directly below the Representative Results. 
These are now removed from the manuscript and fulfil the 300 dpi resolution requirement. 

• Tables: Please remove the embedded Tables from the manuscript. All tables should be uploaded to the Editorial Manager site in the form of Excel files. A description of the table should be included with the Figure legends.
The tables are now uploaded as Excel files and legends remain in the document. 

• References:
1) Please do not reference unpublished work (see. Lines 87, 90) 
2) Please spell out journal names.
The reference to unpublished work is now removed. In order to justify that we state some of the best efficiencies for large-scale, ITO free, and flexible organic solar cells, we needed to include a co-author on the list. Marcial Fernandez Castro, have optimized the coating conditions for P3HT:O-IDTBR and made the P3HT:EH-IDTBR solar cells that are now added to address the reviewers comments.  
We have now used the JoVE reference style. 

• If your figures and tables are original and not published previously or you have already obtained figure permissions, please ignore this comment. If you are re-using figures from a previous publication, you must obtain explicit permission to re-use the figure from the previous publisher (this can be in the form of a letter from an editor or a link to the editorial policies that allows you to re-publish the figure). Please upload the text of the re-print permission (may be copied and pasted from an email/website) as a Word document to the Editorial Manager site in the "Supplemental files (as requested by JoVE)" section. Please also cite the figure appropriately in the figure legend, i.e. "This figure has been modified from [citation]."

Comments from Peer-Reviewers:

Reviewer #1:

Manuscript Summary:
This work presents an in situ study of the roll-to-roll coating of organic solar cells by in-house grazing incidence small angle X-ray scattering and intends to be a guideline to perform and analyze in house in situ GISAXS experiments of drying inks on roll-to-roll slot die coated non-fullerene organic photovoltaics. The title, abstract and introduction are adequate and the procedure is well explained with all the materials listed and adequate figures.

We appreciate the kind words and are happy that the reviewer finds the article adequate. We would like to thank the reviewer for raising the following concerns. By addressing these, we consider the quality of the paper much improved. 

Minor Concerns:

- Comment 1: The manuscript is in general well written although it should be carefully checked in order to correct some mistakes.

Response 1: Thanks for pointing this out. As part of the revision we have done a careful check to correct all spelling and grammatical mistakes.

- Comment 2: Although materials and steps are conveniently listed at some point some more information would be needed. In particular: Why an incident angle of 0.2ºwas chosen? Taking into account the interest of this in house in situ GISAXS protocol and the application for different fields it should be mentioned that optimal incidence angle has to be chosen depending on the sample.

Response 2: Thanks, these are important observations that we have done our best to clarify. We agree that the incidence angle is an essential part of the experiment and if the readers/viewers would like to adapt this method for a different material system, guidance is needed.  For this experiment, the film of interest consist of solvent, P3HT and O-IDTBR. Both P3HT and O-IDTBR have a higher density than the solvent, and presumably has the highest critical angle for total reflection. The critical angle of P3HT and O-IDBTR can vary according to their packing resulting in a critical angle varying from 0.16 - 0.19 degrees, assuming a density of the solid film of 1.1 - 1.35 g/cm3. Thus, 0.2 degrees was chosen to ensure penetration into the bulk of the film. The angle of incidence is important for determining the depth to which the sample is being probed and whether kinematical or dynamical scattering theory should be applied to model the experimental data. To broaden the relevance to other scientific areas we should also consider how the optimal angle is chosen for an experiment with another materials system. Thus, we added section 3.4 Choice of incidence angle (Lines: 322-328) to address and clarify this comment and additional references have been included for readers to study the basic theory of GISAXS.

- Comment 3: Information on the number of pulses and on the pixel size is missing and it is important regarding resolution and related to the binning process described in the manuscript.

Response 3: We agree with these observations and find them useful for the readers. The pixel size, sample to detector distance and wavelength have been added to Section 4.4. (Lines: 301-311).
Regarding the number of pulses, we have only used one exposure for the 3000 seconds, integrating the data over the entire exposure time. This has been written more clearly to not mislead the reader: We have clarified this in Section 3.10 (Line: 266), where we additionally state that several exposures is a better choice to allow flexible binning of time series.

The q-scale binning procedure is not unique for this paper and as Reviewer #4 also noted this, we have edited the text and added a reference for this procedure in section 4.5 (Lines: 313-320).

Reviewer #2:

Manuscript Summary:
Sørensen et al. report on a step-by-step guideline to prepare, perform and analyze in situ GISAXS experiments of drying inks on roll-to-roll slot die coated non-fullerene organic active layers for photovoltaic applications.

In general, the manuscript is very well written and delivers substantial information to a broader readership. The introduction is essential and synthetic and this facilitates the readability of the paper. The experimental protocol and example results are well described and presented in a complete and clear way. The authors provide adequate experimental information, which might be sufficient to reproduce the experiment or sample preparation from others working in that field, respectively. From the straight scientific point of view, the research in this field is of high interest and progressing quickly.

The manuscript complies with the standards of JoVE and deserves publication after revision of issues noted below.

We are very grateful for such a positive reception. Furthermore, we are happy that the reviewer have addressed some major concerns regarding this demonstration. This will benefit the quality of the manuscript and be of value to its readers. Additional thanks are due for pointing out the needed extension of references cites, as this will surely help the readers to find relevant literature. 

Major Concerns:

- Comment 1: However, the reference list is not yet adequate. I advise the authors to include and comment on the following publications directly touching their field in the introduction and conclusion section at appropriate positions. Please add few more examples, where the deposition and/or drying kinetics of various coating methods are probed exploiting in situ GISAXS.
[1] In Situ Grazing Incidence Small-Angle X-ray Scattering Investigation of Polystyrene Nanoparticle Spray Deposition onto Silicon
By: G. Herzog et al.
LANGMUIR Volume: 29 Issue: 36 Pages: 11260-11266 Published: SEP 10 2013
[2] Investigating Polymer-Metal Interfaces by Grazing Incidence Small-Angle X-Ray Scattering from Gradients to Real-Time Studies
By: M. Schwartzkopf, S.V. Roth
NANOMATERIALS Volume: 6 Issue: 12 Article Number: UNSP 239 Published: DEC 2016
[3] Pattern formation of colloidal suspensions by dip-coating: An in situ grazing incidence X-ray  scattering study. By: J. Perlich, et al. PHYSICA STATUS SOLIDI-RAPID RESEARCH LETTERS Volume: 6 Issue: 6 Pages: 253-255 Published: JUN 2012
A recent publication is also reporting on morphological and performance effects of Solvent Additives during slot die printing of nonfullerene acceptor based organic solar cells.
[4] Effect of Solvent Additives on the Morphology and Device Performance of Printed Nonfullerene Acceptor Based Organic Solar Cells. By: K.S. Wienhold et al. ACS APPLIED MATERIALS & INTERFACES Volume: 11 Issue: 45 Pages: 42313-42321 Published: NOV 13 2019

Response 1: Thanks for pointing this out, we agree with the reviewer on this. We have included the 4 articles that are listed above because of their relevance in the field and context with respect to the described method. Additionally, 23 articles have been cited to complete the argumentation for the work presented here and to proper respond to the concerns addressed by the four reviewers. We believe that the reference list is now adequate for publication. Furthermore, we believe this will help the readers finding more literature that can guide them to adapt this to their own materials system or coating technique.

- Comment 2: Please comment on potential X-ray beam effects and large scale morphological homogeneity of the printed active layers.

Response 2: It is expected that the large-scale morphology is changing over time as the analysis also confirms. In this article, we have probed a drying film after 3 and 12 seconds of drying, the only way to do this is to probe fresh film all the time. The morphology is expected to vary over the length of the foil, and as we are coating 18 meters of active layer, the first meter may very well be different from the last one. For our experiment we do not have the flux (time resolution) to probe this and we have to accept that the observed structure represents a mean of the 18 meters of coated foil. For future experiments, we recommend shorter exposure times to allow flexible binning of time series that will allow large-scale inhomogeneities to be identified (This have been added to Section 3.10 (Line: 266).  If one wishes to probe variations on smaller time or spatial scales, a synchrotron source is needed to have the required flux that is not available from a laboratory X-ray source. This point we have added in the discussion section 2 (Line: 425-428)

Regarding X-ray beam damage, we believe that it can be neglected due to the low flux and the low residence time of sample in the beam.

- Comment 3: How does the roll-to-roll process induce temporary misalignments of the incident angles and thus change of beam size and penetration depth during the roll-to-roll process and does it affect the GISAXS measurements respectively analysis.

Response 3: This is a very good point which has also been raised by reviewer #1 and #4. The incidence angle is particularly important when performing a grazing incidence small angle X-ray scattering experiment (GISAXS). Previous synchrotron experiments where this roll-2-roll coater has been used have demonstrated that the incidence angle does not vary more than ± 0.03° as evaluated by the position of the reflected beam as a function of time (with a temporal resolution of 0.1 s), which is equal to ± 12 pixels from the Yoneda line for this experiment, whereas, the horizontal line integration were made with ± 50 pixels. Under the assumptions made for this analysis and the fact that the horizontal line cuts are integrating angles that are larger than this uncertainty it is fair to assume that it will not influence the analysis. In future work (as reviewer 4 suggest), the beam-stop should be excluded to allow tracking of the reflected beam, thus improving the possibility of making post-acquisition corrections. To address this with the current experiment, subsection 4.4 and a paragraph in the discussion part 1 has been added. Lines 399-410 and Lines 201-311.

- Comment 3: Please comment on potential additional challenges while printing on hot foils like turbulent hot air convection or higher solvent evaporation rates.

Response 3: This is an important point, especially when comparing this data with other experiments. We agree that temperature and airflow will influence the drying of the film. Each data point presented here were acquired under same coating conditions (temperature of foil and ink, foil speed, exhaust rate), thus they are subjected to the same environment and an internal comparison is valid. It is expected that changing the environment will influence the drying and in future experiments we recommend that environmental parameters are recorded (relative humidity and airflow above the substrate.). We have addressed this concern in the discussion. Line 412-417. 
Additionally, we have stated the importance of this during the installation of point suction in section 3.6, to notify the reader that point suction should be stable throughout an experiment. Line 247-249

Minor Concerns

- Comment 4: Please specify beam size and foil size in beam direction at 0.2° incident angle at the sample position.

Response 4: The beam size is now stated in section 3.1. Line 203 - 215.

- Comment 5: In addition environmental parameters like temperature and relative humidity are worth mentioning for reproducibility. 

Response 5: The experiments were carried out in a temperature controlled laboratory at a constant temperature of 22° C, whereas the relative humidity was unfortunately not noted down at the time of the experiment. The implications of the relative humidity is particular important for reproducing these experiments elsewhere as now emphasized in the discussion section in Lines 413-419. As for the internal comparison in this paper, it is fair to assume that humidity was the same for all four measurements.

Reviewer #3:

The article by Sorensen et al. describes the procedure of carrying out in-situ GISAXS to characterize the morphology kinetics in roll-to-roll coating of OPVs. It was well written with sufficient background and experimental details. I think it is suitable for publication in JoVE provided several minor revisions.

We thank the reviewer for the positive reception of our manuscript. We appreciate that the reviewer have read the manuscript carefully and therefore have some valuable comments that has led to improvement of the manuscript.

- Comment 1: Lack of description of flatness (wobbling during rolling and substrate wrinkling) control and its effect on quantitative characterization. The uncertainty in the incident angle matters if it varies too much. Maybe this can be done with some dry runs without ink deposition?

Response 1: Thank you for raising this important issue. The incidence angle is very important for a GISAXS experiment and the reviewer has a good point that this must be documented. As suggested by reviewer #4 this can be done by removing the beam stop and tracking the specular beam position throughout the experiment. In the experiments we report on here, we do not have a time resolved tracking of the specular peak. This will be done for future experiments. In previous synchrotron experiments where this roll-2-roll coater has been used we have demonstrated that the incidence angle does not vary more than ± 0.03° as evaluated by the position of the reflected beam as a function of time (with a temporal resolution of 0.1 s), which is equal to ± 12 pixels from the Yoneda line for this experiment. The horizontal line integration were made with ± 50 pixels. Thus we find the small variation neglecteable for the purpose of this analysis. This have been addressed in the discussion Lines 399-409.

- Comment 2: I do not see the need of figure 5b if no GIWAXS is discussed elsewhere.

Response 2: Thanks for reading this so carefully. This is a misspelling: It is GISAXS. It has now been corrected.

- Comment 3: Are those long exposures (3000 sec) done with a single shot or repeatedly multiple shots?

Response 3: This is done by one long exposure of 3000 seconds. Improvements of this experiments will be to collect data with several shorter exposures to ensure data quality and to allow flexible temporal binning. We have added section 3.10 to clarify this. Line 266 + note

- Comment 4: On ~425nm films prepared by slot-die, I expect the morphologies are more of 3D rather than 2D only in the surface plane. Therefore, the structure analysis should be done as a function of total q (not qy, especially when the linecut is done at a non-zero qz). If it is believed to be 2D, then linecuts of qy at different qz are needed for validation.

Response 4: Very good observations that we acknowledge the importance of. The structure is expected to be 3D. But for this analysis we have restricted the analysis to the horizontal features and we cannot retrieve a full 3D information about the structure in the bulk. We have made integrations 30 degrees rotation from the qxy plane and which showed features at the same q-length as for the horizontal integrations, but here the Teubner-Strey model is not valid due to refraction and reflection terms. Therefore this analysis is solely focused on the horizontal domain sizes. To retrieve a full 3D size distribution map requires more sophisticated models as we have described in the discussion: Line 463 – 477.  
The horizontal line cuts have been made at the Yoneda line as described and are only done in qxy because here we can neglect the reflection and refractions terms. This we have further clarified in the text and added a few references that provides support of the applicability of this method: Line 300 - 309.
We further added a subsection 4.6 and subsection 4.7 to clarify and justify this as it is crucial for our argumentation for using the Teubner-Strey model. Lines 322 – 339.

- Comment 5: Please plot the GISAXS image in logscale or enhance the contrast in Figure 9, and label the axes with qy/qz or exit/in-plane angles, so one can see the overall peak feature locations that lead to the bumps in the 1D linecut. This will directly give information on overall morphologies, especially whether the morphology is 2D or 3D. 

Response 5: Good suggestion, this will increase the readability. This figure have been updated accordingly (figure 9).

Reviewer #4:

Manuscript Summary:
Sorensen et al show in their manuscript how to use a lab source to still access time-resolved, structural information for GISAXS measurements on OPV thin films that are carried out over long exposure times. They sketch their approach and demonstrate the feasibility of the measurements using two binary systems.

The experimental design is indeed highly valuable if access to synchrotrons is not possible. However, a large amount of material is necessary as the authors point out.

We are very grateful for the positive acknowledgement of our work. We are happy that the reviewer did such a thorough read to raise all these concerns, regarding both the scientific and the communicative aspects of this manuscript. Furthermore, the reviewer have made some good comments that we will apply to adapt our future work – thanks.

General Concerns:

- Comment 1: While the topic of the manuscript is very exciting the presentation promises more (need to solve control of morphology, resolve drying kinetics - with two data points?), than is presented in the end. This is a pity. A more down to earth approach in the formulation, with some added scientific details would make the manuscript a much more enriching experience to read.

Response 1: Thank you for addressing this. We completely agree and believe that this is a fair point and it will be a pity if we disappoint the readers, which is clearly not our intention. We intend to give a general introduction to the research field and to motivate why performing in situ GISAXS is relevant to pursue the fundamental structure-property relations for organic solar cells. We have rewritten the abstract completely and emphasized the development of the roll-to-roll GISAXS technique. We now think it is clearer in the sense that this paper demonstrate a method that do not provide the answers for the optimal morphology for organic solar cells, but a tool to investigate the structure-property relations.

- Comment 2: The introduction could be cut a lot more (anyone attempting to realize such a measurement would already have that very basic background at this stage?) and allow for much more room to detail the set-up itself. Which would still be necessary if one wanted to reproduce these results. Overall, I would recommend some major revisions to make this manuscript more precise and more valuable to the readers.

Comment 2:  Thanks for the comment. We have attempted to revise the manuscript considerably to ensure that people can replicate the results. Regarding cutting the introduction, we do not assume that the readers have the basic background before reading/viewing this article/video. We believe that the introduction is both necessary and indeed helpful for the readers of JoVE, where we expect that most readers start by viewing the videos and then subsequently reads the article, if they find it relevant. For people who use GISAXS on a daily basis this might not contribute with much to their knowledge, but for people new (less than 3 years of PhD study) in the field of either OPVs or GISAXS, we believe that the information provided in the introduction is of value. Additionally, if the reader want to apply this roll-2-roll GISAXS technique to another field than OPV, we believe that this serves as good inspiration for making this applicable for other research fields. 
Regarding the reproducibility, the protocol has now been further detailed to ensure that the readers can perform such an experiment themselves. 


Comment 3: Further, here are some more detailed questions, that arose when I read the manuscript: The authors show that the EH-IDTBR system results in various pinholes. Pinholes in the active layer of an OPV device are known to reduce the efficiency. Can the authors please include information on the size and geometry of the solar cell device. Particularly whether there are more inactive pixels for one material type than the other. This is necessary to actually conclude anything on the material itself and not just to the differing degree of defects.

Response 3: We are grateful for this observation. We believe it improves the quality of the article to address these questions. We have included information on the geometry and the size of the solar cells as well as the various layers involved. As we used an easily scalable roll coating platform, the pixels for each material type are individual solar cells of 1 cm2 of photoactive area. Line 79 – 88.  
The pinholes in the P3HT:EH-IDTBR material system are covered by the subsequent PEDOT:PSS layer during the solar cell fabrication avoiding any possible short circuiting of the devices, however resulting in devices with a larger variation of the solar cell performance. In table 2, we have added the average and standard deviations of the key solar cell parameters.

- Comment 4: What is the actual amount of material necessary for such an experiment? A rough number to carry out optimization and the experiments would be helpful for decisions of feasibility. Information on the solar cell fabrication is not sufficient for reproducibility.

Comment 4: The actual amount of material is stated in section 1 of the protocol Line 152. We have added the structure of the final device. A full description of fabricating these solar cells is worth an article of its own. Such an article is currently under revision with another journal where all the details are described. We hope that we can cite it in the proof of this paper such that people can find the paper when reading this. For now, we have made references to a similar coating technique done by the group of Prof. Frederik Krebs Line 79 – 88.

- Comment 5: Section  3.3. It is well known that shifting the beam on the aligned sample (here height change at the end to optimize the signal) will result in a change of incident angle on non-flat surfaces. I would expect the flexible substrate to be not perfectly flat. Could the authors please comment on how accurately they can align the sample on these flexible (and moving) substrates.

Response 5: Very good point! Reviewer 1 and 2 addresses this as well. From previous synchrotron experiments where this roll-2-roll coater has been used we have demonstrated that the incidence angle does not vary more than ± 0.03° as evaluated by the position of the reflected beam as a function of time (with a temporal resolution of 0.1 s), which is equivalent to ± 12 pixels from the Yoneda line for this experiment, whereas the horizontal line integration were made with ± 50 pixels. Thus, we find the small variation neglectable for the purpose of this analysis. This have been addressed in the discussion Lines 398-410.

- Comment 6: Section 3.4. Could the authors please specify why the use of a beamstop increases the signal to noise measurement for an EIGER detector? This used to be the case for older detector technologies, but shouldn't actually be the case for the dectris detector used here. It should also easily withstand the quoted flux, such that I do not yet see the advantage of the beamstop. The direct beam could be used for tracking the stability of the set-up (e.g. fluctuations of the substrate).

Response 6: Very good suggestion! We are thankful for the comment since this will be the practice from now on, thanks. 
First, it is true that it will not increase the signal to noise ratio. We have now removed this part from the manuscript, as it is indeed an incorrect statement. 
In retrospect, a beam stop (blocking both the direct and the reflected beam) should not have been used for this experiment. We could then have used the specular peak to track the incidence angle to prove the stability of our measurements.  We have added a new subsection 3.5 to highlight this. Lines 240– 246.

- Comment 7: Section 3.5. Is the sample environment open to the optics and toward the detector? If not, what type of windows are used to ensure the solvent atmosphere doesn't harm the equipment? How is "ensured" that the suction does not influence the drying? (Solvent atmosphere can significantly alter the drying process (Proeller et al, 10.1063/1.4984130).

Response 7: The sample stage is in ambient conditions and the entire X-ray set up is in vacuum. We use 10 µm thick mica windows. The solvent atmosphere is expected to be the same for all 4 experiments performed as the exhaust, solvent and temperature are the same. Thus, it can be assumed that the flow is constant for all four experiments and therefore an internal comparison of the four experiments shown here is valid. It is true that moving to another instrument or changing the solvent or exhaust will require a thorough documentation to allow for comparison. This is a good argument and we have added a few paragraphs and the suggested a reference to address this in the discussion.  Line 411 - 414.

- Comment 8: Section 3.8. What type of camera is used to monitor the sample to obtain detailed enough information without strong reflections and to actually observe the drying front to judge the quality of the printing run?

Response 8: The camera used here is an AUSDOM AW620 1080p webcam. This is used to observe the total width of the coated film and to visually track de-wetting. This have been specified in section 3.11. Line 266.

- Comment 9: Section 3.9. Since the aim is to understand the drying kinetics of inks, it should be made clear on how the time resolution is being achieved.

Response 9: Very good point. If this is not clear in the text it is our fault as it is essential to understand the experiment. This should be stated more clearly in the text. The two drying times stated in the article, 3 and 12 seconds, were thus achieved: The tip of the coating head is placed 12 cm from the X-ray beam, the moving substrate has as speed of 1 cm/s, thus the probed film have been drying for 12 seconds. We have added the details in section 3.8 Line 254-258.

- Comment 10: Section 4.2. How has the data correction process been adapted for the GISAXS geometry from the SAXS reference? E.g. background subtractions are not necessarily valid for GISAXS.

Response 10: This is a good point. We agree that this was not clear in our formulation and it would have mislead the reader if not corrected. We have only applied the corrections that are applicable for GISAXS as well. We have rewritten this section accordingly. Line 286-290.

- Comment 11: Section 4.3. It should be mentioned that the horizontal line cut is done at the yoneda region. ( e.g. Hexemer 10.1107/S2052252514024178 ) Furthermore, for the method presented here it should be evaluated, how precisely the Yoneda region can be determined due to the moving substrate.

Response 11: This is very good point and we have specifically addressed this by referencing the stated article with others and added two paragraphs in section 4.4, Line 300 – 311. Additionally, we have changed equation (3) to explicit show that the model is applied in the qxy direction. 
The second part of the question is concerning the moving substrate. From previous synchrotron experiments where this roll-2-roll coater has been used we have demonstrated that the incidence angle does not vary more than ± 0.03° as evaluated by the position of the reflected beam as a function of time (with a temporal resolution of 0.1 s), which is equal to ± 12 pixels from the Yoneda line for this experiment, whereas, the horizontal line integration where made with ± 50 pixels. Thus we find the small variation neglecteable for the purpose of this analysis. This have been addressed in the discussion Lines 398-409

- Comment 12: 4.4. Logarithmic binning is standardly done (e.g. Proeller 10.1002/aenm.201501580)

Response 12: Good point, we have rewritten section 4.5 Line 312-319 to describe this with reference to the suggested article.

- Comment 13: Section 4.5. On which basis do the authors claim that the used fitting model by Teubner and Strey is valid for GISXAS measurements? Here, reflection and refraction terms also need to be taken into account (e.g. Babonneau 10.1107/S0021889810020352).

Response 13: This comment is particular relevant and we found it necessary to add another two subsections in the analysis section to address and clarify the assumptions and references needed to perform the analysis presented here.
Subsection 4.6) Assumptions necessary for applying the Teubner-Strey model for GISAXS analysis Line 321-327, and subsection 4.7) Argumentation for applying the Teubner-Strey model Line 329 – 338.