Screenshot summary for manuscript number: 61376

- 61376_screenshot_1

- 3.2.1. (Protocol Step 7.5. In the imaging software, bring the bacterial cells into focus.) 00:03 – 00:08

- 3.2.2. (Protocol Step 7.6. Select Phase channel.) 00:08 – 00:11

- 3.2.3. (Protocol Step 7.7. Slide the light scale bar to adjust the percentage of DIA LED light.) 00:11 – 00:19

- 3.2.4. (Protocol Step 7.8. Manually enter an exposure time for DIA LED light. Here the exposure time is changed from 40 ms to 80 ms.) 00:20 – 00:24

- 3.2.5. (Save settings for Phase channel by right clicking on the Phase channel and selecting the “Assign current microscope setting” option.) 00:25 – 00:28

- 61376_screenshot_2

- 3.3.1. (Protocol Step 7.9. Select GFP channel.) 00:02 – 00:04

- 3.3.2. (Protocol Step 7.9.1. Slide the light scale bar to adjust the percentage of fluorescent light.) 00:05 – 00:11

- 3.3.3. (Protocol Step 7.9.1. Manually enter an exposure time for fluorescent light. Here the exposure time is changed from 30 ms to 20 ms.) 00:12 – 00:17

- 3.3.4. (Protocol Step 7.9.2. Alternatively, change the bit depth to adjust the dynamic range by selecting one of the other options in the drop-down menu.) 00:18 – 00:21

- 3.3.5. (Save settings for GFP channel by right clicking on the GFP channel and selecting the “Assign current microscope setting” option.) 00:22 – 00:24

- 61376_screenshot_3

- 3.4.1. (Protocol Step 7.10. – 7.13. In the XY tab, click the box in the Point Name column to save the selected XY position of interest. Then click the PFS box at the bottom of the tab to turn on the perfect focus system. Focus the cells and click the arrow in the PFS column to save the focus of the XY position.) 00:07 – 00:21

- *3.4.2. (Repeat Protocol Steps 7.10. – 7.13. for all other XY positions.) 00:22 – 01:03

- *3.4.3. (Save settings for XY positions under the Phase tab as explained in step 3.2.5.) 01:04 – 01:06

*Note to the script writer and video editor: steps 3.4.2 and 3.4.3 in Screenshot 3 are optional to include in the final video.

- 61376_screenshot_4

- 3.5.1. (Protocol Step 7.14. Click the Time tab and check the box to select acquisition interval, frequency, and imaging duration.) 00:04- 00:12

- 3.5.2. (Protocol Step 7.14. Click the Wavelength tab and check the box to select channels to be used in imaging and channel interval frequency.) 00:16 – 00:35

- 61376_screenshot_5

- 3.6.1. (Protocol Step 7.15. Click Start run to initiate the time-lapse imaging.) 00:08 – 00:19