## Sheet1
Name of Material/Equipment | Company | Catalog Number | Comments/Description
Agarose pads
35 mm Glass Bottom Dish with 20 mm Micro-well #1.5 Cover Glass | Cellvis | D35-20-1.5-N | One for agarose pad molds, one for experiment
KimWipes | Kimberly-Clark Professional | 06-666A
Low-Melt Agarose | Nu-Sieve GTG/Lonza | 50081 | For making agarose pads
Round-Bottom Spatulas | VWR | 82027-492
Round-Tapered Spatulas | VWR | 82027-530
Silicon Isolators, Press-to-Seal, 1 well, D diameter 2.0 mm 20 mm, silicone/adhesive | Sigma-Aldrich | S6685-25EA | For agarose pad molds
Sterile Petri Plates, 85 mm | Kord-Valmark /sold by RPI | 2900
Tweezers | VWR | 89259-944
M8T Minimal Media
D (+) Glucose | RPI | G32045
KH2PO4 | RPI | P250500
MgSO4 | Sigma-Aldrich | 208094
NaCl | RPI | S23025
Na2HPO4.7H2O | Sigma-Aldrich | 230391
Tryptone | BD Biosciences | DF0123173
Microscope
Andor Sona 4.2B-11 | Andor | 77026135 | Camera. 4.2 Megapixel Back-illuminated sCMOS, 11 μm pixel, 95% QE, 48 fps, USB 3.0, F-mount.
Filter Cube GFP | Nikon | 96372 | Filter cube
Filter Cube TxRed | Nikon | 96375 | Filter cube
H201-NIKON-TI-S-ER | Okolab | 77057447 | Stagetop incubator
Nikon NIS-Elements AR with GA3 and 2D and 3D tracking | Nikon | 77010609, MQS43110, 77010603, MQS42950 | Software for data analysis
Nikon Ti2 Eclipse | Nikon | Model Ti2-E | Microscope
CFI Plan Apo ƛ20x objective (0.75NA) | Nikon | MRD00205 | Objective
CFI Plan Apo ƛ100x oil Ph3 DM objective (1.45NA) | Nikon | MRD31905 | Objective
ThermoBox with built-in fan heaters | Tokai Hit | TI2TB-E-BK | Enclosure
Bacterial Strains
Pseudomonas aeruginosa PA14 (WT) |  | PMID: 7604262 | Non-mucoid prototroph
Pseudomonas aeruginosa PA14 (WT) pSMC21 (Ptac-GFP) |  | PMID: 9361441
Pseudomonas aeruginosa PAO1 (WT) pPrpoD-mKate2 |  | PMID: 26041805
Staphylococcus aureus USA300 LAC (WT) |  | PMID: 23404398 | USA300 CA-Methicillin resistant strain LAC without plasmids
Staphylococcus aureus USA300 LAC (WT) pCM29 (sarAP1-sGFP) |  | PMID: 20829608
Staphylococcus aureus USA300 LAC △agrBDCA |  | PMID: 31713513
Viability Stain
Propidium Iodide | Invitrogen | L7012 | LIVE/DEAD™ BacLight™ Bacterial Viability Kit

## DV-IDENTITY-0 (hidden)
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | AAAAAH384Q8=