## Sheet1
Tips and Troubleshooting | Description
Keep all experimental materials at the same temperature | Make sure all media, dishes, pads, and environmental chamber are equilibrated to the temperature of the experiment in advance. This will ensure that bacterial cells do not respond to a temperature change at the initiation of the experiment and prevents the accumulation of moisture within the sample dish. A full stage enclosure is recommended to maintain consistent temperature of all components, including the stage and objective, to minimize drift. Warming pads to the temperature of the experiment before use will also reduce drift.
Maintain humidity | Changes in humidity cause one of the biggest problems in using this protocol. Adaptations of this protocol have been optimized for experiments performed in the summer and winter to minimize drift and maintain humidity, but other users of this protocol will need to optimize the humidity and pad dry times based on the environment in which experiments are being performed. A stage-top incubator is recommended to help maintain even humidity. The humidity of the environmental chamber will differ based on the geographical location, season, and building conditions that the experiments are being performed in. For example, pads that are dried for the same amount of time will show more drift early on in time-lapse imaging under more humid conditions. In order to maintain even humidity throughout the duration of time-lapse experiments, damp lint-free paper wipes are placed around the inside edge of the 35 mm dish, being careful to avoid contact with the agarose pad.
Minimize drift | The most common problem in time-lapse imaging is bacterial cells drifting out of the field of view. In addition to changes in humidity, inadequate drying of the agarose pads leads to major cell drifting. Failure to dry the pads either results in pads that are too wet or too dry, both of which lead to unfortunate drift over the duration of the time-lapse. Pads that are too dry stick to the mold and are much more difficult to drop out. Furthermore, dry pads will show drift after a few hours of the time-lapse, towards the end of imaging acquisition. On the other hand, wet pads will still have visible moisture on them when dropped out of the mold and will cause drift right away during imaging acquisition. It is always helpful to pour an extra agarose pad and keep molten agarose warmed at 50 °C in the event that the first pad appears too wet, too wet or dry.
Optimize starting cell inoculum | Because cells will divide over the course of time-lapse imaging studies, it is crtical to start with a low cell inoculum in the sample dish. Starting with 2-4 single cells (per 18 mm field of view) allows for enough space between cells to prevent cell clusters from growing into one another while still visualizing the interspecies interactions. Too many cells in the starting inoculum will result in clusters of cells that are too close to each other and therefore do not allow for observation of interactions because the cell density is too high within a few cell divisions. On the other hand, starting with too few cells can be a problem if the cells are not close enough together to allow interactions to take place within the duration of the experiment. Starting with 1-2 cells of each species in a coculture experiment with cells spaced 20-30 µm apart yields the best images for clear observation of interactions between the two bacterial species.
Select acquisition interval frequency | Capturing interspecies interactions will highly depend on how frequently the images are acquired. Shorter acquisition intervals will increase the likelihood of capturing interactions that happen quickly or within a short time. However, shorter acquisition intervals may not be the most useful in the earlier time points when cells are growing and dividing, but not yet interacting. Therefore, it may be useful to use longer acquisition intervals earlier in the time-lapse and then switch to shorter acquisition intervals as bacterial species begin to interact. The other caveat with selecting frequency is that shorter acquisition intervals not only limit the number of XY positions that can be imaged in a single experiment, but also determine how close the selected field of views must be.
Optimize acquisition interval frequency for bacterial cell tracking | Cell tracking analysis requires much shorter acquisition intervals in order to keep track of motile bacterial cells as they move across the field of view. The acquisition interval length will depend on how quickly cells move, but cell tracking works best when frames are acquired 3 s or less apart. One consideration when obtaining frames for cell tracking is that due to the short acquisition intervals, the number of XY positions that can be imaged is highly limited. Typically, only one XY position is imaged per experiment when intervals of less than 5 s are used.
Optimize fluorescence exposure time | Each fluorophore has a unique excitation and emission wavelength, but will also require an optimized light exposure time to maximize fluorescence captured while minimizing photobleaching and phototoxicity to the bacterial cells. If cells are exposed to light for too long, then the fluorophore will bleach, yielding an inaccurate fluorescence intensity. This is especially critical when gene expression is being measured with fluorescence markers. Additionally, a high exposure time for measuring gene expression that increases over time may max out the fluorescence intensity that can be measured, which would also yield inaccurate gene expression measurements. Furthermore, phototoxicity can occur in bacterial cells that are exposed to fluorescence light too long, which is easily detected by bacterial cells that stop dividing early on. In contrast, too short of an exposure time will fail to detect fluorescence.