# Submission ID #: 61379

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18720643

Title: Macro-Rheology Characterization of Gill Raker Mucus in the Silver Carp, Hypophthalmichthys molitrix

# Authors and Affiliations: Kartik V. Bulusu1, Samantha Racan1, and Michael W. Plesniak1

1Department of Mechanical and Aerospace Engineering, The George Washington University

☐   All author names are spelled correctly, and the affiliations are correct (city/state/country information not included in video title page).

# Corresponding Author:

# Kartik V. Bulusu

# bulusu@gwu.edu

# Co-authors:

# samracan19@gwu.edu

# plesniak@gwu.edu

## Author Questionnaire

1. Microscopy: Does your protocol demonstrate the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as reasonably possible.

3. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

- To ensure that your script can be filmed in one day, the Introduction, Protocol, and Conclusion sections are restricted to 55 shots (i.e., designated as 1.1.1., 1.2.1., etc).

Protocol Length

Number of Shots: 34

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which will be incorporated into the script. Authors will memorize the statements and then deliver them on camera.

- Enter the full name of the author who will deliver the statement on camera.

- Each author should deliver no more than two statements.

- Fill out both required statements. One optional statement may also be selected.

- Please answer in full sentences in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Has any author been assigned more than two statements? ☐ No

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.[1][2].

    - INTERVIEW: Author saying the above

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Mucus Solution Preparation

  - To prepare a 400 milligram/milliliter mucus solution, add 0.6 milliliters of deionized water to 1.4 milliliters of gill raker mucus [1].

    - WIDE: Talent adding water to mucus

  - Place the vial of mucus solution onto a shaker [1] until the solution is adequately homogenized and any mucus particulate agglomeration is mitigated [2].

    - Talent turning on shaker/vial shaking

    - Shot of homogenized solution

- Rheometer Instrument Calibration and Preparation

  - To calibrate the rheometer instrument, launch the rheometer instrument control software [1] and select the Calibration and Instrument tabs [2].

    - WIDE: Talent launching software, with monitor visible in frame

    - SCREEN: To be provided by Authors: Calibration and Instrument tabs being selected

  - Select Instrument and Calibrate. Record the instrument inertia calibration value in micronewtons/meter/square-seconds and repeat the calibration at least three times to ensure that the calibration values are within 10% of each other [1].

    - SCREEN: To be provided by Authors: Instrument being selected and Calibrate being clicked, then shot of calibration values, then Calibrate being clicked Video Editor: please emphasize calibration values when mentioned

  - Turn the shaft on top of the rheometer to screw on geometry [1]. The software will detect the 40-millimeter diameter, 1-degree 0-prime 11-double prime cone angle geometry [2].

    - Talent turning shaft

    - SCREEN: To be provided by Authors: Software detecting cone angle geometry

  - To perform the rheometer geometry calibration, click Calibrate and record the geometry friction calibration value in micronewtons/meter/rad/second [1-TXT].

    - SCREEN: To be provided by Authors: Calibrate being clicked, then shot of calibration values TEXT: Repeat calibration x3

  - To perform the zero-gap initialization, click the Zero gap icon [1]. The initialization is complete when the axial force experienced by the geometry is greater than or equal to 1 Newton as it touches the Peltier plate [2].

    - SCREEN: To be provided by Authors: Zero gap icon being clicked

    - SCREEN: To be provided by Authors: Shot of force greater than or equal to 1 N

  - Ensure that the rheometer gap is zeroed so that its reference position is accurate and use the up and down arrows or the geometry raise and lower icons to raise the geometry to any arbitrary height [1].

    - SCREEN: To be provided by Authors: Gap being zeroed/shot of zeroed gap, then geometry being raised Video Editor: please emphasize arrows and icons when mentioned

  - The control screen on the rheometer instrument [1] and the control panel of the rheometer instrument control software will display the gap height [2].

    - Shot of control screen showing gap height

    - SCREEN: To be provided by Authors: Shot of gap height in control panel

- Linear Viscoelastic Range (LVR) Determination

  - To determine the linear viscoelastic range of a mucus solution of interest, load approximately 300 microliters of fish mucus solution into a 1-milliliter pipette tip [1-TXT] and load the solution onto the Peltier plate [2].

    - WIDE: Talent loading pipette TEXT: e.g., here 100 milligram/milliliter mucus solution used

    - Talent adding mucus to plate

  - Press the Trim Gap button to lower the geometry on to the Peltier plate [1] and use the pipette to remove any excess mucus solution [2].

    - Talent pressing button

    - Mucus being removed

  - Press the Geometry Gap button [1] to lower the geometry to the preset suitable gap per specific geometry [2] and click Start in the instrument software [3].

    - Talent pressing button

    - Geometry being lowered

    - Talent pressing Start, with monitor visible in frame

  - Observe the real time plot generated by the rheometer that reports the loss and storage moduli [1].

    - SCREEN: To be provided by Authors: Shot of real time plot being generated

  - Right-click on the graph to select the Graph Variables tab and set the x-axis of the plot to Oscillation strain percentage [1].

    - SCREEN: To be provided by Authors: Graph being right-clicked, x-axis being set

  - To perform dynamic sweep and steady state shear rate flow test experiments, set the Frequency to 1 hertz, select Logarithmic sweep, set the Strain percent to 100-10,000, and set the Points per decade to 10 [1].

    - SCREEN: To be provided by Authors: Test parameters being set

  - Open the Procedure tab and use the arrow keys set up the Oscillation Frequency procedure [1].

    - SCREEN: To be provided by Authors: Tab being opened and procedure being selected

  - Set the Temperature to 22 degrees Celsius and the Soak Time to 0 seconds [1].

    - SCREEN: To be provided by Authors: Temperature and soak time being set

  - Set the Strain percent to 1, select Logarithmic Sweep, set the Frequency to 20 to 1 hertz, and set the Points per decade to 10 [1].

    - SCREEN: To be provided by Authors: Test parameters being set

  - In the Procedure tab, use the arrow keys set up the Flow Sweep procedure and set the Temperature to 22 degrees Celsius and the Soak Time to 0 seconds [1].

    - SCREEN: To be provided by Authors: Procedure being selected, then temperature and soak time being set

  - Set the Shear rate to 1-10,000 1/second, select Logarithmic sweep, set the Frequency to 20 to 1 hertz, set the Points per decade to 10, and check the Steady state sensing box [1].

    - SCREEN: To be provided by Authors: Parameters being set

  - Then save the file that contains both the experimental procedure and results in the native file format of the rheometer instrument control software [1].

    - SCREEN: To be provided by Authors: File being saved

  - For graphical analysis, export the mucus concentration data into a spreadsheet [1] and run supplemental codes to generate plots of the apparent viscosity for varying shear strain rates of the loss modulus, storage modulus, and phase angle for varying oscillation stresses [2] and generate graphs for the representative results [3].

    - SCREEN: To be provided by Authors: Data being imported into spreadsheet

    - SCREEN: To be provided by Authors: Code being run

    - SCREEN: To be provided by Authors: Graph being generated

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 202. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Notes in blue italics are for JoVE’s video editor.

- Results: Representative Gill Raker Mucus Marco-Rheology Characterization

  - At low oscillation stresses [1], the storage and loss moduli of the 100 milligram/milliliter mucus concentration overlaps significantly [2].

    - LAB MEDIA: Figure 7A

    - LAB MEDIA: Figure 7A Video Editor: please emphasize blue and purple data points

  - At oscillation stresses greater than 0.1 Pascals [1], the storage modulus declines [2], indicating a lower elasticity [3].

    - LAB MEDIA: Figure 7A Video Editor: please emphasize purple data point at about 0.1 Pa

    - LAB MEDIA: Figure 7A Video Editor: please emphasize purple data points from 0.1 Pa to end of graph

  - The loss modulus, representative of the viscosity, remains constant in the full range of oscillation stress, however [1].

    - LAB MEDIA: Figure 7A Video Editor: please emphasize blue data points across graph

  - At low oscillation stresses [1], the storage modulus of the 200 milligram/milliliter mucus concentration [2] decreases but still remains greater than the loss modulus [3].

    - LAB MEDIA: Figure 7B

    - LAB MEDIA: Figure 7B Video Editor: please emphasize purple data points

    - LAB MEDIA: Figure 7B Video Editor: please emphasize blue data points

  - Within the oscillation stress range, there is a “crossover” region wherein moduli values remain approximately equal [1].

    - LAB MEDIA: Figure 7B Video Editor: please add/emphasize dashed lines

  - The modulus trends for the 400 milligram/milliliter mucus concentration [1] clearly demonstrate a yielding phenomenon [2] with a crossover point [3] between the storage and loss moduli that occur after a sharp decline in the loss modulus [4].

    - LAB MEDIA: Figure 7B

    - LAB MEDIA: Figure 7B Video Editor: please emphasize data points for both moduli before dashed line

    - LAB MEDIA: Figure 7B Video Editor: please add/emphasize dashed line

    - LAB MEDIA: Figure 7B Video Editor: please emphasize data points from dashed line to end of graph

  - As illustrated by these data [1], the 100 milligram/milliliter mucus solution behaves as a Newtonian fluid and remains independent of the shear rate with a constant apparent viscosity [2].

    - LAB MEDIA: Figure 8A

    - LAB MEDIA: Figure 8A Video Editor: please emphasize black data line

  - The 200 milligram/milliliter mucus concentration demonstrates non-Newtonian characteristics and a propensity to yield within the oscillation stress range [1].

    - LAB MEDIA: Figure 8A Video Editor: please emphasize blue data line

  - The 400 milligram/milliliter concentration of mucus is the least diluted [1] and exhibits a clear change in the state of the mucus from gel-like to a non-Newtonian fluid-like state in response to stress [2].

    - LAB MEDIA: Figure 8A

    - LAB MEDIA: Figure 8A Video Editor: please emphasize red data line

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Please answer one or two of the statements.

- Each statement is limited to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Enter step numbers referred to.)

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Thank you for addressing our questions. We will incorporate your answers and suggestions and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.