# Submission ID #: 61401

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18727353

Title: Measuring Nucleotide Binding to Intact, Functional Membrane Proteins in Real Time

Authors and Affiliations: Samuel G. Usher1, Frances M. Ashcroft1, and Michael C. Puljung1,2

1Department of Physiology, Anatomy and Genetics, University of Oxford

2Current address: Department of Chemistry and Neuroscience Program, Trinity College

☐   All author names are spelled correctly, and the affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Frances M. Ashcroft

frances.ashcroft@dpag.ox.ac.uk

# Michael C. Puljung

# michael.puljung@dpag.ox.ac.uk

# michael.puljung@trincoll.edu

# Co-authors:

# Samuel G. Usher

# samuel.usher@gtc.ox.ac.uk

## Author Questionnaire

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique?  Y

If Yes, can you record movies/images using your own microscope camera?

Y

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as reasonable.

3. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   N

- To ensure that your script can be filmed in one day, the Introduction, Protocol, and Conclusion sections are restricted to 55 shots (i.e., designated as 1.1.1., 1.2.1., etc).

Protocol Length

Number of Shots: 42

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which will be incorporated into the script. Authors will memorize the statements and then deliver them on camera.

- Enter the full name of the author who will deliver the statement on camera.

- Each author should deliver no more than two statements.

- Fill out both required statements. One optional statement may also be selected.

- Please answer in full sentences in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Has any author been assigned more than two statements? ☐ No

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.[1][2].

    - INTERVIEW: Author saying the above

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Unroofed Membrane Experiments

  - To set up an unroofed membrane experiment, first use a pair of forceps to break a cover slip with transfected cells into smaller fragments [1] and rinse the fragments with PBS [2].

    - WIDE: Talent breaking coverslip

    - Talent rinsing fragment, with PBS container visible in frame

  - If the coverslip is precoated, place one fragment on the bottom of a 35-millimeter dish containing 2 milliliters of PBS [1] and hold a 3-millimeter probe sonicator 3-5 millimeters above the sample to briefly unroof the cells at 50 watts and a 20-40% amplitude Authors: For about how long? [2-TXT].

    - Talent placing fragment into dish

    - Talent using probe to sonicate fragment TEXT: Plasma membrane fragments will be left behind

  - If the cover slips are not pre-coated, after rinsing the fragments with PBS [1], dip one fragment into a tube containing 0.1% poly-l-lysine for about 30 seconds [2] before briefly sonicating as demonstrated to unroof the cells [3].

    - Talent rinsing fragment(s), with PBS container visible in frame

    - Talent dipping fragment into poly-L-lysine, with lysine container visible in frame

    - Fragment being sonicated

  - Transfer the sonicated fragment into a cover glass-bottom 35-millimeter dish containing 2 milliliters of bath solution [1-TXT] and mount the dish onto an inverted microscope equipped with a high NA (N-A) 60x water immersion objective [2].

    - Talent transferring fragment to dish, with bath solution container visible in frame TEXT: See text for all solution preparation details

    - Talent placing dish onto stage

  - Check that the camera port of the microscope is connected to a spectrograph in series with a high sensitivity CCD camera [1-TXT] and use a peristaltic pump to perfuse the bath chamber with buffer at a flow rate of 0.5-1 milliliter of buffer/minute [2].

    - Talent checking camera port TEXT: CCD: charge-coupled device

    - Bath being perfused TEXT: Buffer composition varies according to protein of interest

  - To identify unroofed membrane fragments expressing the ANAP-labeled channel, view the sample to locate for channel fluorescence [1-TXT].

    - LAB MEDIA: Figure 2C Video Editor: please emphasize yellow signal in fluor image TEXT: ANAP: acid (l-3-(6-acetylnaphthalen-2-ylamino)-2-aminopropionic

  - Partially engage the spectrometer mask between the camera port on the microscope and the spectrograph [1]. The shadow of the mask will appear on the camera image [2].

    - Talent engaging mask

    - SCREEN: To be provided by Authors: Mask shadow appearing on camera image

  - Adjust the microscope stage to align the unroofed membrane with the spectrometer mask [1] and acquire a bright field and fluorescence image of the unroofed membrane to allow the selection of region of interest for analysis [2].

    - Talent adjusting stage

    - SCREEN: To be provided by Authors: Image being acquired

  - Bring the tip of the microvolume perfusion system close to the unroofed membrane [1] and excite the membrane with a 385-nanometer LED through a 390-18-nanometer band-pass excitation filter and a 416-nanometer edge dichroic, collecting the emitted light through a 400-nanometer long-pass emission filter [2].

    - Tip being moved close to unroofed membrane

    - SCREEN: To be provided by Authors: Membrane being excited and light being collected

  - Engage the spectrometer mask [1] and ensure the emitted light is passed through [2].

    - Mask being engaged

    - Shot of light passing through OR SCREEN: To be provided by Authors: Shot of light passing through

  - Engage the spectrometer gratings [1].

    - Talent engaging gratings

  - With the gratings in place, the light diffracted by the spectrometer will be projected onto the chip of the CCD camera to produce spectral images. The images will retain spatial information in the y dimension. The x dimension will be replaced with wavelength [1].

    - To be provided by Authors: Shot of diffracted light Video Editor: please emphasize y and x dimensions when mentioned

  - If the protein of interest is tagged with a fluorescent protein, acquire a spectral image of the fluorescent protein using the appropriate filter set [1].

    - SCREEN: To be provided by Authors: Image being acquired in the appropriate filter set

  - While perfusing with nucleotide-free buffer solution [1], obtain one or more 0.1-10-second exposures for downstream correction and normalization of data collected throughout the rest of the experiment [2].

    - Solution being perfused

    - SCREEN: To be provided by Authors: Exposure(s) being obtained

  - Next, apply a range of concentrations of TNP-ATP in bath solution to establish a concentration-response curve, perfusing each solution for at least 1 minute to ensure that a steady state is reached [1] and obtain an exposure under the same acquisition decision [2].

    - Talent adding TNP-ATP to solution, with TNP-ATP solution container visible in frame

    - SCREEN: To be provided by Authors: Exposure being acquired

  - After each concentration, wash out the stimulus with bath solution for at least 1 minute [1] before acquiring a post-treatment exposure image [2].

    - Bath solution being added, with bath solution container visible in frame

    - SCREEN: To be provided by Authors: Exposure being acquired

- Patch-Clamp Fluorometry Experiment

  - To perform a patch-clamp fluorometry experiment, pull patch pipettes from thick-walled borosilicate glass capillaries to a resistance of 1.5-2.5 megaohms when filled with pipette solution [1] and transfer a cover slip with transfected cells into glass-bottom 35-millimeter dish containing 2 milliliters of bath solution [2].

    - WIDE: Talent pulling pipette

    - Talent placing cover slip into dish

  - Mount the dish onto the inverted microscope [1] and perfuse the bath chamber with bath solution [2].

    - Talent placing dish onto microscope

    - Solution being perfused

  - After identifying a cell expressing ANAP-labeled channels [1], apply gentle positive pressure to the pipette [2] and place the pipette in the bath chamber [2].

    - SCREEN: To be provided by Authors: Shot of cell

    - Talent applying pressure to pipette

    - Talent placing pipette to chamber

  - Press the pipette against the membrane of the cell [1] and apply gentle suction to achieve a gigaohm seal [2].

    - SCREEN: To be provided by Authors: Pipette being pressed against cell membrane

    - SCREEN: To be provided by Authors: Suction being applied/seal being achieved

  - To excise the patch, rapidly move the pipette holder away from the patched cell [1].

    - SCREEN: To be provided by Authors: Holder being removed from patched cell

  - Bring the tip of the patch pipette close to the tip of the perfusion system [1] and check that the patch is within the slit of the spectrometer mask [2].

    - SCREEN: To be provided by Authors: Tip being tip being brought close to perfusion system tip

    - SCREEN: To be provided by Authors: Shot of patch within mask slit

  - Then apply TNP-ATP and image spectra as demonstrated [1], while simultaneously recording the ionic current response to nucleotide application [2].

    - Talent adding TNP-ANP to chamber

    - SCREEN: To be provided by Authors: Exposure being acquired

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 198. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Notes in blue italics are for JoVE’s video editor.

- Results: Representative Measurement of Nucleotide Binding to Intact, Functional Membrane Proteins in Real Time

  - In these images, a typical unroofed membrane fragment from an HEK-293T (H-E-K-two-nine-three-T) cell expressing ATP-sensitive potassium channels [1] tagged with orange fluorescent protein can be observed [2].

    - LAB MEDIA: Figure 2C Video Editor: please add/emphasize asterisk in brightfield image

    - LAB MEDIA: Figure 2C Video Editor: please emphasize yellow signal in fluor image

  - In this spectral image of ANAP-tagged ATP-sensitive potassium channels in an unroofed membrane from an HEK-239T cell exposed to 5-micromolar TNP-ATP [1], two regions of high intensity can be observed [2] that correspond to the peak emission of ANAP [3] and TNP-ATP [4].

    - LAB MEDIA: Figure 3A

    - LAB MEDIA: Figure 3A Video Editor: please emphasize left and middle regions of high intensity (bright white)

    - LAB MEDIA: Figure 3B Video Editor: please emphasize left peak of orange line

    - LAB MEDIA: Figure 3B Video Editor: please emphasize right peak of orange line

  - A final spectrum can be obtained by subtracting the averaged background spectrum [1] from the averaged region of interest spectrum [2].

    - LAB MEDIA: Figure 3B Video Editor: please emphasize/remove grey data line

    - LAB MEDIA: Figure 3C

  - Here the reduction in peak ANAP fluorescence after multiple exposures can be observed [1].

    - LAB MEDIA: Figure 3D Video Editor: please sequentially emphasize data lines from red to grey

  - The peak fluorescence from several exposures in the absence of TNP-ATP were fitted to a single-exponential decay [1]. These data were then used to correct for photobleaching artefacts [2].

    - LAB MEDIA: Figure 3E Video Editor: please emphasize grey data line

    - LAB MEDIA: Figure 3E Video Editor: please emphasize inset graph

  - Here representative spectral images [1] from an unroofed membrane obtained from a cell expressing ANAP-tagged ATP-sensitive potassium channels in the absence [2] and presence of TNP-ATP are shown [3].

    - LAB MEDIA: Figure 5A

    - LAB MEDIA: Figure 5A Video Editor: please emphasize 0 TNP-ATP image

    - LAB MEDAI: Figure 5A Video Editor: please emphasize 50 micromolar and 1 millimolar TNP-ATP images

  - Observing the corrected emission spectra [1] reveals a clear separation between the donor [2] and acceptor fluorescence emission [3].

    - LAB MEDIA: Figure 5B

    - LAB MEDIA: Figure 5B Video Editor: please emphasize green data line

    - LAB MEDIA: Figure 5B Video Editor: please emphasize yellow and red dta lines

  - Here representative currents and spectra from ANAP-tagged ATP-sensitive potassium channels from a typical patch-clamp fluorometry experiment are shown [1]. The emission spectra are corrected for background and bleaching as demonstrated for unroofed membranes [2].

    - LAB MEDIA: Figure 4B Video Editor: please emphasize 1-millimolar, 100-micromolar, and 10-micromolar sections of graph

    - LAB MEDIA: Figure 4B

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Please answer one or two of the statements.

- Each statement is limited to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Enter step numbers referred to.)

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Has any author been assigned more than two statements? ☐ No

Thank you for addressing our questions. We will incorporate your answers and suggestions and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.