## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
0.1% w/v poly-L-lysine | Sigma-Aldrich | P8920
30 mm borosilicate cover glass slips | VWR | 631-0174
35 mm cover glass bottom dish | WPI | FD35-PDL-100
35 mm non-treated sterile dishes | CytoOne | CC7672-3340
390/18 nm band-pass excitation filter | ThorLabs | MF390-18 | For ANAP excitation
400 nm long-pass emission filter | ThorLabs | FEL0400 | For imaging ANAP spectra
416 nm edge dichroic | ThorLabs | MD416 | For imaging ANAP spectra
460/60 nm band-pass emission filter | ThorLabs | MF460-60 | Suggested wide band-pass filter for imaging ANAP fluorescence (Figure 4B)
470/10 nm band-pass emission filter | ThorLabs | FB470-10 | Suggested narrow band-pass filter for imaging ANAP fluorescence (Figure 4B)
4-Wavelength High-Power LED Head | ThorLabs | LED4D245 | 385/490/565/625 nm LEDs
531/40 band-pass excitation filter | Brightline | FF01-531/40-25 | For orange fluorescent protein (OFP) excitation
540/25 nm band-pass excitation filter | Chroma | D540/25X | For tetramethylrhodamine-5-maleimide (TMRM) excitation
562 nm edge dichroic | Semrock | FF562-Di03 | For imaging OFP fluorescence
565 nm edge dichroic | Chroma | 565DC | For imaging TMRM fluorescence
593/40 nm band-pass excitation filter | Brightline | FF01-387/11-25 | For imaging OFP fluorescence
605/55 nm band-pass emission filter | Chroma | D605/55M | For imaging TMRM fluorescence
60x water immersion objective (1.4 NA) | Nikon | MRD07602
ANAP-TFA | AsisChem | ASIS-0014 | Reconstituted in 30 mM NaOH to a final concentration of 1 mM
Axopatch 200B amplifier | Molecular Devices | Axopatch 200B-2
Digidata 1440A digitizer | Molecular Devices | Digidata 1440A
Dulbecco’s Modified Eagle Medium (DMEM) | Gibco | 31966021
Foetal bovine serum (FBS) | Gibco | 10500-064
Four-Channel LED Driver | ThorLabs | DC4100
HEK293T cells | ATTC | CRL-3216 | Used between passages 5-30
IsoPlane-160 Imaging Spectrometer | Princeton Instruments | IsoPlane-160
Lightfield 5.20.1507 | Princeton Instruments |  | Acquisition software for images and spectra
Matlab | Mathworks |  | For data analysis
Microvolume perfusion system | ALA Scientific Instruments | ALA μFlow-8 | For TNP-ATP perfusion
Nikon Eclipse TE2000-U inverted microscope microscope | Nikon
pANAP expression plasmid | Addgene | Plasmid #48696 | Encodes tRNA/tRNA synthetase pair for expression of ANAP-tagged protein
pClamp 10.6.2 | Molecular Devices |  | Recording and analysing currents
Penicillin/Streptomycin | Gibco | 15140-122
peRF1-E55D | Chin Lab (MRC Laboratory of Molecular Biology, Cambridge, UK) | Jason Chin: DOI: 10.1021/ja5069728 | Encodes dominant-negative eukaryotic ribosomal release factor
Phosphate buffered saline (PBS) | Gibco | 14040-091
PIXIS 400BR_eXcelon Camera | Princeton Instruments | PIXIS: 400BR_eXcelon
Probe sonicator | Sonics & Materials | VC-50 | For unroofing
Python 3.8.1 | Python Software Foundation |  | For data analysis
REGLO digital peristaltic pump | Ismatec | ISM 832 | For bath perfusion
T75 tissue-culture treated flask | StarLab | CC7682-4875
Tetramethylrhodamine-5-maleimide | Sigma-Aldrich | 94506
Thick-walled borosilicate glass capillaries | Harvard Apparatus | GC150F-15
TNP-ATP | Jena Bioscience | NU-221L | Delivered at 10 mM in water
TransIT-LT1 | Mirus Bio | MIR 2300 | Lipopolyplex transfection reagent
TrypLE select (tryosin) | Gibco | 12563-011
UltraPure distilled water | Invitrogen | 10977-035

## DV-IDENTITY-0 (hidden)
#REF! | #REF! | #REF! | #REF! | #REF! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=