Response to editorial and reviewer comments

See responses in red.

Editorial Comments:

• Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammatical errors.

Done.

• Protocol Detail: Please note that your protocol will be used to generate the script for the video, and must contain everything that you would like shown in the video. Please ensure that all specific details (e.g. button clicks for software actions, numerical values for settings, etc) have been added to your protocol steps. There should be enough detail in each step to supplement the actions seen in the video so that viewers can easily replicate the protocol.

Checked and we believe it sufficient for production of script. 

• Results:
1) Please add at least one paragraph of results text that explains your representative results in the context of the technique you describe; i.e. how do these results show the technique, suggestions about how to analyze the outcome etc. This text should be written in paragraph form under a "Representative Results" heading and should refer to all of the results figures. You may include the figure captions under this heading but the captions and figure text must be separate entities.
2) We require at least some results (figures/tables) that demonstrate the success of your technique, this can be an application of your method to a specific study or general results that validate the technique. These must be fully discussed in the Representative results. The current results do not sufficiently support and validate the technique you present.

Thank you for the clarification We have added a paragraph in the results section that highlights a validation of our method. We feel this should suffice.

• Discussion: JoVE articles are focused on the methods and the protocol, thus the discussion should be similarly focused. Please ensure that the discussion covers the following in detail and in paragraph form (3-6 paragraphs): 1) modifications and troubleshooting, 2) limitations of the technique, 3) significance with respect to existing methods, 4) future applications and 5) critical steps within the protocol.

We have read through the discussion and feel each of the five points listed are adequality addressed. 

• Figures: Please remove the embedded figures from the manuscript. Figure legends, however, should remain within the manuscript text, directly below the Representative Results text.

Removed. 

• References:
1) Use superscripted citation numbering throughout. The first citation should be numbered 1.
2) Please make sure that your references comply with JoVE instructions for authors. Citation formatting should appear as follows: (For 6 authors or less list all authors. For more than 6 authors, list only the first author then et al.): [Lastname, F.I., LastName, F.I., LastName, F.I. Article Title. Source. Volume (Issue), FirstPage – LastPage, (YEAR).]

Checked and corrected.

• Commercial Language:JoVE is unable to publish manuscripts containing commercial sounding language, including trademark or registered trademark symbols (TM/R) and the mention of company brand names before an instrument or reagent. Examples of commercial sounding language in your manuscript are WhirlPak, Excel Scientific Precut Pierceable, Kim-wipe,
1) Please use MS Word’s find function (Ctrl+F), to locate and replace all commercial sounding language in your manuscript with generic names that are not company-specific. All commercial products should be sufficiently referenced in the table of materials/reagents. You may use the generic term followed by “(see table of materials)” to draw the readers’ attention to specific commercial names.

Done.

2) Please remove the registered trademark symbols TM/R from the table of reagents/materials.

No trademark/copyright symbols are present in our table of materials. 

• Table of Materials: Please sort in alphabetical order.

Sorted.

• If your figures and tables are original and not published previously or you have already obtained figure permissions, please ignore this comment. If you are re-using figures from a previous publication, you must obtain explicit permission to re-use the figure from the previous publisher (this can be in the form of a letter from an editor or a link to the editorial policies that allows you to re-publish the figure). Please upload the text of the re-print permission (may be copied and pasted from an email/website) as a Word document to the Editorial Manager site in the "Supplemental files (as requested by JoVE)" section. Please also cite the figure appropriately in the figure legend, i.e. "This figure has been modified from [citation]."

Figures are original and not published elsewhere.

Comments from Peer-Reviewers:



Reviewers' comments:
Reviewer #1:
Minor Concerns:
This is an interesting modification for the loading of high-throughput DNA extraction plates. I really think this modified method can minimize the risk of cross contamination during DNA extraction. However, the protocol is a little bit complicated and high cost. Moreover, there is still risk of cross contamination on step H (Fig. 1). How to avoid falling the sample into other wells when locating the bottom clipped PCR tube on 96-well plate?

We feel the cost associated with this loading technique is similar to existing protocols (McPherson et al.) possibly even cheaper, as glass funnels can become costly. We have indicated on lines 129–160 that the clipped pcr tube containing a sample should be kept upright and that extra care should be taken at this step. Furthermore, the pcr sealing tape provides an extra level of protection. Even if a sample is dumped accidentally, the pcr sealing tape will keep it out of unintended wells. 


Reviewer #2:
Major Concerns:
This is relevant to researchers doing high-throughput molecular work. I look forward to the protocol.

Thanks for the positive feedback.

Reviewer #3:
Manuscript Summary:
The manuscript explains the importance of the sterile environment and methods needed while loading samples in an extraction plate. Therefore, the authors suggest a new method to lower the risk from well to well cross contamination.

Major Concerns:
Have you validated this method in experimental procedure? A plate with loading straight to the plate vs. the new method with the tubes, then analyzing results can you confirm that it has lower the well to well contamination?

Thanks for the suggestion. We have included a test of DNA concentration in the blank wells loaded with multiple methods. Our method produced the lowest DNA concentrations.

Minor Concerns:
In order to provide this new method, it would be a stronger method if it has been validated through a quick experiment to prove the statement as a better way to load samples and lowering the risk of cross contamination. If you have done it then it would be valuable to add it.

Thanks for the suggestion. We have included a test of DNA concentration in the blank wells loaded with multiple methods. Our method produced the lowest DNA concentrations.